[bookmark: _GoBack]Appendix B: Carbon footprint for the different trocars per hospital setting

	
	Hospital A
	Hospital B
	Hospital C

	D1
	1.74
	1.74
	1.72

	D2
	1.37
	1.38
	1.36

	H1
	1.08
	0.64
	1.25

	H2
	1.33
	0.88
	1.50

	R1
	0.78
	0.33
	0.94


Table: Carbon footprint (kg CO2-eq) of four trocars used for one laparoscopic cholecystectomy.

Abbreviations: D1 = disposable trocar, brand 1; D2 = disposable trocar, brand 2; H1 = hybrid trocar, brand 1; H2 = hybrid trocar, brand 2; R1 = reusable trocar, brand 1

