Appendix D: Contribution of life cycle stages to the total carbon footprint

| Phase | Component | D1; Hospital B |  | R1; Hospital B |  |
| --- | --- | --- | --- | --- | --- |
|  |  | kg CO2-eq | % of total | kg CO2-eq | % of total |
| Raw materials & manufacturing | Material composition & packaging | 1.396305154 | 80.33% | 0.022174831 | 6.77% |
| Use phase | Cleaning and sterilization | NA | NA | 0.296117322 | 90.46% |
| End-of-life | Medical waste incineration | 0.332023153 | 19.10% | 0.004431572 | 1.35% |
|  | General waste treatment | 0.000241649 | 0.01% | 0.000203561 | 0.06% |
| Transport | Transport of manufacturing & end-of-life | 0.009719235 | 0.56% | 0.004427884 | 1.35% |
| Total |  | 1.738289191 | 100% | 0.327355171 | 100% |

Table 3: Contribution of life cycle stages to the carbon footprint of four trocars used in one laparoscopic cholecystectomy.

Abbreviations: kg CO2-eq = kilograms of carbon dioxide-equivalent; NA = not applicable.