Supplementary Table 3. Diagnostic performance of attenuation imaging (ATI) and control attenuation parameter (CAP) in detecting S1, S2, and S3 steatosis in MAFLD patients(n=344)
	
	Cutoff value
	Sensitivity (%)
	Specificity (%)
	Accuracy (%)　 
	PPV (%)
	NPV (%)

	S1 (≥ 5% hepatic steatosis)
	
	
	
	
	
	

	CAP (dB/m)
	268
	80.1
	73.1
	79.1
	94.4
	39.6

	ATI (dB/cm/MHz)
	0.67
	81.8
	94.2
	83.7
	98.8
	48.0

	P
	
	0.673
	[bookmark: _Hlk145121677]0.007
	0.141
	0.011
	0.254

	S2 (≥ 33% hepatic steatosis)
	
	
	
	
	
	

	CAP (dB/m)
	304
	71.6
	83.0
	76.5
	84.9
	68.5

	ATI (dB/cm/MHz)
	0.73
	84.8
	87.1
	85.8
	89.8
	81.0

	P
	
	0.002
	0.414
	0.002
	0.197
	0.012

	S3 (> 66% hepatic steatosis)
	
	
	
	
	
	

	CAP (dB/m)
	311
	71.4
	75.4
	73.8
	64.6
	80.7

	ATI (dB/cm/MHz)
	0.76
	88.7
	79.1
	82.8
	72.8
	91.8

	P
	
	<0.001
	0.416
	0.005
	0.140
	0.003


Steatosis grade: S0, MRI-PDFF < 5.2%; S1, 5.2% ≤ MRI-PDFF < 11.3%; S2, 11.3% ≤ MRI-PDFF < 17.1%; and S3, MRI-PDFF ≥ 17.1%.
S0, S1, S2, and S3 correspond to histologic hepatic steatosis grades of <5%, 5–33%, 34–66%, and >66%, respectively.
PPV, positive predictive value; NPV, negative predictive value.

