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Figure S1: Comparison of Ct values obtained from the reference qPCR when testing whole blood and oral swabs. The horizontal dashed line at a Ct value 38 indicates the assay cut-off. Data were analyzed by the paired Student’s T test. **** p<0.0001


Table S1: Whole blood samples tested positive by the reference qPCR

	Sample ID
	Pig ID
	dpi
	Reference qPCR
	Portable qPCR
	LFIA

	WB1
	2
	2
	32.27
	35.2
	Negative

	WB2
	4
	2
	29.87
	32.8
	Negative

	WB3
	6
	2
	36.5
	40
	Negative

	WB4
	8
	2
	34.99
	37.5
	Negative

	WB5
	10
	2
	33.94
	35.4
	Negative

	WB6
	1
	3
	31.55
	32.3
	Negative

	WB7
	5
	3
	26.17
	29.8
	Negative

	WB8
	7
	3
	25.22
	27.7
	Positive

	WB9
	9
	3
	22.81
	25.4
	Positive

	WB10
	2
	4
	27.06
	24.7
	Positive

	WB11
	4
	4
	20.41
	22.3
	Positive

	WB12
	6
	4
	22.18
	24.7
	Positive

	WB13
	8
	4
	22.02
	23.4
	Positive

	WB14
	10
	4
	21.22
	23.2
	Positive

	WB15
	1
	5
	22.31
	25.0
	Positive

	WB16
	3
	5
	25.07
	29.3
	Positive

	WB17
	5
	5
	20.66
	23.8
	Positive

	WB18
	7
	5
	21.34
	22.9
	Positive

	WB19
	9
	5
	21.07
	23.1
	Positive

	WB20
	2
	6
	20.7
	23.7
	Positive

	WB21
	4
	6
	21.64
	23.3
	Positive

	WB22
	6
	6
	21.51
	23.8
	Positive

	WB23
	8
	6
	22.14
	23.0
	Positive

	WB24
	10
	6
	21.08
	22.6
	Positive

	WB25
	1
	7
	22.85
	25.6
	Positive

	WB26
	3
	7
	24.8
	29.9
	Negative

	WB27
	5
	7
	20.04
	24.5
	Positive

	WB28
	7
	7
	21.35
	24.7
	Positive

	WB29
	9
	7
	20.95
	24.3
	Positive

	WB30
	2
	8
	21.18
	25.4
	Negative

	WB31
	6
	8
	21.23
	24.4
	Positive

	WB32
	8
	8
	20.57
	24.4
	Positive

	WB33
	10
	8
	19.08
	21.9
	Positive

	WB34
	1
	9
	21.65
	25.8
	Positive

	WB35
	3
	9
	26.83
	29.9
	Negative

	WB36
	5
	9
	20.59
	24.3
	Negative

	WB37
	7
	9
	22.01
	24.6
	Negative

	WB38
	9
	9
	22.03
	25.2
	Negative

	WB39
	2
	10
	24.07
	28.3
	Positive

	WB40
	6
	10
	23.92
	27.7
	Negative

	WB41
	8
	10
	22.45
	27.8
	Positive





Table S2: Oral swabs tested positive by the reference qPCR

	Sample ID
	Pig ID
	dpi
	Reference qPCR
	Portable qPCR
	LFIA

	OSw1
	5
	3
	37.74
	40
	Negative

	OSw2
	2
	4
	24.11
	29.1
	Negative

	OSw3
	4
	4
	26.48
	28.7
	Negative

	OSw4
	6
	4
	30.84
	31.8
	Negative

	OSw5
	8
	4
	28.19
	31.2
	Positive

	OSw6
	10
	4
	26.60
	28.7
	Negative

	OSw7
	1
	5
	32.33
	33.3
	Negative

	OSw8
	3
	5
	31.30
	40
	Negative

	OSw9
	5
	5
	23.73
	27.5
	Negative

	OSw10
	7
	5
	24.48
	28.5
	Negative

	OSw11
	9
	5
	26.52
	30.2
	Negative

	OSw12
	2
	6
	24.58
	30.4
	Negative

	OSw13
	4
	6
	27.79
	32.3
	Positive

	OSw14
	6
	6
	26.40
	32.3
	Negative

	OSw15
	8
	6
	24.48
	25.7
	Positive

	OSw16
	10
	6
	26.19
	27.3
	Positive

	OSw17
	1
	7
	30.03
	30.9
	Negative

	OSw17
	3
	7
	33.73
	35.3
	Negative

	OSw19
	5
	7
	26.66
	30.2
	Negative

	OSw20
	7
	7
	28.06
	28.9
	Negative

	OSw21
	9
	7
	26.61
	30.3
	Negative

	OSw22
	2
	8
	27.22
	29.2
	Negative

	OSw23
	6
	8
	28.24
	29.7
	Negative

	OSw24
	8
	8
	31.19
	29.8
	Negative

	OSw25
	10
	8
	29.84
	32.9
	Negative

	OSw26
	1
	9
	30.00
	32.0
	Negative

	OSw27
	5
	9
	29.97
	35.0
	Negative

	OSw28
	7
	9
	30.12
	35.5
	Positive

	OSw29
	9
	9
	29.05
	36.4
	Positive

	OSw30
	2
	10
	27.18
	31.2
	Negative

	OSw31
	6
	10
	25.05
	31.0
	Negative

	OSw32
	8
	10
	29.31
	33.1
	Negative
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