Development of thin-layer chromatography‒densitometry for the quantification of lecithin in dietary supplements

Table S1 Determination of phosphatidylcholine by high-performance liquid chromatography (HPLC) methods

| Technique | Material | Conditions | Ref. |
| --- | --- | --- | --- |
| HPLC | Egg yolk | Column: Betasil DIOL (150 × 4.6 mm, 5 μm); Mobile phase: hexane‒propan-2-ol 90:10 (V/V); flow: 1 mL/min; Detection: Corona CAD | [6] |
| HPLC | Rat and mouse myocardial mitochondria | Column: Zorbax Rx-SIL (250 × 4.6 nm, 5 µm); Mobile phase: gradient elution; eluent A: chloroform‒methanol‒ammonia 80:19.5:0.5 (V/V); eluent B: chloroform‒metanol‒ammonia‒water 60:34:0.5:5.5 (V/V); flow: 1 mL/min; Detection: MS | [16] |
| HPLC | Rapeseed lecithin | Column: Waters Spherisorb amino phase; Mobile phase: ethanol‒oxalic acid solution 92:8 (V/V); flow: 1 mL/min; Detection: refractometry | [40] |
| HPLC | Dairy products | Column: Zorbax Rx-SIL (250 × 4.6 nm, 5µm); Mobile phase: gradient elution; eluent A: chloroform‒methanol‒ammonia 80:19.5:0.5 (V/V); eluent B: chloroform‒metanol‒ammonia‒water 60:34:0.5:5.5 (V/V); flow: 1 mL/min; Detection: ELSD | [41] |
| HPLC | Human and cow’s eye retina | Column: Hypersil Silica Column (150 × 2.1 mm, 3 µm); Mobile phase: eluent A: hexane‒2-propanol‒chloroform‒water 44:43.5:10.5:2 (V/V) containing 12.5 mM ammonium formate; eluent B: hexane‒2-propanol‒chloroform‒water 34:49:10.5:6.5 (V/V) containing 12.5 mM ammonium formate; flow: 300 µL/min; Detection: MS with ESI ionization | [42] |
| UPLC-qTOF-MS | Buttermilk | Column: Acquity HSS T3 (2.1 × 100 mm, 1.8 µm) Mobile phase: eluent A: methanol‒water 1:1 (V/V) containing 0.5% formic acid and 5 mM ammonium formate; eluent B: methanol‒acetonitrile 6:4 (V/V) containing 0.5% formic acid and 5 mM ammonium formate; Detection: MS with ESI ionization | [43] |
| RP-HPLC | Soybean and sunflower | Column: C30; Mobile phase: acetonitrile‒methanol‒triethylamine 40:58:2 (V/V); flow: 1 mL/min; Detection: ELSD and MALDI-TOF-MS | [44] |
| ESI-qTOF-MS | Olive oil | Column: Kinetex HILIC (150 × 2.1 mm, 2.6 μm); Mobile phase: eluent A: chloroform‒methanol‒ammonium‒formate buffer 1 M (pH3) 87.5:12:0.5 (V/V); eluent B: chloroform‒methanol‒ammonium‒formate buffer 1 M (pH3) 28:60:12 (V/V); flow: 0.25 mL/min; Detection: MS with ESI ionization | [45] |
| HPLC | Drum-dried fruits and vegetables | Column: Luna (250 × 4.6 mm, 5 μm); Mobile phase: eluent A: chloroform; eluent B: methanol; eluent C: DI water; eluent D: 0.14% ammonium hydroxidene; flow: 1 mL/min; Detection: ELSD | [46] |
| UPLC | Drum-dried fruits and vegetables | Column: Accucore C18; Mobile phase: isopropyl alcohol‒DI water‒methanol 70:22:8 (V/V); Detection: MS Column: Luna (250 × 2 mm, 3 μm); Mobile phase: isopropyl alcohol‒hexane‒DI water 50:40:10 (V/V) with 0.1% formic acid; flow: 200 mL/min; Detection: MS | [46] |

Table S2 Optimization of the analysis conditions

| Mobile phase | Stationary phase | Visualization | Observation | RF |
| --- | --- | --- | --- | --- |
| Chloroform‒methanol‒water 19.5:7.5:1.2 (V/V) | HPTLC silica gel 60F254 | 50% (V/V) H2SO4, 110 °C, 5 min | Large, fuzzy, brown spots | 0.47 |
|  | TLC silica gel 60F254 | Ammonium molybdate solution in 25% (V/V) H2SO4, 60 °C, 10 min | Large, fuzzy, blue spots; the background is irregularly dark blue | 0.49 |
| Chloroform‒methanol‒ammonia 19.5:7.5:1.2 (V/V) | HPTLC silica gel 60F254 | 50% (V/V) H2SO4, 110 °C, 5 min | Large, fuzzy, brown spots | 0.45 |
|  | TLC silica gel 60F254 | Iodine vapor, 30 min | Quite big, fuzzy, yellow spots on yellow background | 0.46 |
|  | HPTLC cellulose | Iodine vapor, 30 min | Two large, yellow spots from sample; no spots from standard, yellow background | 0.00 |
| Chloroform‒methanol‒glacial acetic acid 19.5:7.5:1.2 (V/V) | HPTLC silica gel 60F254 | Ammonium molybdate solution in 25% (V/V) H2SO4, 60 °C, 10 min | Large, fuzzy, blue spots; dark, blue background | 0.15 |
|  | TLC silica gel 60F254 | Iodine vapor, 30 min | Large, fuzzy, yellow spots on yellow background | 0.14 |
|  | HPTLC cellulose | Ammonium molybdate in H2SO4‒ethanol (dipping), 60 °C, 10 min | blue streaks | 0.00 |
| Chloroform‒methanol‒butylamine 19.5:7.5:1.2 (V/V) | TLC silica gel 60F254 | 50% (V/V) H2SO4, 110 °C, 5 min | Large, fuzzy, brown spots | 0.18 |
| Chloroform‒methanol‒glacial acetic acid 10:7.5:0.4 (V/V) | TLC 60 F254 silica gel | 50% (V/V) H2SO4, 110 °C, 5 min | Brow spots | 0.13 |
| Chloroform‒methanol‒glacial acetic acid 10:10:0.4 (V/V) | TLC silica gel 60F254 | Ammonium molybdate in H2SO4‒ethanol (spraying), 60 °C, 10 min | Blue spots on irregularly grey background | 0.19 |
| Chloroform‒methanol‒ammonia 10:10:0.4 (V/V) | TLC silica gel 60F254 | Ammonium molybdate in H2SO4‒etanol (spraying), 60 °C, 10 min | Blue spots on irregularly grey background | 0.22 |
| Chloroform‒methanol‒butylamine 10:10:0.4 (V/V) | TLC silica gel 60F254 | Ammonium molybdate in H2SO4‒ethanol (dipping), 60 °C, 10 min | Blue spots on blue background | 0.29 |
| Chloroform‒methanol‒water 10:10:0.4 (V/V) | TLC silica gel 60F254 | 0.2% (m/V) ninhydrin in ethanol, 100 °C 5 min | Pink spots from sample; no spots from standard | 0.00 |
|  | TLC silica gel 60F254 | 0.5% (m/V) ammonium molybdate in 25% (V/V) H2SO4‒ethanol, 100 °C, 5 min | grey blue spots | 0.00 |
|  | TLC silica gel 60F254 | 0.2% (m/V) ninhydrin in ethanol, 100 °C, 5 min | Pink spots from sample; no spots from standard | 0.00 |
| Chloroform‒methanol‒glacial acetic acid 6:3:0.4 (V/V) | TLC silica gel 60F254 | 0.2% (m/V) ammonium molybdate in H2SO4‒ethanol 60 °C, 10 min | Grey blue spots | 0.17 |
| Chloroform‒methanol‒glacial acetic acid 3:6:0.4 (V/V) | TLC silica gel 60F254 | Iodine vapour, 30 min | Light yellow spots on yellow background | 0.25 |