# Electronic Supplementary Material
Accreditation and Quality Assurance, 2014, Springer, Heidelberg

# “Degrees of Equivalence” for Chemical Measurement Capabilities:
Primary pH

David L. Duewer1, Kenneth W. Pratt1, Chainarong Cherdchu2, Nongluck Tangpaisarnkul2,
Akiharu Hioki3, Masaki Ohata3, Petra Spitzer 4, Michal Máriássy5, Leoš Vyskočil5

1	National Institute of Standards and Technology (NIST), 100 Bureau Drive, Gaithersburg,
Maryland 20899-8390  USA

2	National Institute of Metrology in Thailand (NIMT), 3/4-5 Moo 3, Klong 5, Klong Luang, 
Pathum thani 12120  Thailand

3	National Metrology Institute of Japan (NMIJ), 3-9 Tsukuba Central, 1-1-1, Umezono, Tsukuba, Ibaraki 305-8563  Japan

4	Physikalisch-Technische Bundesanstalt (PTB), Bundesallee 100, 38116 Braunschweig, Germany

5	Slovenský metrologický ústav (SMU), Karloveská 63, 842 55 Bratislava, Slovakia

# Table of Contents

Legend for Tables	S2

Caption for Figures S1 to S5	S3

Caption for Figure S6	S3

CCQM-K9, -K9.1, -K9.2, and APMP.QM-K9 (Phosphate Buffer)

Table S1.a: Reported Values	S4

Table S1.b: Variance Propagation Degrees of Equivalence	S5

Table S1.c: PBMC Degrees of Equivalence	S6

Figure S1: Variance (Panel a) and PBMC (Panel b) Degrees of Equivalence	S7

CCQM-K17 and EUROMET.QM-K17 (Phthalate Buffer)

Table S2.a: Reported Values	S8

Table S2.b: Variance Propagation Degrees of Equivalence	S9

Table S2.c: PBMC Degrees of Equivalence	S9

Figure S2: Variance (Panel b) and PBMC (Panel b) Degrees of Equivalence	S10

CCQM-K18 and –K18.1 (Carbonate Buffer)

Table S3.a: Reported Values	S11

Table S3.b: Variance Propagation and PBMC Degrees of Equivalence	S12

Figure S3: Variance (Panel a) and PBMC (Panel b) Degrees of Equivalence	S13

CCQM-K19 and –K19.1 (Borate Buffer)

Table S4.a: Reported Values	S14

Table S4.b: Variance Propagation Degrees of Equivalence	S15

Table S4.c: PBMC Degrees of Equivalence	S16

Figure S4: Variance (Panel a) and PBMC (Panel b) Degrees of Equivalence	S17

CCQM-K20 (Tetroxalate Buffer)

Table S5.a: Reported Values	S18

Table S5.b: Variance Propagation Degrees of Equivalence	S19

Table S5.c: PBMC Degrees of Equivalence	S19

Figure S5: Variance (Panel a) and PBMC (Panel b) Degrees of Equivalence	S20

Combined Đ±U95(Đ) Over Temperatures and Buffers

Table S6: Variance Propagation and PBMC Degrees of Equivalence	S21

Figure S6: Comparison of Symmetric (Panel a) and Asymmetric (Panel b) PBMC Uncertainties	S22

# Legend for Tables

#	result used in estimation of KCRV but the DEq for that NMI determined in a successor KC

*	result excluded from KCRV estimation on technical grounds

†	result used only as an “anchor” to link successor KC to the root KC

Code	Single alphanumeric character unique to each NMI

d	degrees of equivalence for a particular reported result

D	combination of d for all temperatures in a single buffer for a specific NMI

Đ	combination of d over all temperatures and buffers for a specific NMI

KC	Key Comparison

KCRV	Key Comparison Reference Value

n	number of d or D estimates available

n.e.	Not estimable from available information

n.m.	No valid measurement made at given temperature

pH	experimental result, either reported as measured acidity function at zero chloride molality (pa0) or converted by KC coordinator to Bates-Guggenheim convention pH

PBMC	Parametric Bootstrap Monte Carlo

s	standard deviation of a specified quantity for a given NMI

u	standard combined uncertainty

ū	Pooled value of a set of u; i.e., the square root of the mean of the squared u values

U95	half-width of a symmetric 95 % level of confidence coverage interval

-U95	lower half of an asymmetric 95 % level of confidence coverage interval

+U95	upper half of an asymmetric 95 % level of confidence coverage interval

xDL	DerSimonian-Laird weighted mean calculated using same data as used to estimate KCRV

# Caption for Figures S1 to S5

Dot-and-bar plots of the degrees of equivalence for all NMIs that submitted primary pH results for any KC for the specified buffer; Panel A displays the variance propagation estimates, Panel B displays the PBMC estimates.  The vertical axis displays degrees of equivalence, D ± U95(D) and d ± U95(d).  The horizontal axis is used to separate the NMIs.  The filled circles and thick vertical lines represent the combined D ± U95(D) for each NMI as estimated from Eq. 5 in the main text.  The NMIs are sorted in order of increasing D within each KC; the KC is identified above the results for the participant with the lowest-valued D within that KC.  The open symbols and thin vertical lines represent d ± U95(d) for measurements made at 15 °C (diamond), 25 °C (triangle), and 37 °C (square) as specified in the KC Final Reports.  The thick horizontal line represents zero bias; the thin horizontal lines are visual guide lines.

# Caption for Figure S6

Dot-and-bar plots of degrees of equivalence for all NMIs that reported primary method pH results in any of the 11 KCs listed in Table 1 of the main text; Panel A displays PBMC estimates with symmetric 95 % level of confidence expanded uncertainties, Panel B displays asymmetric uncertainties.  The graphical format is similar to that of Figures S1 to S5 with the exception that the large solid circles and thick bars represent the all-temperature all-buffer Ð ± U95(Ð) summaries and the smaller symbols and thin lines represent the all-temperature D ± U95(D) buffer-specific summaries.  The smaller solid circles denote results for phosphate buffer (CCQM-K9, -K9.1, -K9.2, APMP.QM-K9), “×” denote results for phthalate buffer (CCQM-K17, EUROMET-K17), solid triangles denote results for carbonate buffer (CCQM-K18, -K18.1), “+” denotes results for borate buffer (CCQM-K19, -K19.1), and solid diamonds denote results for tetroxalate buffer (CCQM-K20). (triangle), and 37 °C (square) as specified in the KC Final Reports.  The thick horizontal line represents zero bias; the thin horizontal lines are visual guide lines.

# Table S1.a: CCQM-K9, -K9.1, -K9.2, and APMP.QM-K9 (Phosphate Buffer)
Reported Values

|  |  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| KC | Code |  | pH | u(pH) |  | pH | u(pH) |  | pH | u(pH) |
| CCQM-K9 | F |  | 6.8950 | 0.0030 |  | 6.8600 | 0.0020 |  | 6.8370 | 0.0020 |
| “ | G |  | 6.8941 | 0.0010 |  | 6.8597 | 0.0010 |  | 6.8360 | 0.0010 |
| “ | I |  | 6.8990 | 0.0030 |  | 6.8580 | 0.0060 |  | n.m | n.m |
| “ | K |  | 6.8973 | 0.0005 |  | 6.8630 | 0.0007 |  | 6.8406 | 0.0022 |
| “ | L# |  | 6.8970 | 0.0009 |  | 6.8640 | 0.0009 |  | 6.8397 | 0.0009 |
| “ | M |  | 6.8992 | 0.0010 |  | 6.8643 | 0.0011 |  | 6.8406 | 0.0011 |
| “ | N |  | 6.8990 | 0.0010 |  | 6.8645 | 0.0009 |  | 6.8382 | 0.0009 |
| “ | O |  | 6.8983 | 0.0008 |  | 6.8643 | 0.0008 |  | 6.8407 | 0.0008 |
| “ | Q |  | 6.8980 | 0.0019 |  | 6.8640 | 0.0018 |  | 6.8390 | 0.0019 |
| KCRVa KCRV |  |  | 6.8975 | 0.0005 |  | 6.8633 | 0.0006 |  | 6.8391 | 0.0006 |
| xDL |  |  | 6.8975 | 0.0006 |  | 6.8631 | 0.0006 |  | 6.8390 | 0.0007 |
| CCQM-K9.1 | L |  | 6.9014 | 0.0010 |  | 6.8668 | 0.0011 |  | 6.8439 | 0.0013 |
| “ | M† |  | 6.9004 | 0.0011 |  | 6.8657 | 0.0011 |  | 6.8422 | 0.0011 |
| CCQM-K9.2 | E |  | 6.8884 | 0.0031 |  | 6.8593 | 0.0030 |  | 6.8345 | 0.0029 |
| “ | J |  | 6.8968 | 0.0013 |  | 6.8619 | 0.0011 |  | 6.8386 | 0.0012 |
| “ | M† |  | 6.8977 | 0.0010 |  | 6.8632 | 0.0010 |  | 6.8403 | 0.0010 |
| “ | P |  | 6.8980 | 0.0008 |  | 6.8642 | 0.0008 |  | 6.8409 | 0.0008 |
| “ | Q† |  | 6.9008 | 0.0011 |  | 6.8642 | 0.0011 |  | 6.8393 | 0.0013 |
| “ | R |  | 6.9245 | 0.0018 |  | 6.8786 | 0.0018 |  | 6.8564 | 0.0022 |
| APMP-K9 | D |  | 6.9116 | 0.0045 |  | 6.8801 | 0.0033 |  | 6.8575 | 0.0044 |
| “ | F† |  | 6.9181 | 0.0018 |  | 6.8835 | 0.0018 |  | 6.8582 | 0.0018 |
| “ | J† |  | 6.9169 | 0.0012 |  | 6.8825 | 0.0012 |  | 6.8594 | 0.0013 |
| “ | L† |  | 6.9171 | 0.0019 |  | 6.8845 | 0.0012 |  | 6.8604 | 0.0013 |
| “ | S |  | n.m. | n.m. |  | 6.9114 | 0.0015 |  | n.m. | n.m. |

a	Estimated as Graybill-Deal weighted mean with with uncertainty based on Graybill-Deal weighted standard deviation

# Table S1.b: CCQM-K9, -K9.1, -K9.2, and APMP.QM-K9 (Phosphate Buffer)
Variance Propagation Degrees of Equivalence a

|  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |  | Combined |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | d | U95(d) |  | d | U95(d) |  | d | U95(d) |  | n | D | s(d) | ū(d) | U95(D) |
| D |  | -0.0060 | 0.0091 |  | -0.0042 | 0.0067 |  | -0.0020 | 0.0089 |  | 3 | -0.0041 | 0.0020 | 0.0041 | 0.0092 |
| E |  | -0.0098 | 0.0076 |  | -0.0035 | 0.0067 |  | -0.0046 | 0.0068 |  | 3 | -0.0060 | 0.0033 | 0.0035 | 0.0097 |
| F |  | -0.0025 | 0.0061 |  | -0.0033 | 0.0042 |  | -0.0021 | 0.0042 |  | 3 | -0.0026 | 0.0006 | 0.0024 | 0.0050 |
| G |  | -0.0034 | 0.0022 |  | -0.0036 | 0.0023 |  | -0.0031 | 0.0023 |  | 3 | -0.0034 | 0.0003 | 0.0012 | 0.0024 |
| I |  | 0.0015 | 0.0061 |  | -0.0053 | 0.0121 |  | n.e. | n.e. |  | 2 | -0.0019 | 0.0048 | 0.0048 | 0.0136 |
| J |  | -0.0014 | 0.0051 |  | -0.0009 | 0.0037 |  | -0.0005 | 0.0043 |  | 3 | -0.0009 | 0.0004 | 0.0022 | 0.0045 |
| K |  | -0.0002 | 0.0014 |  | -0.0003 | 0.0018 |  | 0.0015 | 0.0046 |  | 3 | 0.0003 | 0.0010 | 0.0015 | 0.0036 |
| L# |  | -0.0005 | 0.0021 |  | 0.0007 | 0.0022 |  | 0.0006 | 0.0022 |  | 3 | 0.0003 | 0.0007 | 0.0011 | 0.0025 |
| L |  | 0.0027 | 0.0037 |  | 0.0021 | 0.0040 |  | 0.0032 | 0.0042 |  | 3 | 0.0027 | 0.0006 | 0.0020 | 0.0041 |
| M |  | 0.0017 | 0.0022 |  | 0.0010 | 0.0025 |  | 0.0015 | 0.0025 |  | 3 | 0.0014 | 0.0004 | 0.0012 | 0.0025 |
| N |  | 0.0015 | 0.0022 |  | 0.0012 | 0.0022 |  | -0.0009 | 0.0022 |  | 3 | 0.0006 | 0.0013 | 0.0011 | 0.0034 |
| O |  | 0.0008 | 0.0019 |  | 0.0010 | 0.0020 |  | 0.0016 | 0.0020 |  | 3 | 0.0011 | 0.0004 | 0.0010 | 0.0021 |
| P |  | -0.0002 | 0.0046 |  | 0.0014 | 0.0034 |  | 0.0018 | 0.0039 |  | 3 | 0.0010 | 0.0010 | 0.0020 | 0.0045 |
| Q |  | 0.0005 | 0.0039 |  | 0.0007 | 0.0038 |  | -0.0001 | 0.0040 |  | 3 | 0.0004 | 0.0004 | 0.0020 | 0.0040 |
| R |  | 0.0263 | 0.0056 |  | 0.0158 | 0.0047 |  | 0.0173 | 0.0056 |  | 3 | 0.0198 | 0.0057 | 0.0027 | 0.0126 |
| S |  | n.e. | n.e. |  | 0.0271 | 0.0032 |  | n.e. | n.e. |  | 1 | 0.0271 | n.e. | 0.0016 | 0.0032b |

a	Estimates recalculated from the reported results

b	Does not reflect between-temperature variability

# Table S1.c: CCQM-K9, -K9.1, -K9.2, and APMP.QM-K9 (Phosphate Buffer)
PBMC Degrees of Equivalence

|  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |  | Combined |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | d | U95(d) |  | d | U95(d) |  | d | U95(d) |  | D | -U95(D) | +U95(D) |
| D |  | -0.0058 | 0.0092 |  | -0.0035 | 0.0068 |  | -0.0021 | 0.0090 |  | -0.0037 | 0.0090 | 0.0087 |
| E |  | -0.0108 | 0.0064 |  | -0.0043 | 0.0062 |  | -0.0053 | 0.0060 |  | -0.0065 | 0.0088 | 0.0070 |
| F |  | -0.0026 | 0.0060 |  | -0.0033 | 0.0040 |  | -0.0022 | 0.0040 |  | -0.0027 | 0.0049 | 0.0049 |
| G |  | -0.0039 | 0.0021 |  | -0.0039 | 0.0022 |  | -0.0035 | 0.0022 |  | -0.0038 | 0.0021 | 0.0022 |
| I |  | 0.0015 | 0.0060 |  | -0.0052 | 0.0120 |  | n.e. | n.e. |  | -0.0007 | 0.0142 | 0.0079 |
| J |  | -0.0024 | 0.0029 |  | -0.0017 | 0.0026 |  | -0.0012 | 0.0028 |  | -0.0018 | 0.0030 | 0.0028 |
| K |  | -0.0002 | 0.0013 |  | 0.0000 | 0.0016 |  | 0.0017 | 0.0044 |  | 0.0001 | 0.0019 | 0.0049 |
| L# |  | 0.0010 | 0.0030 |  | 0.0011 | 0.0031 |  | 0.0017 | 0.0034 |  | 0.0012 | 0.0030 | 0.0033 |
| L |  | -0.0006 | 0.0019 |  | 0.0011 | 0.0019 |  | 0.0008 | 0.0020 |  | 0.0005 | 0.0024 | 0.0022 |
| M |  | 0.0020 | 0.0021 |  | 0.0014 | 0.0024 |  | 0.0019 | 0.0024 |  | 0.0018 | 0.0034 | 0.0025 |
| N |  | 0.0018 | 0.0021 |  | 0.0017 | 0.0019 |  | -0.0009 | 0.0020 |  | 0.0010 | 0.0020 | 0.0020 |
| O |  | 0.0010 | 0.0018 |  | 0.0015 | 0.0018 |  | 0.0020 | 0.0019 |  | 0.0015 | 0.0030 | 0.0026 |
| P |  | -0.0012 | 0.0021 |  | 0.0005 | 0.0021 |  | 0.0010 | 0.0022 |  | 0.0002 | 0.0039 | 0.0038 |
| Q |  | 0.0005 | 0.0038 |  | 0.0010 | 0.0036 |  | 0.0000 | 0.0038 |  | 0.0005 | 0.0053 | 0.0109 |
| R |  | 0.0253 | 0.0038 |  | 0.0149 | 0.0038 |  | 0.0165 | 0.0046 |  | 0.0172 | 0.0032 | 0.0032 |
| S |  | n.e. | n.e. |  | 0.0279 | 0.0033 |  | n.e. | n.e. |  | 0.0279 | 0.0090a | 0.0087a |

a	Does not reflect between-temperature variability

# Figure S1: CCQM-K9, -K9.1, -K9.2, and APMP.QM-K9 (Phosphate Buffer)
Degrees of Equivalence

Degrees of Equivalence, Nominal pH

### a: Variance Propagation

Degrees of Equivalence, Nominal pH

### b: PBMC

# Table S2.a CCQM-K17 and EUROMET.QM-K17 (Phthalate Buffer)
Reported Values

|  |  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| KC | Code |  | pH | u(pH) |  | pH | u(pH) |  | pH | u(pH) |
| CCQM-K17 | F |  | 4.0070 | 0.0020 |  | 4.0150 | 0.0020 |  | 4.0370 | 0.0020 |
| “ | G |  | 4.0033 | 0.0015 |  | 4.0104 | 0.0017 |  | 4.0296 | 0.0017 |
| “ | I |  | 4.0020 | 0.0024 |  | 4.0050 | 0.0022 |  | 4.0290 | 0.0020 |
| “ | J |  | 4.0024 | 0.0032 |  | 4.0108 | 0.0030 |  | 4.0261 | 0.0039 |
| “ | K |  | 4.0108 | 0.0005 |  | 4.0170 | 0.0006 |  | 4.0371 | 0.0013 |
| “ | L |  | 4.0095 | 0.0011 |  | 4.0174 | 0.0011 |  | 4.0397 | 0.0015 |
| “ | M |  | 4.0100 | 0.0011 |  | 4.0168 | 0.0011 |  | 4.0360 | 0.0015 |
| “ | N |  | 4.0123 | 0.0015 |  | 4.0183 | 0.0015 |  | 4.0355 | 0.0015 |
| “ | O |  | 4.0074 | 0.0008 |  | 4.0150 | 0.0008 |  | 4.0351 | 0.0008 |
| “ | Q |  | 4.0130 | 0.0013 |  | 4.0193 | 0.0013 |  | 4.0380 | 0.0013 |
| “ | R |  | 4.0014 | 0.0017 |  | 4.0050 | 0.0017 |  | 4.0272 | 0.0011 |
| KCRVa KCRV |  |  | 4.0093 | 0.0009 |  | 4.0156 | 0.0011 |  | 4.0343 | 0.0013 |
| xDL |  |  | 4.0077 | 0.0012 |  | 4.0140 | 0.0015 |  | 4.0340 | 0.0013 |
| EUROMET QM-K17 | A |  | 3.9919 | 0.0012 |  | 4.0002 | 0.0019 |  | 4.0209 | 0.0023 |
|  | M† |  | 3.9985 | 0.0012 |  | 4.0052 | 0.0012 |  | 4.0225 | 0.0012 |

a	Estimated as Graybill-Deal weighted mean with with uncertainty based on Graybill-Deal weighted standard deviation

# Table S2.b: CCQM-K17 and EUROMET.QM-K17 (Phthalate Buffer)
Variance Propagation Degrees of Equivalence a

|  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |  | Combined |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | d | U95(d) |  | d | U95(d) |  | d | U95(d) |  | n | D | s(d) | ū(d) | U95(D) |
| A |  | -0.0059 | 0.0044 |  | -0.0038 | 0.0055 |  | 0.0001 | 0.0065 |  | 3 | -0.0032 | 0.0030 | 0.0028 | 0.0082 |
| F |  | -0.0023 | 0.0044 |  | -0.0006 | 0.0046 |  | 0.0027 | 0.0048 |  | 3 | -0.0001 | 0.0025 | 0.0023 | 0.0068 |
| G |  | -0.0060 | 0.0035 |  | -0.0052 | 0.0040 |  | -0.0047 | 0.0043 |  | 3 | -0.0053 | 0.0007 | 0.0020 | 0.0042 |
| I |  | -0.0073 | 0.0051 |  | -0.0106 | 0.0049 |  | -0.0053 | 0.0048 |  | 3 | -0.0077 | 0.0027 | 0.0025 | 0.0073 |
| J |  | -0.0069 | 0.0066 |  | -0.0048 | 0.0064 |  | -0.0082 | 0.0082 |  | 3 | -0.0066 | 0.0017 | 0.0036 | 0.0079 |
| K |  | 0.0015 | 0.0021 |  | 0.0014 | 0.0025 |  | 0.0028 | 0.0037 |  | 3 | 0.0019 | 0.0008 | 0.0014 | 0.0032 |
| L |  | 0.0002 | 0.0028 |  | 0.0018 | 0.0031 |  | 0.0054 | 0.0040 |  | 3 | 0.0025 | 0.0027 | 0.0017 | 0.0063 |
| M |  | 0.0007 | 0.0028 |  | 0.0012 | 0.0031 |  | 0.0017 | 0.0040 |  | 3 | 0.0012 | 0.0005 | 0.0017 | 0.0035 |
| N |  | 0.0030 | 0.0035 |  | 0.0027 | 0.0037 |  | 0.0012 | 0.0040 |  | 3 | 0.0023 | 0.0010 | 0.0019 | 0.0042 |
| O |  | -0.0019 | 0.0024 |  | -0.0006 | 0.0027 |  | 0.0008 | 0.0031 |  | 3 | -0.0006 | 0.0014 | 0.0014 | 0.0038 |
| Q |  | 0.0037 | 0.0032 |  | 0.0037 | 0.0034 |  | 0.0037 | 0.0037 |  | 3 | 0.0037 | 0.0000 | 0.0017 | 0.0034 |
| R |  | -0.0079 | 0.0038 |  | -0.0106 | 0.0040 |  | -0.0071 | 0.0034 |  | 3 | -0.0085 | 0.0018 | 0.0019 | 0.0053 |

a	Estimates recalculated from the reported results

# Table S2.c: CCQM-K17 and EUROMET.QM-K17 (Phthalate Buffer)
PBMC Degrees of Equivalence

|  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |  | Combined |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | d | U95(d) |  | d | U95(d) |  | d | U95(d) |  | D | -U95(D) | +U95(D) |
| A |  | -0.0066 | 0.0034 |  | -0.0050 | 0.0044 |  | -0.0016 | 0.0051 |  | -0.0048 | 0.0046 | 0.0070 |
| F |  | -0.0007 | 0.0041 |  | 0.0011 | 0.0041 |  | 0.0033 | 0.0040 |  | 0.0012 | 0.0050 | 0.0052 |
| G |  | -0.0048 | 0.0032 |  | -0.0039 | 0.0036 |  | -0.0048 | 0.0036 |  | -0.0045 | 0.0035 | 0.0035 |
| I |  | -0.0061 | 0.0048 |  | -0.0098 | 0.0044 |  | -0.0055 | 0.0040 |  | -0.0070 | 0.0061 | 0.0051 |
| J |  | -0.0055 | 0.0063 |  | -0.0034 | 0.0059 |  | -0.0083 | 0.0076 |  | -0.0055 | 0.0085 | 0.0070 |
| K |  | 0.0036 | 0.0014 |  | 0.0035 | 0.0016 |  | 0.0035 | 0.0028 |  | 0.0035 | 0.0021 | 0.0021 |
| L |  | 0.0021 | 0.0024 |  | 0.0038 | 0.0024 |  | 0.0063 | 0.0031 |  | 0.0039 | 0.0036 | 0.0047 |
| M |  | 0.0027 | 0.0024 |  | 0.0032 | 0.0024 |  | 0.0023 | 0.0031 |  | 0.0027 | 0.0029 | 0.0027 |
| N |  | 0.0052 | 0.0032 |  | 0.0048 | 0.0032 |  | 0.0017 | 0.0032 |  | 0.0041 | 0.0047 | 0.0038 |
| O |  | -0.0002 | 0.0019 |  | 0.0012 | 0.0019 |  | 0.0013 | 0.0019 |  | 0.0008 | 0.0024 | 0.0022 |
| Q |  | 0.0059 | 0.0027 |  | 0.0059 | 0.0028 |  | 0.0045 | 0.0028 |  | 0.0054 | 0.0031 | 0.0030 |
| R |  | -0.0069 | 0.0035 |  | -0.0100 | 0.0035 |  | -0.0076 | 0.0024 |  | -0.0080 | 0.0046 | 0.0037 |

# Figure S2: CCQM-K17 and EUROMET.QM-K17 (Phthalate Buffer)
Degrees of Equivalence

Degrees of Equivalence, Nominal pH

### a: Variance Propagation

Degrees of Equivalence, Nominal pH

### b: PBMC

# Table S3.a: CCQM-K18 and –K18.1 (Carbonate Buffer)
Reported Values

|  |  |  | 25 °C |  |
| --- | --- | --- | --- | --- |
| KC | Code |  | pH | u(pH) |
| CCQM-K18 | A# |  | 10.1852 | 0.0036 |
| “ | C |  | 10.1945 | 0.0037 |
| “ | E# |  | 10.2051 | 0.0032 |
| “ | F# |  | 10.1815 | 0.0018 |
| “ | H |  | 10.1975 | 0.0030 |
| “ | I# |  | 10.2102 | 0.0011 |
| “ | J |  | 10.2014 | 0.0013 |
| “ | K |  | 10.1969 | 0.0008 |
| “ | L |  | 10.1995 | 0.0015 |
| “ | M# |  | 10.2107 | 0.0015 |
| “ | N |  | 10.1975 | 0.0017 |
| “ | R |  | 10.2003 | 0.0012 |
| KCRVa KCRV |  |  | 10.1985 | 0.0019 |
| xDL |  |  | 10.1986 | 0.0025 |
| CCQM-K18.1 | A |  | 10.0857 | 0.0034 |
| “ | E |  | 10.1032 | 0.0016 |
| “ | F |  | 10.0861 | 0.0018 |
| “ | I |  | 10.1092 | 0.0019 |
| “ | M |  | 10.1048 | 0.0015 |
| “ | P |  | 10.1076 | 0.0006 |
| “ | T |  | 10.1409 | 0.0034 |
| “ | L† |  | 10.1033 | 0.0015 |

a	Estimated as median with uncertainty based on median absolute deviation from the median (MAD)

# Table S3.b: CCQM-K18 and –K18.1 (Carbonate Buffer)
Variance Propagation and PBMC Degrees of Equivalence

|  |  | 25 °C |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Variance Propagation a |  |  | PBMC |  |
| Code |  | d | U95(d) |  | d | U95(d) |
| A# |  | -0.0133 | 0.0081 |  | -0.0144 | 0.0071 |
| A |  | -0.0166 | 0.0089 |  | -0.0176 | 0.0072 |
| C |  | -0.0040 | 0.0083 |  | -0.0043 | 0.0074 |
| E# |  | 0.0066 | 0.0074 |  | 0.0071 | 0.0064 |
| E |  | 0.0009 | 0.0065 |  | -0.0001 | 0.0044 |
| F# |  | -0.0170 | 0.0052 |  | -0.0188 | 0.0037 |
| F |  | -0.0162 | 0.0067 |  | -0.0172 | 0.0045 |
| H |  | -0.0010 | 0.0071 |  | -0.0012 | 0.0059 |
| I# |  | 0.0117 | 0.0044 |  | 0.0127 | 0.0025 |
| I |  | 0.0069 | 0.0068 |  | 0.0058 | 0.0047 |
| J |  | 0.0029 | 0.0046 |  | 0.0032 | 0.0028 |
| K |  | -0.0016 | 0.0041 |  | -0.0018 | 0.0021 |
| L |  | 0.0010 | 0.0048 |  | 0.0011 | 0.0031 |
| M# |  | 0.0122 | 0.0048 |  | 0.0132 | 0.0032 |
| M |  | 0.0025 | 0.0064 |  | 0.0015 | 0.0041 |
| N |  | -0.0010 | 0.0051 |  | -0.0012 | 0.0036 |
| P |  | 0.0053 | 0.0058 |  | 0.0043 | 0.0032 |
| R |  | 0.0018 | 0.0045 |  | 0.0020 | 0.0027 |
| T |  | 0.0386 | 0.0089 |  | 0.0375 | 0.0072 |

a	Estimates recalculated from the reported results

# Figure S3: CCQM-K18 and –K18.1 (Carbonate Buffer)
Degrees of Equivalence

Degrees of Equivalence, Nominal pH

### a: Variance Propagation

Degrees of Equivalence, Nominal pH

### b: PBMC

# Table S4.a: CCQM-K19 and –K19.1 (Borate Buffer)
Reported Results

|  |  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| KC | Code |  | pH | u(pH) |  | pH | u(pH) |  | pH | u(pH) |
| CCQM-K19 | B |  | 9.3220 | 0.0027 |  | 9.2230 | 0.0027 |  | 9.1370 | 0.0020 |
| “ | C |  | n.m. | n.m. |  | 9.2295 | 0.0022 |  | 9.1400 | 0.0023 |
| “ | G |  | 9.3247 | 0.0017 |  | 9.2343 | 0.0015 |  | 9.1471 | 0.0016 |
| “ | I |  | 9.3212 | 0.0074 |  | 9.2291 | 0.0032 |  | 9.1401 | 0.0017 |
| “ | J |  | 9.3224 | 0.0014 |  | 9.2303 | 0.0015 |  | 9.1426 | 0.0013 |
| “ | K# |  | 9.3220 | 0.0055 |  | 9.2300 | 0.0055 |  | 9.1420 | 0.0055 |
| “ | L |  | 9.3210 | 0.0013 |  | 9.2289 | 0.0012 |  | 9.1415 | 0.0012 |
| “ | M |  | 9.3214 | 0.0013 |  | 9.2300 | 0.0013 |  | 9.1421 | 0.0013 |
| “ | N |  | 9.3266 | 0.0013 |  | 9.2269 | 0.0023 |  | 9.1429 | 0.0027 |
| “ | O |  | 9.3268 | 0.0010 |  | 9.2361 | 0.0009 |  | 9.1485 | 0.0009 |
| “ | Q |  | 9.3296 | 0.0020 |  | 9.2372 | 0.0020 |  | 9.1495 | 0.0020 |
| KCRVa KCRV |  |  | 9.3222 | 0.0007 |  | 9.2300 | 0.0007 |  | 9.1421 | 0.0012 |
| xDL |  |  | 9.3243 | 0.0010 |  | 9.2308 | 0.0013 |  | 9.1432 | 0.0012 |
| CCQM-K19.1 | A |  | 9.3236 | 0.0025 |  | 9.2321 | 0.0020 |  | 9.1441 | 0.0024 |
| “ | E |  | 9.3250 | 0.0039 |  | 9.2367 | 0.0022 |  | 9.1541 | 0.0041 |
| “ | F |  | 9.3385 | 0.0016 |  | 9.2465 | 0.0017 |  | 9.1592 | 0.0016 |
| “ | J† |  | 9.3305 | 0.0012 |  | 9.2379 | 0.0012 |  | 9.1503 | 0.0012 |
| “ | K |  | 9.3337 | 0.0007 |  | 9.2409 | 0.0006 |  | 9.1516 | 0.0008 |
| “ | L† |  | 9.3325 | 0.0011 |  | 9.2390 | 0.0011 |  | 9.1505 | 0.0011 |
| “ | M† |  | 9.3314 | 0.0011 |  | 9.2399 | 0.0011 |  | 9.1522 | 0.0011 |
| “ | P |  | 9.3352 | 0.0009 |  | 9.2432 | 0.0010 |  | 9.1550 | 0.0010 |

a	Estimated as median with uncertainty based on median absolute deviation from the median (MAD)

# Table S4.b: CCQM-K19 and –K19.1 (Borate Buffer)
Variance Propagation Degrees of Equivalence a

|  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |  | Combined |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | d | U95(d) |  | d | U95(d) |  | d | U95(d) |  | n | D | s(d) | ū(d) | U95(D) |
| A |  | -0.0085 | 0.0057 |  | -0.0071 | 0.0049 |  | -0.0069 | 0.0059 |  | 3 | -0.0075 | 0.0008 | 0.0028 | 0.0058 |
| B |  | -0.0002 | 0.0056 |  | -0.0070 | 0.0056 |  | -0.0051 | 0.0047 |  | 3 | -0.0041 | 0.0035 | 0.0026 | 0.0088 |
| C |  | n.e. | n.e. |  | -0.0005 | 0.0046 |  | -0.0021 | 0.0051 |  | 2 | -0.0013 | 0.0011 | 0.0024 | 0.0054 |
| E |  | -0.0071 | 0.0083 |  | -0.0025 | 0.0052 |  | 0.0031 | 0.0089 |  | 3 | -0.0022 | 0.0051 | 0.0038 | 0.0127 |
| F |  | 0.0064 | 0.0043 |  | 0.0073 | 0.0044 |  | 0.0082 | 0.0046 |  | 3 | 0.0073 | 0.0009 | 0.0022 | 0.0048 |
| G |  | 0.0025 | 0.0037 |  | 0.0043 | 0.0033 |  | 0.0050 | 0.0039 |  | 3 | 0.0039 | 0.0013 | 0.0018 | 0.0045 |
| I |  | -0.0010 | 0.0149 |  | -0.0009 | 0.0064 |  | -0.0020 | 0.0042 |  | 3 | -0.0013 | 0.0006 | 0.0048 | 0.0097 |
| J |  | 0.0002 | 0.0031 |  | 0.0003 | 0.0033 |  | 0.0005 | 0.0035 |  | 3 | 0.0003 | 0.0002 | 0.0017 | 0.0033 |
| K# |  | -0.0002 | 0.0111 |  | 0.0000 | 0.0111 |  | -0.0001 | 0.0113 |  | 3 | -0.0001 | 0.0001 | 0.0056 | 0.0111 |
| K |  | 0.0016 | 0.0031 |  | 0.0017 | 0.0030 |  | 0.0006 | 0.0037 |  | 3 | 0.0013 | 0.0006 | 0.0016 | 0.0035 |
| L |  | -0.0012 | 0.0029 |  | -0.0011 | 0.0026 |  | -0.0006 | 0.0033 |  | 3 | -0.0010 | 0.0003 | 0.0015 | 0.0030 |
| M |  | -0.0008 | 0.0029 |  | 0.0000 | 0.0028 |  | 0.0000 | 0.0035 |  | 3 | -0.0003 | 0.0005 | 0.0015 | 0.0032 |
| N |  | 0.0044 | 0.0030 |  | -0.0031 | 0.0048 |  | 0.0008 | 0.0059 |  | 3 | 0.0007 | 0.0038 | 0.0024 | 0.0089 |
| O |  | 0.0046 | 0.0024 |  | 0.0061 | 0.0021 |  | 0.0064 | 0.0029 |  | 3 | 0.0057 | 0.0010 | 0.0013 | 0.0032 |
| P |  | 0.0031 | 0.0032 |  | 0.0040 | 0.0034 |  | 0.0040 | 0.0039 |  | 3 | 0.0037 | 0.0005 | 0.0018 | 0.0037 |
| Q |  | 0.0074 | 0.0042 |  | 0.0072 | 0.0042 |  | 0.0074 | 0.0047 |  | 3 | 0.0073 | 0.0001 | 0.0022 | 0.0044 |

a	Estimates recalculated from the reported results

# Table S4.c: CCQM-K19 and –K19.1 (Borate Buffer)
PBMC Degrees of Equivalence

|  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |  | Combined |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | d | U95(d) |  | d | U95(d) |  | d | U95(d) |  | D | -U95(D) | +U95(D) |
| A |  | -0.0079 | 0.0050 |  | -0.0069 | 0.0040 |  | -0.0069 | 0.0048 |  | -0.0072 | 0.0048 | 0.0045 |
| B |  | -0.0023 | 0.0055 |  | -0.0085 | 0.0056 |  | -0.0068 | 0.0042 |  | -0.0062 | 0.0064 | 0.0080 |
| C |  | n.e. | n.e. |  | -0.0014 | 0.0045 |  | -0.0035 | 0.0047 |  | -0.0024 | 0.0051 | 0.0049 |
| E |  | -0.0065 | 0.0076 |  | -0.0023 | 0.0043 |  | 0.0031 | 0.0080 |  | -0.0021 | 0.0099 | 0.0111 |
| F |  | 0.0070 | 0.0032 |  | 0.0075 | 0.0034 |  | 0.0082 | 0.0032 |  | 0.0075 | 0.0033 | 0.0034 |
| G |  | 0.0006 | 0.0035 |  | 0.0040 | 0.0032 |  | 0.0044 | 0.0033 |  | 0.0032 | 0.0052 | 0.0040 |
| I |  | -0.0031 | 0.0145 |  | -0.0018 | 0.0064 |  | -0.0034 | 0.0035 |  | -0.0029 | 0.0110 | 0.0105 |
| J |  | -0.0020 | 0.0030 |  | -0.0005 | 0.0032 |  | -0.0006 | 0.0028 |  | -0.0010 | 0.0034 | 0.0032 |
| K# |  | -0.0022 | 0.0108 |  | -0.0008 | 0.0109 |  | -0.0012 | 0.0108 |  | -0.0014 | 0.0023 | 0.0016 |
| K |  | 0.0022 | 0.0014 |  | 0.0019 | 0.0012 |  | 0.0006 | 0.0016 |  | 0.0017 | 0.0032 | 0.0030 |
| L |  | -0.0037 | 0.0029 |  | -0.0021 | 0.0028 |  | -0.0019 | 0.0027 |  | -0.0025 | 0.0036 | 0.0033 |
| M |  | -0.0032 | 0.0028 |  | -0.0009 | 0.0029 |  | -0.0012 | 0.0028 |  | -0.0017 | 0.0076 | 0.0054 |
| N |  | 0.0027 | 0.0029 |  | -0.0043 | 0.0048 |  | -0.0003 | 0.0055 |  | -0.0002 | 0.0040 | 0.0026 |
| O |  | 0.0031 | 0.0024 |  | 0.0060 | 0.0022 |  | 0.0060 | 0.0021 |  | 0.0053 | 0.0019 | 0.0019 |
| P |  | 0.0037 | 0.0017 |  | 0.0042 | 0.0019 |  | 0.0040 | 0.0019 |  | 0.0040 | 0.0041 | 0.0042 |
| Q |  | 0.0061 | 0.0041 |  | 0.0071 | 0.0041 |  | 0.0070 | 0.0041 |  | 0.0067 | 0.0048 | 0.0045 |

# Figure S4: CCQM-K19 and –K19.1 (Borate Buffer)
Degrees of Equivalence

Degrees of Equivalence, Nominal pH

### a: Variance Propagation

Degrees of Equivalence, Nominal pH

### b: PBMC

# Table S5.a: CCQM-K20 (Tetroxalate Buffer)
Reported Results

|  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | pH | u(pH) |  | pH | u(pH) |  | pH | u(pH) |
| E |  | 1.7718 | 0.0015 |  | 1.7867 | 0.0028 |  | 1.7995 | 0.0031 |
| C |  | n.m. | n.m. |  | 1.7825 | 0.0022 |  | 1.8035 | 0.0023 |
| H |  | 1.7828 | 0.0019 |  | 1.7897 | 0.0014 |  | 1.8035 | 0.0016 |
| I |  | 1.7808 | 0.0029 |  | 1.7918 | 0.0026 |  | 1.8050 | 0.0012 |
| L |  | 1.7818 | 0.0010 |  | 1.7917 | 0.0010 |  | 1.8068 | 0.0010 |
| P |  | 1.7816 | 0.0015 |  | 1.7911 | 0.0014 |  | 1.8078 | 0.0022 |
| Q* |  | 1.7838 | 0.0021a |  | 1.7915 | 0.0021a |  | 1.8057 | 0.0021a |
| K |  | 1.7842 | 0.0004 |  | 1.7928 | 0.0005 |  | 1.8061 | 0.0007 |
| R |  | 1.7827 | 0.0021 |  | 1.7933 | 0.0023 |  | 1.8074 | 0.0020 |
| J |  | 1.7844 | 0.0011 |  | 1.7934 | 0.0011 |  | 1.8077 | 0.0011 |
| N |  | 1.7889 | 0.0019 |  | 1.7990 | 0.0019 |  | 1.8133 | 0.0022 |
| T* |  | 1.8141 | 0.0041 |  | 1.8222 | 0.0039 |  | 1.8345 | 0.0040 |
| KCRVb |  | 1.7833 | 0.0010 |  | 1.7922 | 0.0008 |  | 1.8063 | 0.0007 |
| xDL |  | 1.7821 | 0.0015 |  | 1.7915 | 0.0012 |  | 1.8063 | 0.0008 |

a	Participant did not report u(pH); listed value is 0.0001 larger than largest u(pH) reported by this participant in 
CCQM-K9, -K17, and K-19

b	Estimated as Graybill-Deal weighted mean with with uncertainty based on Graybill-Deal weighted standard deviation

# Table S5.b: CCQM-K20 (Tetroxalate Buffer)
Variance Propagation Degrees of Equivalence a

|  |  | 15 °C |  |  | 25 °C |  |  | 37 °C |  |  | Combined |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | d | U95(d) |  | d | U95(d) |  | d | U95(d) |  | n | D | s(d) | ū(d) | U95(D) |
| C |  | n.e. | n.e. |  | -0.0097 | 0.0047 |  | -0.0028 | 0.0048 |  | 2 | -0.0062 | 0.0049 | 0.0024 | 0.0108 |
| E |  | -0.0115 | 0.0035 |  | -0.0055 | 0.0058 |  | -0.0068 | 0.0062 |  | 3 | -0.0079 | 0.0032 | 0.0027 | 0.0083 |
| H |  | -0.0005 | 0.0043 |  | -0.0025 | 0.0032 |  | -0.0028 | 0.0035 |  | 3 | -0.0019 | 0.0013 | 0.0018 | 0.0045 |
| I |  | -0.0025 | 0.0061 |  | -0.0004 | 0.0053 |  | -0.0013 | 0.0027 |  | 3 | -0.0014 | 0.0011 | 0.0025 | 0.0054 |
| J |  | 0.0011 | 0.0030 |  | 0.0012 | 0.0027 |  | 0.0014 | 0.0026 |  | 3 | 0.0012 | 0.0002 | 0.0014 | 0.0028 |
| K |  | 0.0009 | 0.0021 |  | 0.0006 | 0.0019 |  | -0.0002 | 0.0019 |  | 3 | 0.0004 | 0.0006 | 0.0010 | 0.0023 |
| L |  | -0.0015 | 0.0028 |  | -0.0005 | 0.0025 |  | 0.0005 | 0.0024 |  | 3 | -0.0005 | 0.0010 | 0.0013 | 0.0033 |
| N |  | 0.0056 | 0.0043 |  | 0.0068 | 0.0041 |  | 0.0070 | 0.0046 |  | 3 | 0.0065 | 0.0008 | 0.0022 | 0.0046 |
| P |  | -0.0017 | 0.0035 |  | -0.0011 | 0.0032 |  | 0.0015 | 0.0045 |  | 3 | -0.0004 | 0.0017 | 0.0019 | 0.0051 |
| Q* |  | 0.0005 | 0.0047 b |  | -0.0007 | 0.0045b |  | -0.0006 | 0.0044b |  | 3 | -0.0003 | 0.0007 | 0.0023b | 0.0047b |
| R |  | -0.0006 | 0.0046 |  | 0.0011 | 0.0048 |  | 0.0011 | 0.0041 |  | 3 | 0.0005 | 0.0010 | 0.0022 | 0.0049 |
| T* |  | 0.0308 | 0.0084 |  | 0.0300 | 0.0080 |  | 0.0282 | 0.0080 |  | 3 | 0.0297 | 0.0013 | 0.0041 | 0.0086 |

a	Estimates recalculated from the reported results

b	Participant did not report u(pH); uncertainty component estimated using u(pH) = 0.0021 pH.  This value is slightly larger than the largest u(pH) reported by participant in CCQM-K9, -K17, and –K19

# Table S5.c: CCQM-K20 (Tetroxalate Buffer)
PBMC Degrees of Equivalence

|  |  | 15 °C |  |  | 25 ° |  |  | 3 °C |  |  | Combined |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | d | U95(d) |  | d | U95(d) |  | d | U95(d) |  | D | -U95(D) | +U95(D) |
| C |  | n.e. | n.e. |  | -0.0098 | 0.0044 |  | -0.0029 | 0.0047 |  | -0.0064 | 0.0071 | 0.0074 |
| E |  | -0.0118 | 0.0032 |  | -0.0052 | 0.0056 |  | -0.0072 | 0.0062 |  | -0.0082 | 0.0060 | 0.0076 |
| H |  | 0.0008 | 0.0039 |  | -0.0019 | 0.0030 |  | -0.0030 | 0.0033 |  | -0.0016 | 0.0040 | 0.0052 |
| I |  | -0.0015 | 0.0059 |  | 0.0003 | 0.0053 |  | -0.0014 | 0.0027 |  | -0.0010 | 0.0049 | 0.0056 |
| J |  | 0.0025 | 0.0026 |  | 0.0021 | 0.0026 |  | 0.0016 | 0.0025 |  | 0.0021 | 0.0026 | 0.0025 |
| K |  | 0.0023 | 0.0014 |  | 0.0016 | 0.0016 |  | -0.0002 | 0.0018 |  | 0.0015 | 0.0030 | 0.0020 |
| L |  | -0.0004 | 0.0023 |  | 0.0003 | 0.0022 |  | 0.0006 | 0.0022 |  | 0.0002 | 0.0024 | 0.0024 |
| N |  | 0.0074 | 0.0038 |  | 0.0081 | 0.0039 |  | 0.0074 | 0.0044 |  | 0.0077 | 0.0040 | 0.0042 |
| P |  | -0.0005 | 0.0034 |  | -0.0003 | 0.0032 |  | 0.0018 | 0.0048 |  | 0.0001 | 0.0034 | 0.0049 |
| Q* |  | 0.0015 | 0.0044a |  | -0.0002 | 0.0043a |  | -0.0008 | 0.0043a |  | 0.0002 | 0.0046a | 0.0046a |
| R |  | 0.0007 | 0.0047 |  | 0.0020 | 0.0049 |  | 0.0013 | 0.0044 |  | 0.0013 | 0.0043 | 0.0045 |
| T* |  | 0.0320 | 0.0085 |  | 0.0308 | 0.0080 |  | 0.0283 | 0.0083 |  | 0.0304 | 0.0085 | 0.0084 |

a	Participant did not report u(pH); uncertainty component estimated using u(pH) = 0.0021 pH.  This value is slightly larger than the largest u(pH) reported by participant in CCQM-K9, -K17, and -K19

# Figure S5: CCQM-K20 (Tetroxalate Buffer)
Degrees of Equivalence

Degrees of Equivalence, Nominal pH

### a: Variance Propagation

Degrees of Equivalence, Nominal pH

### b: PBMC

# Table S6: Variance Propagation and PBMC Summary Degrees of Equivalence

|  |  | Variance Propagation |  |  |  |  |  | PBMC |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Code |  | n | Ð | s(D) | ū(D) | U95(Ð) |  | Ð | -U95(Ð) | +U95(Ð) |
| A |  | 3 | -0.0091 | 0.0068 | 0.0039 | 0.0157 |  | -0.0078 | 0.0151 | 0.0083 |
| B |  | 1 | -0.0041 | n.e. | 0.0044 | 0.0088a |  | -0.0062 | 0.0064a | 0.0079a |
| C |  | 3 | -0.0038 | 0.0025 | 0.0042 | 0.0098 |  | -0.0040 | 0.0084 | 0.0064 |
| D |  | 1 | -0.0041 | n.e. | 0.0046 | 0.0092a |  | -0.0037 | 0.0090a | 0.0086a |
| E |  | 4 | -0.0038 | 0.0039 | 0.0048 | 0.0124 |  | -0.0038 | 0.0101 | 0.0092 |
| F |  | 4 | -0.0029 | 0.0098 | 0.0030 | 0.0205 |  | -0.0008 | 0.0194 | 0.0106 |
| G |  | 3 | -0.0016 | 0.0049 | 0.0019 | 0.0104 |  | -0.0032 | 0.0039 | 0.0094 |
| H |  | 2 | -0.0015 | 0.0007 | 0.0030 | 0.0061 |  | -0.0014 | 0.0050 | 0.0056 |
| I |  | 5 | -0.0011 | 0.0052 | 0.0045 | 0.0138 |  | -0.0015 | 0.0109 | 0.0106 |
| J |  | 5 | -0.0006 | 0.0036 | 0.0025 | 0.0088 |  | -0.0002 | 0.0101 | 0.0052 |
| K |  | 5 | 0.0005 | 0.0013 | 0.0017 | 0.0043 |  | 0.0011 | 0.0042 | 0.0036 |
| L |  | 5 | 0.0009 | 0.0017 | 0.0022 | 0.0056 |  | 0.0008 | 0.0051 | 0.0061 |
| M |  | 4 | 0.0012 | 0.0011 | 0.0021 | 0.0048 |  | 0.0014 | 0.0055 | 0.0036 |
| N |  | 5 | 0.0018 | 0.0029 | 0.0028 | 0.0080 |  | 0.0018 | 0.0072 | 0.0084 |
| O |  | 3 | 0.0021 | 0.0032 | 0.0016 | 0.0072 |  | 0.0018 | 0.0029 | 0.0055 |
| P |  | 4 | 0.0024 | 0.0026 | 0.0024 | 0.0071 |  | 0.0024 | 0.0050 | 0.0040 |
| Q |  | 4 | 0.0028 | 0.0035 | 0.0021 | 0.0081 |  | 0.0035 | 0.0066 | 0.0061 |
| R |  | 4 | 0.0060 | 0.0125 | 0.0038 | 0.0249 |  | 0.0017 | 0.0127 | 0.0246 |
| S |  | 1 | 0.0271 | n.e. | 0.0016 | 0.0032b |  | 0.0279 | 0.0032b | 0.0032b |
| T |  | 2 | 0.0341 | 0.0063 | 0.0044 | 0.0153 |  | 0.0343 | 0.0111 | 0.0094 |

a	Does not reflect between-buffer variability

b	Does not reflect between-temperature or between-buffer variability

# Figure S6: PBMC Combined Degrees of Equivalence
Comparison of Symmetric and Asymmetric U95(D) and U95(Đ)

Degrees of Equivalence, Nominal pH

### a: Symmetric

Degrees of Equivalence, Nominal pH

### b: Asymmetric