SUPPLEMENTARY MATERIAL

for

Eco-Friendly voltammetric method for Determination of 17β-Estradiol using a Screen-Printed Electrode Modified with GQDs

Juliana Costa Rolim Galvãoa, Jessica R. Camargob, Mayara da Silva Araujoa, Carla Dalmolinc, Bruno Campos Janegitzb, Roberta Antigo Medeirosa

aDepartment of Chemistry, State University of Londrina (UEL), Londrina, Paraná, 86057-970, Brazil

b Department of Nature Sciences,Mathematics and Education, Federal University of São Carlos (UFSCar), Araras, São Paulo, 13600-970, Brazil

cDepartment of Chemistry, State University of Santa Catarina (UDESC), Joinville, SC

Figure SM-1: Particle size distribution of GQDs-CAPy obtained by the dynamic light scattering technique.

E1: Ip (μA) = 1.39 μA + 51.26 μA μmol-1 L [E1] (μmol L-1) (R2 = 0.989)

E2: Ip (μA) = 1.85 μA + 29.57 μA μmol-1 L [E2] (μmol L-1) (R2 = 0.994)

E3: Ip (μA) = 1.89 μA + 50.18 μA μmol-1 L [E3] (μmol L-1) (R2 = 0.975)

Figure SM-2: Analytical curve obtained for E1, E2 and E3 in the linear concentration range: 10.0, 30.0, 50.0, 80.0 and 100.0 nmol L-1, using the SPE-GQDs-CAPy in BR buffer solution 0.04 mol L-1, pH 2.0 (with 10% ethanol v/v).

Fig. SM3: Chromatograms obtained for E2 (a–f): 30, 50, 100, 300, 500, 800, and 1000 µmol L⁻¹ (t = 8.20 min; λ = 220 nm), using a methanol/water (70:30 v/v) mobile phase at a flow rate of 1.0 mL min⁻¹ on a C18 column. Inset: Analytical curve obtained for E2 over the concentration range of 30 to 1000 µmol L⁻¹.

Table SM-1 – ΔIp and ΔE values ​​obtained with SPE as prepared and after different activations

| ACTIVATION | Ip (µA) | E (mV) |
| --- | --- | --- |
| SPE as prepared | 24.5 | 693 |
| SPE activation I | 34.4 | 388 |
| SPE activation II | 22.2 | 570 |
| SPE activation III | 16.9 | 749 |

Table SM-2 – ΔIp and ΔE values ​​obtained with SPE after activation I and modification with GDQs synthetized by different methods

|  | Ip (µA) |
| --- | --- |
| SPE activation I | 34.4 |
| SPE-GQDs-ACPy | 65.7 |
| SPE-GQDs-MW | 53.9 |
| SPE-GQDs-HyTh | 26.4 |