Supplementary Table S1
Dual energy computed tomography scan parameters
	Scan parameters
	

	Scan type
	Spiral

	Collimation, mm
	0.6

	Slice thickness, mm
	0.75

	Pitch
	0.7

	kVp
	

	   Tube A
	80

	   Tube B
	150

	mAs
	

	   Tube A (variable dose modulation)
	Mean (SD): 111.4 (10.3); Range: 94 - 139

	   Tube B (variable dose modulation)
	Mean (SD): 75.1 (6.6); Range: 66 - 95

	CTDI, mGy
	Variable

	Reconstruction
	

	Kernel
	Qr40d\2

	Dual energy gout settings
	

	Soft tissue (80 kV)
	50

	Soft tissue (150 kV)
	50

	Resolution
	4

	Dual energy ratio 
	1.4

	Min. HU
	150

	Max. HU
	500

	Range
	Air distance 5, bone distance 10


kVp: kilovoltage peak; mGy: milligray; kV: kilovolt; HU: Hounsfield units. 
