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Figure S1. Representative HPLC chromatogram of SGE. 6-shogaol (retention time: 24.2 min) was analyzed with a Waters Symmetry C18 5 μm column (2.1 × 150 mm) at 230 nm under a gradient condition of A solution (0.005% formic acid in water) and B solution (0.005% formic acid in acetonitrile). The elution gradient was as follows: 0-2 min, 20-20% (B%); 2-25 min, 20-60% (B%); 25-40 min, 60-100% (B%); 40-45 min, 100-100% (B%).
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