Supplementary table 1: Criteria for detection of bacteriuria under IFU specifications
	
	
	

	Criteria as described by IFU
	Reference positive
	Reference negative

	PA-100 positive
	PA-100 Bacteriuria positive
+
Culture positive for E. coli, K. pneumoniae, P. mirabilis, S. saprophyticus and/or E. faecalis
	PA-100 Bacteriuria positive
+
Culture negative for E. coli, K. pneumoniae, P. mirabilis, S. saprophyticus and/or E. faecalis

	PA-100 negative
	PA-100 Bacteriuria negative
+
Culture positive for E. coli, K. pneumoniae, P. mirabilis, S. saprophyticus and/or E. faecalis
AND
Culture ≥50.000 CFU/mL
	PA-100 Bacteriuria negative
+
Culture negative for E. coli, K. pneumoniae, P. mirabilis, S. saprophyticus and/or E. faecalis
OR
Culture <50.000 CFU/mL

	
	
	

	Current routine criteria
	Reference positive
	Reference negative

	PA-100 positive
	PA-100 Bacteriuria positive
+
Culture positive according to microbiological clinical practice
	PA-100 Bacteriuria positive
+
Culture negative 
(incl. contamination or vaginal flora) 

	PA-100 negative
	PA-100 Bacteriuria negative
+
Culture positive according to microbiological clinical practice
	PA-100 Bacteriuria negative
+
Culture negative 
(incl. contamination or vaginal flora)
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