Supplementary table 1: Criteria for detection of bacteriuria under IFU specifications

| Criteria as described by IFU |  | Reference positive |  | Reference negative |
| --- | --- | --- | --- | --- |
| PA-100 positive | PA-100 Bacteriuria positive + Culture positive for E. coli, K. pneumoniae, P. mirabilis, S. saprophyticus and/or E. faecalis |  | PA-100 Bacteriuria positive + Culture negative for E. coli, K. pneumoniae, P. mirabilis, S. saprophyticus and/or E. faecalis |  |
| PA-100 negative | PA-100 Bacteriuria negative + Culture positive for E. coli, K. pneumoniae, P. mirabilis, S. saprophyticus and/or E. faecalis AND Culture ≥50.000 CFU/mL |  | PA-100 Bacteriuria negative + Culture negative for E. coli, K. pneumoniae, P. mirabilis, S. saprophyticus and/or E. faecalis OR Culture <50.000 CFU/mL |  |
| Current routine criteria |  | Reference positive |  | Reference negative |
| PA-100 positive | PA-100 Bacteriuria positive + Culture positive according to microbiological clinical practice |  | PA-100 Bacteriuria positive + Culture negative (incl. contamination or vaginal flora) |  |
| PA-100 negative | PA-100 Bacteriuria negative + Culture positive according to microbiological clinical practice |  | PA-100 Bacteriuria negative + Culture negative (incl. contamination or vaginal flora) |  |