Supplementary Table 1. Post hoc pairwise p-values (Bonferroni adjusted) from the quantitative image quality analysis, for all reconstruction type pairs

|  | ASiR-V vs. DLIR-L | ASiR-V vs. DLIR-M | ASiR-V vs. DLIR-H | DLIR-L vs. DLIR-M | DLIR-L vs. DLIR-H | DLIR-M vs. DLIR-H |
| --- | --- | --- | --- | --- | --- | --- |
| CT ATTENUATION |  |  |  |  |  |  |
| Thalamic GM | 0.002 | 0.084 | 1 | 1 | 0.052 | 0.898 |
| PLIC WM | < 0.001 | < 0.001 | < 0.001 | 1 | < 0.001 | 0.002 |
| M5 GM | 0.066 | < 0.001 | < 0.001 | 0.078 | < 0.001 | 0.005 |
| CSO WM | 0.947 | 0.154 | 0.001 | 1 | 0.098 | 0.682 |
| IMAGE NOISE |  |  |  |  |  |  |
| Thalamic GM | 0.763 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| PLIC WM | 0.078 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| M5 GM | 1 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| CSO WM | 0.028 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| PF (artifacts) | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| Air | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| ICH | 1 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | 0.016 |
| SNR |  |  |  |  |  |  |
| Thalamic GM | 0.479 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| PLIC WM | 0.009 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| M5 GM | 1 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| CSO WM | 0.006 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| ICH | 1 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | 0.016 |
| CNR |  |  |  |  |  |  |
| Thalamic GM-PLIC WM | 1 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| M5 GM-CSO WM | 1 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |

GM gray matter, WM white matter, PLIC posterior limb of the internal capsule, M5 M5 cortex region (lateral MCA territory) according to Alberta Stroke Program Early CT Score – ASPECTS, CSO centrum semiovale, PF posterior fossa, ICH intracranial hemorrhage, SNR signal-to-noise ratio, CNR contrast-to-noise ratio, ASiR-V adaptive statistical iterative reconstruction-Veo, DLIR-L deep learning-based image reconstruction low strength level, DLIR-M deep learning-based image reconstruction medium strength level, DLIR-H deep learning-based image reconstruction high strength level

Bold type indicates statistical significance

Supplementary Table 2.  Post hoc pairwise p-values (Bonferroni adjusted) from the qualitative image quality analysis, for all reconstruction type pairs

|  | ASiR-V vs. DLIR-L | ASiR-V vs. DLIR-M | ASiR-V vs. DLIR-H | DLIR-L vs. DLIR-M | DLIR-L vs. DLIR-H | DLIR-M vs. DLIR-H |
| --- | --- | --- | --- | --- | --- | --- |
| Most experienced reader |  |  |  |  |  |  |
| Image noise | 0.220 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| Brain structures | 1 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | 0.722 |
| Artifacts | 1 | 1 | 1 | 1 | 1 | 1 |
| ICH conspicuity | ns | ns | ns | ns | ns | ns |
| Second most experienced reader |  |  |  |  |  |  |
| Image noise | 0.002 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| Brain structures | 0.002 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| Artifacts | 0.004 | < 0.001 | < 0.001 | 0.098 | < 0.001 | < 0.001 |
| ICH conspicuity | 1 | 0.156 | 0.005 | 0.261 | 0.010 | 1 |
| Less experienced reader |  |  |  |  |  |  |
| Image noise | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| Brain structures | 0.008 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| Artifacts | 0.044 | < 0.001 | < 0.001 | < 0.001 | < 0.001 | < 0.001 |
| ICH conspicuity | 1 | 0.004 | < 0.001 | 0.031 | < 0.001 | 0.043 |

ICH intracranial hemorrhage, ASiR-V adaptive statistical iterative reconstruction-Veo, DLIR-L deep learning-based image reconstruction low strength level, DLIR-M deep learning-based image reconstruction medium strength level, DLIR-H deep learning-based image reconstruction high strength level, ns not significant (post hoc test not performed due to nonsignificant repeated-measures ANOVA/Friedman test)

Bold type indicates statistical significance