Comparative Accuracy of Two Commercial AI Algorithms for Musculoskeletal Trauma Detection in Emergency Radiographs

Emergency Radiology

Jarno T. Huhtanen*, MHSc, PgDab, Mikko Nyman, MD, PhDc, Roberto Blanco Sequeiros, MD, PhDc, Seppo K. Koskinen, MD, PhDd, Tomi K. Pudas, MDd, Sami Kajander, MD, PhDb, Pekka Niemi, MD, PhDb, Hannu J. Aronen, MD, PhDc and Jussi Hirvonen, MD, PhDce

aFaculty of Health and Well-being, Turku University of Applied Sciences; bDepartment of Radiology, University of Turku; cDepartment of Radiology, University of Turku and Turku University Hospital, Turku, Finland; dTerveystalo Inc, Jaakonkatu 3, Helsinki, Finland; eDepartment of Radiology, Tampere University, Faculty of Medicine and Health Technology and Tampere University Hospital, Tampere, Finland

*Corresponding author at: Faculty of Health and Well-being, Turku University of Applied Sciences, Joukahaisenkatu 3, 20520 Turku. E-mail address: jarno.huhtanen@turkuamk.fi

Table 4. Algorithm performance metrics for both AI algorithms in different MSK regions.

|  |  | Hand | Wrist | Elbow | Shoulder | Hip and Pelvis | Knee | Ankle | Foot |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TP | BoneView | 46 | 56 | 47 | 51 | 58 | 19 | 46 | 46 |
|  | RBfracture | 46 | 53 | 45 | 51 | 57 | 16 | 47 | 45 |
| TN | BoneView | 65 | 45 | 73 | 51 | 54 | 98 | 71 | 61 |
|  | RBfracture | 65 | 43 | 77 | 50 | 56 | 96 | 70 | 65 |
| FP | BoneView | 5 | 12 | 6 | 7 | 10 | 4 | 12 | 11 |
|  | RBfracture | 5 | 14 | 2 | 8 | 8 | 6 | 13 | 7 |
| FN | BoneView | 4 | 10 | 2 | 8 | 0 | 6 | 7 | 7 |
|  | RBfracture | 4 | 13 | 4 | 8 | 1 | 9 | 6 | 8 |
| Sensitivity (Mean, 95% CI) | BoneView | 0.920 (0.812– 0.968) | 0.848 (0.743– 0.916) | 0.959 (0.863–0.989) | 0.864 (0.755–0.930) | 1.000 (0.938–1.000) | 0.760 (0.566–0.885) | 0.868 (0.752–0.935) | 0.868 (0.752–0.935) |
|  | RBfracture | 0.920 (0.812– 0.968) | 0.803 (0.692– 0.881) | 0.918 (0.808–0.968) | 0.864 (0.755–0.930) | 0.983 (0.909–0.997) | 0.640 (0.445–0.798) | 0.887 (0.774–0.947) | 0.849 (0.729–0.921) |
| Specificity (Mean, 95% CI) | BoneView | 0.929 (0.843– 0.969) | 0.789 (0.667– 0.875) | 0.924 (0.844–0.965) | 0.879 (0.771–0.940) | 0.844 (0.736–0.913) | 0.961 (0.903–0.985) | 0.855 (0.764–0.915) | 0.847 (0.747–0.912) |
|  | RBfracture | 0.929 (0.843– 0.969) | 0.754 (0.629– 0.848) | 0.975 (0.912–0.993) | 0.862 (0.751–0.928) | 0.875 (0.772–0.935) | 0.941 (0.878–0.973) | 0.843 (0.750–0.906) | 0.903 (0.813–0.952) |
| Cohen's Kappa (Mean, 95% CI) |  | 0.86 (0.77–0.95) | 0.72 (0.60–0.84) | 0.87 (0.78–0.96) | 0.71 (0.58–0.84) | 0.85 (0.76–0.94) | 0.76 (0.61–0.91) | 0.79 (0.69–0.89) | 0.79 (0.68–0.90) |

TP true positive, TN true negative, FP false positive, FN false negative, CI confidence interval