Supplementary Data 11. Detailed characteristics of studies reporting on the accuracy of mIONM for predicting neurological deficits in IDEM spinal tumors.
	No.
	Author, year
	Short-term evaluation
	Long-term evaluation

	
	
	Evaluation point
	TP
	TN
	FP
	FN
	Sensitivity
	Specificity
	PPV
	NPV
	Evaluation point
	TP
	TN
	FP
	FN
	Sensitivity
	Specificity
	PPV
	NPV

	1
	Aydinlar et al., 20142
	First postoperative day
	11
	0
	2
	0
	0
	100
	0
	84.62
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	2
	Ghadirpour et al., 201512
	Immediately postoperatively
	65
	2
	1
	0
	66.67
	100
	100
	98.48
	Minimum time of 6 months after discharge
	66
	0
	0
	2
	0
	97.06
	0
	100

	3
	Ghadirpour et al., 201813
	Immediatley postoperatively
	98
	6
	1
	3
	85.71
	97.03
	66.67
	98.99
	12 months after discharge
	99
	0
	0
	9
	0
	91.67
	0
	100

	4
	Ishida et al., 201917
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	6 months after discharge
	78
	14
	3
	8
	82.35
	90.7
	63.64
	96.3

	5
	Siller et al., 202037
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	Minimum time of 4.3 months after discharge
	6
	0
	0
	0
	0
	100
	0
	100

	6
	Cofano et al., 20207
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	Minimum time of 3 months after discharge
	154
	5
	0
	3
	100
	98.09
	62.5
	100

	7
	Van der Wal et al., 202143
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	1 year after discharge
	35
	7
	2
	14
	77.78
	71.43
	33.33
	94.59

	8
	Siller et al., 202338
	After surgery (not precisely specified)
	156
	4
	10
	0
	28.57
	100
	100
	93.98
	Mean time of 14.8 months after discharge
	163
	2
	3
	2
	40
	98.79
	50
	98.19

	9
	Yu et al., 202346
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	12 months after discharge
	81
	0
	0
	6
	0
	93.1
	0
	100

	10
	Mishra et al., 202426
	Immediately postoperatively
	13
	2
	0
	0
	100
	100
	100
	100
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A
	N/A

	Mean values (%)
	68.71
	99.63
	94.44
	97.01
	Mean values (%)
	75.03
	92.6
	29.92
	98.64


Legend: IDEM, intradural extramedullary; mIONM, multimodal intraoperative neurophysiological monitoring; N/A, not available; TP, true positive; TN, true negative; FP, false positive; FN, false negative; PPV, positive predictive value; NPV, negative predictive value.
