Supplementary Data 8. Applicability of SSEP monitoring for predicting sensory deficits in IDEM spinal tumors.
	No.
	Author, year
	SSEP alarm criteria
	SSEP monitorability, (%)
	No. of SSEP alarm cases, (%)
	No. of rescue SSEP cases, (%)
	No. of permanent SSEP decline cases, (%)
	Postoperative new short-term sensory deficits, (%)
	Postoperative new long-term sensory deficits, (%)

	1
	Aydinlar et al., 20142
	≥50% amplitude reduction or >10% latency prolongation
	13/13 (100%)
	0/13 (0%)
	N/A
	0/13 (0%)
	0/13 (0%)
	0/13 (0%)

	2
	Ishida et al., 201917
	>50% amplitude decrease or >10% latency increase
	103/103 (100%)
	17/103 (16.5%)
	8/17 (47.06%)
	9/103 (8.74%)
	N/A
	10/103 (9.71%)

	3
	Siller et al., 202338
	≥50% amplitude reduction or ≥2 ms latency increase
	172/173 (99.42%)
	2/172 (1.16%)
	0/2 (0%)
	2/172 (1.16%)
	7/172 (4.07%)
	4/172 (2.33%)

	4
	Mishra et al., 202426
	>50% amplitude drop
	13/32 (40.63%)
	2/13 (15.38%)
	0/2 (0%)
	2/13 (15.38%)
	2/13 (15.38%)
	N/A

	Total number of cases, n (%)
	301/321 (93.77%)
	21/301 (6.98%)
	8/21 (38.1%)
	13/301 (4.32%)
	9/198 (4.55%)
	14/288 (4.86%)


Legend: IDEM, intradural extramedullary; SSEP, somatosensory evoked potentials; N/A, not available.
