## Rated pillars and concepts
Item Number | Pillar | Concept | Mean Concept Rating | Pillar Score | Poduct of pillar score and the concept rating
1 | Usability /User interface | Ease of use | 4.8333 | 10.1667 | 49.1389
2 | Usability /User interface | Hanging protocols | 4.8333 | 10.1667 | 49.1389
3 | Usability /User interface | Secondary viewer/interruption workflow | 4.8333 | 10.1667 | 49.1389
4 | Usability /User interface | Clear indication of prior vs. current study | 4.75 | 10.1667 | 48.2917
5 | Usability /User interface | Key-image generation (automated and manual) | 4.6364 | 10.1667 | 47.1364
6 | Usability /User interface | intuitive tools and icons | 4.5 | 10.1667 | 45.75
7 | Usability /User interface | Multiple worklists (tabs) | 4.5 | 10.1667 | 45.75
8 | Usability /User interface | Hanging protocol prioritization | 4.4167 | 10.1667 | 44.9028
9 | Usability /User interface | Accessibility | 4.3333 | 10.1667 | 44.0556
10 | Usability /User interface | Consistent contextual focus (I.e. worklists, instant messenger, QC editor) | 4.3333 | 10.1667 | 44.0556
11 | Usability /User interface | Prior relevancy rules | 4.2727 | 10.1667 | 43.4394
12 | Usability /User interface | Options for sorting multi-phase series | 4.2 | 10.1667 | 42.7
13 | Usability /User interface | Multivariable Filtering/Searching - worklist | 4.1667 | 10.1667 | 42.3611
14 | Usability /User interface | Unstack multi-phase series | 4.1 | 10.1667 | 41.6833
15 | Usability /User interface | Contextual play of cine loops | 4.0909 | 10.1667 | 41.5909
16 | Usability /User interface | Usable thumbnails | 4.0833 | 10.1667 | 41.5139
17 | Usability /User interface | Study jacket/patient timeline | 4.0833 | 10.1667 | 41.5139
18 | Usability /User interface | Multivariable Filtering/Searching - patient jacket | 4.0833 | 10.1667 | 41.5139
19 | Usability /User interface | Study linkage for multi-phase series (mDixon, DWI) | 4 | 10.1667 | 40.6667
20 | Usability /User interface | Easy study preview | 4 | 10.1667 | 40.6667
21 | Usability /User interface | Multivariable Filtering/Searching - system level | 4 | 10.1667 | 40.6667
22 | Usability /User interface | Identification of trainee workflow by faculty | 4 | 10.1667 | 40.6667
23 | Usability /User interface | Reducing keystrokes | 3.9167 | 10.1667 | 39.8194
24 | Usability /User interface | Study updating/refresh without closing | 3.9167 | 10.1667 | 39.8194
25 | Usability /User interface | Recently read studies | 3.9167 | 10.1667 | 39.8194
26 | Usability /User interface | Relevant patient information pulled from Epic | 3.9167 | 10.1667 | 39.8194
27 | Usability /User interface | Sticky UI modifications (window size/location) | 3.9 | 10.1667 | 39.65
28 | Usability /User interface | Dark mode/reduced eyestrain viewer | 3.8333 | 10.1667 | 38.9722
29 | Usability /User interface | Study relevancy identification | 3.8333 | 10.1667 | 38.9722
30 | Usability /User interface | Contextual patient information pulled from Epic | 3.8333 | 10.1667 | 38.9722
31 | Usability /User interface | Automated window scaling | 3.8182 | 10.1667 | 38.8182
32 | Usability /User interface | Creation of macros/hotkeys | 3.7273 | 10.1667 | 37.8939
33 | Usability /User interface | Consistent Contextual toolsets independent of hanging protocol | 3.6667 | 10.1667 | 37.2778
34 | Usability /User interface | Ability to reorder series within a study | 3.6667 | 10.1667 | 37.2778
35 | Usability /User interface | Color-coding | 3.5833 | 10.1667 | 36.4306
36 | Usability /User interface | Series/image reorganization – presentation | 3.5833 | 10.1667 | 36.4306
37 | Usability /User interface | Auto-load next study | 3.5833 | 10.1667 | 36.4306
38 | Usability /User interface | 3rd party app integration/creation of custom buttons | 3.4545 | 10.1667 | 35.1212
39 | Usability /User interface | Auto-registration of series from prior studies | 3.3636 | 10.1667 | 34.197
40 | Usability /User interface | Contextual help/contextual guidance | 3.3333 | 10.1667 | 33.8889
41 | Usability /User interface | Searchable help | 3.2727 | 10.1667 | 33.2727
42 | Usability /User interface | On-the-fly feature recommendations | 3 | 10.1667 | 30.5
43 | Usability /User interface | Support for advanced mice/gaming mice | 2.9 | 10.1667 | 29.4833
44 | Usability /User interface | Mobile platform | 2.75 | 10.1667 | 27.9583
45 | Usability /User interface | Productivity dashboard | 2.4167 | 10.1667 | 24.5694
46 | Workflows | QC tools | 4.8333 | 8.8333 | 42.6944
47 | Workflows | Critical results communication workflow inclusive of reading room assistants | 4.8333 | 8.8333 | 42.6944
48 | Workflows | Key image creation | 4.7273 | 8.8333 | 41.7576
49 | Workflows | Customizable worklists (service-based; technologists) | 4.5833 | 8.8333 | 40.4861
50 | Workflows | Ability to build efficient customized workflows | 4.5 | 8.8333 | 39.75
51 | Workflows | Trainee workflow | 4.5455 | 8.83 | 40.1364
52 | Workflows | Group and user-based hanging protocols | 4.4167 | 8.8333 | 39.0139
53 | Workflows | Post-processing identification and workflow | 4.3333 | 8.8333 | 38.2778
54 | Workflows | Automated status changes | 4.25 | 8.8333 | 37.5417
55 | Workflows | Ability to easily view studies in progress | 4.25 | 8.8333 | 37.5417
56 | Workflows | Worklist prioritization (not AI-based) | 4.1818 | 8.8333 | 36.9394
57 | Workflows | Easy way to reserve/claim studies | 4.1667 | 8.8333 | 36.8056
58 | Workflows | Automated rules engine (status) | 4 | 8.8333 | 35.3333
59 | Workflows | Study relevancy/body part mapping | 4 | 8.8333 | 35.3333
60 | Workflows | Automated worklist assignments | 3.8333 | 8.8333 | 33.8611
61 | Workflows | Teleradiology workflows integrated to PACS | 3.8182 | 8.8333 | 33.7273
62 | Workflows | Technologist tracking (reduce number of mouse clicks) | 3.75 | 8.8333 | 33.125
63 | Workflows | Role-related workflow (trainees default to draft rather than read) | 3.7273 | 8.8333 | 32.9242
64 | Workflows | Licensing/credentialing | 3.5455 | 8.8333 | 31.3182
65 | Workflows | AI/ML integrations | 3.4545 | 8.8333 | 30.5152
66 | Workflows | Study-to-study reading (cycling) | 3.3 | 8.8333 | 29.15
67 | Workflows | Study-to-study previewing (cycling) | 3.0909 | 8.8333 | 27.303
68 | Performance | First image load time | 4.8182 | 8.6667 | 41.7576
69 | Performance | Study load time | 4.8182 | 8.6667 | 41.7576
70 | Performance | Cine load time | 4.6364 | 8.6667 | 40.1818
71 | Performance | Image quality across multiple modalities | 4.6364 | 8.6667 | 40.1818
72 | Performance | Prior study load time | 4.5455 | 8.6667 | 39.3939
73 | Performance | Study linking time | 4.2727 | 8.6667 | 37.0303
74 | Performance | System up-time | 4.2727 | 8.6667 | 37.0303
75 | Performance | Ad-hoc query load time | 4.2727 | 8.6667 | 37.0303
76 | Performance | Study locking time | 4.2 | 8.6667 | 36.4
77 | Performance | System start-up time | 4.1818 | 8.6667 | 36.2424
78 | Performance | Study ingestion speed | 4.1111 | 8.6667 | 35.6296
79 | Performance | Study forward speed | 3.8 | 8.6667 | 32.9333
80 | Performance | Study export speed | 3.7 | 8.6667 | 32.0667
81 | Toolsets/specialized functionality | QC tools accessible to technologist | 5 | 7.9167 | 39.5833
82 | Toolsets/specialized functionality | QC editing with image level manipulation | 4.9167 | 7.9167 | 38.9236
83 | Toolsets/specialized functionality | Measurement tools | 4.8333 | 7.9167 | 38.2639
84 | Toolsets/specialized functionality | Annotation tools | 4.6667 | 7.9167 | 36.9444
85 | Toolsets/specialized functionality | ROI tools – circle, square, freehand | 4.5 | 7.9167 | 35.625
86 | Toolsets/specialized functionality | Permission for higher level QC editing tools (i.e. ability to restrict patient merge) | 4.4545 | 7.9167 | 35.2652
87 | Toolsets/specialized functionality | Foreign study viewing | 4.4545 | 7.9167 | 35.2652
88 | Toolsets/specialized functionality | On-the-fly integrated 3D Multiplanar reformat | 4.3636 | 7.9167 | 34.5455
89 | Toolsets/specialized functionality | Cine toolsets | 4.3333 | 7.9167 | 34.3056
90 | Toolsets/specialized functionality | Accurate calculation of displayed SUV | 4.3333 | 7.9167 | 34.3056
91 | Toolsets/specialized functionality | Sub-specialty tools | 4.3 | 7.9167 | 34.0417
92 | Toolsets/specialized functionality | Nuc Med toolsets | 4.1111 | 7.9167 | 32.5463
93 | Toolsets/specialized functionality | 3D measurement toolsets | 4 | 7.9167 | 31.6667
94 | Toolsets/specialized functionality | Ability to view and search DICOM tags | 4 | 7.9167 | 31.6667
95 | Toolsets/specialized functionality | Nuc med intensity adjustment | 4 | 7.9167 | 31.6667
96 | Toolsets/specialized functionality | Image manipulation tools (e.g., free rotate plain films) | 3.9167 | 7.9167 | 31.0069
97 | Toolsets/specialized functionality | Nuc Med fusion capability | 3.8889 | 7.9167 | 30.787
98 | Toolsets/specialized functionality | Optimized color scales for nuc med | 3.8889 | 7.9167 | 30.787
99 | Toolsets/specialized functionality | Auto registration (within and between studies) | 3.75 | 7.9167 | 29.6875
100 | Toolsets/specialized functionality | Hotkeys and macros | 3.75 | 7.9167 | 29.6875
101 | Toolsets/specialized functionality | Customized buttons - like call a specific webpage | 3.5 | 7.9167 | 27.7083
102 | Toolsets/specialized functionality | Rules engine | 3.5 | 7.9167 | 27.7083
103 | Toolsets/specialized functionality | Display multi-media reports | 3.5 | 7.9167 | 27.7083
104 | Toolsets/specialized functionality | On-the-fly anonymization | 3 | 7.9167 | 23.75
105 | Integration | Epic | 4.6667 | 6.1667 | 28.7778
106 | Integration | VNA | 4.6667 | 6.1667 | 28.7778
107 | Integration | HealthCast | 4.6 | 6.1667 | 28.3667
108 | Integration | PowerScribe (bidirectional) | 4.5833 | 6.1667 | 28.2639
109 | Integration | Single sign on | 4.4444 | 6.1667 | 27.4074
110 | Integration | IHE profiles | 4.25 | 6.1667 | 26.2083
111 | Integration | HL7 FHIR integration | 4.25 | 6.1667 | 26.2083
112 | Integration | Master patient index | 4 | 6.1667 | 24.6667
113 | Integration | Active Directory | 4 | 6.1667 | 24.6667
114 | Integration | SynMRI | 4 | 6.1667 | 24.6667
115 | Integration | Vitrea | 3.6667 | 6.1667 | 22.6111
116 | Integration | MIM | 3.5 | 6.1667 | 21.5833
117 | Integration | ONeDrive | 3.4444 | 6.1667 | 21.2407
118 | Integration | Illuminate | 3.4 | 6.1667 | 20.9667
119 | Integration | Cactus | 3.2 | 6.1667 | 19.7333
120 | Integration | Voalte | 3.1667 | 6.1667 | 19.5278
121 | Integration | StatDx (other websites) | 2.9 | 6.1667 | 17.8833
122 | Integration | Teams | 2.875 | 6.1667 | 17.7292
123 | Integration | Qgenda | 2.75 | 6.1667 | 16.9583
124 | Communication | Critical results button click for reading room assistants | 4.9091 | 5.8333 | 28.6364
125 | Communication | Critical results documentation of communication | 4.9091 | 5.8333 | 28.6364
126 | Communication | Critical results communication and documentation workflow | 4.8182 | 5.8333 | 28.1061
127 | Communication | Multidisciplinary conference tools | 4.6 | 5.8333 | 26.8333
128 | Communication | Anonymized mode for conferences | 4.6 | 5.8333 | 26.8333
129 | Communication | Critical results documentation visible to radiologists | 4.5455 | 5.8333 | 26.5152
130 | Communication | Presentation states for conferences | 4.5 | 5.8333 | 26.25
131 | Communication | Instant messager tool | 4.5 | 5.8333 | 26.25
132 | Communication | Ability to apply standard comments for critical results documentation | 4.2727 | 5.8333 | 24.9242
133 | Communication | Instant messager ability to share cases | 4.1818 | 5.8333 | 24.3939
134 | Communication | Consultation tools (e.g., screen sharing) | 4 | 5.8333 | 23.3333
135 | Communication | Automated notifications (e.g., new images added to a study; can’t dictate study) | 4 | 5.8333 | 23.3333
136 | Communication | shared conference worklists | 4 | 5.8333 | 23.3333
137 | Communication | Provider directory | 3.9091 | 5.8333 | 22.803
138 | Communication | Instant messager knows role/seat | 3.75 | 5.8333 | 21.875
139 | Communication | Instant messager maintains focus | 3.75 | 5.8333 | 21.875
140 | Communication | Instant messager group messages | 3.6667 | 5.8333 | 21.3889
141 | Communication | Instant messager clickable URLs | 3.6364 | 5.8333 | 21.2121
142 | Communication | Instant messager broadcast messages | 3.3636 | 5.8333 | 19.6212
143 | Communication | Instant messager ability to send cases with saved presentation state | 3.3636 | 5.8333 | 19.6212
144 | Communication | Instant messager favorite contacts | 3.25 | 5.8333 | 18.9583
145 | Communication | Instant messager read receipt | 3.1818 | 5.8333 | 18.5606
146 | Communication | Instant messager template messages | 2.9091 | 5.8333 | 16.9697
147 | Communication | Instant messager ability to save messages | 2.5833 | 5.8333 | 15.0694
148 | Communication | Instant messager emojis | 2.4545 | 5.8333 | 14.3182
149 | Communication | Instant messager character limit | 2.4545 | 5.8333 | 14.3182
150 | Administration and Support | DICOM sending | 5 | 5.5833 | 27.9167
151 | Administration and Support | DICOM routing | 5 | 5.5833 | 27.9167
152 | Administration and Support | DICOM routing rules | 5 | 5.5833 | 27.9167
153 | Administration and Support | Jailed studies/exceptions workflow with ability to view images and reason for failure explained | 4.875 | 5.5833 | 27.2188
154 | Administration and Support | Easy for onsite admins to add modalities/devices/destinations | 4.8571 | 5.5833 | 27.119
155 | Administration and Support | Worklist assignment to user groups | 4.8571 | 5.5833 | 27.119
156 | Administration and Support | In-house support | 4.8571 | 5.5833 | 27.119
157 | Administration and Support | System-level tools | 4.8333 | 5.5833 | 26.9861
158 | Administration and Support | Searchable admin tools | 4.8333 | 5.5833 | 26.9861
159 | Administration and Support | Ability to build worklists based on location, modality, reservations (and ability to override if needed) | 4.8333 | 5.5833 | 26.9861
160 | Administration and Support | Accessible configuration tools (not in XML or SQL) | 4.8 | 5.5833 | 26.8
161 | Administration and Support | Advanced QC tools - image/study/series manipulation | 4.7778 | 5.5833 | 26.6759
162 | Administration and Support | Order matching | 4.75 | 5.5833 | 26.5208
163 | Administration and Support | Realtime HL7 monitoring | 4.75 | 5.5833 | 26.5208
164 | Administration and Support | HL& morphing | 4.75 | 5.5833 | 26.5208
165 | Administration and Support | Provider management separate from LDAP | 4.75 | 5.5833 | 26.5208
166 | Administration and Support | Detailed audit trail inclusive of custom status | 4.6667 | 5.5833 | 26.0556
167 | Administration and Support | Automation of support/maintenence tasks | 4.6667 | 5.5833 | 26.0556
168 | Administration and Support | DICOM tag morphing | 4.6 | 5.5833 | 25.6833
169 | Administration and Support | Permissive study import (no order required for a study to be loaded) | 4.5 | 5.5833 | 25.125
170 | Administration and Support | Readable log files | 4.5 | 5.5833 | 25.125
171 | Administration and Support | Reporting tools | 4.5 | 5.5833 | 25.125
172 | Administration and Support | Database access | 4.5 | 5.5833 | 25.125
173 | Administration and Support | Ability to perform service restarts | 4.4286 | 5.5833 | 24.7262
174 | Administration and Support | HP Assignment | 4.4286 | 5.5833 | 24.7262
175 | Administration and Support | HP created for system level | 4.4286 | 5.5833 | 24.7262
176 | Administration and Support | Realtime DICOM monitoring | 4.4 | 5.5833 | 24.5667
177 | Administration and Support | Image parameter morphing | 4.4 | 5.5833 | 24.5667
178 | Administration and Support | Searchable DICOM tag viewer | 4.375 | 5.5833 | 24.4271
179 | Administration and Support | Hanging protocols (HP) management | 4.3333 | 5.5833 | 24.1944
180 | Administration and Support | User-group configuration inclusive of settings, permissions, tools, worklists, hanging protocols | 4.25 | 5.5833 | 23.7292
181 | Administration and Support | Virtual support | 4.1667 | 5.5833 | 23.2639
182 | Administration and Support | Templated user set-up | 4.1429 | 5.5833 | 23.131
183 | Administration and Support | Real-time data monitoring queues | 4 | 5.5833 | 22.3333
184 | Administration and Support | User set up - active directory | 4 | 5.5833 | 22.3333
185 | Administration and Support | Online context specific help/training | 3.4286 | 5.5833 | 19.1429
186 | Education | Teaching files personal/private | 4.5 | 4.3333 | 19.5
187 | Education | Image save (JPEG, TIFF) | 4.3636 | 4.3333 | 18.9091
188 | Education | Teaching files public | 4.3 | 4.3333 | 18.6333
189 | Education | Video save (cine) to AVI or GIF | 4.1 | 4.3333 | 17.7667
190 | Education | Searchable teaching files | 4.1 | 4.3333 | 17.7667
191 | Education | Teaching worklists | 4 | 4.3333 | 17.3333
192 | Education | Ability to modify teaching worklists | 4 | 4.3333 | 17.3333
193 | Education | Date of addition included in teaching file | 3.8 | 4.3333 | 16.4667
194 | Education | Ability to add anonymized normals | 3.7 | 4.3333 | 16.0333
195 | Education | Instant message to teaching worklist in PACS | 3.4 | 4.3333 | 14.7333
196 | Education | On-the-fly anonymization of patient (with link to patient jacket) | 3.1818 | 4.3333 | 13.7879
197 | Education | Creation of URLs to teaching worklists in PACS | 3.1 | 4.3333 | 13.4333
198 | Interoperability | Image routing | 4.75 | 3.8333 | 18.2083
199 | Interoperability | Permissive image ingestiion | 4.75 | 3.8333 | 18.2083
200 | Interoperability | Image sharing | 4.6 | 3.8333 | 17.6333
201 | Interoperability | Data in/out | 4.6 | 3.8333 | 17.6333
202 | Interoperability | CD/DVD/USB/File system creation workflow | 4.5714 | 3.8333 | 17.5238
203 | Interoperability | IHE profiles | 4.5 | 3.8333 | 17.25
204 | Interoperability | Enterprise imaging | 4.3333 | 3.8333 | 16.6111
205 | Interoperability | Web API | 4.25 | 3.8333 | 16.2917
206 | Interoperability | Creation of URLs to imaging study within PACS | 4 | 3.8333 | 15.3333
207 | Interoperability | XML | 4 | 3.8333 | 15.3333
208 | Interoperability | Artificial intelligence workflow integration | 3.9091 | 3.8333 | 14.9848
209 | Interoperability | XDS | 3.75 | 3.8333 | 14.375
210 | Interoperability | Artificial intelligence orchestration | 3.7273 | 3.8333 | 14.2879
211 | Technology | Ability to access internet on same computer | 5 | 3.1667 | 15.8333
212 | Technology | automated tag morphing | 4.8 | 3.1667 | 15.2
213 | Technology | Open API | 4.75 | 3.1667 | 15.0417
214 | Technology | Database access (Research, RadiologyCentral, eg) | 4.5455 | 3.1667 | 14.3939
215 | Technology | Server operating system (Windows > Linux) | 4.5 | 3.1667 | 14.25
216 | Technology | Streamlined deployment architecture | 4.4 | 3.1667 | 13.9333
217 | Technology | Prior studies always online | 4.2222 | 3.1667 | 13.3704
218 | Technology | Business continuity | 4.2 | 3.1667 | 13.3
219 | Technology | Virtual desktop support | 4.1429 | 3.1667 | 13.119
220 | Technology | Custom scripted tasks | 3.8571 | 3.1667 | 12.2143
221 | Technology | Pathway to cloud | 3.625 | 3.1667 | 11.4792
222 | Technology | Mobile support | 3.5 | 3.1667 | 11.0833
223 | Technology | Mac/Apple support | 3 | 3.1667 | 9.5
224 | Procurement/Implementation | Migration strategy inclusive of VNA | 4.4286 | 1.5 | 6.6429
225 | Procurement/Implementation | Regular access to engineers, developers, product management | 4.3636 | 1.5 | 6.5455
226 | Procurement/Implementation | Application roll-out | 4.3333 | 1.5 | 6.5
227 | Procurement/Implementation | Proactive vendor support | 4.1818 | 1.5 | 6.2727
228 | Procurement/Implementation | Onsite training for radiologists and technologists | 4.1667 | 1.5 | 6.25
229 | Procurement/Implementation | Total cost of ownership | 4 | 1.5 | 6
230 | Procurement/Implementation | Online/real-time support | 4 | 1.5 | 6
231 | Procurement/Implementation | Cost model | 4 | 1.5 | 6
232 | Procurement/Implementation | Visibility of submitted tickets | 4 | 1.5 | 6
233 | Procurement/Implementation | Project time line | 3.8889 | 1.5 | 5.8333
234 | Procurement/Implementation | Add-on costs/components | 3.8571 | 1.5 | 5.7857
235 | Procurement/Implementation | Migration cost | 3.75 | 1.5 | 5.625
236 | Procurement/Implementation | Support cost | 3.75 | 1.5 | 5.625