Supplementary material

Multi-residue enantioselective analysis of chiral drugs in freshwater sediments

Abbey Eagleshama, Arron Scotta, Bruce Petriea*

aSchool of Pharmacy and Life Sciences, Robert Gordon University, Aberdeen, AB10 7GJ, UK

*Corresponding author email: b.r.petrie@rgu.ac.uk Tel. +44 (0)1224 262824

The electronic supplementary material contains three tables detailing the physicochemical properties of studied drugs, their multiple reaction monitoring transitions and instrument performance information.

Table S1. Chemical properties of studied drugs

| Enantiomer | Molecular formula | Molecular weight (g/mol) | Water solubility (mg/L) | Log KOW | pKa (most acidic) | pKa (most basic) |
| --- | --- | --- | --- | --- | --- | --- |
| R/S(±)-metoprolol | C15H25NO3 | 267.37 | 4.77x103 | 1.69 | 13.89 | 9.43 |
| R/S(±)-bisoprolol | C18H31NO4 | 325.44 | 2.24 x103 | 1.84 | 13.86 | 9.42 |
| R/S(±)-propranolol | C16H21NO2 | 259.35 | 228 | 2.60 | 13.84 | 9.50 |
| R/S(±)-acebutolol | C18H28N2O4 | 336.43 | 259 | 1.71 | 13.91 | 9.57 |
| R/S(±)-atenolol | C14H22N2O3 | 266.34 | 685 | -0.03 | 13.88 | 9.43 |
| R/S(±)-sotalol | C12H20N2O3S | 272.36 | 5.51x103 | 0.24 | 10.07 | 9.43 |
| R/S(±)-salbutamol | C13H21NO3 | 239.31 | 1.43x104 | 0.64 | 10.12 | 9.40 |
| R/S(±)-amphetamine | C9H13N | 135.21 | 2.80x104 | 1.76 | - | 9.94 |
| R/S(±)-methamphetamine | C10H15N | 149.24 | 1.33x104 | 2.22 | - | 10.38 |
| R/S(±)-chlorpheniramine | C16H19ClN2 | 274.79 | 5.50x103 | 3.38 | - | 9.47 |
| R/S(±)-fluoxetine | C17H18F3NO | 309.33 | 60.3 | 4.65 | - | 10.05 |
| R/S(±)-venlafaxine | C17H27NO2 | 277.41 | 267 | 3.28 | 14.84 | 9.26 |
| R/S(±)-desmethylvenlafaxine | C16H25NO2 | 263.38 | - | - | 10.04 | 9.33 |
| R/S(±)-citalopram | C20H21FN2O | 324.40 | 31.1 | 3.74 | - | 9.57 |
| R/S(±)-desmethylcitalopram | C19H19FN2O | 310.40 | 5.2 | 3.38 | - | 10.54 |

Table S2. Multiple reaction monitoring transitions of all drugs and deuterated surrogates

| Drugs | Rt (minutes) | Precursor (m/z) | Fragmentor (V) | Product 1 (m/z) | CE (eV) | Product 2 (m/z) | CE (eV) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| R/S(±)-metoprolol | 10.0, 10.9 | 268.1 | 110 | 116.0 | 12 | 191.1 | 10 |
| R/S(±)-bisoprolol | 9.5, 10.1 | 326.2 | 120 | 116.0 | 10 | 74.1 | 30 |
| R/S(±)-propranolol | 12.4, 13.9 | 259.9 | 110 | 115.9 | 10 | 182.9 | 10 |
| R/S(±)-acebutolol | 14.0, 15.6 | 337.2 | 90 | 116.1 | 20 | 319.3 | 10 |
| R/S(±)-atenolol | 18.1, 19.7 | 266.9 | 100 | 145.0 | 30 | 189.9 | 20 |
| R/S(±)-sotalol | 13.0, 15.3 | 273.1 | 90 | 133.0 | 10 | 255.1 | 30 |
| R/S(±)-salbutamol | 8.1, 9.2 | 239.9 | 90 | 147.9 | 10 | 165.9 | 10 |
| R/S(±)-amphetamine | 12.3, 14.2 | 135.8 | 70 | 90.9 | 20 | 65.0 | 40 |
| R/S(±)-methamphetamine | 16.0, 17.9 | 150.0 | 90 | 91.0 | 20 | 65.0 | 40 |
| R/S(±)-chlorpheniramine | 18.8, 20.7 | 274.9 | 90 | 229.9 | 10 | 166.8 | 40 |
| R/S(±)-fluoxetine | 15.8, 19.8 | 309.8 | 90 | 44.0 | 10 | 147.7 | 2 |
| R/S(±)-venlafaxine | 11.8, 13.3 | 278.1 | 90 | 58.1 | 20 | 121.1 | 30 |
| R/S(±)-desmethylvenlafaxine | 10.8, 12.6 | 264.1 | 90 | 246.1 | 10 | 106.9 | 30 |
| R/S(±)-citalopram | 21.0, 23.6 | 325.1 | 110 | 108.9 | 30 | 261.8 | 20 |
| R/S(±)-desmethylcitalopram | 21.5, 33.6 | 311.0 | 110 | 108.9 | 20 | 262.0 | 10 |
| R/S(±)-metoprolol-d7 | 10.1, 10.9 | 275.2 | 110 | 123.0 | 15 | - | - |
| R/S(±)-bisoprolol-d5 | 9.6, 10.2 | 331.2 | 120 | 121.0 | 10 | - | - |
| R/S(±)-propranolol-d7 | 12.4, 14.4 | 267.0 | 110 | 115.9 | 20 | - | - |
| R/S(±)-acebutolol-d5 | 14.1, 15.8 | 342.2 | 90 | 121.0 | 20 | - | - |
| R/S(±)-atenolol-d7 | 18.2, 19.8 | 274.1 | 110 | 145.0 | 30 | - | - |
| R/S(±)-sotalol-d6 | 13.0, 15.3 | 279.1 | 90 | 133.9 | 30 | - | - |
| R/S(±)-salbutamol-d3 | 8.2, 9.3 | 243.0 | 90 | 150.9 | 10 | - | - |
| R/S(±)-amphetamine-d11 | 12.4, 14.4 | 147.0 | 70 | 98.0 | 20 | - | - |
| R/S(±)-methamphetamine-d11 | 16.0, 18.0 | 161.1 | 90 | 97.0 | 20 | - | - |
| R/S(±)-chlorpheniramine-d6 | 20.2, 22.2 | 281.0 | 100 | 229.9 | 10 | - | - |
| R/S(±)-fluoxetine-d6 | 15.8, 19.9 | 316.0 | 90 | 44.1 | 10 | - | - |
| R/S(±)-venlafaxine-d6 | 11.8, 13.3 | 284.1 | 90 | 58.1 | 20 | - | - |
| R/S(±)-citalopram-d6 | 22.3, 25.0 | 331.0 | 130 | 109.0 | 30 | - | - |

Key: CE, collision energy

Table S3. Linearity, intraday and interday precision, and instrumental detection and quantitation limits

| Enantiomer | Linear range (ng mL-1) | r2 | Intraday precision (%) |  |  | Interday precision (%) |  |  | IDL (ng mL-1) | IQL (ng mL-1) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 5 ng mL-1 | 50 ng mL-1 | 250 ng mL-1 | 5 ng mL-1 | 50 ng mL-1 | 250 ng mL-1 |  |  |
| Metoprolol-E1 | 0-250 | 0.995 | 6.3 | 0.6 | 2.1 | 2.0 | 0.6 | 1.8 | 0.8 | 2.5 |
| Metoprolol-E2 | 0-250 | 0.997 | 4.0 | 0.7 | 1.0 | 3.5 | 1.4 | 0.7 | 0.8 | 2.5 |
| Bisoprolol-E1 | 0-250 | 0.999 | 2.8 | 0.5 | 0.8 | 1.7 | 0.8 | 0.5 | 0.1 | 0.4 |
| Bisoprolol-E2 | 0-250 | 1.000 | 2.5 | 3.2 | 2.2 | 1.3 | 2.1 | 2.4 | 0.1 | 0.4 |
| S(-)-propranolol | 0-250 | 1.000 | 0.9 | 2.2 | 2.0 | 5.3 | 2.6 | 1.1 | 0.3 | 1.0 |
| R(+)-propranolol | 0-250 | 1.000 | 4.4 | 2.2 | 1.7 | 1.9 | 6.7 | 1.1 | 0.3 | 1.0 |
| Acebutolol-E1 | 0-250 | 1.000 | 2.6 | 0.6 | 0.7 | 0.2 | 1.4 | 1.0 | 0.1 | 0.4 |
| Acebutolol-E2 | 0-250 | 0.999 | 5.8 | 2.8 | 2.4 | 2.1 | 0.2 | 4.5 | 0.1 | 0.4 |
| S(-)-atenolol | 0-250 | 0.999 | 4.0 | 1.7 | 1.5 | 9.0 | 0.8 | 0.8 | 1.5 | 5.0 |
| R(+)-atenolol | 0-250 | 1.000 | 3.9 | 2.2 | 2.0 | 1.6 | 2.9 | 0.5 | 1.5 | 5.0 |
| Sotalol-E1 | 0-250 | 1.000 | 10.5 | 0.5 | 2.2 | 4.1 | 0.7 | 2.1 | 1.3 | 4.2 |
| Sotalol-E2 | 0-250 | 0.999 | 4.0 | 0.6 | 1.1 | 3.6 | 0.8 | 0.6 | 1.3 | 4.2 |
| Salbutamol-E1 | 0-250 | 1.000 | 3.8 | 2.0 | 4.0 | 6.4 | 1.5 | 1.8 | 0.1 | 0.3 |
| Salbutamol-E2 | 0-250 | 0.999 | 1.1 | 3.3 | 1.6 | 1.3 | 1.3 | 0.7 | 0.1 | 0.3 |
| S(+)-amphetamine | 0-250 | 0.999 | 2.8 | 2.4 | 1.8 | 1.0 | 1.3 | 1.7 | 0.1 | 0.4 |
| R(-)-amphetamine | 0-250 | 0.999 | 3.4 | 2.7 | 1.4 | 0.9 | 0.6 | 0.2 | 0.1 | 0.4 |
| S(+)-methamphetamine | 0-250 | 1.000 | 1.2 | 0.4 | 1.7 | 1.8 | 1.1 | 1.4 | 0.1 | 0.2 |
| R(-)-methamphetamine | 0-250 | 1.000 | 1.9 | 0.9 | 0.4 | 1.7 | 0.3 | 0.2 | 0.1 | 0.2 |
| S(+)-chlorpheniramine | 0-250 | 1.000 | 2.1 | 2.4 | 0.2 | 3.1 | 2.1 | 2.5 | 0.3 | 1.0 |
| R(-)-chlorpheniramine | 0-250 | 1.000 | 3.8 | 3.6 | 0.8 | 2.7 | 3.1 | 4.9 | 0.3 | 1.0 |
| S(+)-fluoxetine | 0-250 | 0.999 | 3.7 | 1.4 | 2.0 | 1.7 | 0.6 | 0.5 | 0.5 | 1.6 |
| R(-)-fluoxetine | 0-250 | 1.000 | 4.9 | 1.5 | 2.0 | 3.0 | 1.1 | 0.7 | 0.5 | 1.6 |
| Venlafaxine-E1 | 0-250 | 1.000 | 8.2 | 2.3 | 2.2 | 11.4 | 10.4 | 2.6 | 0.1 | 0.4 |
| Venlafaxine-E2 | 0-250 | 1.000 | 2.0 | 1.4 | 0.3 | 1.1 | 1.5 | 1.4 | 0.1 | 0.4 |
| Desmethylvenlafaxine-E1 | 0-250 | 0.998 | 1.5 | 5.1 | 0.5 | 10.1 | 4.6 | 1.8 | 0.4 | 1.4 |
| Desmethylvenlafaxine-E2 | 0-250 | 0.996 | 1.4 | 2.2 | 1.5 | 3.2 | 2.9 | 0.5 | 0.4 | 1.4 |
| R(-)-citalopram | 0-250 | 0.999 | 5.3 | 4.0 | 1.5 | 1.9 | 2.4 | 2.1 | 0.5 | 1.7 |
| S(+)-citalopram | 0-250 | 0.998 | 4.2 | 1.9 | 3.9 | 0.5 | 1.9 | 2.9 | 0.5 | 1.7 |
| Desmethylcitalopram-E1 | 0-250 | 0.999 | 3.8 | 2.1 | 3.7 | 1.1 | 2.1 | 3.2 | 0.5 | 1.7 |
| Desmethylcitalopram-E2 | 0-250 | 0.997 | 4.1 | 2.3 | 3.5 | 1.3 | 2.1 | 2.9 | 0.5 | 1.7 |

Key: IDL, instrument detection limit; IQL, instrument quantitation limit;