## Review
Author | Journal | Year | Aim | Multi/Retro/Pro (M/R/P) | Reproducibility | Type of Reproducibility | Study with Intra/Interobserver variability | Intra/Interobserver variability | Follow up | Disease | Disease Comments | Gender | Healthy | Patient | F | M | Average | Median | Range | %F | %M | Technique GFR | GFR [ml/min] per 1.73m^2 | Technique eGRF | eGFR [ml/min] | Serum Creatinine [mg/dl] | Preparation before MRI | Field Intensity | MR Vendor | PC Sequence | d from Aorta/Stenosis [mm] | Dimension (D) | Respiratory Gating | Cardiac Gating | TR [ms] | TE [ms] | Flip Angle [°] | FOV [cm^2] | Voxel Size [mm^2] | Matrix | Velocity econding [cm/s] | Phases Encoding | View/Segment | Slice Thickness [mm] | Bandwidth [Hz/pixel] | Software | ROI | How flow is calculated | Flow [ml/min] | Flow [ml/min] Range | Vel [cm/min] | Biomarkers | Biomarkers values
Sommer G. | Investigative Radiology | 1992 | To assess the ability of a cardiac-gated PC MRI technique to measure RBF noninvasively in humans | P | yes | Acquisition -> high | no | NA | NA | Healthy | NA | F+M | 9 | NA | 1 | 8 | NA | NA | 26-68 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Cine | 10. A | NA | yes | yes | 25 | 10 | 30 | 24x24 | NA | 256x128 | 100 | NA | NA | 4 | NA | background corrections | NA | Renal Artery (Assumed total) | 1370 ± 66 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 1053
Wolf R. L. | American Journal of Roentgenology | 1993 | to compare cine phase-contrast MR imaging with renal clearance of p-aminohippurate for measuring normal renal blood flow. | P | no | NA | no | NA | NA | Healthy | NA | NA | 10 | NA | NA | NA | 38 | NA | 24-56 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | NA | Cine | NA | 2 | yes | NA | 26 | 12 | 20 | 28x28 | NA | 256x256 | 100 or 150 | NA | NA | 5 | NA | NA | placed over the vessel of interest and applied to the corresponding velocity (phase-difference) image. | Renal Artery (total) | VEC 100 cm/s: 1140; VEC 150 cm/s: 1108 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 1097 ± 255
Wolf R. L. | American Journal of Roentgenology | 1993 | to compare cine phase-contrast MR imaging with renal clearance of p-aminohippurate for measuring normal renal blood flow. | P | no | NA | no | NA | NA | Healthy | NA | NA | 10 | NA | NA | NA | 38 | NA | 24-56 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | NA | Cine | NA | 2 | yes | NA | 27 | 12 | 20 | 28x28 | NA | 256x256 | 150 | NA | NA | 5 | NA | NA | placed over the vessel of interest and applied to the corresponding velocity (phase-difference) image. | Aorta (above and below) | 991 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 1097 ± 255
Debatin J. F. | Radiology | 1994 | To compare the accuracy of 16-frame cine PC MR imaging with those of two breath-hold PC techniques in the measurement of renal artery blood flow | P | no | NA | no | NA | NA | CKD | Membranous Glomerulonephritis/Systemic Lupus Erythematosus/Focal Sclerosis | F+M | NA | 8 | 5 | 3 | 40 | NA | 24-60 | NA | NA | NA | > 75 | NA | NA | < 1.2 | NA | 1.5 | GE | 2D Cine PC + Six-Frame TRIADS | 10.-15 A | 2 | Breath-Hold | NA | 24 | 10 | 45 | 20x20 | NA | 128x256 | 100 | NA | NA | 5 | NA | Flow calculations were preceded by correction for eddy current- induced phase shifts by linear fit to the apparent velocities in static regions not containing flowing spins, surrounding the vessel of interest (first-order background correction). | In house semi-automatic software for ROI | Renal Artery (total) | 2D Cine) 821 ± 122; Six-Frame TRIADS) 953 ± 67 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 930 ± 349
Debatin J. F. | Radiology | 1994 | To compare the accuracy of 16-frame cine PC MR imaging with those of two breath-hold PC techniques in the measurement of renal artery blood flow | P | no | NA | no | NA | NA | CKD | Membranous Glomerulonephritis/Systemic Lupus Erythematosus/Focal Sclerosis | F+M | NA | 8 | 5 | 3 | 40 | NA | 24-60 | NA | NA | NA | > 75 | NA | NA | < 1.2 | NA | 1.5 | GE | Conventional Cine | 10.-15 A | NA | NO | NA | 24 | 10 | 45 | 20x20 | NA | 128x256 | 100 | NA | NA | 5 | NA | Flow calculations were preceded by correction for eddy current- induced phase shifts by linear fit to the apparent velocities in static regions not containing flowing spins, surrounding the vessel of interest (first-order background correction). | In house semi-automatic software for ROI | Renal Artery (total) | 1125 ± 317 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 930 ± 349
Myers B. D. | Transplantation | 1994 | To present no noninvasive method (PC-cine-MRI) that reliably measures blood flow in the poorly functioning renal allograft | P | no | NA | no | NA | NA | Healthy | NA | NA | 104 | NA | NA | NA | NA | NA | NA | NA | NA | To be equated with the time-averaged clearance of inulin | 50 ± 1 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Vein | 502 ± 12 (PAH) | NA | NA | RBFpah = RPF(1-Hem) [ml/min] (Hem in venous blood); FF | RBFpah: 424 ± 1377; FF: 0.178 ± 0.004
Myers B. D. | Transplantation | 1994 | To present no noninvasive method (PC-cine-MRI) that reliably measures blood flow in the poorly functioning renal allograft | P | no | NA | no | NA | NA | Transplanted Kidney | NA | NA | NA | 14 | NA | NA | NA | NA | NA | NA | NA | To be equated with the time-averaged clearance of inulin | 76 ± 4 | NA | NA | 70 - 140 (μmol/l) | NA | 1.5 | GE | Cine | NA | NA | yes | ECG | 25 | 12 | NA | NA | NA | NA | 50 | NA | NA | 4 | NA | background correction + Dedicated software (ROI Outline) | drawn to outline the allograft vein | Vein | 703 ± 69 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] (Hem in venous blood); FF | RBFpah: 732 ± 62; FF:0.192 ± 0.007
Maier S. E. | Journal of Magnetic Resonance Imaging | 1995 | To evaluate Renal Artery Velocity Mapping with MR Imaging | P | no | NA | no | NA | NA | Healthy | NA | F+M | 6 | NA | 1 | 5 | 39 | NA | 25-77 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Philips | velocity maps | NA | NA | NO | Prospective | 25 | 38 | 30 | 30x30 | NA | NA | NA | 256 | NA | 10 or 15 | NA | dedicated program | drawn manually | Renal Artery (total) + Aorta (above and below) | Arteries: 1428 ± 540; Aorta: 1320 ± 330(per Kilogram Body Mass) | NA | NA | NA | NA
Maier S. E. | Journal of Magnetic Resonance Imaging | 1995 | To evaluate Renal Artery Velocity Mapping with MR Imaging | P | no | NA | no | NA | NA | Renovascular disease | FMD/arteriosclerotic stenosis/agenesis of the right kidney | M | NA | 3 | NA | 3 | 25-55-34 (based on different diseases | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Philips | velocity maps | NA | NA | NO | Prospective | 25 | 38 | 30 | 30x30 | NA | NA | NA | 256 | NA | 10 or 15 | NA | dedicated program | drawn manually | Renal Artery (total) for fibromuscular hyperplasia and arteriosclerotic stenosis; Renal artery (Single, right) for agenesis | fibromuscular hyperplasia, Both: 1332; arteriosclerotic stenosis, Both: 1128; agenesis of the right kidney, Right: 1044 (per Kilogram Body Mass) | NA | NA | NA | NA
Thornsen C. | Journal of Magnetic Resonance Imaging | 1995 | To investigate the performance of a segmented k-apace velocity mapping protocol for rmal artery flow determination | P | yes | phantom ->good | no | NA | NA | Healthy | NA | F+M | 6 | NA | 1 | 5 | 25 | NA | 21-28 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Siemens | segmented k-space | 10. A | NA | breath-hold | ECG | NA | 6 | 8.-20 | NA | 1.4X1.4 | 256X256 | 100 | NA | NA | 8 | NA | house software to: (a) if necessary, manual correction of vessel positioning between corresponding "+" and '*-" images in steps of one voxel in both orthogonal image directions; (b) pixel by pixel image subtraction between "+" and "-'' images; (cl linear phase correction in both orthogonal image directions; [d) calculation of average flow velocities from background- corrected phase average values using the theoretically calculated velocity sensitivity of the basic sequence pair, and (e) calculation of volume flow by multiplication of velocity and vessel area, determined as the area of all voxels within the vessel giving higher phase signal than the average phase background. | NA | Renal artery (Single, left) | 645 ± 80 mL/min. | NA | NA | NA | NA
Thornsen C. | Journal of Magnetic Resonance Imaging | 1995 | To investigate the performance of a segmented k-apace velocity mapping protocol for rmal artery flow determination | P | yes | phantom ->good | no | NA | NA | Healthy | NA | F+M | 6 | NA | 1 | 5 | 25 | NA | 21-28 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Siemens | segmented k-space | 10. A | NA | NO | ECG | NA | 6 | 8.-20 | NA | 1.4X1.4 | 256X256 | 100 | NA | NA | 8 | NA | house software to: (a) if necessary, manual correction of vessel positioning between corresponding "+" and '*-" images in steps of one voxel in both orthogonal image directions; (b) pixel by pixel image subtraction between "+" and "-'' images; (cl linear phase correction in both orthogonal image directions; [d) calculation of average flow velocities from background- corrected phase average values using the theoretically calculated velocity sensitivity of the basic sequence pair, and (e) calculation of volume flow by multiplication of velocity and vessel area, determined as the area of all voxels within the vessel giving higher phase signal than the average phase background. | NA | Renal artery (Single, left) | 608 ± 87 mL/min: | NA | NA | NA | NA
Schoenberg S. O. | Radiology | 1997 | To analyze the blood flow dynamics in renal artery stenosis with high-temporal-resolution cine PC MR flow measurements | P | no | NA | no | NA | NA | Healthy | NA | NA | 3 | NA | NA | NA | 27 ± 6 | NA | 21-57 | NA | NA | NA | NA | NA | NA | 0.6 - 1.2 | NA | 1.5 | Siemens | Cine | 10.-20 S | NA | 22-inch (55-cm)-wide bandage | yes | 16 | 6 | NA | 22x22 | NA | 256X256 | 150 | NA | NA | 6 | 195 | In-house program | manual drawn (excluding values exceeding threshold) | Renal artery (Single) | 642 ± 190 | NA | NA | NA | NA
Schoenberg S. O. | Radiology | 1997 | To analyze the blood flow dynamics in renal artery stenosis with high-temporal-resolution cine PC MR flow measurements | P | no | NA | no | NA | NA | RAS | NA | F+M | NA | 23 | 11 | 12 | 57 ± 23 | NA | 16-74 | NA | NA | NA | NA | NA | NA | < 2.5 | NA | 1.5 | Siemens | Cine | 10.-20 S | NA | 22-inch (55-cm)-wide bandage | yes | 16 | 6 | NA | 22x22 | NA | 256X256 | 150 | NA | NA | 6 | 195 | In-house program | manual drawn (excluding values exceeding threshold) | Renal artery (Single) | Preoperative:286 ± 39 Postoperative: 567 ± 106 | NA | NA | transit-time US technique -> The percentage difference (100 x [RBF - RBFttus] RBFttus) | 7.8% ± 3.4
Bock M. | Magnetic Resonance Imaging | 1998 | To compare IGEPI CINE-PC flow measurement pulse sequence with 16 gradient echoes with a non-breathheld conventional CINE-PC technique | P | no | NA | no | NA | NA | Healthy | NA | NA | 10 | NA | NA | NA | NA | NA | 19-32 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Siemens | IGEPI Cine | NA | NA | Breath-Hold | ECG | 30.7 | 1.6 | 60 | 30x30 | NA | 256x256 | 70 | NA | NA | 6 | 977 | NA | manually selected ROI | Renal artery (Single, left) | Patients: 413.21 ± 215.80; Healthy: 717.16 ± 160.17 | NA | NA | NA | NA
Bock M. | Magnetic Resonance Imaging | 1998 | To compare IGEPI CINE-PC flow measurement pulse sequence with 16 gradient echoes with a non-breathheld conventional CINE-PC technique | P | no | NA | no | NA | NA | RAS | NA | NA | NA | 15 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Siemens | Cine | NA | NA | NO | NA | 13 | NA | NA | NA | NA | 256x256 | NA | NA | NA | NA | 195 | NA | manually selected ROI | Renal artery (Single, left) | Patients: 464.44 ± 187.89; Healthy: 799.6 ± 175.17; | NA | NA | NA | NA
Sommer G. | Radiology | 1998 | To assess the ability of three cine PC-MR imaging techniques to measure normal human RBF in vivo. | P | no | NA | yes | Inter (2) blinded | NA | Healthy | NA | F+M | 18 | NA | 11 | 7 | 28 | NA | 23-45 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | GE | Cine TRIADS | 10.-20 A | NA | Breath-Hold | yes | 19 | 7.9 | 45 | 20x20 | NA | 256x128 | 100 | NA | NA | 4 | NA | flow analysis software developed at institution. firstorder background correction for phase shifts caused by factors other than blood flow (primarily, eddy currents) | Automatic ROI definition | Renal artery (Single) | 1056.28 ± 201.14 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 988,41 ± 220,74
Sommer G. | Radiology | 1998 | To assess the ability of three cine PC-MR imaging techniques to measure normal human RBF in vivo. | P | no | NA | yes | Inter (2) blinded | NA | Healthy | NA | F+M | 18 | NA | 11 | 7 | 28 | NA | 23-45 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | GE | Cine Rapid Acquisition | 10.-20 A | NA | Breath-Hold | yes | 55 | 6.3 | 45 | 20x20 | NA | 188x188 | 100 | NA | NA | 4 | NA | flow analysis software developed at institution. firstorder background correction for phase shifts caused by factors other than blood flow (primarily, eddy currents) | Automatic ROI definition | Renal artery (Single) | 937.74 ± 143.35 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 988,41 ± 220,74
Sommer G. | Radiology | 1998 | To assess the ability of three cine PC-MR imaging techniques to measure normal human RBF in vivo. | P | no | NA | yes | Inter (2) blinded | NA | Healthy | NA | F+M | 18 | NA | 11 | 7 | 28 | NA | 23-45 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | GE | Cine non-breath-hold Rapid Acquisition | 10.-20 A | NA | yes | yes | 55 | 6.3 | 45 | 20x20 | NA | 188x188 | 100 | NA | NA | 4 | NA | flow analysis software developed at institution. firstorder background correction for phase shifts caused by factors other than blood flow (primarily, eddy currents) | Automatic ROI definition | Renal artery (Single) | End-expiration: 987.74 ± 195.91; End-inspiration: 981.4 ± 178.27 | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 988,41 ± 220,74
Binkert C. A. | Kidney International | 1999 | to investigate the relationship between renal artery morphology, renal blood intraveflow volume, and renal parenchyma in patients with renovascular disease using MR techniques in an attempt to define revascularization therapy. | P | no | NA | no | NA | NA | Renovascular disease | Atherosclerotic disease and FMD | F+M | NA | 65 | 27 | 38 | 60 | NA | 24-83 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | GE | Fastcard | 10. A | NA | Breath-Hold | Prospective | 11 | 5 | 45 | 24 to 30 (24x24 etc) | NA | 256x160 | 80 | NA | 6 | NA | NA | semiautomated analysis program on a SPARC 10 workstation | Automated edge detection was used to define the exact area of vessel within the operator-defined ROI using a threshold of 40% of the maximum intraluminal signal intensity | Renal artery (Single) | 91.56 ± 33.09 | NA | NA | NA | NA
Binkert C. A. | Kidney International | 1999 | to investigate the relationship between renal artery morphology, renal blood intraveflow volume, and renal parenchyma in patients with renovascular disease using MR techniques in an attempt to define revascularization therapy. | P | no | NA | no | NA | NA | Controls (without evidence of significant renovascular disease or severe renal insufficiency as the standard of reference for “normal renal volume”) | NA | F+M | NA | 36 (in groups of 65 people) | / | / | / | / | / | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | GE | Fastcard | 10. A | NA | Breath-Hold | Prospective | 11 | 5 | 45 | 24 to 30 (24x24 etc) | NA | 256x160 | 80 | NA | 6 | NA | NA | semiautomated analysis program on a SPARC 10 workstation | Automated edge detection was used to define the exact area of vessel within the operator-defined ROI using a threshold of 40% of the maximum intraluminal signal intensity | Renal artery (Single) | 279.15 ± 91.94 | NA | NA | NA | NA
Lee V. S. | American Journal of Roentgenology | 1999 | To investigate the usefulness of phase-contrast MR imaging to measure renal artery velocity waveforms. To examine whether an ACE inhibitor improves the diagnostic accuracy of waveform analysis | P | no | NA | no | NA | NA | Renovascular disease | Hypertension/Atherosclerotic disease/Flank Bruit/Hypertensive retinopathy | F+M | NA | 35 | 20 | 15 | 63 ± 14 | NA | 28-82 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Siemens | Cine | NA | NA | NO | ECG | 24 | 5 | 30 | 35x35 | NA | 128x256 | 75 | NA | NA | 8 | NA | Sparc 5 workstation using modified Interactive Data Language software developed in house. Velocity images were produced using the standard algorithm | NA | Renal Artery (total) for Hypertension and peripheral vascular disease; Renal artery (Single, right) for Hypertension | NA | NA | M Hypertension: 1321.2; F peripheral vascular disease: 1235.94; F Hypertension: only right 531; | NA | NA
de Haan M. W. | European Radiology | 2000 | to evaluate the validity and reproducibility of breath-hold and respiratory triggered PC MR imaging techniques in the measurement of renal artery blood flow | P | no | NA | yes | Inter -> good | NA | Healthy | NA | F+M | 12 | NA | 4 | 8 | 35 | NA | 23-48 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Philips | Turbo Gradient-echo | 8.-15 A | NA | Breath-Hold | yes | 12 | 7 | 25 | 18x9 | 1.4x1.9 | 128x96 | 120 | NA | NA | 7 | NA | contour detection program | The employed automated ROI definition algorithm defined the region on the PC-MR images bounded by an operator-defined ellipsis drawn generously around the vessel on the modulus images | Renal Artery (total) | 1008.74 | NA | NA | NA | NA
de Haan M. W. | European Radiology | 2000 | to evaluate the validity and reproducibility of breath-hold and respiratory triggered PC MR imaging techniques in the measurement of renal artery blood flow | P | no | NA | yes | Inter -> good | NA | Healthy | NA | F+M | 12 | NA | 4 | 8 | 35 | NA | 23-48 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Philips | Turbo Gradient-echo | 8.-15 A | NA | yes | yes | 12 | 7 | 25 | 18x9 | 1.4x1.9 | 128x96 | 120 | NA | NA | 7 | NA | contour detection program | The employed automated ROI definition algorithm defined the region on the PC-MR images bounded by an operator-defined ellipsis drawn generously around the vessel on the modulus images | Renal Artery (total) | 1007.62 | NA | NA | NA | NA
Binkert C. A. | CardioVascular and Interventional Radiology | 2001 | To investigate whether MR-based renal artery flow measurements relative to renal parenchymal volume can predict clinical outcome following PTRA | P | no | NA | yes | Inter (2) R-> excellent | NA | RAS, Renovascular disease | FMD | F+M | NA | 23 | 10 | 13 | 64 | NA | 47-82 | NA | NA | NA | NA | NA | NA | Benefit of PTRA (Responders) 136 ± 89; No benefit (noresponders) 156 ± 92 (μmol/l) | NA | 1.5 | GE | Cine | 10.-15 A or S | NA | Breath-Hold | yes | 11 | 5 | 45 | 24 to 30 (24x24 etc) | NA | 256x160 | 80 | NA | 6 | NA | NA | semi-automated analysis on a SPARC 10 workstation | Manual ROI size definition + automated edge detection | Renal artery (Single) | 0.90 ± 0.45 ml/min/cm^3 for clinical responders and 1.17 ± 0.62 ml/min/cm^3 for non responders (RFI=renal flow volume/renal parenchymal volume) | NA | NA | NA | NA
Schoenberg S. O. | American Society of Nephrology | 2002 | to compare the diagnostic value of 3D-Gd-MRA with cine phase–contrast flow measurements (PC-flow) to DSA findings in terms of interobserver and intermodality variability. | R | no | NA | yes | Inter (3) | NA | Renovascular disease | Atherosclerotic Renal Artery | F+M | NA | 23 | 13 | 10 | 59 | NA | 46-76 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 (1-2t PC) | Siemens/GE | Cine | 10 A or 10-20 S | NA | NA | prospective/retrospective | 13/18 | 06/.05 | NA | 22x22 | NA | 256x256 | 75/70 | NA | NA | 6 | NA | correction for phase noise and aliasing | NA | (1-2t PC) Renal artery (Single) for grade 3 stenosis | NA | NA | grade 3 stenosis: Single: 607.2 | NA | NA
Schoenberg S. O. | American Society of Nephrology | 2002 | to compare the diagnostic value of 3D-Gd-MRA with cine phase–contrast flow measurements (PC-flow) to DSA findings in terms of interobserver and intermodality variability. | P | no | NA | yes | Inter (3) | NA | RAS | NA | F+M | NA | 60 | 21 | 39 | 47 | NA | 30-81 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 (1-2t PC) | Siemens/GE | Cine | 10 A or 10-20 S | NA | NA | prospective/retrospective | 13/18 | 06/.05 | NA | 22x22 | NA | 256x256 | 75/70 | NA | NA | 6 | NA | correction for phase noise and aliasing | NA | (1-2t PC) Renal Artery (total) for grade 2 stenosis; Renal artery (Single) for grade 2 stenosis-other patients | NA | NA | grade 2 stenosis: Total: 963; grade 1 stenosis: Single: 792.6; grade 2 stenosis: Single: 685.8; grade 2 stenosis: Single: 703.8 | NA | NA
King B. F. | Kidney International | 2003 | To evaluate RBF as a surrogate marker of disease severity has received little attention | P | yes | phantom -> Excellent | yes | intra and inter -> Excellent | NA | ADPKD | NA | F+M | NA | 127 | 81 | 46 | 32.9 ± 8.2 | NA | >15 and <46 | NA | NA | iothalamate clearances | 99.1 ± 23.0 | from Creatinine Clearance | > 70 | NA | before breakfast | 1.5 | GE | fast gradient echo | NA | 2 | NA | retrospective | 3.-5 | 8.-10 | 20 | 14 to 20 (14x14 etc) | NA | NA | 100 | 224 to 256 | NA | 5 | NA | FLOW software | Semiautomated or manual techniques were employed for definition of the vessel borders | Renal artery (Single) | R: 398.5 ± 124.4 L: 354.7 ± 125.9 (1.73 m^2) | NA | NA | RVR = (Pt-Pv)/Q) X 1328 [dynes sec.cm−5] | Right: 21332 ± 7750; Left: 25164 ± 11662
King B. F. | Kidney International | 2003 | To evaluate RBF as a surrogate marker of disease severity has received little attention | P | yes | phantom -> Excellent | yes | intra and inter -> Excellent | NA | ADPKD | NA | F+M | NA | 127 | 81 | 46 | 32.9 ± 8.2 | NA | >15 and <46 | NA | NA | iothalamate clearances | 99.1 ± 23.0 | from Creatinine Clearance | > 70 | NA | before breakfast | 1.5 | Philips | fast gradient echo | NA | 2 | NA | yes | 18.-36 | 8.-16 | 35 | 20x20 | NA | NA | 100 | 160 to 224 | NA | 5 | NA | FLOW software | Semiautomated or manual techniques were employed for definition of the vessel borders | Renal artery (Single) | R: 398.5 ± 124.4 L: 354.7 ± 125.9 (1.73 m^2) | NA | NA | RI | Right: 0.63 ± 0.11; Left: 0.62 ± 0.18
Michaely H. J. | Investigative Radiology | 2004 | To differentiate healthy kidneys from diseased kidneys, with MR examination with measurements of renal arterial blood flow and parenchymal perfusion | P | no | NA | no | NA | NA | Healthy | NA | F+M | 24 | NA | 14 | 10 | NA | NA | 23-31 | NA | NA | NA | NA | NA | NA | 1.1 ± 0.3 | NA | 1.5 | Siemens | Cine FLASH | NA | NA | NA | ECG | 13 | 5 | 30 | NA | NA | 224x256 | NA | NA | NA | 6 | NA | software ARGUS for flow evaluation and correction of background signal and aliasing correction | NA | Renal artery (Single) | FULL(81): 506 ± 158; RANDOM (42): 512 ± 172 | NA | NA | NA | NA
Michaely H. J. | Investigative Radiology | 2004 | To differentiate healthy kidneys from diseased kidneys, with MR examination with measurements of renal arterial blood flow and parenchymal perfusion | P | no | NA | no | NA | NA | RAS, CKD and Renovascular disease | FMD, or from primary parenchymal disease, glomerulonephritis or from combined disease | F+M | NA | 46 | 20 | 26 | NA | NA | 42-68 | NA | NA | NA | NA | NA | NA | 1.4 ± 0.8 | NA | 1.5 | Siemens | Cine FLASH | NA | NA | NA | ECG | 13 | 5 | 30 | NA | NA | 224x256 | NA | NA | NA | 6 | NA | software ARGUS for flow evaluation and correction of background signal and aliasing correction | NA | Renal artery (Single) | F(49): 256 ± 136; R(28): 274 ± 156 | NA | NA | NA | NA
Bax L. | Vascular and Interventional Radiology | 2005 | To assess the validity and the direct, short-term, and long-term reproducibilityof RBF measurements with PC MR imaging | P | yes | Short and long-term | yes | Inter (2) | NA | Healthy | NA | NA | 20 | NA | NA | NA | 29 |  | 24-51 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 (1-2t PC) | Philips | Cine | 10 - 15 A | NA | NO | retrospective | 8.9 | 4.7 | 25 | 20x20 | NA | 208x256 | 100 | NA | NA | 6 | NA | NA | an elliptical ROI was manually drawn generously around the vessel in one heart phase by one observer and copied to the other phases. Visually, all phases were screenedto correct positioning of the region of interest; it was adjusted if necessary | Renal Artery (total) + Aorta (above and below) | Renal: First 1133 Second 1067 Third 1067; Aorta 1029 | NA | NA | NA | NA
Bax L. | Vascular and Interventional Radiology | 2005 | To assess the validity and the direct, short-term, and long-term reproducibilityof RBF measurements with PC MR imaging | P | yes | Short and long-term | yes | Inter (2) | NA | Healthy | NA | NA | 19 | NA | NA | NA | 41 | NA | 26-65 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 (1-2t PC) | Philips | Cine | NA | NA | NO | retrospective | 16 | 3.7 | 25 | 35x35 | NA | 352x512 | 120 | NA | NA | 5 | NA | NA | an elliptical ROI was manually drawn generously around the vessel in one heart phase by one observer and copied to the other phases. Visually, all phases were screenedto correct positioning of the region of interest; it was adjusted if necessary | Renal Artery (total) + Aorta (above and below) | Renal: First 1039 Second 931 | NA | NA | NA | NA
Bax L. | Vascular and Interventional Radiology | 2005 | To assess the validity and the direct, short-term, and long-term reproducibilityof RBF measurements with PC MR imaging | P | yes | Short and long-term | yes | Inter (2) | NA | Healthy | NA | F+M | 13 | NA | 7 | 6 | NA | NA | 40-50 | NA | NA | NA | NA | NA | F 90 ± 9; M 99 ± 11 (1.73m^2) | NA | NA | / | Philips | / | / | NA | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | Renal artery (Single) + Renal Artery (total) | Right M+F 515 ± 154 446 ± 138; Left 571 ± 95 413 ± 79; Total 1112 ± 204 910 ± 97 | NA | NA | NA | NA
Bax L. | Vascular and Interventional Radiology | 2005 | To assess the validity and the direct, short-term, and long-term reproducibilityof RBF measurements with PC MR imaging | P | yes | Short and long-term | yes | Inter (2) | NA | Healthy | NA | F+M | 8 | NA | 4 | 4 | NA | NA | 50-60 | NA | NA | NA | NA | NA | F 80 ± 17; M 86 ± 5 (1.73m^2) | NA | NA | / | Philips | / | / | NA | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | Renal artery (Single) + Renal Artery (total) | Right 681 445 ± 84; Left 448 502 ± 149; Total 1129* 849 ± 106 | NA | NA | NA | NA
Bax L. | Vascular and Interventional Radiology | 2005 | To assess the validity and the direct, short-term, and long-term reproducibilityof RBF measurements with PC MR imaging | P | yes | Short and long-term | yes | Inter (2) | NA | Healthy | NA | F+M | 11 | NA | 7 | 4 | NA | NA | 60-70 | NA | NA | NA | NA | NA | F 64 ± 9; M 66 ± 5 (1.73m^2) | NA | NA | / | Philips | / | / | NA | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | Renal artery (Single) + Renal Artery (total) | Right 390 ± 164 368 ± 91; Left 281 ± 168 416 ± 126; Total 576 ± 182 772 ± 158 | NA | NA | NA | NA
Bax L. | Vascular and Interventional Radiology | 2005 | To assess the validity and the direct, short-term, and long-term reproducibilityof RBF measurements with PC MR imaging | P | yes | Short and long-term | yes | Inter (2) | NA | Healthy | NA | F+M | 9 | NA | 4 | 5 | NA | NA | >70 | NA | NA | NA | NA | NA | F 64 ± 10; M 55 ± 6 (1.73m^2) | NA | NA | / | Philips | / | / | NA | / | / | / | / | / | / | / | / | / | / | / | / | / | / | / | Renal artery (Single) + Renal Artery (total) | Right 355 ± 65 305 ± 128; Left 300 ± 154 341 ± 110; Total 639 ± 133 637 ± 265 | NA | NA | NA | NA
Park J. B. | Magnetic Resonance Imaging | 2005 | To verify the potential of ungated spiral phasecontrast for rapid measurement of renal artery blood flowin vivo | P | no | NA | no | NA | NA | Healthy | NA | F+M | 11 | NA | 2 | 9 | NA | NA | 24-30 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 (1-2t PC) | GE | USPC | NA | NA | Breath-Hold | NO | 15 | 3.5 | 30 | 30x30 | NA | NA | 100 | NA | NA | 10 | NA | NA | defined by thresholding technique | Renal artery (Single) | 394.8 ± 38.4 mL/min/m^2 | NA | NA | NA | NA
Park J. B. | Magnetic Resonance Imaging | 2005 | To verify the potential of ungated spiral phasecontrast for rapid measurement of renal artery blood flowin vivo | P | no | NA | no | NA | NA | Renal Failure | NA | M | NA | 1 | NA | 1 | 85 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 (1-2t PC) | GE | USPC | NA | NA | NO | NO | 15 | 3.5 | 30 | 24x24 | NA | NA | 100 | NA | NA | 10 | NA | NA | defined by thresholding technique | Renal artery (Single) | 154.55 ± 30 mL/min/m^2 | NA | NA | NA | NA
Hackstein N. | American Journal of Roentgenology | 2006 | To assess the effect of an IV injection of iodinated radiographic contrast medium on human renal blood flow using cine phase-contrast MRI | P | no | NA | yes | Inter/Intra | NA | Healthy | NA | F+M | 12 | NA | 4 | 8 | 25 | NA | 23-28 | NA | NA | NA | NA | NA | NA | < 1.5 | The volunteers had all fasted overnight, and neither caffeinated nor nicotine-containing or other stimulating products were allowed before the examination. The volunteers were instructed to drink 500 mL of fluid such as water or juice at least 1 hour before the examination to provide constant conditions of hydration and renal activity. | 1.5 | Philips | Cine (gradient-echo) | NA | 2 | Breath-Hold | ECG | 5 | 2.8 | 15 | 35x35 | 1.99x2.57 | NA | 150 | NA | 8 | 8 | NA | NA | Initially, the ROI was placed manually in one frame, Then a semiautomated method provided by the software of the MR workstation was used to copy this ROI to all other 19 frames | Renal artery (Single) | 664 | 438–998 | NA | NA | NA
Torres V. E. | Clinical Journal of the American Society of Nephrology | 2007 | to examine the changes in RBF, renal volume, and GFR over time and whether changes in RBF are associated with and possibly contribute to the structural and functional progression of ADPKD | M + P | no | NA | no | NA | 1 -2-3 years | ADPKD | NA | F+M | NA | 131 | 49 | 82 | 31.5 | NA | 15-46 | NA | NA | nonradiolabeled iothalamate clearance technique | 98.7 ± 2.0 | MDRD | 85.2 ± 2.24 (1.73m^2) | 1.00 ± 0.02 | NA | 1.5 | GE + Philips | Fast Gradient Echo | NA | 2 | NA | Retrospective | 8.-10 | 3.-5 | 20 | 14 to 20 (14x14 etc) | NA | NA | 100 | 224-256 | NA | 5 | NA | Semiautomated or manual FLOW software version | NA | Renal Artery (Assumed total) | Baseline: 736.8 ± 20.2 1 y: 683.6 ± 16.0 2 y: 644.4 ± 17.7 3 y: 602.6 ± 23.0 (all 1.73 m^2) | NA | NA | RVR [dynes s/cm^5]; Log 10 FF (%) | RVR baseline: 11552 ± 368; 1: 11788 ± 339; 2: 12606 ± 414; 3: 13391 ± 588; FF baseline: 0.648 ± 0.010; 1: 0.633 ± 0.010; 2: 0.598 ± 0.012; 3: 0.575 ± 0.012
Jin N. | Magnetic Resonance Imaging | 2009 | To demonstrate the feasibility of using a freebreathing respiratory self-gated approach for abdominal PC blood flow measurements | P | no | NA | yes | Inter for Image Quality Analysis (2) -> good | NA | Healthy | NA | F+M | 8 | NA | 4 | 4 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Siemens | PC | NA | NA | Breath-Hold | Retrospective ECG | 5.7 | 3.4 | 30 | 30x30 | NA | 192x192 | 100 | NA | NA | 5 | NA | ImageJ software | Vessel contours were defined as vessel width at 30% of the maximum intensity of the vessel profile on the magnitude images | Renal artery (Single) | 411.5 ± 119.0 | NA | NA | NA | NA
Jin N. | Magnetic Resonance Imaging | 2009 | To demonstrate the feasibility of using a freebreathing respiratory self-gated approach for abdominal PC blood flow measurements | P | no | NA | yes | Inter for Image Quality Analysis (2) -> good | NA | Healthy | NA | F+M | 8 | NA | 4 | 4 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 | Siemens | RSG-PC | NA | 2 | yes | NA | 4.12 | 2.06 | 30 | NA | NA | NA | NA | NA | NA | 2 | NA | ImageJ software | Vessel contours were defined as vessel width at 30% of the maximum intensity of the vessel profile on the magnitude images | Renal artery (Single) | 439 ± 145.5 | NA | NA | NA | NA
Prowle J. R. | Cardiorenal Syndromes in Critical Care | 2010 | To assess the feasibility of measuring RBF by means of CPC-MRI in patients with septic acute kidney injury and to compare measurements in a normal volunteer | P | no | NA | no | NA | NA | Healthy | NA | M | 1 | NA | NA | 1 | NA | 36 | NA | NA | NA | NA | NA | Cr-EDTA clearance | 120 | 78 (μmol/l) | NA | NA | NA | Cine | NA | NA | Breath-Hold | ECG | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Renal Artery (Assumed total) | 687 mL/min/m^2 | NA | NA | 1) SVR [dyn/s/cm^5/m^2]; 2) RF, %; 3) RVRI; 4) FF, % | 1) 1852; 2) 19.6; 3) 9436; 4) 17
Prowle J. R. | Cardiorenal Syndromes in Critical Care | 2010 | To assess the feasibility of measuring RBF by means of CPC-MRI in patients with septic acute kidney injury and to compare measurements in a normal volunteer | P | no | NA | no | NA | NA | Septic AKI | NA | M | NA | 1 | NA | 1 | NA | 54 | NA | NA | NA | NA | NA | Cr-EDTA clearance | 11 | 62 (μmol/l) | NA | NA | NA | Cine | NA | NA | Breath-Hold | ECG | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Renal Artery (Assumed total) | 584 mL/min/m^2 | NA | NA | 1) SVR [dyn/s/cm^5/m^2]; 2) RF, %; 3) RVRI; 4) FF, % | 1) 617; 2) 6.7; 3) 9173; 4) 1.4
Prowle J. R. | Cardiorenal Syndromes in Critical Care | 2010 | To assess the feasibility of measuring RBF by means of CPC-MRI in patients with septic acute kidney injury and to compare measurements in a normal volunteer | P | no | NA | no | NA | NA | Established AKI | NA | M | NA | 1 | NA | 1 | NA | 74 | NA | NA | NA | NA | NA | Cr-EDTA clearance | 5 | 110 (μmol/l) | NA | NA | NA | Cine | NA | NA | Breath-Hold | ECG | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Renal Artery (Assumed total) | 255 mL/min/m^2 | NA | NA | 1) SVR [dyn/s/cm^5/m^2]; 2) RF, %; 3) RVRI; 4) FF, % | 1) 2126; 2) 7.4; 3) 28567; 4) 1.3
Cortsen M. | Acta Radiologica | 2010 | to measure RBF in a group of patients with impaired kidney function | P | no | NA | no | NA | NA | Polycystic kidney disease, CKD | nephrosclerosis/ chronic glomerulonephritis/chronic nephropathy/chronic pyelonephritis | F+M | NA | 9 | 3 | 6 | 59 | NA | 49-73 | NA | NA | NA | NA | Cr-EDTA clearance | 35.44 | NA | NA | 1.5 | Siemens | velocity mapping | 10 A. | NA | yes | ECG | 50 | 6 | NA | 35X35 | 1.4X1.4 | 256X256 | NA | NA | NA | 8 | NA | background correction the phase and conversion to linear velocity | NA | Renal Artery (total) | 690.5 ± 421 (Right: 335.5+239; Left: 355+208) | NA | NA | RBFpah = RPF(1-Hem) [ml/min] | 517.4 ± 406.69
Dambreville S. | Magnetic Resonance Imaging | 2010 | to evaluate reliability of current technology for measurement of renal arterial blood flow by breath-held velocity-encoded MRI | P | yes | 1) with phantom -> high ;2) Two times with same Scanner for 4 weeks -> good | yes | Inter and intra -> very good | NA | Healthy | NA | NA | 6 | NA | 2 | 4 | NA | NA | 24-39 | NA | NA | NA | NA | NA | NA | 0.7-1.2 | NA | 1.5 | Philips | FE-EPI | NA | NA | Breath-Hold | Prospective | 18-27 | 9.-11 | 35 | 20x20 | NA | NA | 100 | 192-224 | NA | 6 | 92 | Blade 100 workstation + The FLOW software | semi-automated (Manual + FLOW) | Renal artery (Single) | NA | First Time Scan:365.8-771.1 Second Time Scan: 477.6-616.8 | NA | NA | NA
Dambreville S. | Magnetic Resonance Imaging | 2010 | to evaluate reliability of current technology for measurement of renal arterial blood flow by breath-held velocity-encoded MRI | P | yes | 1) with phantom -> high ;2) Two times with same Scanner for 4 weeks -> good | yes | Inter and intra -> very good | NA | Healthy | NA | NA | 6 | NA | 2 | 4 | NA | NA | 24-39 | NA | NA | NA | NA | NA | NA | 0.7-1.2 | NA | 1.5 | Philips | FE-EPI | NA | NA | Breath-Hold | Prospective | 18-27 | 9.-11 | 35 | 20x20 | NA | NA | 100 | 192-224 | NA | 6 | 92 | Blade 100 workstation + The FLOW software | semi-automated (Manual + FLOW) | Renal Artery (total) | NA | 957-1311 | NA | NA | NA
Irazabal M. V. | Kidney International | 2011 | to determine whether the level of residual renal function impacts the effect of tolvaptan on GFR and creatinine clearance and hemodynamics | P | no | NA | no | NA | NA | ADPKD | NA | F+M | NA | 20 | 10 | 10 | 47.8 ± 8.7 | NA | 18-60 | NA | NA | iothalamate clearances | 69.3 ± 34.8 | the Cockcroft–Gault equation | >= 30 | 1.4 ± 0.8 | NA | 1.5 | GE | Fast Gradient Echo | NA | 2 | NA | yes | 8.-10. | 3.-5. | 20 | 14 to 20 (14x14 etc) | NA | NA | 100 | 224-256 | NA | 5 | NA | Semiautomated or manual FLOW software version 4 | NA | Renal Artery (Assumed total) | 526 ± 266 (1.73 m^2) | NA | NA | RBFpah = RPF(1-Hem) [ml/min per 1.73m^2] | Pre: 619±338 Post: 570±286
Wittsack H. | Investigative Radiology | 2011 | To evaluate the influence of pulsatile blood flow on apparent diffusion coefficients (ADC) and the fraction of pseudodiffusion (FP) in the human kidney | P | no | NA | no | NA | NA | Healthy | NA | F+M | 6 | NA | 4 | 2 | 31.2 ± 11.3 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 3 | Siemens | Gradient Echo | NA | NA | Breath-Hold | yes | 52.25 | 3.48 | NA | 32x32 | NA | 256x256 | NA | NA | NA | NA | NA | Syngo Argus Software, Siemens | manually selected ROI | Renal Artery (Assumed total) | NA | NA | Time of Minimum Flow:45.5 ± 11.6 (cm/s); Time of Maximum Flow 60.8 ± 9.7 (cm/s) | NA | NA
Prowle J. R. | Critical Care Medicine | 2012 | To measure renal blood flow in septic patients with acute kidney injury using cine PC MR imaging | P | no | NA | no | NA | NA | Healthy | NA | F+M | 11 | NA | 5 | 6 | NA | NA | 26-52 | NA | NA | NA | NA | MDRD | > 60 | NA | NA | 1.5 | Siemens | Cine | NA | NA | NO | ECG | NA | NA | NA | NA | NA | NA | 100 | NA | NA | NA | NA | NA | manual definition on anatomical images | Renal Artery (total) | 1260 | 791–1750 | NA | RBFI [mL/min/m^2]; RF =RBF as a percentage of total CO; | RBFI: 525 (range 438–869); RF: 19%
Prowle J. R. | Critical Care Medicine | 2012 | To measure renal blood flow in septic patients with acute kidney injury using cine PC MR imaging | P | no | NA | no | NA | NA | Septic AKI | NA | F+M | NA | 10 | 2 | 8 | NA | 62.5 | 39-74 | NA | NA | NA | NA | MDRD | 53.33 for three patients; >60 for seven patients | 44 - 145 (μmol/l) | NA | 1.5 | Siemens | Cine | NA | NA | NO | ECG | NA | NA | NA | NA | NA | NA | 100 | NA | NA | NA | NA | NA | manual definition on anatomical images | Renal Artery (total) | 482 | 335–1137 | NA | RBFI [mL/min/m^2]; SVRI = 80 x (MAP–CVP)/CI [dyne·s/(cm5·m2)]; RRI = 80 X (MAP–CVP)/RBFI; RF =RBF as a percentage of total CO; FF = CrCl/ (RBF X (1 – hematocrit)) X 100%. | SVRI : 1707.6; RBFI : 315.3; RRI: 1736.99; RF: 7.51 %; FF: 6.18 %
Wentland A. L. | Academic Radiology | 2013 | to assess the repeatability and internal consistency of flow measurements in the renal arteries and pararenal aorta with the use of standard 2D and novel 4D PC MRI | P | yes | 2 Repetitions for both 2D and 4D Acquisition -> No DSS | no | NA | NA | Healthy | NA | F+M | 10 | NA | 4 | 6 | 27.4 ± 2.3 | NA | 24-31 | NA | NA | NA | NA | NA | NA | NA | Subjects refrained from food and drink for a minimum of 4 hours | 3 (1t PC) | GE | PC | if RBF from Aorta: 5-10 RA; if RBF from RA: 10-15 A | 2 | Breath-Hold | Prospective | 4.92 | 2.91 | 20 | NA | NA | 192x140 | 100 for RA | NA | NA | 6 | 488.3 | MATLAB-based software tool | Automatic ROI definition | Renal artery (Single) | First examination: Left 7.6 ± 2.2, Right 8.4 ± 2.0 mL/cardiac cycle. Second examination: Left 7.3 ± 2.1, Right 8.0 ± 2.2 mL/cardiac | NA | NA | NA | NA
Wentland A. L. | Academic Radiology | 2013 | to assess the repeatability and internal consistency of flow measurements in the renal arteries and pararenal aorta with the use of standard 2D and novel 4D PC MRI | P | yes | 3 Repetitions for both 2D and 4D Acquisition -> No DSS | no | NA | NA | Healthy | NA | F+M | 10 | NA | 4 | 6 | 27.4 ± 2.3 | NA | 24-31 | NA | NA | NA | NA | NA | NA | NA | Subjects refrained from food and drink for a minimum of 4 hours | 3 (2t PC) | GE | PC | if RBF from Aorta: 5-10 RA; if RBF from RA: 10-15 A | 2 | Breath-Hold | Prospective | 4.92 | 2.91 | 20 | NA | NA | 192x140 | 150 for A | NA | NA | 6 | 488.3 | MATLAB-based software tool | Automatic ROI definition | Aorta (above and below) | First examination: Aorta 28.6 ± 6.7, 16.0 ± 3.8 mL/cardiac cycle Second examination: Aorta 30.7 ± 7.3, 17.4 ± 5.0 mL/cardiac | NA | NA | NA | NA
Wentland A. L. | Academic Radiology | 2013 | to assess the repeatability and internal consistency of flow measurements in the renal arteries and pararenal aorta with the use of standard 2D and novel 4D PC MRI | P | yes | 4 Repetitions for both 2D and 4D Acquisition -> No DSS | no | NA | NA | Healthy | NA | F+M | 10 | NA | 4 | 6 | 27.4 ± 2.3 | NA | 24-31 | NA | NA | NA | NA | NA | NA | NA | Subjects refrained from food and drink for a minimum of 4 hours | 3 (3t PC) | GE | PC | 10-15 A | 4 | yes | Retrospetive ECG | 6.1 | 2.4 | 8 | NA | NA | NA | 150 for RA | NA | NA | NA | 488.3 | MATLAB-based software tool | Automatic ROI definition | Renal artery (Single) | First examination: 26.8 ± 6.9, 15.5 ± 4.5, 5.1 ±1.5, and 5.9 ± 1.3 mL/cardiac cycle for the SRA, IRA, LRA, and RRA vessels. Second examination: 28.8 ± 7.7, 14.5 ± 3.8, 5.4 ± 2.1, and 6.2 ± 1.7 mL/cardiac | NA | NA | NA | NA
Khatir D. S. | Magnetic Resonance Imaging | 2014 | To determine the reproducibility of renal artery blood flow and blood-oxygenation level dependent in patients with chronic kidney disease and healthy controls | P | yes | Two different Scans-> positive | no | NA | NA | CKD | CKD (STAGE3-4) | F+M | NA | 11 | 1 | 10 | 65 ± 15 | NA | NA | NA | NA | NA | NA | From Plasma creatinine | 29 | 122 - 300 (μmol/l) Plasma creatinine | NA | 1.5 scan 1-2 | Siemens | PC | NA | 2 | yes | ECG | 18 | 3.2 | 30 | 32x16 | 1.25x1.25 | NA | 100 | NA | NA | 5 | 400 | NA | NA | Renal artery (Single) | SCAN1 :170 ± 130; SCAN2: 186 ± 137 | NA | NA | RVR =mean BP divided by RABF [mmHg/mL/min] | SCAN 1:0.77 ± 0.5; SCAN 2: 0.96 ± 0.6
Khatir D. S. | Magnetic Resonance Imaging | 2014 | To determine the reproducibility of renal artery blood flow and blood-oxygenation level dependent in patients with chronic kidney disease and healthy controls | P | yes | Two different Scans-> positive | no | NA | NA | Healthy | NA | F+M | 9 | NA | 3 | 6 | 43 ± 12 | NA | NA | NA | NA | NA | NA | NA | NA | 77 ± 13 (μmol/l) Plasma creatinine | NA | 1.5 scan 1-2 | Siemens | PC | NA | 2 | yes | ECG | 18 | 3.2 | 30 | 32x16 | 1.25x1.25 | NA | 100 | NA | NA | 5 | 400 | NA | NA | Renal artery (Single) | SCAN1: 365 ± 119; SCAN2: 361 ± 107 | NA | NA | RVR =mean BP divided by RABF [mmHg/mL/min] | SCAN 1: 0.30 ± 0.2; SCAN 2: 0.34 ± 0.2
Steeden J. A. | Magnetic Resonance Imaging | 2015 | To validate an R-R interval averaged golden angle spiral PCMR sequence against conventional cine PCMR for assessment of RBF in normal volunteers; To investigate the effects of motion and heart rate on the accuracy of flow measurements using an in silico simulation. | P | no | NA | no | NA | NA | Healthy | NA | F+M | 20 | NA | 9 | 11 | NA | 30 | 22-46 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 (1t PC) | Siemens | RAGS | NA | NA | Breath-Hold | NA | 11.9 | 2 | 20 | 35x35 | NA | 448x448 | 100 | NA | NA | 6 | 485 | in-house OsiriX Plugins semi-automated registration-based segmentation | semi-automated | Renal artery (Single) | 490 ± 130 | NA | NA | NA | NA
Steeden J. A. | Magnetic Resonance Imaging | 2015 | To validate an R-R interval averaged goldenangle spiralPCMR sequence against conventional cine PCMR forassessment of RBF in normal volunteers; To investigate the effects of motion and heartrate on the accuracy of flow measurements using an insilico simulation. | P | no | NA | no | NA | NA | Healthy | NA | F+M | 20 | NA | 9 | 11 | NA | 30 | 22-46 | NA | NA | NA | NA | NA | NA | NA | NA | 1.5 (2t PC) | Siemens | Cine | NA | NA | yes | yes | 11.8 | 4.6 | 24 | 30x22.5 | NA | 464x348 | 100 | NA | NA | 6 | 220 | in-house OsiriX Plugins semi-automated registration-based segmentation | semi-automated | Renal artery (Single) | 480 ± 130 | NA | NA | NA | NA
Spithoven E. M. | European Radiology | 2015 | to evaluate the feasibility and accuracy of PC- RBF by MRI in ADPKD patients with a wide range of (eGFR) values | P | yes | phantom -> high | yes | Inter (2) and intra (2) -> good | NA | ADPKD | NA | F+M | NA | 91 | 53 | 38 | 39.8 ± 11.4 | NA | NA | 58.2 | 41.8 | NA | NA | CKD-EPI (Chronic Kidney Disease Epidemiology Collaboration) equation | 79.2 ± 28.8 (1.73m^2) | NA | NA | 1.5 | Siemens | fast gradient echo | NA | 2 | NA | Retrospective | 43.6 | 4 | 30 | 32X32 | NA | NA | 100 | 260-384 | NA | 5 | NA | ARGUS flow software | manually selected ROI | Renal Artery (total) | 814 ± 302 (1.73m^2) | NA | NA | RBFHip: ERPF/(1-hematocrit) [ml/min*1.73m^2] | 440 ± 157
Keegan J. | Journal of Cardiovascular Magnetic Resonance | 2015 | phase velocity mapping as technique to study temporal patterns of flow and measure resistive and pulsatility indices | P | yes | Inter-study (2 Scanner) -> good | yes | interobserver (2) -> good | NA | Healthy | NA | F+M | 10 | NA | 2 | 8 | NA | NA | 24-37 | NA | NA | NA | NA | NA | NA | NA | NA | 3 | Siemens | spiral velocity mapping | NA | NA | Breath-Hold | Retrospective ECG | 19 | 5.2 | NA | NA | NA | 256X256 | 150 | NA | NA | 8 | NA | background phase correction | manually selected ROI | Renal artery (Single) | 1 observer: 413 ± 122 | NA | NA | RI = (PSV–MDV)/PSV PI = (PSV–MDV)/MV | RI: 0.71 ± 0.06 PI: 1.47 ± 0.29
Khatir D. S. | American Journal of Kidney Disease | 2015 | To describe the relationship between renal oxygenation, renal artery blood flow, and sodium absorption in patients with CKD and healthy controls | Cross-sectional study-P | no | NA | no | NA | NA | CKD | CKD (STAGE 3 to 5) | F+M | NA | 62 | NA | NA | 61 ± 13.2 | NA | NA | 28 | 72 | chromium 51–labeled EDTA clearance | 36 ± 15 | MDRD | 34 ± 11 (1.73m^2) | NA | NA | 1.5 | Siemens | Gradient Echo | NA | 2 | yes | ECG | 18 | 3.2 | 30 | 32x16 | 1.25x1.25 | NA | 100 | NA | NA | 5 | 400 | NA | NA | Renal artery (Single) | 319 | 293 to 345 | NA | NA | NA
Khatir D. S. | American Journal of Kidney Disease | 2015 | To describe the relationship between renal oxygenation, renal artery blood flow, and sodium absorption in patients with CKD and healthy controls | Cross-sectional study-P | no | NA | no | NA | NA | Healthy | NA | F+M | 24 | NA | NA | NA | 61.5 ± 12 | NA | NA | 21 | 79 | chromium 51–labeled EDTA clearance | 97 ± 23 | NA | NA | NA | NA | 1.5 | Siemens | Gradient Echo | NA | 2 | yes | ECG | 18 | 3.2 | 30 | 32x16 | 1.25x1.25 | NA | 100 | NA | NA | 5 | 400 | NA | NA | Renal artery (Single) | 443 | 404 to 481 | NA | NA | NA
van der Bel R. | American Heart Association | 2016 | To evaluate if with pharmacological modulation of kidney blood flow, renaloxygenation, as assessed by BOLD-MRI, correlates to filtration fraction (ie, glomerular filtration rate/effective renal plasma flow) inhealthy humans | P | no | NA | no | NA | NA | Healthy | NA | F+M | 8 | NA | 3 | 5 | 20 ± 1 | NA | NA | NA | NA | iothalamate clearances | 121 | NA | NA | 71 ± 11 lmol/L Plasma Creatinine | NA | 3 | Philips | PC | NA | 3 | NA | ECG | 8.5 | 5.7 | 10 | 20X20 | NA | NA | 100 | NA | NA | 3 | NA | GTFlow software | NA | Renal Artery (total) (flow in one artery is assumed to be equal to flow in another artery) | 1171.43** (Before Ang-II); 1241.38** (After Ang-II) | NA | NA | SVR [dyn/cm^5 per second]; ERPF [mL/min per 1.73 m^2]; FF; RVR [mmHg/(ml/min)] | SVR: 1018 ± 34 ERPF: 354 ± 17 FF: 0.37 ± 0.023 RVR: 0.07 ± 0.0046
Cox E. F. | Frontiers in Physiology | 2017 | To evaluate non-invasive assessment of hemodynamics (renal artery blood flow and perfusion), oxygenation (BOLD T2 ∗), and microstructure (diffusion, T1 mapping) | P | no | NA | no | NA | NA | CKD | CKD (STAGE3-4) | F+M | NA | 11 | 3 | 8 | 52 ± 14 | NA | NA | NA | NA | NA | NA | From Serum Creatinine Concentration | 15-66 (1.73m^2) | NA | NA | 3 | Philips | PC | NA | NA | Breath-Hold | yes | NA | NA | 25 | NA | NA | NA | 100 | NA | NA | NA | NA | Q-flow software | placed over the vessel using Q-flow software | Renal artery (Single) | 314 ± 148 | NA | NA | NA | NA
Cox E. F. | Frontiers in Physiology | 2017 | To evaluate non-invasive assessment of hemodynamics (renal artery blood flow and perfusion), oxygenation (BOLD T2 ∗), and microstructure (diffusion, T1 mapping) | P | no | NA | yes | Intra -> very good | NA | Healthy | NA | F+M | 127 | NA | 87 | 40 | NA | NA | 21-69 | NA | NA | NA | NA | NA | NA | NA | NA | 3 | Philips | PC | NA | NA | Breath-Hold | yes | NA | NA | 25 | NA | NA | NA | 100 | NA | NA | NA | NA | Q-flow software | placed over the vessel using Q-flow software | Renal artery (Single) | <40 age -> 427 ± 117; >40 age ->329 ± 69 | NA | NA | NA | NA
Kline T. L. | Abdominal Radiology | 2017 | To evaluate the reproducibility and utility of quantitative MRI | P | yes | Acquisition -> yes but not the best | yes | Intra (3) | NA | ADPKD | NA | F+M | NA | 10 | 6 | 4 | 23.0 ± 3.1 | NA | 18-30 | NA | NA | NA | NA | CKD-EPI Creatinine Equation | 110.6 ± 11.7 (1.73m^2) | 0.80 ± 0.17 | Hydration | 3 | GE | Cine | NA | 2 | NA | NA | NA | NA | NA | NA | NA | NA | 100 | NA | NA | NA | NA | house software | manually selected ROI | Renal Artery (total) | 1045 ± 139 | NA | NA | RVR = (MAP/RBF)*80 [mmHg/mL/min/1.73 m^2] | 12.2 ± 2.1
Kline T. L. | Abdominal Radiology | 2017 | To evaluate the reproducibility and utility of quantitative MRI | P | yes | Acquisition -> yes but not the best | yes | Intra (3) | NA | Healthy | NA | F+M | 10 | NA | 6 | 4 | 22.5 ± 3.0 | NA | 18-30 | NA | NA | NA | NA | CKD-EPI Creatinine Equation | 104.7 ± 18.3 (1.73m^2) | 0.90 ± 0.14 | Hydration | 3 | GE | Cine | NA | 2 | NA | NA | NA | NA | NA | NA | NA | NA | 100 | NA | NA | NA | NA | house software | manually selected ROI | Renal Artery (total) | 1083 ± 157 | NA | NA | RVR = (MAP/RBF)*80 [mmHg/mL/min/1.73 m^2] | 11.0 ± 2.2
van der Bel R. | Clinical Autonomic Research | 2018 | To study the effects of systemic sympathetic activation elicited by a LBNP on renal blood flowand renal oxygenation in healthy humans | P | no | NA | no | NA | NA | Healthy | NA | F+M | 8 | NA | 3 | 5 | NA | NA | 19-31 | NA | NA | NA | NA | NA | NA | NA | NA | 3 | Philips | PC | NA | 3 | NO | ECG | 8.5 | 5.7 | 10 | 20X20 | NA | NA | 100 | NA | NA | 3 | NA | GTF low version.correction for background phase-offset errors and aliasing | NA | Renal Artery (total) (flow in one artery is assumed to be equal to flow in another artery) | 1152 at Baseline; 1039 with LBNP -15mmHg; 950 with LBNP -30mmHg; 1012 with Recovery | NA | NA | RVR = MAP divided by RBF [mmHg/mL/min] | Baseline: 0.076 ± 0.0063; -15mmHg: 0.083 ± 0.0057; -30mmHg: 0.094 ± 0.0067; Recovery: 0.088 ± 0.0073
Khatir D. S. | Journal of Hypertension | 2018 | To investigate whether a reduction in RVR achieved by adding AVT is superior to adding AnonVT regarding tissue oxygenation and preservation of kidney function | P | no | NA | no | NA | 18 Months | CKD | CKD (STAGE 3 to 4) | F+M | 42 | NA | 11 | 31 | 62.5 ± 1.8 | NA | NA | NA | NA | Chrome-EDTA plasma clearance | 36 ± 22 | MDRD | 15-60 (1.73m^2) | NA | NA | 1.5 | Siemens | Gradient Echo | NA | 2 | yes | ECG | 18 | 3.2 | 30 | 32x16 | 1.25x1.25 | NA | 100 | NA | NA | 5 | 400 | Mistar | NA | Renal artery (Single) | AVT 336 After 18 months: 335 | AVT 272 to 399 After 18 Months: 295-376 | NA | AVT RVR = MAP divided by RBF [mmHg/mL per min] | AVT 0.41 (0.29; 0.53) After 18 months: 0.39 (0.21; 0.61)
Khatir D. S. | Journal of Hypertension | 2018 | To investigate whether a reduction in RVR achieved by adding AVT is superior to adding AnonVT regarding tissue oxygenation and preservation of kidney function | P | no | NA | no | NA | 18 Months | CKD | CKD (STAGE 3 to 4) | F+M | 40 | NA | 12 | 28 | 60.4 ± 2.4 | NA | NA | NA | NA | Chrome-EDTA plasma clearance | 37.4 ± 2.5 | MDRD | 15-60 (1.73m^2) | NA | NA | 1.5 | Siemens | Gradient Echo | NA | 2 | yes | ECG | 18 | 3.2 | 30 | 32x16 | 1.25x1.25 | NA | 100 | NA | NA | 5 | 400 | Mistar | NA | Renal artery (Single) | AnonVT 332 After 18 months: 378 | AnonVT 293 to 371 After 18 Months: 325-430 | NA | AnonVT RVR = MAP divided by RBF [mmHg/mL per min] | AnonVT 0.33 (0.27; 0.39) After 18 months: 0.35 (0.26; 0.44)
Eckerbom | American Physiological Society | 2019 | The use of noninvasive MRI, utilizing PC imaging to estimate total renal blood flow, ASL to estimate regional renal perfusion, BOLD transverse relaxation rate (R2*) to estimate renal tissue oxygenation, and diffusion-weighted imaging and longitudinal relaxation time (T1) to estimate renal tissue properties, provides a powerful tool to study normal renal physiology and parameters proposed to contribute to the development of both AKI and CKD. | P | no | NA | no | NA | NA | Healthy | NA | F+M | 28 | NA | 15 | 13 | 23.7 ± 5.3 | NA | NA | NA | NA | NA | NA | NA | NA | NA | to eat and drink normally and to avoid alcohol and excessive physical exercise before the study | 3 | Philips | Turbo Field-echo | NA | NA | Breath-Hold | ECG | 7.8 | 3.6 | NA | 28x14.4 | NA | 240x140 | NA | NA | NA | NA | 382 | Q-flow software | NA | Renal artery (both) | FEMALE: R: 467 ± 155; 453 ± 166; MALE: R: 543 ± 169; L: 564 ± 78 | NA | NA | NA | NA
LEGEND
1T | Technique1
A | Aorta
S | Stenosis
FFE | Fast Field Echo
MDRD | Modification of Diet in Renal Disease
DSS | Difference statistically significant
USPC | ungated spiral PC
FE-EPI | Multi-shot echo-planar
LBNP | lower body negative pressure
RAS | Renal artery stenosis
PTRA | percutaneous transluminal renal angioplasty
FMD | fibromuscular dysplasia
RPF | Renal Plasma Flow
Hem | hematocrit
PAH | p-aminohippurate
FF | filtration fraction
RVR | Renal vascular resistance
RI | Resistive index
Pt | mean peritubular capillary pressure
Pv | renal venous pressure all pressures in mmHg
Q | afferent renal blood flow
RBFI | renal blood flow index
SVRI | Systemic vascular resistance index
CO | Central venous pressure
CI | Cardiac Index
PSV | peak systolic velocity
MDV | minimum diastolic velocity
MV | mean velocity
AVT | vasodilating medical therapy
AnonVT | nonvasodilating medical therapy