- Table S6. Results from elemental analysis of fish samples. Element concentration in muscle and skin samples from wild fish (individual fish (F1, F2) from WE, WF and WG) and from farmed fish (groups of fish, FH, FI, FJ). Farmed fish are reported as mean ± standard deviation. DOLT: Dogfish liver CRM (certified reference material). The reference value and the measured value for this are given. p-values from ANOVA are shown for comparison between wild and farmed origin, with statistically significant differences at p < 0.05.

|  |  |  |  | WE-F1 | WF-F1 | WF-F2 | WG_F1 | WG_F2 | FH | FI | FJ | DOLT4 Measured | DOLT4 CRM |  | p-value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mg | mg/kg |  | muscle | 335 | 332 | 344 | 335 | 361 | 256 ± 7 | 285 ± 145 | 362 ± 26 | 1510 | 1500b |  | 0.098 |
|  |  |  | skin | 207 | 574 | 286 | 229 | 299 | 295 ± 51 | 322 ± 53 | 511 ± 86 |  |  |  | 0.862 |
| P | mg/kg |  | muscle | 2880 | 2830 | 2840 | 2900 | 2990 | 2323 ± 55 | 2610 ± 78 | 3133 ± 256 | 13200 |  |  | 0.140 |
|  |  |  | skin | 2610 | 4480 | 3830 | 3970 | 4700 | 4753 ± 1272 | 5170 ± 863 | 3640 ± 1273 |  |  |  | 0.494 |
| K | mg/kg |  | muscle | 4630 | 4750 | 4790 | 4360 | 5000 | 4087 ± 257 | 4497 ± 115 | 5233 ± 49 | 9900 | 9800 b |  | 0.352 |
|  |  |  | skin | 1600 | 1250 | 1580 | 1060 | 846 | 1370 ± 111 | 1323 ± 141 | 1390 ± 71 |  |  |  | 0.502 |
| Ca | mg/kg |  | muscle | <80 | <70 | <70 | 249a | <70 | <70 | <70 | <70 | 660 | 680 b |  | 0.222 |
|  |  |  | skin | 3030 | 7100 | 5330 | 6200 | 8180 | 7510 ± 2769 | 7740 ± 1444 | 5270 ± 2235 |  |  |  | 0.578 |
| V | mg/kg |  | muscle | <0.0037 | <0.0037 | <0.0037 | <0.0037 | <0.0037 | <0.0037 | <0.0037 | <0.0037 | 0.593 | 0.6 b |  | 0.217 |
|  |  |  | skin | 0.0112 | 0.0235 | 0.0344 | 0.0307 | 0.0266 | 0.024±0.01 | 0.027±0.007 | 0.021±0.0003 |  |  |  | 0.252 |
| Mn | mg/kg |  | muscle | <0.13 | <0.13 | <0.12 | <0.14 | <0.13 | <0.13 | <0.13 | <0.13 | 10.3 |  |  | 0.296 |
|  |  |  | skin | 0.167 | 0.881 | 0.289 | 0.328 | 0.311 | 2.1 ± 1.6 | 2.7 ± 2.5 | 2.6±1.5 |  |  |  | 0.301 |
| Fe | mg/kg |  | muscle | 2.24 | 2.21 | 2.3 | 7.85 | 3.3 | 3.6 ± 0.5 | 3.1 ± 0.7 | 2.9±0.4 | 1890 | 1833 ± 75 |  | 0.154 |
|  |  |  | skin | 4.18 | 7.48 | 5.92 | 3.68 | 9.21 | 4.5 ± 0.9 | 6.1 ± 0.4 | 11.1±4.7 |  |  |  | 0.908 |
| Cu | mg/kg |  | muscle | 0.302 | 0.225 | 0.241 | 0.735 | 0.427 | 0.3 ± 0.1 | 0.3 ± 0.04 | 0.3±0.1 | 34.1 | 31.2 ± 1.1 |  | 0.109 |
|  |  |  | skin | 0.642 | 0.718 | 0.911 | 0.463 | 0.904 | 0.3 ± 0.1 | 0.4 ± 0.1 | 0.9±0.2 |  |  |  | 0.130 |
| Zn | mg/kg |  | muscle | 3.44 | 3.12 | 2.94 | 4.41 | 3.29 | 3.5 ± 0.4 | 3.7 ± 0.3 | 3.3±0.01 | 123 | 116 ± 6 |  | 0.238 |
|  |  |  | skin | 33.6 | 11.9 | 80.7 | 80.6 | 51.2 | 45 ± 27 | 23 ± 3 | 7.7±1.5 |  |  |  | 0.087 |
| As | mg/kg |  | muscle | 2.79 | 2.32 | 2.02 | 1.56 | 1.27 | 0.4 ± 0.2 | 0.6 ± 0.1 | 0.4±0.2 | 9.73 | 9.66 ±0.62 |  | <0.001* |
|  |  |  | skin | 2.15 | 0.475 | 1.89 | 0.984 | 1.03 | 0.8 ± 0.7 | 0.42 ± 0.04 | 0.4±0.1 |  |  |  | 0.057 |
| Rb | mg/kg |  | muscle | 0.872 | 0.958 | 0.891 | 0.948 | 0.991 | 0.9 ± 0.5 | 1.2 ± 0.1 | 1.2±0.1 | 3.06 |  |  | 0.016* |
|  |  |  | skin | 0.352 | 0.365 | 0.371 | 0.259 | 0.236 | 0.35 ± 0.04 | 0.41 ±0.07 | 0.41±0.03 |  |  |  | 0.917 |
| Sr | mg/kg |  | muscle | <0.3 | <0.3 | <0.3 | 1.32 a | <0.3 | <0.3 | <0.3 | <0.3 | 5.17 | 5.5 b |  | 0.218 |
|  |  |  | skin | 12.1 | 37.1 | 20.7 | 25.6 | 42.6 | 35.8±12.3 | 30.3±5 | 26.9±8.1 |  |  |  | 0.689 |
| Cs | mg/kg |  | muscle | 0.056 | 0.0477 | 0.0546 | 0.033 | 0.0549 | 0.02±0.001 | 0.022±0.001 | 0.029±0.003 | 0.106 |  |  | 0.004* |
|  |  |  | skin | 0.0241 | 0.0078 | 0.0214 | 0.0140 | 0.0080 | 0.009±0.003 | 0.008±0.002 | 0.009±0.0001 |  |  |  | 0.087 |
| Cd | mg/kg |  | muscle | 0.00187 | 0.00048 | 0.00184 | 0.00470 | 0.00125 | 0.0001±0.0001 | 0.0001±0.0001 | 0.0001±0.0001 | 25.2 | 24.3±0.8 |  | 0.003* |
|  |  |  | skin | 0.00675 | 0.00046 | 0.00270 | 0.00556 | 0.01850 | 0.0029±0.0047 | 0.00018±0.00004 | 0.00027±0.00003 |  |  |  | 0.092 |
| Tl | mg/kg |  | muscle | 0.000191 | 0.000213 | <0.00011 | 0.00022 | 0.00016 | 0.00031±0.00004 | 0.00018±0.00002 | 0.00017±0.00002 | 0.0172 |  |  | 0.529 |
|  |  |  | skin | 0.00024 | 0.000226 | 0.000255 | 0.000116 | 0.000204 | 0.0003±0.0001 | <0.0003 | <0.0003 |  |  |  | 0.244 |  |
| U | mg/kg |  | muscle | <0.0002 | 0.0337 | <0.0002 | 0.0005 | <0.0002 | <0.0002 | <0.0002 | <0.0002 | 0.062 |  |  | 0.198 |  |
|  |  |  | skin | 0.00153 | 0.0197 | 0.00276 | 0.00232 | 0.00676 | 0.004±0.001 | 0.0017±0.0004 | 0.008±0.005 |  |  |  | 0.447 |  |

aIncreased value indicates bone particles in muscle sample

bInformation values for DOLT-4