Table S2. Initial test to verify specificity of LAMP assays and identity of bacterial isolates. Threshold time (Tt) for LAMP assays with gDNA extracted from clinical isolates tested in conventional vials (Chromo4TM Biorad) under isothermal condition. Type strains(*) were spiked to have a total mass of 1 ng per reaction, and 2 l was added from isolate lysates yielding 472, 24, 22, 53 ng per reaction for S. aureus, GAS, GBS, E. coli, respectively. Numbers indicate average time to positive amplification (min) from duplicate reactions. 
	Isolate/Assay
	lmb
	mstA
	cfb
	scpA
	stx2
	uidA
	coa
	mecA
	nuc

	S. aureus
	-
	-
	-
	-
	-
	-
	23.98
	-
	14.5

	E. coli
	-
	-
	-
	-
	-
	20.6
	-
	-
	-

	GAS
	16.9
	27.7
	-
	17.5
	-
	-
	-
	-
	-

	GBS
	13.6
	-
	16.8
	25.7
	-
	-
	-
	-
	-

	*S. agalactiae
	10.8
	32.8
	16.2
	21.8
	nt
	nt
	nt
	nt
	-

	*E. coli O1:57:H7
	nt
	nt
	Nt
	nt
	14.9
	13.6
	nt
	nt
	-

	*S. aureus Mu50
	nt
	nt
	Nt
	nt
	nt
	Nt
	32.2
	15.5
	13.5


nt: not tested
