Table S2. Initial test to verify specificity of LAMP assays and identity of bacterial isolates. Threshold time (Tt) for LAMP assays with gDNA extracted from clinical isolates tested in conventional vials (Chromo4TM Biorad) under isothermal condition. Type strains(*) were spiked to have a total mass of 1 ng per reaction, and 2 l was added from isolate lysates yielding 472, 24, 22, 53 ng per reaction for S. aureus, GAS, GBS, E. coli, respectively. Numbers indicate average time to positive amplification (min) from duplicate reactions.

| Isolate/Assay | lmb | mstA | cfb | scpA | stx2 | uidA | coa | mecA | nuc |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S. aureus | - | - | - | - | - | - | 23.98 | - | 14.5 |
| E. coli | - | - | - | - | - | 20.6 | - | - | - |
| GAS | 16.9 | 27.7 | - | 17.5 | - | - | - | - | - |
| GBS | 13.6 | - | 16.8 | 25.7 | - | - | - | - | - |
| *S. agalactiae | 10.8 | 32.8 | 16.2 | 21.8 | nt | nt | nt | nt | - |
| *E. coli O1:57:H7 | nt | nt | Nt | nt | 14.9 | 13.6 | nt | nt | - |
| *S. aureus Mu50 | nt | nt | Nt | nt | nt | Nt | 32.2 | 15.5 | 13.5 |

nt: not tested