
[bookmark: _GoBack]Table S3. Testing specificity of 23 LAMP assays against gDNA of 11 bacterial isolates from septic infections.   Calls are based on 2 of 2 replicates showing amplification in vials tested using the Chromo-4TM.  Cells with “+” and “-“ indicate true positive and true negative, respectively.  Cells with “u” indicate presence or absence of the target gene is unknown for the isolate tested, and the gray cell indicates false positive.
	 
	Corynebacterium spp.
	 S. aureus
	 MRSA
	Coag. negative Staphylococcus
	Group A Streptococcus
	Group B Streptococcus
	VSG (Viridans-Streptococcus)
	P. mirabilis
	E. coli
	K. pneumoniae
	Enterococcus

	uidA
	-
	-
	-
	-
	-
	-
	-
	-
	+
	-
	-

	stx1
	-
	-
	-
	-
	-
	-
	-
	-
	-u
	-
	-

	stx2
	-
	-
	-
	-
	-
	-
	-
	-
	-u
	-
	-

	eaeA
	-
	-
	-
	-
	-
	-
	-
	-
	-u
	-
	-

	bacA
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-

	lmb
	-
	-
	-
	-
	+
	+
	-
	-
	-
	-
	-

	cfb
	-
	-
	-
	-
	-
	+
	-
	-
	-
	-
	-

	scpA
	-
	-
	-
	-
	+
	+
	-
	-
	-
	-
	-

	ssa
	-
	-
	-
	-
	+
	-
	-
	-
	-
	-
	-

	mstA
	-
	-
	-
	-
	+
	-
	-
	-
	-
	-
	-

	ef0027
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-
	+

	ace
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-
	+

	sodA
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-

	vicK
	-
	+
	+
	-
	-
	-
	-
	-
	-
	+
	-

	nuc
	-
	+
	+
	-
	-
	-
	-
	-
	-
	-
	-

	coA
	-
	+
	+
	-
	-
	-
	-
	-
	-
	-
	-

	mecA
	-
	-
	+
	+u
	-
	-
	-
	-
	-
	-
	-

	uge
	-
	-
	-
	-
	-
	-
	-
	-
	-
	+
	-

	wabG
	-
	-
	-
	-
	-
	-
	-
	-
	-
	+
	-

	dtxR
	-u
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-

	exoS
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-

	popD
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-

	oprL
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-
	-



