| Supplementary Table 1 Degree of Ki67 differences between different counting methods, in all DIA cases and in cases with Ki67 between 15-25% (i.e. near the 20% cutoff by the St. Gallen criteria [21]) |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | All DIA cases | Ki67 15-25% (manual counting) | Ki67 15-25% (platform A) | Ki67 15-25% (platform B) |
| Total | 117 | 24 | 23 | 27 |
| Ki67, manual vs. platform A |  |  |  |  |
| <5% difference | 95 (81.2%) | 23 (95.8%) | 19 (82.6%) | N/A |
| 5-10% difference | 14 (12.0%) | 1 (4.2%) | 1 (4.3%) | N/A |
| >10% difference | 8 (6.8%) | 0 (0%) | 3 (13.0%) | N/A |
| Ki67, manual vs. platform B |  |  |  |  |
| <5% difference | 92 (78.6%) | 23 (95.8%) | N/A | 20 (74.1%) |
| 5-10% difference | 19 (16.2%) | 1 (4.2%) | N/A | 5 (18.5%) |
| >10% difference | 6 (5.1%) | 0 (0%) | N/A | 2 (7.4%) |
| Ki67, platform A vs. B |  |  |  |  |
| <5% difference | 108 (92.3%) | N/A | 22 (95.7%) | 24 (88.9%) |
| 5-10% difference | 8 (6.8%) | N/A | 0 (0%) | 3 (11.1%) |
| >10% difference | 1 (0.9%) | N/A | 1 (4.3%) | 0 (0%) |
| DIA, digital image analysis; N/A, not applicable |  |  |  |  |