Supplementary tables

Supplementary table 1: Inclusion and exclusion criteria.

| Inclusion Criteria | Exclusion Criteria |
| --- | --- |
| Postmenopausal status | Triple-negative breast cancer, HER2+ status |
| ER+/HER-2- Locally advanced breast cancer (according to AJCC TNM 8th ed) | Life-threatening metastasis at diagnosis or during treatment, clinically progressive disease |
| No or very limited distant metastasis | Previous therapy for breast cancer within the last 12 months and/or medications that may interfere with endocrine therapy |
|  | Lack of any of the MRIs, lack of sufficient imaging quality |
|  | Inconclusive pathological examination |
|  | Refusal of surgery |

AJCC: The American Joint Committee on Cancer, ER+: Estrogen receptor-positive, HER-2: Human epidermal growth factor receptor 2, MRI: magnetic resonance imaging, TNM: tumor node metastasis.

Supplementary table 2: Details of breast magnetic resonance sequences acquisition.

| Sequence | TR/TE (ms) | Flip angle | Dyn Reps. | NSA | FOV (mm) | Slice thickness (mm) | Acquisition time |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pre- contrast |  |  |  |  |  |  |  |
| T1W- TSE | 487/8 | NA | 1 | 2 | 280x340 | 3 | 2.40 min |
| DWI SSh SE- EPI | 7000/103 | NA | 1 | 3 | 280x340 | 3 | 5.50 min |
| FS 3DT2W | 1300/145 | NA | 1 | 1 | 370x370 | 2.2 | 5.20 min |
| After a single injection of CA |  |  |  |  |  |  |  |
| 3DT1_T2* multi-echo EPI | 38/6.2/8.8 | 28º | 41 | 1 | 280x340 | 8 | 2.84 sec/volume |
| 3D T1W THRIVE | 5.4/2.6 | 12 º | 6 | 1 | 360x120 | 2 | 56.5 sec/volume |

CA: contrast agent, DWI SSh SE- EPI: diffusion weighted imaging, single- shot, echo planar imaging with two respective b factors (50, 800), T1W THRIVE: high spatial resolution 3D T1- weighted turbo field echo (TFE) sequence, EPI: echo planar imaging, FOV: field of view, NA: non-applicable, NSA: number of signals, FS: fat suppression, TE: time echo, TR: repetition time, TSE: turbo spin echo, T1W: T1- weighted, T2W: T2- weighted, 3D: 3 dimensional.