Supplemental Figures

Supplemental Figure 1: Correlation plot CCTA versus IVUS

Supplemental Figure 2: Exclusion image quality blurry images

Exclusion criterion illustrated in a patient whose images were sufficiently blurry to preclude confident full-length segmentation along the entire vessel course.

Supplemental Figure 3: Exclusion image quality blurry wire in ostium, ostium cut-off

Case example illustrating two exclusion criteria. First, the most common issue: Wire position at the ostium casts a shadow over the entire major axis, precluding vessel estimation at this location (indicated by the dotted line). While clinical analysis remains feasible based on the high-quality lumen visible in frame 1214 (green), 3D reconstruction is not possible under these conditions.

The second issue in this pullback is that acquisition was stopped prematurely, such that the aorta is never visualized during the diastolic phase (compare with the systolic phase in red, where the ostium and aortic blood pool are clearly visible). Consequently, intramural length estimation is not possible.

Supplemental Figure 3: Cases not included in 9 cases figure

Supplemental Tables

Supplemental Table 1: Geometrical error by pointwise distance intrareader analysis.

| Case | Median distance [mm] | 5th percentile distance [mm] | 25th percentile distance [mm] | 50th percentile distance [mm] | 75th percentile distance [mm] | 95th percentile distance [mm] | 99th percentile distance [mm] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Case 1 | 0.21 | 0.06 | 0.12 | 0.21 | 0.30 | 0.47 | 0.60 |
| Case 2 | 0.25 | 0.09 | 0.17 | 0.25 | 0.33 | 0.52 | 0.67 |
| Case 3 | 0.48 | 0.30 | 0.42 | 0.48 | 0.54 | 0.62 | 0.65 |
| Case 4 | 0.28 | 0.05 | 0.13 | 0.28 | 0.47 | 0.65 | 0.72 |
| Case 5 | 0.25 | 0.08 | 0.18 | 0.25 | 0.38 | 0.65 | 0.76 |
| Case 6 | 0.05 | 0.01 | 0.03 | 0.05 | 0.09 | 0.14 | 0.19 |
| Case 7 | 0.14 | 0.02 | 0.07 | 0.14 | 0.23 | 0.43 | 0.49 |
| Case 8 | 0.09 | 0.02 | 0.05 | 0.09 | 0.18 | 0.30 | 0.38 |
| Case 9 | 0.10 | 0.03 | 0.06 | 0.1 | 0.14 | 0.20 | 0.24 |
| Case 10 | 0.09 | 0.02 | 0.06 | 0.09 | 0.14 | 0.27 | 0.32 |
| Average | 0.19 | 0.07 | 0.13 | 0.19 | 0.28 | 0.43 | 0.50 |

Pointwise distance between first 3D reconstruction and second reconstruction. Points with the same ID are compared by Euclidean distance, and the averaged results over all points are reported (see also figure 6).

Supplemental Table 2: Repeated 3D reconstructed IVUS measurements from run 1 and run 2 and their difference by paired t-test.

| Variable | Run 1 | Run 2 | p-value |
| --- | --- | --- | --- |
| Intramural length [mm] | 17.2 ± 5.8 | 15.4 ± 4.3 | 0.15 |
| Ostial lumen area (diastole) [mm2] | 9.7 ± 2.3 | 8.8 ± 2.2 | 0.040 |
| Ostial lumen area (systole) [mm2] | 10.0 ± 1.6 | 9.5 ± 1.9 | 0.086 |
| Minimal lumen area (diastole) [mm2] | 5.4 ± 1.9 | 5.3 ± 2.2 | 0.69 |
| Minimal lumen area (systole) [mm2] | 5.0 ± 1.9 | 4.6 ± 1.5 | 0.16 |
| Ostial minor axis (diastole) [mm] | 3.2 ± 0.5 | 3.1 ± 0.5 | 0.24 |
| Ostial minor axis (systole) [mm] | 3.4 ± 0.3 | 3.3 ± 0.4 | 0.16 |
| Minimal lumen minor axis (diastole) [mm] | 1.5 ± 0.6 | 1.6 ± 0.6 | 0.67 |
| Minimal lumen minor axis (systole) [mm] | 1.4 ± 0.6 | 1.4 ± 0.5 | 0.24 |
| Ostial circumference (diastole) [mm] | 11.1 ± 1.2 | 10.5 ± 1.3 | 0.020 |
| Ostial circumference (systole) [mm] | 11.3 ± 0.9 | 11.0 ± 1.0 | 0.10 |
| Minimal lumen circumference (diastole) [mm] | 10.0 ± 0.9 | 9.7 ± 1.0 | 0.12 |
| Minimal lumen circumference (systole) [mm] | 9.9 ± 1.1 | 9.7 ± 0.9 | 0.22 |
| Reference area (diastole) [mm2] | 10.2 ± 2.1 | 9.2 ± 2.2 | 0.073 |
| Reference area (systole) [mm2] | 10.1 ± 1.7 | 9.6 ± 2.1 | 0.13 |
| Reference circumference (diastole) [mm] | 11.3 ± 1.2 | 10.7 ± 1.4 | 0.057 |
| Reference circumference (systole) [mm] | 11.4 ± 1.0 | 11.0 ± 1.2 | 0.074 |
| MLA position from ostium [mm] | 18.7 ± 7.0 | 16.0 ± 6.0 | 0.13 |

Abbreviations: MLA = Minimal lumen area

Supplemental Table 3: Intra-reader and inter-reader clinical IVUS measurements

| Variable (n=10) | Intra-reader 3D-IVUS | p-value | Intra-reader clinical IVUS | p-value | Inter-reader 3D-IVUS versus clinical | p-value |
| --- | --- | --- | --- | --- | --- | --- |
| Ostial lumen area [mm2] | 0.95 (0.82-0.99) | <0.001 | 0.91 (0.70-0.98) | <0.001 | 0.77 (0.33-0.94) | 0.002 |
| Ostial lumen circumference [mm] | 0.87 (0.59-0.97) | <0.001 | 0.82 (0.46-0.95) | <0.001 | 0.77 (0.33-0.94) | 0.002 |
| Ostial major axis length [mm] | 0.72 (0.24-0.92) | 0.002 | 0.84 (0.49-0.96) | <0.001 | 0.60 (0.02-0.88) | 0.022 |
| Ostial minor axis length [mm] | 0.95 (0.82-0.99) | <0.001 | 0.96 (0.85-0.99) | <0.001 | 0.86 (0.55-0.96) | <0.001 |
| Minimal lumen area (MLA) [mm2] | 0.94 (0.78-0.98) | <0.001 | 0.88 (0.62-0.97) | <0.001 | 0.86 (0.56-0.96) | <0.001 |
| MLA circumference [mm] | 0.82 (0.46-0.95) | <0.001 | 0.70 (0.20-0.91) | <0.001 | 0.63 (0.07-0.89) | 0.016 |
| MLA major axis length [mm] | 0.76 (0.32-0.93) | 0.004 | 0.67 (0.15-0.91) | <0.001 | 0.64 (0.10-0.90) | 0.013 |
| MLA minor axis length [mm] | 0.96 (0.86-0.99) | <0.001 | 0.90 (0.66-0.97) | <0.001 | 0.86 (0.57-0.96) | <0.001 |
| Intramural length [mm] | 0.96 (0.86-0.99) | <0.001 | 0.95 (0.83-0.99) | <0.001 | 0.86 (0.55-0.96) | <0.001 |
| MLA position [mm] | 0.76 (0.31-0.93) | <0.001 | 0.44 (-0.19-0.82) | <0.001 | 0.14 (-0.02-0.50) | 0.66 |

Abbreviations: MLA = Minimal lumen area

Supplemental Table 4: Correlation results between CCTA measurements and 3D-IVUS measurements.

| Variable | Pearson’s r | Slope | intercept | p-value |
| --- | --- | --- | --- | --- |
| Ostial area [mm2] | 0.73 | 0.68 | 1.99 | <0.001 |
| Ostial circumference [mm] | 0.69 | 1.02 | 0.28 | <0.001 |
| Ostial major axis length [mm] | 0.64 | 1.02 | 0.04 | <0.001 |
| Ostial minor axis length [mm] | 0.59 | 0.52 | 0.70 | <0.001 |
| Minimal lumen area (MLA) [mm2] | 0.54 | 0.38 | 2.64 | <0.001 |
| MLA circumference [mm] | 0.48 | 0.59 | 3.83 | <0.001 |
| MLA major axis length [mm] | 0.28 | 0.31 | 2.62 | 0.030 |
| MLA minor axis length [mm] | 0.58 | 0.41 | 0.83 | <0.001 |
| MLA position [mm] | 0.03 | 0.02 | 2.29 | 0.82 |
| Distal reference area [mm2] | 0.60 | 0.67 | 3.74 | <0.001 |
| Distal reference circumference [mm] | 0.62 | 0.71 | 3.17 | <0.001 |
| Intramural length (IML) (elliptic ratio >1.3) [mm] | 0.38 | 0.40 | 7.40 | <0.001 |
| IML (interluminal space >atrial distance) [mm] | 0.39 | 0.61 | 9.76 | <0.001 |
| IM (interluminal space >pulmonary distance) [mm] | 0.46 | 0.67 | 6.43 | <0.001 |
| IM fat pad sign [mm] | 0.48 | 0.67 | 10.66 | <0.001 |
| IM (interluminal space >1.5mm) [mm] | 0.59 | 0.69 | 2.72 | <0.001 |

Abbreviations: IML = Intramural length, MLA = Minimal lumen area