- Identification and quantitation of Phosphorylated proteins

The MS raw data for each sample were combined and searched using the MaxQuant software for identification and quantitation analysis. Related parameters and instructions are as follows:

Table Maxquant identification and quantitation indexes

| Item | Value |
| --- | --- |
| Enzyme | Trypsin |
| Max Missed Cleavages | 2 |
| Main search （mass tolerance of precursor ions) | 6 ppm |
| First search （mass tolerance of precursor ions) | 20 ppm |
| MS/MS Tolerance （mass tolerance of MS2) | 20 ppm |
| Fixed modifications | Carbamidomethyl (C) |
| Variable modifications | Oxidation (M) , Phospho (STY) |
| Database | xxxx for example, uniprot_mouse_76417 represents: “uniprot”, public database (http://www.uniprot.org/); “mouse”, organism species; “76417”, the number of sequences |
| Database pattern | Reverse |
| Include contaminants | True |
| Peptide FDR | ≤0.01 |
| Site FDR | ≤0.01 |
| Protein FDR | ≤0.01 |
| Time window (match between runs) | 2min |

- Identification and quantitation of proteins

- The MS raw data for each sample were combined and searched using the MaxQuant 1.6.14 software for identification and quantitation analysis. Related parameters and instructions are as follows:

Table Maxquant identification and quantitation indexes

| Item | Value |
| --- | --- |
| Enzyme | Trypsin |
| Max Missed Cleavages | 2 |
| Fixed modifications | Carbamidomethyl (C), |
| Variable modifications | Oxidation (M) , |
| Main search | 6 ppm |
| First search | 20ppm |
| MS/MS Tolerance | 20ppm |
| Database | xxxx for example, uniprot_mouse_76417 represents: “uniprot”, public database (http://www.uniprot.org/); “mouse”, organism species; “76417”, the number of sequences |
| Database pattern | Reverse |
| Include contaminants | True |
| protein FDR | ≤0.01 |
| Peptide FDR | ≤0.01 |
| Peptides used for protein quantification | Use razor and unique peptides |
| Time window (match between runs) | 2min |
| protein quantification | LFQ |
| min. ratio count | 1 |

Notes: Intensity-based absolute quantification (iBAQ ) and LFQ are two different methods for protein quantification provided by Maxquant software.

iBAQ Intensity reveals the level of protein expression in the sample X based on iBAQ algorithm，which is approximation to the absolute concentration of the protein in the sample.

LFQ Intensity reveals the level of protein expression in the sample X based on LFQ algorithm，which is often used in the comparison between groups.