## A. Analytical method evaluation
Tab. A1s. Typical values representing the performance of the ICPMS/MS
No gas mode
| 7Li | 89Y | 205Tl | 156CeO+/140Ce+ | 70Ce+/140Ce++ | RSD % | Analyzer Preasure (Pa)
| (cps) | (cps) | (cps) | % | %
| 5216 | 24298 | 13535 | 1,03 | 2.75 | 2.9 | 3.13*10-4
He collision mode
| 59Co | 89Y | 205Tl | 156CeO+/140Ce+ | 70Ce+/140Ce++ | RSD % | Analyzer Preasure (Pa)
| (cps) | (cps) | (cps) | % | %
| 3603 | 3798 | 11832 | 0.267 | 0.2835 | 2.64 | 1.22*10-3
O2 reaction mode
| CoO | YO | 205Tl | 156CeO+/140Ce+ | 70Ce+/140Ce++ | RSD % | Analyzer Pressure (Pa)
| m/z 75 | m/z 105
| (cps) | (cps) | (cps) | % | %
| 1470 | 8936 | 4507 | Not monitored | Not monitored | 2.85 | 8.24*10-4
NH3 reaction mode
| Co(NH3)2 | Y(NH) | 205Tl | 156CeO+/140Ce+ | 70Ce+/140Ce++ | RSD % | Analyzer Pressure (Pa)
| m/z 93 | m/z 104
| (cps) | (cps) | (cps) | % | %
| 1171 | Not monitored | 7292 | Not monitored | Not monitored | 4.55 | 2.17*10-3
Tab. A2s. Recovery of certified reference material (SRM 1575a: Trace Elements in Pine Needles)
|  | Estimator | As (μg.kg-1) | Ba (μg.kg-1) | Cd (μg.kg-1) | Cr (μg.kg-1) | Cu (μg.kg-1) | Ni (μg.kg-1) | Pb (μg.kg-1) | Zn (μg.kg-1)
| Determined value | mean | 2.79 | 4.69 | 0.221 | 0.485 | 2.79 | 1.45 | 0.095 | 36.3
|  | sd | 0.169 | 0.055 | 0.008 | 0.003 | 0.17 | 0.016 | 0.081 | 0.194
| Certified value | mean | 2.8 | 6 | 0.233 | 0.3-0.5 | 2.8 | 1.47 | 0.167 | 38
|  | sd | 0.2 | 0.2 | 0.004 |  | 0.2 | 0.1 | 0.015 | 2
Tab. A3s. Calibration performance (as R2)
| Element | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn
| R2 | 100% | 100% | 100% | 100% | 99.98% | 100% | 99.97% | 100%
Tab. A4s. Analytical method detection (LOD) and quantification (LOQ) limits
| Element | As: LOD (µg.L-1); Ba: LOQ (µg.L-1); Cd: Uncertainity (%)
| As | As: 0.049; Ba: 0.132; Cd: 15
| Ba | As: 0.005; Ba: 0.009; Cd: 10
| Cd | As: 0.002; Ba: 0.004; Cd: 15
| Cr | As: 0.084; Ba: 0.21; Cd: 10
| Cu | As: 0.307; Ba: 0.581; Cd: 10
| Ni | As: 0.061; Ba: 0.155; Cd: 10
| Pb | As: 0.014; Ba: 0.038; Cd: 10
| Zn | As: 0.443; Ba: 0.644; Cd: 10
The limit of detection (LD) is expressed as the sum of the signal magnitude of at least ten replicate blank measurements plus three times the standard deviation of ten replicate blank measurements, expressed in units of the determined sample concentrations.
The limit of quantification (LQ) is expressed as the sum of the signal magnitude of at least ten replicate blank measurements plus ten times the standard deviation of ten replicate blank measurements, expressed in units of the determined concentrations in the sample.
The measurement uncertainties are determined from two repetitions of the measurements as twice the relative standard deviation of these repetitions and are expressed in %.

## B. Soil
Tab B1s. Concentrations of heavy elements in examined South Moravian vineyard soils (EXA and REF).
|  | Estimator | As (mg.kg-1) | Ba (mg.kg-1) | Cd (mg.kg-1) | Cr (mg.kg-1) | Cu (mg.kg-1) | Ni (mg.kg-1) | Pb (mg.kg-1) | Zn (mg.kg-1) | Method
| EXA | mean | 7.6822 | 74.3131 | 0.35023 | 31.855 | 20.0811 | 10.8417 | 9.9576 | 51.4505 | aqua regia leachate
|  | sd | 0.060048 | 2.5471 | 0.00063095 | 5.1618 | 0.36465 | 0.35609 | 0.13648 | 0.23664
| REF | mean | 7.5303 | 111.0327 | 0.23998 | 40.4331 | 111.3271 | 10.0287 | 9.8387 | 61.0164
|  | sd | 0.32768 | 5.588 | 0.01416 | 2.3075 | 2.7422 | 0.21283 | 0.38888 | 3.9318
| EXA/REF | mean | 1.0221 | 0.67099 | 1.4645 | 0.79041 | 0.18049 | 1.0815 | 1.0137 | 0.84672
|  | sd | 0.045437 | 0.041083 | 0.08734 | 0.13613 | 0.0055304 | 0.042316 | 0.042586 | 0.055369
Tab. B2s. Published concentrations of heavy elements in South Moravian uncontaminated vineyard soils
|  | Estimator | As (mg.kg-1) | Ba (mg.kg-1) | Cd (mg.kg-1) | Cr (mg.kg-1) | Cu (mg.kg-1) | Ni (mg.kg-1) | Pb (mg.kg-1) | Zn (mg.kg-1) | Method | Reference
| 3 South Moravian vineyard soils* | mean | 7.98 |  | 0.27 | 35.23 | 50.47 | 26.7 | 15.99 | 76.45 | aqua regia leachate | Poláková et al. 2023
|  | min | 6.44 |  | 0.22 | 28.23 | 44.58 | 18.2 | 14.25 | 66.15
|  | max | 9.89 |  | 0.37 | 43.93 | 61.88 | 33.55 | 18.15 | 93.6
| Ivaň (South Moravia) organic vineyard soil | mean | 1.9 | 22.7 | 0.1 | 9.3 | 14.2 | 10.2 | 4.8 | 15.6 | aqua regia leachate | Pořízka et al. 2021
|  | sd | 1.8 | 2.6 | 0.001 | 2.2 | 0.4 | 4.8 | 0.8 | 1.4
| Ivaň (South Moravia) pesticide treated vineyard soil | mean | 1.3 | 25.3 | 0.1 | 10.4 | 9.6 | 8.1 | 5.8 | 16.2
|  | sd | 0.6 | 13.3 | 0.009 | 2.2 | 0.6 | 2.2 | 5.8 | 2.6
| Břeclav - Hrušky (South Moravia) | mean |  |  | 1.32 |  | 65.1 |  | 33.2 |  | total analysis | Komárek et al. 2008
|  | sd |  |  | 0.12 |  | 3.9 |  | 2.8
| Kyjov (South Moravia) | mean |  |  | 0.78 |  | 70.5 |  | 32.2
|  | sd |  |  | 0.03 |  | 2.1 |  | 2.4
| Marefy (South Moravia) | mean |  |  | 0.89 |  | 77.5 |  | 26.8
|  | sd |  |  | 0.02 |  | 8.8 |  | 0.8
| Marefy (South Moravia) abandoned vineyard | mean |  |  | 0.72 |  | 156 |  | 44.8
|  | sd |  |  | 0.08 |  | 8 |  | 0.9
* localities not specified
Tab. B3s. Prevention limit for agricultural soils (mg.kg-1) (Vácha et al. 2014)
|  | As (mg.kg-1) | Ba (mg.kg-1) | Cd (mg.kg-1) | Cr (mg.kg-1) | Cu (mg.kg-1) | Ni (mg.kg-1) | Pb (mg.kg-1) | Zn (mg.kg-1) | Method
| Prevention limit | 20 |  | 0.5 | 90 | 60 | 50 | 60 | 120 | aqua regia leachate
Tab. B4s. Published soil background reference values
|  | Estimator | As (mg.kg-1) | Ba (mg.kg-1) | Cd (mg.kg-1) | Cr (mg.kg-1) | Cu (mg.kg-1) | Ni (mg.kg-1) | Pb (mg.kg-1) | Zn (mg.kg-1) | Method | Reference
| Czech agricultural soils (loess, harmonised) | median | 8 |  | 0.2 | 26.4 | 15.8 | 20.8 | 18.1 | 55.7 | aqua regia leachate | Skála et al. 2024
| Czech agricultural soils (loess, calibrated) | median | 7.4 |  | 0.18 | 32.2 | 16.5 | 20.8 | 17.1 | 52.4
| European agricultural soils (GEMAS) | median | 5.48 | 61.7 | 0.181 | 20.2 | 14.5 | 14.7 | 15.8 | 45 | aqua regia leachate | Reimann et al. 2018
Tab. B5s. Contamination Index (CF) and Pollution Load Index (PLI)
|  | CFAs | CFBa | CFCd | CFCr | CFCu | CFNi | CFPb | CFZn | PLI
| EXA | 1.4019 | 1.2044 | 1.935 | 1.577 | 1.3849 | 0.73753 | 0.63023 | 1.1433 | 1.1813
| REF | 1.3741 | 1.7996 | 1.3259 | 2.0016 | 7.6777 | 0.68223 | 0.6227 | 1.3559 | 1.5235
| no metal enrichment (low contamination) | CF < 1 | [6 empty] | no contamination | PLI < 1
| moderate contamination | 1 ≤ CF ≤ 3 | [6 empty] | moderate contamination | PLI = 1-2
| considerable contamination | 3 ≤ CF ≤ 6 | [6 empty] | severe contamination | PLI = 2-5
| very high (severe) contamination | CF > 6 | [6 empty] | extreme contamination | PLI ≥ 5
Tab. B6s. Ecological risk factor (Er) and Potential ecological risk index (RI)
|  | ErAs | ErBa | ErCd | ErCr | ErCu | ErNi | ErPb | ErZn | RI
| EXA | 14.0186 |  | 58.0499 | 3.154 | 6.9245 | 3.6876 | 3.1511 | 1.1433 | 90.1291
| REF | 13.7414 |  | 39.7764 | 4.0033 | 38.3887 | 3.4111 | 3.1135 | 1.3559 | 103.7903
| low | Er < 40 | [6 empty] | low risk | RI < 150
| moderate | 40 ≤ Er ≤ 80 | [6 empty] | moderate risk | 150 ≤ RI ≤ 300
| considerable | 80 ≤ Er ≤ 160 | [6 empty] | considerable risk | 300 ≤ RI ≤ 600
| high | 160 ≤ Er ≤ 320 | [6 empty] | very high risk | RI ≥ 600
| very high | Er ≥ 320
Tab. B7s. Available toxic response factors (TR) for heavy elements
|  | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn
| Toxic response factor (TR) | 10 |  | 30 | 2 | 5 | 5 | 5 | 1

## C. Grapes
Tab. C1s. Concentrations of heavy elements in grapes (dry weight) from examined South Moravian vineyard soils (EXA and REF).
|  | Estimator | As (μg.kg-1) | Ba (μg.kg-1) | Cd (μg.kg-1) | Cr (μg.kg-1) | Cu (μg.kg-1) | Ni (μg.kg-1) | Pb (μg.kg-1) | Zn (μg.kg-1)
| EXA | mean | 6.0957 | 995.4914 | 1.6103 | 49.7176 | 7080.921 | 375.2944 | 130.4404 | 4107.1651
|  | sd | 0.45718 | 49.7746 | 0.12078 | 2.4859 | 354.0461 | 18.7647 | 6.522 | 205.3583
| REF | mean | 4.8316 | 863.9614 | 0.89626 | 49.914 | 3291.4732 | 57.7452 | 16.0748 | 3706.2363
|  | sd | 0.36237 | 43.1981 | 0.067219 | 2.4957 | 164.5737 | 2.8873 | 0.80374 | 185.3118
| EXA/REF | mean | 1.2687 | 1.1551 | 1.8068 | 0.99856 | 2.1567 | 6.5154 | 8.1349 | 1.1109
|  | sd | 0.13587 | 0.082034 | 0.1935 | 0.070915 | 0.15316 | 0.46271 | 0.57772 | 0.078897
Tab. 2Cs. Ratio grapes/soil (wet weight of the grapes) for the heavy elements
|  | Estimator | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn
| EXAgrapes/soil | mean | 6.7826e-05 | 0.0011415 | 0.00039302 | 0.000133 | 0.030047 | 0.0029497 | 0.0011163 | 0.0068023
|  | sd | 7.2636e-06 | 8.1066e-05 | 4.2089e-05 | 9.445e-06 | 0.0021339 | 0.00020948 | 7.9274e-05 | 0.00048308
| REFgrapes/soil | mean | 5.4845e-05 | 0.00066305 | 0.00031923 | 0.00010519 | 0.0025194 | 0.00049065 | 0.00013922 | 0.0051759
|  | sd | 5.8734e-06 | 4.7088e-05 | 3.4187e-05 | 7.4706e-06 | 0.00017892 | 3.4845e-05 | 9.8873e-06 | 0.00036758
Tab C3s. Heavy elements in the grapes (dry weight, without seeds) from two uncontaminated South Moravian vineyards
|  | Estimator | As (mg.kg-1) | Ba (mg.kg-1) | Cd (mg.kg-1) | Cr (mg.kg-1) | Cu (mg.kg-1) | Ni (mg.kg-1) | Pb (mg.kg-1) | Zn (mg.kg-1) | Reference
| Ivaň (South Moravia) organic vineyard soil | mean | 16 | 502 | <0.08 |  | 2250 | 12 | <0.16 | 1150 | Pořízka et al. 2021
|  | sd | 1 | 14 |  |  | 114 | 3 |  | 10
| Ivaň (South Moravia) pesticide treated vineyard soil | mean | 179 | 512 | <0.08 |  | 1400 | 13 | <0.16 | 1800
|  | sd | 25 | 10 |  |  | 65 | 1 |  | 146
Tab. C4s. EU permissible limits (mg.kg-1) for heavy elements in fruits
|  | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn
| Permissible limit values | Cd: 0.03; Pb: 0.1
Tab. C5s. Reference data for Czech population
| Parameter | As: Value; Ba: Reference
| Annual grapewine consumption (kg.person-1.year-1) | As: 4; Ba: Chládková et al. 2009
| Mean body weight - male (kg) | As: 83.6; Ba: Láchová and Daňková 2010
| Mean body weight - female (kg) | As: 69.2
| Life expectancy at birth - male (years) | As: 75.7; Ba: Vrabcová et al. 2017
| Life expectancy at birth - female (years) | As: 81.6
Tab. C6s. Daily intake of the elements from the grapes (mg.person-1.day-1)
| Element | As (mg.person-1.day-1) | Ba (mg.person-1.day-1) | Cd (mg.person-1.day-1) | Cr (mg.person-1.day-1) | Cu (mg.person-1.day-1) | Ni (mg.person-1.day-1) | Pb (mg.person-1.day-1) | Zn (mg.person-1.day-1)
| EXA | 5.6782e-06 | 0.00092731 | 1.5e-06 | 4.6312e-05 | 0.0065959 | 0.00034959 | 0.00012151 | 0.0038259
| REF | 4.5007e-06 | 0.00080479 | 8.3487e-07 | 4.6495e-05 | 0.003066 | 5.379e-05 | 1.4974e-05 | 0.0034524
Tab. C7s. Tolerable daily intake TDI (mg.person-1.day-1) according to EFSA
|  | As (mg.person-1.day-1) | Ba (mg.person-1.day-1) | Cd (mg.person-1.day-1) | Cr (mg.person-1.day-1) | Cu (mg.person-1.day-1) | Ni (mg.person-1.day-1) | Pb (mg.person-1.day-1) | Zn (mg.person-1.day-1)
| Tolerable daily intake (TDI) | 0.001 | 0.2 | 0.00036 | 0.3 | 5 | 0.013 | 0.0036
Tab. C8s. Estimated daily intake of the elements from the grapes (mg.kg-1.day-1)
|  |  | As (mg.kg-1.day-1) | Ba (mg.kg-1.day-1) | Cd (mg.kg-1.day-1) | Cr (mg.kg-1.day-1) | Cu (mg.kg-1.day-1) | Ni (mg.kg-1.day-1) | Pb (mg.kg-1.day-1) | Zn (mg.kg-1.day-1)
| EXA | male | 6.7921e-08 | 1.1092e-05 | 1.7943e-08 | 5.5397e-07 | 7.8899e-05 | 4.1817e-06 | 1.4534e-06 | 4.5764e-05
|  | female | 8.2055e-08 | 1.34e-05 | 2.1677e-08 | 6.6925e-07 | 9.5317e-05 | 5.0519e-06 | 1.7559e-06 | 5.5287e-05
| REF | male | 5.3836e-08 | 9.6266e-06 | 9.9865e-09 | 5.5616e-07 | 3.6675e-05 | 6.4342e-07 | 1.7911e-07 | 4.1296e-05
|  | female | 6.5039e-08 | 1.163e-05 | 1.2065e-08 | 6.719e-07 | 4.4307e-05 | 7.7731e-07 | 2.1638e-07 | 4.989e-05
Tab. C9s. Tolerable daily intake (mg.kg-1.day-1) according to EFSA
|  |  | As (mg.kg-1.day-1) | Ba (mg.kg-1.day-1) | Cd (mg.kg-1.day-1) | Cr (mg.kg-1.day-1) | Cu (mg.kg-1.day-1) | Ni (mg.kg-1.day-1) | Pb (mg.kg-1.day-1) | Zn (mg.kg-1.day-1)
| Tolerable daily intake (TDI) | male | 1.1962e-05 | 0.0023923 | 4.3062e-06 | 0.0035885 | 0.059809 | 0.0001555 | 4.3062e-05
|  | female | 1.4451e-05 | 0.0028902 | 5.2023e-06 | 0.0043353 | 0.072254 | 0.00018786 | 5.2023e-05
Tab. C0s. Oral reference dose values according to US EPA
|  | As (mg.kg-1.day-1) | Ba (mg.kg-1.day-1) | Cd (mg.kg-1.day-1) | Cr (mg.kg-1.day-1) | Cu (mg.kg-1.day-1) | Ni (mg.kg-1.day-1) | Pb (mg.kg-1.day-1) | Zn (mg.kg-1.day-1)
| Oral reference dose (RfD) | 0.0003 | 0.2 | 0.0005 | 1.5 | 0.04 | 0.02 | 1.5 | 0.3
Tab. C11s. Target hazard quotient THQ for the grapes consumption
|  |  | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn | Total
| EXA | male | 2.264e-07 | 5.5461e-08 | 3.5886e-08 | 3.6932e-10 | 1.9725e-06 | 2.0908e-07 | 9.6895e-10 | 1.5255e-07 | 2.6532e-06
|  | female | 2.7352e-07 | 6.7002e-08 | 4.3354e-08 | 4.4617e-10 | 2.3829e-06 | 2.5259e-07 | 1.1706e-09 | 1.8429e-07 | 3.2053e-06
| REF | male | 1.7945e-07 | 4.8133e-08 | 1.9973e-08 | 3.7078e-10 | 9.1687e-07 | 3.2171e-08 | 1.1941e-10 | 1.3765e-07 | 1.3348e-06
|  | female | 2.168e-07 | 5.8149e-08 | 2.4129e-08 | 4.4793e-10 | 1.1077e-06 | 3.8866e-08 | 1.4426e-10 | 1.663e-07 | 1.6125e-06

## D. Wine
Tab. D1s. Concentrations of the heavy elements in wine
|  | Estimator | As (μg.L-1) | Ba (μg.L-1) | Cd (μg.L-1) | Cr (μg.L-1) | Cu (μg.L-1) | Ni (μg.L-1) | Pb (μg.L-1) | Zn (μg.L-1) | Cultivar
| EXA | mean | 0.9413 | 62.066 | 0.19448 | 5.7045 | 45.2276 | 151.63 | 4.2386 | 657.9952 | Welsh Riesling
|  | sd | 0.070598 | 3.1033 | 0.014586 | 0.28522 | 2.2614 | 7.5815 | 0.21193 | 32.8998
| REF | mean | 2.5699 | 108.4767 | 0.1935 | 6.9262 | 28.9208 | 56.8905 | 11.2089 | 475.4217 | Welsh Riesling
|  | sd | 0.19274 | 5.4238 | 0.014512 | 0.34631 | 1.446 | 2.8445 | 0.56044 | 23.7711
| EXA/REF | mean | 0.36834 | 0.57359 | 1.0107 | 0.82567 | 1.5678 | 2.672 | 0.37909 | 1.3875
|  | sd | 0.039446 | 0.040735 | 0.10824 | 0.058637 | 0.11134 | 0.18976 | 0.026922 | 0.098536
Tab. D2s. Ratio wine/grapes (wet weight of the grapes) for the heavy elements
|  | Estimator | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn
| EXAwine/grapes | mean | 1.8269 | 0.73533 | 1.4288 | 1.3532 | 0.075332 | 4.7652 | 0.38324 | 1.8895
|  | sd | 0.19565 | 0.052221 | 0.15301 | 0.096103 | 0.0053499 | 0.33841 | 0.027217 | 0.13419
| REFwine/grapes | mean | 6.2927 | 1.4808 | 2.5543 | 1.6366 | 0.10363 | 11.6196 | 8.224 | 1.5129
|  | sd | 0.6739 | 0.10517 | 0.27354 | 0.11623 | 0.0073596 | 0.82519 | 0.58405 | 0.10744
Tab. D3s. Published concentration of heavy elements in South Moravian wines
|  | Estimator | As (μg.L-1) | Ba (μg.L-1) | Cd (μg.L-1) | Cr (μg.L-1) | Cu (μg.L-1) | Ni (μg.L-1) | Pb (μg.L-1) | Zn (μg.L-1) | Cultivar | Reference
| Ivaň (organic vineyard soil) | mean | 1.93 | 22.22 | <0.001 |  | 774 | 19.1 | 0.9 | 407 | Sauvignon Blanc | Pořízka et al. 2021
|  | sd | 0.99 | 0.66 |  |  | 35 | 1.36 | 0.03 | 4.06
| Ivaň (pesticide treated vineyard soil) | mean | 2.41 | 22.53 | <0.001 |  | 269 | 21.97 | 0.91 | 565 | Sauvignon Blanc
|  | sd | 0.484 | 0.36 |  |  | 25.9 | 1.3 | 0.022 | 17.8
| Stošíkovice na Louce | mean | Cd: 3.6; Pb: 28.9 | Pinot Noir | Mlček et al. 2018*
|  | sd | Cd: 0.2; Pb: 0.4
| Havraníky | mean | Cd: 4.7; Pb: 96.5
|  | sd | Cd: 0.1; Pb: 1.9
| Miroslavské Knínice | mean | Cd: 3.4; Pb: 36.9
|  | sd | Cd: 0.6; Pb: 1
| Velké Bílovice | mean | Cd: 2.3; Pb: 25.9
|  | sd | Cd: 0.1; Pb: 0.5
| Stošíkovice na louce | mean | Cd: 6.4; Pb: 111.5 | Red Traminer
|  | sd | Cd: 0.3; Pb: 2.1
| Bzenec | mean | Cd: 5.1; Pb: 81.5
|  | sd | Cd: 0.4; Pb: 1
| Sedlec | mean | Cd: 5.9; Pb: 102.5
|  | sd | Cd: 0.5; Pb: 1.2
| Hýsly-Moštěnsko | mean | Cd: 2.3; Pb: 55.7 | Chardonnay
|  | sd | Cd: 0.1; Pb: 0.9
| Perná | mean | Cd: 3.3; Pb: 71.3
|  | sd | Cd: 0.4; Pb: 0.9
| Bzenec | mean | Cd: 7.6; Pb: 105.4
|  | sd | Cd: 0.8; Pb: 2.3
* bottled wines, vintages in 2010-2013
Tab. D4s. Available OIV maximum acceptable limit values (mg.L-1) for heavy elements in wine
|  | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn
| Maximum acceptable limit values | 0.2 |  | 0.01 |  | 1 |  | 0.1 | 5
Tab.D5s. Reference values for Czech population
| Parameter | As: Value; Ba: Reference
| Annual wine consumption (L.person-1.year-1) | As: 18.7; Ba: Chládková et al. 2009
| Daily wine consumption (dcL.person-1.day-1) | As: 0.51233
| Mean body weight - male (kg) | As: 83.6; Ba: Láchová and Daňková 2010
| Mean body weight - female (kg) | As: 69.2
| Life expectancy at birth - male (years) | As: 75.7; Ba: Vrabcová et al. 2017
| Life expectancy at birth - female (years) | As: 81.6
Tab. D6s. Daily intake of the heavy elements from the wines (mg.person-1.day-1)
|  | As (mg.person-1.day-1) | Ba (mg.person-1.day-1) | Cd (mg.person-1.day-1) | Cr (mg.person-1.day-1) | Cu (mg.person-1.day-1) | Ni (mg.person-1.day-1) | Pb (mg.person-1.day-1) | Zn (mg.person-1.day-1)
| EXA | 4.8226e-05 | 0.0031798 | 9.9638e-06 | 0.00029226 | 0.0023171 | 0.0077684 | 0.00021715 | 0.033711
| REF | 0.00013166 | 0.0055576 | 9.9135e-06 | 0.00035485 | 0.0014817 | 0.0029147 | 0.00057426 | 0.024357
Tab. D7s. Tolerable daily intake for the heavy elements (mg.person-1.day-1) according to EFSA
|  | As (mg.person-1.day-1) | Ba (mg.person-1.day-1) | Cd (mg.person-1.day-1) | Cr (mg.person-1.day-1) | Cu (mg.person-1.day-1) | Ni (mg.person-1.day-1) | Pb (mg.person-1.day-1) | Zn (mg.person-1.day-1)
| Tolerable daily intake (TDI) | 0.001 | 0.2 | 0.00036 | 0.3 | 5 | 0.013 | 0.0036
Tab. D8s. Estimated daily intake EDI for the heavy elements from the wines (mg.kg-1.day-1)
|  |  | As (mg.kg-1.day-1) | Ba (mg.kg-1.day-1) | Cd (mg.kg-1.day-1) | Cr (mg.kg-1.day-1) | Cu (mg.kg-1.day-1) | Ni (mg.kg-1.day-1) | Pb (mg.kg-1.day-1) | Zn (mg.kg-1.day-1)
| EXA | male | 5.7686e-07 | 3.8036e-05 | 1.1918e-07 | 3.4959e-06 | 2.7717e-05 | 9.2924e-05 | 2.5975e-06 | 0.00040324
|  | female | 6.969e-07 | 4.5951e-05 | 1.4398e-07 | 4.2234e-06 | 3.3485e-05 | 0.00011226 | 3.1381e-06 | 0.00048715
| REF | male | 1.5749e-06 | 6.6478e-05 | 1.1858e-07 | 4.2446e-06 | 1.7724e-05 | 3.4864e-05 | 6.8692e-06 | 0.00029135
|  | female | 1.9026e-06 | 8.0312e-05 | 1.4326e-07 | 5.1278e-06 | 2.1412e-05 | 4.2119e-05 | 8.2986e-06 | 0.00035198
Tab. D9s. Tolerable daily intake for the heavy elements (mg / kg /day) according to EFSA
|  |  | As (mg.kg-1.day-1) | Ba (mg.kg-1.day-1) | Cd (mg.kg-1.day-1) | Cr (mg.kg-1.day-1) | Cu (mg.kg-1.day-1) | Ni (mg.kg-1.day-1) | Pb (mg.kg-1.day-1) | Zn (mg.kg-1.day-1)
| Tolerable daily intake (TDI) | male | 1.1962e-05 | 0.0023923 | 4.3062e-06 | 0.0035885 | 0.059809 | 0.0001555 | 4.3062e-05
|  | female | 1.4451e-05 | 0.0028902 | 5.2023e-06 | 0.0043353 | 0.072254 | 0.00018786 | 5.2023e-05
Tab. D10s. Oral reference dose for the heavy elements according to US EPA
|  | As (mg.kg-1.day-1) | Ba (mg.kg-1.day-1) | Cd (mg.kg-1.day-1) | Cr (mg.kg-1.day-1) | Cu (mg.kg-1.day-1) | Ni (mg.kg-1.day-1) | Pb (mg.kg-1.day-1) | Zn (mg.kg-1.day-1)
| Oral reference dose (RfD) | 0.0003 | 0.2 | 0.0005 | 1.5 | 0.04 | 0.02 | 1.5 | 0.3
Tab. D11s. Target hazard quotient THQ from the heavy elements from the wines
|  |  | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn | Total
| EXA | male | 1.9229e-06 | 1.9018e-07 | 2.3837e-07 | 2.3306e-09 | 6.9292e-07 | 4.6462e-06 | 1.7317e-09 | 1.3441e-06 | 9.0387e-06
|  | female | 2.323e-06 | 2.2976e-07 | 2.8797e-07 | 2.8156e-09 | 8.3712e-07 | 5.613e-06 | 2.092e-09 | 1.6238e-06 | 1.092e-05
| REF | male | 5.2497e-06 | 3.3239e-07 | 2.3717e-07 | 2.8297e-09 | 4.4309e-07 | 1.7432e-06 | 4.5795e-09 | 9.7118e-07 | 8.9842e-06
|  | female | 6.3421e-06 | 4.0156e-07 | 2.8652e-07 | 3.4186e-09 | 5.3529e-07 | 2.106e-06 | 5.5324e-09 | 1.1733e-06 | 1.0854e-05

## E. Technology
Tab. E1s. Concentration changes of the heavy elements during the winemaking technology.
| G* |  | Estimator | As (μg.kg-1) | Ba (μg.kg-1) | Cd (μg.kg-1) | Cr (μg.kg-1) | Cu (μg.kg-1) | Ni (μg.kg-1) | Pb (μg.kg-1) | Zn (μg.kg-1)
|  | EXA | mean | 0.51814 | 84.6168 | 0.13688 | 4.226 | 601.8783 | 31.9 | 11.0874 | 349.109
|  |  | sd | 0.03886 | 4.2308 | 0.010266 | 0.2113 | 30.0939 | 1.595 | 0.55437 | 17.4555
|  | REF | mean | 0.41069 | 73.4367 | 0.076182 | 4.2427 | 279.7752 | 4.9083 | 1.3664 | 315.0301
|  |  | sd | 0.030802 | 3.6718 | 0.0057136 | 0.21213 | 13.9888 | 0.24542 | 0.068318 | 15.7515
|  | EXA/REF | mean | 1.2687 | 1.1551 | 1.8068 | 0.99856 | 2.1567 | 6.5154 | 8.1349 | 1.1109
|  |  | sd | 0.13587 | 0.082034 | 0.1935 | 0.070915 | 0.15316 | 0.46271 | 0.57772 | 0.078897
* the concentrations in grapes are recalculated here from dry weight to wet weight using coefficient 0.085 (Mirzaei et al. 2020)
| MBS |  | Estimator | As (μg.kg-1) | Ba (μg.kg-1) | Cd (μg.kg-1) | Cr (μg.kg-1) | Cu (μg.kg-1) | Ni (μg.kg-1) | Pb (μg.kg-1) | Zn (μg.kg-1)
|  | EXA | mean | 3.1364 | 163.0269 | 1.2608 | 23.5002 | 373.2847 | 30.1417 | 6.9824 | 1141.097
|  |  | sd | 0.23523 | 8.1513 | 0.094563 | 1.175 | 18.6642 | 1.5071 | 0.34912 | 57.0549
|  | REF | mean | 0.90502 | 45.4768 | 1.1634 | 0.53072 | 310.8629 | 18.5734 | 3.2377 | 249.8851
|  |  | sd | 0.067876 | 2.2738 | 0.087253 | 0.026536 | 15.5431 | 0.92867 | 0.16188 | 12.4943
|  | EXA/REF | mean | 3.4851 | 3.5938 | 1.0899 | 44.3903 | 1.2038 | 1.6269 | 2.162 | 4.5779
|  |  | sd | 0.37323 | 0.25522 | 0.11672 | 3.1525 | 0.085491 | 0.11554 | 0.15354 | 0.32511
| MAS |  | Estimator | As (μg.kg-1) | Ba (μg.kg-1) | Cd (μg.kg-1) | Cr (μg.kg-1) | Cu (μg.kg-1) | Ni (μg.kg-1) | Pb (μg.kg-1) | Zn (μg.kg-1)
|  | EXA | mean | 0.90946 | 59.4593 | 0.17587 | 2.9479 | 196.5551 | 30.3078 | 1.9008 | 1012.1144
|  |  | sd | 0.06821 | 2.973 | 0.01319 | 0.1474 | 9.8278 | 1.5154 | 0.095038 | 50.6057
|  | REF | mean | 0.89062 | 41.5803 | 1.0251 | 0.51319 | 293.0348 | 16.8653 | 3.1557 | 235.9619
|  |  | sd | 0.066796 | 2.079 | 0.07688 | 0.025659 | 14.6517 | 0.84327 | 0.15778 | 11.7981
|  | EXA/REF | mean | 1.0269 | 1.4336 | 0.17254 | 5.7587 | 0.67243 | 1.8015 | 0.60383 | 4.3
|  |  | sd | 0.10997 | 0.10181 | 0.018477 | 0.40897 | 0.047755 | 0.12794 | 0.042883 | 0.30538
| WAF |  | Estimator | As (μg.kg-1) | Ba (μg.kg-1) | Cd (μg.kg-1) | Cr (μg.kg-1) | Cu (μg.kg-1) | Ni (μg.kg-1) | Pb (μg.kg-1) | Zn (μg.kg-1)
|  | EXA | mean | 1.123 | 154.4385 | 0.12141 | 5.7406 | 14.5 | 330.6863 | 4.0436 | 642.5514
|  |  | sd | 0.084227 | 7.7219 | 0.0091055 | 0.28703 | 0.725 | 16.5343 | 0.20218 | 32.1276
|  | REF | mean | 0.99468 | 27.6852 | 0.61885 | 0.21 | 172.2509 | 53.9217 | 3.602 | 278.8372
|  |  | sd | 0.074601 | 1.3843 | 0.046414 | 0 | 8.6125 | 2.6961 | 0.1801 | 13.9419
|  | EXA/REF | mean | 1.1354 | 5.5923 | 0.19728 | 27.336 | 0.08439 | 6.148 | 1.1254 | 2.3102
|  |  | sd | 0.12159 | 0.39715 | 0.021128 | 1.3668 | 0.0059932 | 0.43662 | 0.079925 | 0.16406
| WBC |  | Estimator | As (μg.kg-1) | Ba (μg.kg-1) | Cd (μg.kg-1) | Cr (μg.kg-1) | Cu (μg.kg-1) | Ni (μg.kg-1) | Pb (μg.kg-1) | Zn (μg.kg-1)
|  | EXA | mean | 0.91531 | 197.247 | 0.61481 | 5.2772 | 29.885 | 51.0526 | 8.4165 | 599.6923
|  |  | sd | 0.068648 | 9.8623 | 0.046111 | 0.26386 | 1.4942 | 2.5526 | 0.42082 | 29.9846
|  | REF | mean | 2.0957 | 108.9736 | 0.16439 | 4.1957 | 43.6698 | 40.7169 | 13.5753 | 483.9375
|  |  | sd | 0.15718 | 5.4487 | 0.012329 | 0.20979 | 2.1835 | 2.0358 | 0.67876 | 24.1969
|  | EXA/REF | mean | 0.4392 | 1.8146 | 3.7611 | 1.2609 | 0.68605 | 1.257 | 0.62153 | 1.2423
|  |  | sd | 0.047035 | 0.12887 | 0.40278 | 0.089547 | 0.048722 | 0.089268 | 0.04414 | 0.088225
| W |  | Estimator | As (μg.kg-1) | Ba (μg.kg-1) | Cd (μg.kg-1) | Cr (μg.kg-1) | Cu (μg.kg-1) | Ni (μg.kg-1) | Pb (μg.kg-1) | Zn (μg.kg-1)
|  | EXA | mean | 0.9413 | 62.066 | 0.19448 | 5.7045 | 45.2276 | 151.63 | 4.2386 | 657.9952
|  |  | sd | 0.070598 | 3.1033 | 0.014586 | 0.28522 | 2.2614 | 7.5815 | 0.21193 | 32.8998
|  | REF | mean | 2.5699 | 108.4767 | 0.1935 | 6.9262 | 28.9208 | 56.8905 | 11.2089 | 475.4217
|  |  | sd | 0.19274 | 5.4238 | 0.014512 | 0.34631 | 1.446 | 2.8445 | 0.56044 | 23.7711
|  | EXA/REF | mean | 0.36834 | 0.57359 | 1.0107 | 0.82567 | 1.5678 | 2.672 | 0.37909 | 1.3875
|  |  | sd | 0.039446 | 0.040735 | 0.10824 | 0.058637 | 0.11134 | 0.18976 | 0.026922 | 0.098536
Tab. E2s. Transfer coefficients between steps of winemaking technology
|  |  | Technological phase | Estimator | As | Ba | Cd | Cr | Cu | Ni | Pb | Zn
|  | EXA | TCg/mbs | mean | 0.16613 | 0.52033 | 0.10917 | 0.18028 | 1.6164 | 1.061 | 1.5919 | 0.30671
|  |  |  | sd | 0.017891 | 0.037045 | 0.011757 | 0.012835 | 0.11508 | 0.075537 | 0.11333 | 0.021836
|  |  | TCmbs/mas | mean | 3.4681 | 2.7487 | 7.2094 | 7.9917 | 1.9039 | 0.99701 | 3.6827 | 1.1303
|  |  |  | sd | 0.37349 | 0.19569 | 0.77642 | 0.56897 | 0.13555 | 0.070982 | 0.26219 | 0.080469
|  |  | Tcmas/waf | mean | 0.81438 | 0.38597 | 1.4568 | 0.51481 | 13.5894 | 0.09188 | 0.47124 | 1.5791
|  |  |  | sd | 0.087704 | 0.027479 | 0.15688 | 0.036652 | 0.9675 | 0.0065414 | 0.03355 | 0.11242
|  |  | TCwaf/wbc | mean | 1.2338 | 0.78493 | 0.19858 | 1.0905 | 0.48641 | 6.4936 | 0.48164 | 1.0741
|  |  |  | sd | 0.13288 | 0.055883 | 0.021386 | 0.07764 | 0.03463 | 0.46231 | 0.034291 | 0.076474
|  |  | TCwbc/w | mean | 0.97786 | 3.186 | 3.1791 | 0.92741 | 0.66242 | 0.33753 | 1.9907 | 0.91367
|  |  |  | sd | 0.10531 | 0.22683 | 0.34237 | 0.066027 | 0.047161 | 0.024031 | 0.14172 | 0.065049
|  | REF | TCg/mbs | mean | 0.45634 | 1.6189 | 0.065852 | 8.0141 | 0.90225 | 0.26493 | 0.42307 | 1.2639
|  |  |  | sd | 0.049145 | 0.11525 | 0.0070919 | 0.57057 | 0.064236 | 0.018862 | 0.03012 | 0.08998
|  |  | TCmbs/mas | mean | 1.0219 | 1.0964 | 1.1413 | 1.0368 | 1.0635 | 1.104 | 1.0286 | 1.0617
|  |  |  | sd | 0.11005 | 0.078061 | 0.12291 | 0.073812 | 0.075715 | 0.078602 | 0.073228 | 0.075585
|  |  | Tcmas/waf | mean | 0.90042 | 1.5057 | 1.6657 | 2.4437 | 1.7055 | 0.31356 | 0.87829 | 0.84835
|  |  |  | sd | 0.09697 | 0.1072 | 0.17939 | 0.12219 | 0.12142 | 0.022324 | 0.06253 | 0.060398
|  |  | TCwaf/wbc | mean | 0.47729 | 0.25469 | 3.7858 | 0.050176 | 3.9543 | 1.3276 | 0.266 | 0.57762
|  |  |  | sd | 0.051401 | 0.018133 | 0.40771 | 0.0025338 | 0.28152 | 0.09452 | 0.018938 | 0.041124
|  |  | TCwbc/w | mean | 0.82009 | 1.0071 | 0.85432 | 0.60729 | 1.5138 | 0.71749 | 1.2141 | 1.0205
|  |  |  | sd | 0.088319 | 0.0717 | 0.092005 | 0.043236 | 0.10777 | 0.051082 | 0.086441 | 0.072652