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Table 1 Parameters of digestion process and AAS instrument.
	Digestion parameters
	Technique
	Hg

	
	
	Cold vapor

	Sample weight
	500 mg
	Type of work
	absorption

	
	
	Type of signal
	constant

	Power
	800 W
	Wave length
	253.7 nm

	Time
	90 min
	Lamp current
	75%

	Time of growth
	15 min
	Type of flame
	-

	Time of real digestion
	15 min
	Type of buoyant gas
	Ar

	Time of cooling
	60 min
	Buoyant gas flow 
	100 mL min-1

	Temperature
	180°C
	Background correction
	D2

	Pressure
	6 MPa
	Gap
	0.5 nm

	p growth rate
	0.03 MPa sec-1
	Replicates
	3

	Reagents
	HCl 6 mL + HNO3 2 mL
	Pump speed
	30 mph

	
	
	Concentration range of standard solutions
	1-20 g L-1

	
	
	
	

	
	LOD 
	0.182 g L-1

	
	
	LOQ
	0.546 g L-1

	
	
	Recovery (%)
	109 %






Table 2 Rotated factor loadings obtained for study areas. 


Miedzianka Mt.
	Variable
	Factor 1
	Factor 2
	Factor 3

	Ti
	-0,055452
	-0,286741
	0,706942

	Cr
	0,332219
	0,349733
	0,523278

	Mn
	0,930296
	0,079193
	-0,090052

	Fe (%)
	0,721063
	0,367658
	0,422903

	Co
	0,620444
	0,621501
	-0,127958

	Ni
	0,813998
	0,387204
	0,300035

	Cu
	0,741292
	0,519118
	0,170126

	Zn
	0,605238
	0,438814
	0,509454

	As
	0,338412
	0,876032
	-0,020399

	Ag
	0,493587
	0,817607
	0,090317

	Cd
	0,745213
	0,376969
	0,323348

	Sb
	0,481159
	0,794990
	0,060668

	Ba
	0,925509
	0,187793
	-0,083371

	Pb
	-0,128536
	0,810212
	0,050901

	Bi
	0,179291
	0,701197
	0,199939

	U
	0,746537
	0,307496
	0,401445

	Hg
	0,418186
	0,795994
	0,108838

	Expl.Var
	6,244636
	5,465785
	1,694751

	Prp.Totl
	0,367332
	0,321517
	0,099691


Karczówka Mt.
	Variable
	Factor 1
	Factor 2
	Factor 3
	Factor 4

	Ti
	-0,089577
	-0,560387
	-0,247605
	0,458629

	Cr
	0,908727
	-0,005086
	-0,138598
	0,010433

	Mn
	0,087266
	0,140572
	0,727876
	0,226497

	Fe
	0,667036
	0,176759
	0,622910
	-0,066437

	Co
	0,927831
	0,152329
	0,072073
	0,104703

	Ni
	0,951156
	0,199404
	0,059795
	0,024361

	Cu
	0,744079
	0,530349
	0,149102
	-0,038519

	Zn
	0,582489
	0,576247
	0,214389
	0,026617

	As
	0,451462
	0,702411
	0,202163
	-0,103913

	Ag
	0,211995
	0,869892
	-0,060260
	0,082912

	Cd
	0,100137
	0,839330
	-0,091314
	0,152723

	Sb
	0,477897
	0,590291
	-0,337656
	0,154405

	Ba
	0,796083
	0,160300
	0,430418
	0,105599

	Pb
	-0,000316
	0,906446
	-0,102771
	0,015592

	Bi
	0,113589
	0,182521
	0,077195
	0,869068

	U
	0,088891
	-0,339575
	0,764180
	-0,074288

	Hg
	0,355634
	0,816065
	0,159959
	0,117627

	Expl.Var
	5,213076
	5,006301
	2,053492
	1,130779

	Prp.Totl
	0,306652
	0,294488
	0,120794
	0,066516


Rudki
	Variable
	Factor 1
	Factor 2
	Factor 3
	Factor 4

	Ti
	-0,404293
	0,027459
	-0,477782
	-0,113335

	Cr
	0,302887
	0,001618
	0,044715
	0,869754

	Mn
	0,110770
	0,852376
	0,270360
	0,073469

	Fe
	0,703525
	0,464775
	0,262957
	0,093508

	Co
	-0,040692
	0,371242
	0,661241
	-0,139087

	Ni
	0,371602
	0,671614
	0,463280
	0,317573

	Cu
	0,662891
	-0,337003
	0,422005
	0,209179

	Zn
	0,223747
	0,151031
	0,713877
	0,220565

	As
	0,347464
	0,501985
	-0,131298
	0,388886

	Ag
	0,889433
	0,153195
	-0,032971
	0,234908

	Cd
	0,130942
	0,220061
	0,870103
	0,064451

	Sb
	0,113916
	-0,420119
	-0,103410
	0,202083

	Ba
	0,174022
	0,391633
	0,184587
	0,806059

	Pb
	0,874210
	0,108044
	0,165621
	0,305022

	Bi
	0,568120
	-0,133973
	-0,002850
	0,636478

	U
	0,691101
	0,163968
	0,399233
	0,086423

	Hg
	0,675204
	0,328923
	-0,000277
	0,278600

	Expl.Var
	4,384396
	2,487045
	2,719088
	2,480428

	Prp.Totl
	0,257906
	0,146297
	0,159946
	0,145908



* values in red indicate very strong factor loadings (>0,70).
