Surface water monitoring of chemicals associated with animal husbandry in an agricultural region in the Netherlands using passive sampling

Nikola Rakonjac a *, Erwin Roex b, Henry Beeltje c

* Corresponding author: nikola.rakonjac@wur.nl

Address: Droevendaalsesteeg 3, 6708PB Wageningen, The Netherlands

a Soil Physics and Land Management Group, Wageningen University, Wageningen, the Netherlands

b National Institute for Public Health and the Environment (RIVM), the Netherlands

c AQUON, the Netherlands

Supplementary Material

SM1. Targeted compounds, quantified amounts, with LOD and LOQ values

SM2. Recovery rates

SM3. Time integrative Uptake Coefficient (TUC)

SM4. Additional details on the methods and instrument settings

SM5. Daily precipitation

SM6. Internal standards used for extraction procedure

SM1. Targeted compounds, quantified amounts, with LOD and LOQ values

Locations 1, 6, and 2, detection technique, LOD and LOQ values

Locations 5, 8, 3, 4, and 7

SM2. Recovery rates

Tvr – average recovery of the 8 recovery tests

Sr – standard deviation among the 8 recovery tests

vcr – coefficient of variation, computed as given below.

Ur – precision, computed as given below.

Uer – Measurement uncertainty, computed as given below.

Equations:

vcr = (Sr)/(Tvr) * 100

Ur = (Tvr) – 100

Uer = sqrt [(vcr)2 + (Ur)2 + Uj2]*2

SM3. Time integrative Uptake Coefficient (TUC)

TUC values per compound and location

|  |  | TUC |  |  |  |  |  |  |  | Average TUC |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Loc. 1 | Loc. 2 | Loc. 3 | Loc. 4 | Loc. 5 | Loc. 6 | Loc. 7 | Loc. 8 | per compound | excl. Loc. 8 |
| estrone |  | 2.86 | 2.03 | 0.83 |  | 2.15 | 1.89 | 4.50 | 7.42 | 3.10 | 2.38 |
| fipronil sulfone |  |  |  |  |  |  |  | 0.55 |  | 0.55 | 0.55 |
| florfenicol |  | 0.61 | 0.78 | 0.47 | 0.52 | 1.04 | 1.23 | 0.53 | 1.32 | 0.81 | 0.74 |
| flubendazole |  | 1.39 | 1.06 | 0.91 | 1.53 | 1.44 | 1.63 | 1.06 | 2.53 | 1.44 | 1.29 |
| flumequine |  | 1.27 | 0.92 | 0.96 | 1.05 | 1.20 | 2.18 | 1.54 | 1.52 | 1.33 | 1.30 |
| lincomycin |  |  |  |  |  | 0.86 | 1.18 |  |  | 1.02 | 1.02 |
| sulfadiazine |  | 0.78 | 0.90 | 0.06 | 2.18 | 1.58 | 1.77 | 0.62 | 8.00 | 1.98 | 1.13 |
| sulfamethazine |  | 0.93 | 0.87 | 0.41 | 1.07 | 1.16 | 1.60 | 0.67 | 2.43 | 1.14 | 0.96 |
| sulfamethoxazole |  | 0.34 |  | 0.12 |  | 0.73 | 1.40 |  | 2.28 | 0.97 | 0.65 |
| sulfamethoxypyridazine |  | 0.67 | 0.7 | 0.25 | 0.69 | 1.25 | 1.61 |  | 2.26 | 1.06 | 0.86 |
| sulfapyridine |  |  |  |  |  | 0.57 |  |  |  | 0.57 | 0.57 |
| tilmicosin |  |  | 1.85 | 0.14 | 2.18 | 3.92 | 1.09 | 1.13 | 3.46 | 1.97 | 1.72 |
| trimethoprim |  |  |  | 0.16 |  | 0.75 | 0.82 |  | 2.10 | 0.96 | 0.58 |
| BAC-C12 |  | 96.70 | 3.34 | 0.89 | 2.42 | 2.14 | 4.23 | 1.86 | 6.36 | 14.74 | 15.94 |
| BAC-C14 |  | 123.03 | 3.52 | 1.17 | 2.15 | 2.20 | 4.96 | 1.90 | 3.69 | 17.83 | 19.85 |
| BAC-C16 |  | 106.64 |  |  |  | 1.51 |  |  |  | 54.08 | 54.08 |
| BAC-C18 |  |  |  |  |  |  |  |  |  |  |  |
| DDAC-C10 |  | 1.48 | 1.08 |  | 0.90 | 1.13 | 2.79 | 0.64 | 11.02 | 2.72 | 1.34 |
| Average TUC | per location | 28.06 | 1.55 | 0.53 | 1.47 | 1.48 | 2.03 | 1.36 | 4.18 |  |  |
|  | excl. disinfectants | 1.11 | 1.14 | 0.43 | 1.32 | 1.39 | 1.49 | 1.32 | 3.33 |  |  |

SM4. Additional details on the methods and instrument settings

VPs

Analysis column: GEMINI NX C18

Hormones

Analysis column: Gemini NX C18

Disinfectants

Analysis: Kinetex Biphenyl

SM5. Daily precipitation

This graph depicts the precipitation trends on a daily basis within the specified region during the sampling period. Blue bars – rainfall intensity, orange bars – days when the passive samplers were installed, changed, or collected.

SM6. Internal standards used for extraction procedure

- d6-didecyldimethylammonium iodide (HPC Standards; 674541)	- disinfectants

- d7-benzyldimethyltetradecylammonium chloride (HPC Standards; 674611) - disinfectants

- benzotriazole-d4		(Sigma-Aldrich; 32566) - VPs

- erythromycin-13C2   		(CIL; CLM-3672-MT-S) - VPs

- flubendazole-d3		(Sigma-Aldrich; 32839) - VPs

- naproxen-13C -d3		(CIL; CLM-7665-S) – VPs

- paracetamol-13C2		(CIL; CLM-3726-S) – VPs

- sulfadiazine-13C6		(Sigma-Aldrich; 32518) – VPs

- sulfamethoxazole-13C6	(CIL; CLM-6944-S) – VPs

- alfa-ethynylestradiol-13C2  	(CIL; CLM-3375-S) - hormones

- estradiol-13C2 		(CIL; CLM-803-S) - hormones

- estrone-13C2			(CIL; CLM-673-S) – hormones