Appendix 1 – Information on the primary (measured) variables used in the study.

| Variable | Sampling method | Analysis | Data availability |
| --- | --- | --- | --- |
| Phosphorus concentration (plake) | Measured at depths of 0.4, 5, 10, 15 and 20 m (+ additional depths that varied during the study period) from samples collected using Niskin bottles | Spectrophotometric determination of reactive P following persulfate oxidation in an autoclave | 1984-2018 |
| Hypolimnetic dissolved oxygen (DO) | Measured at depths of 20, 30, 50 100 m (N. basin) and 20, 30, 50 and 90 m (+ additional depths that varied during the study period) from water samples collected using Niskin bottles, and measured with DO sensor along profiles (steps of 0.5-1 m) from 1987. | Winkler titration | 1984-2018 |
| Primary productivity (PPR) | Measured at 0.4, 1.25, 2.5, 3.75, 5, 6.5, 8, 10, 12.5, 15 and 20 m using the dark and light bottle methods with 14C as Carbon tracer | Measurement of 14C in incubated bottles using scintillation counting, before and after acidification | 1984-2018 |
| Temperature | Measured at 0.4, 5, 10, 15 and 20 m using resistance thermometers (accuracy: ±0.05°C or better) | -- | 1984-2018 |
| Conductivity | Measured along profiles (steps of 0.5-1 m) using multi-parameter instruments | -- | 1987-2018 |