Table S1: Parallelism assessment of the VIDAS® Cortisol S assay. Relative fluorescence values (RFVs) for the monkey cortisol standard and all biological samples included in the parallelism test. We log-transformed dilution factors and compared the slopes of the resulting dilution curves between the standard and each sample using ANCOVA; the dilution × sample interaction terms are reported in the bottom row. Non-significant interactions (all p > 0.05) indicated acceptable parallelism. Note: Fecal cortisol metabolite concentrations were typically low, and a 4-fold dilution frequently fell below the VIDAS® detection threshold, limiting dilution-series coverage for this matrix.

| Dilution Factor | Cortisol Standard | Monkey Plasma 1 | Monkey Plasma 2 | Monkey Urine 1 | Monkey Urine 2 | Monkey Saliva 1 | Monkey Saliva 2 | Monkey Hair (pooled) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 784 | 463 | 362 | 370 | 215 | 3162 | 2592 | 972 |
| 2 |  | 643 | 529.5 |  |  | 3513 | 3090 | 1228 |
| 4 | 1806 | 1004 | 1105 | 1359 | 691 | 3810 | 3686 | 1765 |
| 8 |  | 1472 | 1407 |  |  |  |  | 2474 |
| 16 | 2855 | 2174 | 2138 | 2490 | 1619 |  |  |  |
| 32 |  |  | 2350 |  |  |  |  |  |
| 64 | 3591 | 3349 |  | 3656 | 2684 |  |  |  |
| 128 |  |  | 3301 |  |  |  |  |  |
| p Interaction |  | 0.7046 | 0.3203 | 0.0613 | 0.3547 | 0.0748 | 0.5313 | 0.9662 |

Fig. S1 Parallelism assessment of the VIDAS® Cortisol S assay. Relative fluorescence values (RFVs) across serial dilutions of a monkey cortisol standard and seven biological samples (two plasma, two saliva, two urine, and one pooled hair sample) included in the parallelism test. Dilution factors are plotted on a log scale. We evaluated parallelism by comparing the slopes of sample dilution curves with the standard using ANCOVA on log-transformed dilution factors; non-significant dilution × sample interactions (all P > 0.05; Table S1) indicated acceptable parallelism.

Table S2. Accuracy (spike–recovery) assessment of the VIDAS® Cortisol S assay. Measured cortisol concentrations and percent recovery for biological samples spiked with a cortisol standard, including two plasma samples, two saliva samples, two urine samples, two fecal samples, and one pooled hair sample.

| Sample ID | Unspiked Conc. (ng/mL) | Sample Volume (mL) | Unspiked Cort. (ng) | Standard Conc. (ng/mL) | Standard Volume (mL) | Spiked Cort (ng) | Spiked Conc. (ng/mL) | Recovered Cort | % Recovery |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Monkey Plasma 1 | 136.13 | 0.30 | 40.84 | 200.00 | 0.10 | 20.00 | 143.57 | 16.59 | 82.94 |
| Monkey Plasma 2 | 103.59 | 0.30 | 31.08 | 200.00 | 0.10 | 20.00 | 131.17 | 21.39 | 106.95 |
| Monkey Saliva 1 | 6.26 | 0.10 | 0.63 | 200.00 | 0.10 | 20.00 | 104.24 | 20.22 | 101.11 |
| Monkey Saliva 2 | 15.32 | 0.10 | 1.53 | 200.00 | 0.10 | 20.00 | 121.53 | 22.77 | 113.87 |
| Monkey Urine 1 | 215.79 | 0.10 | 21.58 | 200.00 | 0.10 | 20.00 | 210.46 | 20.51 | 102.56 |
| Monkey Urine 2 | 81.23 | 0.10 | 8.12 | 200.00 | 0.10 | 20.00 | 120.74 | 16.02 | 80.12 |
| Monkey Feces 1 | 34.37 | 1.00 | 34.37 | 200.00 | 0.10 | 20.00 | 47.41 | 17.77 | 88.87 |
| Monkey Feces 2 | 10.72 | 1.00 | 10.72 | 200.00 | 0.10 | 20.00 | 31.03 | 23.41 | 117.07 |
| Monkey Hair Pooled | 98.88 | 0.25 | 24.72 | 200.00 | 0.10 | 20.00 | 126.02 | 19.39 | 96.93 |
|  |  |  |  |  |  |  |  | mean±std | 98.9±13 |
|  |  |  |  |  |  |  |  | [min-max] | [80.1-117.1] |

Table S3: Inter-assay precision assessment of the VIDAS® Cortisol S. Measured cortisol concentrations for the same set of samples assayed in two independent VIDAS® Cortisol S batches (three levels of cortisol standards, three monkey plasma samples, and 12 monkey saliva samples). The coefficient of variation (CV; 100 × SD/mean) is reported in the final column; all CVs fell within the manufacturer’s recommended range.

| Sample ID | Measurement 1 | Measurement 2 | Mean | SD | CV = 100*SD/Mean |
| --- | --- | --- | --- | --- | --- |
| Monkey Standard 1 | 47.81 | 45.39 | 46.60 | 1.71 | 3.7 |
| Monkey Standard 2 | 13.53 | 15.00 | 14.27 | 1.04 | 7.3 |
| Monkey Standard 3 | 3.28 | 3.80 | 3.54 | 0.37 | 10.5 |
| Monkey Plasma 1 | 643.64 | 650.94 | 647.29 | 5.16 | 0.8 |
| Monkey Plasma 2 | 465.65 | 497.48 | 481.56 | 22.50 | 4.7 |
| Monkey Plasma 3 | 358.28 | 356.44 | 357.36 | 1.30 | 0.4 |
| Monkey Saliva 1 (0727) | 10.0 | 9.5 | 9.7 | 0.34 | 3.5 |
| Monkey Saliva 1 (0825) | 12.6 | 14.4 | 13.5 | 1.28 | 9.5 |
| Monkey Saliva 1 (0925) | 21.1 | 22.4 | 21.8 | 0.90 | 4.1 |
| Monkey Saliva 1 (0955) | 16.8 | 18.1 | 17.5 | 0.91 | 5.2 |
| Monkey Saliva 1 (1025) | 16.7 | 16.9 | 16.8 | 0.15 | 0.9 |
| Monkey Saliva 1 (1055) | 19.7 | 20.5 | 20.1 | 0.57 | 2.9 |
| Monkey Saliva 1 (1154) | 13.6 | 12.9 | 13.3 | 0.51 | 3.8 |
| Monkey Saliva 1 (1255) | 10.1 | 10.4 | 10.3 | 0.17 | 1.7 |
| Monkey Saliva 1 (1355) | 12.9 | 11.3 | 12.1 | 1.11 | 9.2 |
| Monkey Saliva 1 (1455) | 8.9 | 9.6 | 9.2 | 0.50 | 5.4 |
| Monkey Saliva 1 (1602) | 8.8 | 8.0 | 8.4 | 0.54 | 6.5 |
| Monkey Saliva 1 (1705) | 6.4 | 7.3 | 6.8 | 0.64 | 9.3 |
|  |  |  |  | mean±std | 4.96±3.2 |
|  |  |  |  | [min-max] | [0.4-10.5] |

Table S4: Cross-platform comparison of VIDAS® Cortisol S kit and a monkey-specific cortisol ELISA. Normalized assay responses are expressed as percent of maximum binding (%B/Bmax): ELISA absorbance values and VIDAS relative fluorescence values (RFVs) were each normalized to their respective maximum values, %A/Amax and %RFV/RFVmax, respectively. The correlation between platforms across the serial dilutions is reported in the final row. Note: Both assays have a lower detection limit of 2 ng/mL; standard levels below this threshold are shaded in grey.

| Cortisol Standard Concentration (ng/mL) | ELISA Absorbance (450 nm) | A/Amax | Vidas RFV | RFV/RFVmax |
| --- | --- | --- | --- | --- |
| 0.049 | 1.478 | 100.0 | 4109 | 96.2 |
| 0.195 | 0.995 | 67.3 | 4273 | 100.0 |
| 0.78 | - | - | 3840 | 89.9 |
| 3.125 | 0.624 | 42.2 | 3231 | 75.6 |
| 12.5 | 0.409 | 27.7 | 2607 | 61.0 |
| 50 | 0.189 | 12.8 | 1715 | 40.1 |
| 200 | 0.079 | 5.3 | 784 | 18.3 |
| Pearson’s r |  |  |  | 0.91 |

Fig. S2. Cross-platform comparison of VIDAS® Cortisol S and a monkey-specific cortisol ELISA. Normalized assay responses are expressed as percent of maximum signal (%B/Bmax): ELISA absorbance values (%A/Amax) and VIDAS relative fluorescence values (%RFV/RFVmax) were each normalized to their respective maximum values and plotted against log10(concentration) cortisol standard concentration. Agreement across serial dilutions was high (Pearson’s r = 0.9064; Table S4). Note: Both assays have a lower detection limit of 2 ng/mL; the detection threshold is indicated by the vertical dashed line at log (2).

Table S5: Cortisol (plasma and saliva) and cortisol metabolite (urine and feces) concentrations, and hair cortisol concentrations, extracted and assayed from biological samples collected from untrained cynomolgus macaques (Macaca fascicularis) at the National Primate Research Center of Thailand–Chulalongkorn University (NPRCT-CU), Bangkok, Thailand, during October 2021.The table reports hair cortisol levels (ng/g hair), Plasma cortisol levels (ng/mL plasma), Salivary cortisol levels (ng/mL saliva), urinary cortisol metabolite levels (μg/mg Crea-P) and fecal cortisol metabolite levels (ng/g feces) together with animal identifiers and sampling day.  Asterisks indicate significant differences from the immediately preceding time point using Bonferroni-adjusted P values (*Padjusted < 0.05, ** Padjusted < 0.01, *** Padjusted < 0.001).

| Day | PPN009 | PPN091 | PPN108 | PPT292 | PPN008 | PPN018 | PPN020 | PPN032 | Mean ± SD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hair cortisol levels (ng/g hair) |  |  |  |  |  |  |  |  |  |
| 0 | 11.35 | 15.73 | 10.42 | 35.11 | 13.71 | 18.71 | 18.20 | 13.52 | 17.10 ± 7.86 |
| Plasma cortisol levels (ng/mL plasma) |  |  |  |  |  |  |  |  |  |
| 0 | 507.43 | 605.22 | 329.74 | 586.40 | 579.29 | 753.26 | 485.34 | 363.76 | 526.30 ± 136.93 |
| 4 | 320.22 | 365.96 | 319.75 | 416.96 | 342.14 | 373.22 | 315.59 | 191.15 | 330.62** ± 66.07 |
| 8 | 131.32 | 259.96 | 302.17 | 417.61 | 220.58 | 313.76 | 209.76 | 146.25 | 250.18* ± 94.35 |
| Salivary cortisol levels (ng/mL saliva) |  |  |  |  |  |  |  |  |  |
| 0 | 20.12 | 16.09 | 24.16 | 11.85 | 16.79 | 43.07 | 17.44 | NA | 21.36 ± 10.29 |
| 4 | 8.53 | 14.26 | NA | 7.84 | 5.82 | 12.55 | 14.87 | 7.40 | 10.18* ± 3.64 |
| 8 | 3.46 | 14.94 | 19.66 | NA | 8.84 | 10.09 | 11.04 | NA | 11.34 ± 5.52 |
| Urinary cortisol metabolite levels (μg/mg Crea-P) |  |  |  |  |  |  |  |  |  |
| 0 | 1135.79 | 534.76 | 170.73 | 377.09 | 556.70 | 293.53 | 212.81 | 500.96 | 472.79 ± 305.04 |
| 1 | 430.15 | 133.68 | 165.90 | 378.97 | 354.90 | 354.64 | 213.09 | 233.13 | 283.06 ± 109.90 |
| 2 | 251.59 | 137.94 | 104.67 | 51.29 | 366.70 | 318.69 | 160.47 | 163.15 | 194.31 ± 108.40 |
| 3 | 137.88 | 227.14 | 311.70 | 52.36 | 682.17 | 355.12 | 236.57 | 111.46 | 264.30 ± 196.95 |
| 4 | 160.35 | 198.80 | 58.43 | 101.28 | 676.03 | 633.77 | 95.83 | 124.98 | 256.18 ± 249.96 |
| 5 | 804.02 | 201.36 | 89.96 | 170.35 | 448.48 | 452.86 | 201.67 | 202.94 | 321.46 ± 234.68 |
| 6 | 31.49 | 112.35 | 72.54 | 129.01 | 69.71 | 237.08 | 72.58 | 117.05 | 105.23*** ± 62.08 |
| 7 | 142.19 | 86.41 | 63.07 | 102.06 | 105.47 | 92.11 | 81.49 | 80.44 | 94.15 ± 23.54 |
| 8 | 64.52 | 89.62 | 93.99 | 233.93 | 162.99 | 93.39 | 90.41 | 77.59 | 113.31 ± 56.73 |
| Fecal cortisol metobolite levels (ng/g feces) |  |  |  |  |  |  |  |  |  |
| 0 | 2.94 | 3.04 | 6.33 | 2.04 | 1.02 | 1.79 | 1.84 | 1.43 | 2.55 ± 1.68 |
| 1 | 4.19 | 3.67 | 2.90 | 12.60 | 11.59 | 4.13 | 4.72 | 4.41 | 6.03 ± 3.79 |
| 2 | 3.16 | 2.52 | 2.78 | 3.16 | 3.13 | 4.22 | 3.87 | 4.89 | 3.47*** ± 0.79 |
| 3 | 4.58 | 4.32 | 5.01 | 4.22 | 4.71 | 3.21 | 3.37 | 4.46 | 4.24 ± 0.63 |
| 4 | 2.46 | 3.15 | 2.96 | 3.18 | 1.77 | 2.51 | 2.08 | 2.49 | 2.58 ± 0.50 |
| 5 | 5.02 | 5.85 | 4.60 | 5.06 | 4.04 | 3.48 | 3.49 | 4.75 | 4.54 ± 0.82 |
| 6 | 2.31 | 2.48 | 6.97 | 2.71 | 2.65 | 2.20 | 2.74 | 2.29 | 3.16 ± 1.38 |
| 7 | 4.38 | 7.60 | 6.34 | 3.20 | 5.03 | 4.04 | 4.22 | 3.71 | 4.81 ± 1.47 |
| 8 | 3.01 | 3.00 | 5.65 | 4.13 | 3.30 | 3.43 | 4.26 | 1.26 | 3.50 ± 1.26 |

Table S6: Raw behavioral and consumptive data during acclimation. Individual-level measurements of activity and intake for untrained cynomolgus macaques (Macaca fascicularis) housed at the National Primate Research Center of Thailand–Chulalongkorn University (NPRCT-CU), Bangkok, Thailand, during October 2021 across the 8-day post-relocation period. The table reports daily fluid consumption (mL/day), chow-derived caloric intake (kcal/day), and movement rate (movements/min; derived from video recordings on scheduled observation days), together with animal identifiers and sampling day. Asterisks indicate significant differences from the immediately preceding time point using Bonferroni-adjusted P values (*Padjusted < 0.05, ** Padjusted < 0.01, *** Padjusted < 0.001). Note: Chow-derived caloric intake reflects intake from standard chow only and does not represent total daily caloric intake, as animals also received a daily afternoon supplement of fruits and/or vegetables.

| Day | PPN009 | PPN091 | PPN108 | PPT292 | PPN008 | PPN018 | PPN020 | PPN032 | Mean ± SD |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Fluid consumption (mL) |  |  |  |  |  |  |  |  |  |
| 1 | 70 | 50 | 60 | 100 | 25 | 100 | 80 | 30 | 64.37 ± 28.71 |
| 2 | 120 | 80 | 50 | 350 | 250 | 230 | 50 | 50 | 147.5 ± 114.74 |
| 3 | 150 | 130 | 30 | 450 | 60 | 525 | 140 | 90 | 196.87 ± 185.03 |
| 4 | 50 | 100 | 50 | 250 | 200 | 220 | 200 | 120 | 148.75 ± 78.64 |
| 5 | 40 | 190 | 100 | 160 | 110 | 220 | 100 | 60 | 122.5 ± 62.51 |
| 6 | 160 | 100 | 70 | 360 | 290 | 360 | 150 | 250 | 217.5 ± 113.61 |
| 7 | 70 | 120 | 130 | 360 | 50 | 370 | 100 | 60 | 157.5 ± 131.12 |
| Chow-derived caloric intake (kCal) |  |  |  |  |  |  |  |  |  |
| 1 | 60 | 0 | 0 | 0 | 20 | 100 | 20 | 0 | 25.0 ± 36.64 |
| 2 | 60 | 0 | 40 | 60 | 100 | 100 | 20 | 40 | 52.5 ± 35.35 |
| 3 | 80 | 40 | 40 | 60 | 80 | 40 | 40 | 60 | 55.0 ± 17.73 |
| 4 | 60 | 60 | 20 | 60 | 60 | 60 | 20 | 20 | 45.0 ± 20.70 |
| 5 | 40 | 40 | 20 | 20 | 60 | 100 | 0 | 80 | 45.0 ± 33.38 |
| 6 | 60 | 40 | 60 | 60 | 60 | 80 | 20 | 40 | 52.5 ± 18.32 |
| 7 | 40 | 40 | 60 | 40 | 40 | 40 | 0 | 60 | 40.0 ± 18.52 |
| Movement rate (movements per minute) |  |  |  |  |  |  |  |  |  |
| 1 | 0.2128 | 0.1951 | 0.0514 | 0.0208 | 0.4434 | 0.6030 | 0.1292 | 0.0472 | 0.2129 ± 0.2081 |
| 3 | 1.8967 | 1.0346 | 0.3432 | 0.6310 | 3.7504 | 2.7158 | 1.0738 | 1.1513 | 1.5746** ± 1.1507 |
| 5 | 0.2105 | 1.1879 | 1.0530 | 1.3224 | 1.9849 | 2.2857 | 1.5305 | 3.1100 | 1.5856 ± 0.8765 |
| 7 | 1.9160 | 1.7474 | 0.4604 | 1.3941 | 5.1196 | 3.9087 | 0.9208 | 0.7034 | 2.0213 ± 1.6486 |

Table S7: Model specifications, overall fit, and model comparison

| Model | Outcome variable | Distribution |  | Link |  | Fixed Effects |  | Random Effects | AIC | BIC |  | Log Likelihood |  | DF |  | LRStat |  | p-value |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| M1 | Plasma Cort | Gamma |  | Log |  | Day |  | Animal | 9.85 | 14.57 |  | -0.9267 |  | 4 |  |  |  |  |
| M2 | Plasma Cort | Gamma |  | Log |  | Day * Sex |  | Animal | 10.38 | 17.45 |  | 0.8103 |  | 6 |  |  |  |  |
| compare(M1,M2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.4739 |  | 0.1761 |  |
| M3 | Salivary Cort | Gamma |  | Log |  | Day |  | Animal | 32.95 | 36.94 |  | -12.48 |  | 4 |  |  |  |  |
| M4 | Salivary Cort | Gamma |  | Log |  | Day * Sex |  | Animal | 34.26 | 40.24 |  | -11.13 |  | 6 |  |  |  |  |
| compare(M3,M4) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.6916 |  | 0.26033 |  |
| M5 | Urinary Cort | Gamma |  | Log |  | Day |  | Animal | 151.29 | 160.40 |  | -71.65 |  | 4 |  |  |  |  |
| M6 | Urinary Cort | Gamma |  | Log |  | Day * Sex |  | Animal | 156.66 | 170.32 |  | -72.33 |  | 6 |  |  |  |  |
| compare(M5,M6) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 1.3688 |  | NaN |  |
| M7 | Fecal Cort | Gamma |  | Log |  | Day |  | Animal | 110.49 | 119.60 |  | -51.25 |  | 4 |  |  |  |  |
| M8 | Fecal Cort | Gamma |  | Log |  | Day * Sex |  | Animal | 110.98 | 124.64 |  | -49.49 |  | 6 |  |  |  |  |
| compare(M7,M8) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.5129 |  | 0.1727 |  |
| M9 | Food Consump. | Normal |  | Identity |  | Day |  | Animal | 527.02 | 535.12 |  | -259.51 |  | 4 |  |  |  |  |
| M10 | Food Consump. | Normal |  | Identity |  | Day * Sex |  | Animal | 528.60 | 540.75 |  | -258.30 |  | 6 |  |  |  |  |
| compare(M9,M10) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.4237 |  | 0.2976 |  |
| M11 | Fluid Consump. | Normal |  | Identity |  | Day |  | Animal | 676.24 | 684.34 |  | -334.12 |  | 4 |  |  |  |  |
| M12 | Fluid Consump. | Normal |  | Identity |  | Day * Sex |  | Animal | 679.94 | 692.09 |  | -333.97 |  | 6 |  |  |  |  |
| compare(M11,M12) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0.3037 |  | 0.8591 |  |
| M13 | Movement rate | Normal |  | Identity |  | Day |  | Animal | 99.19 | 105.05 |  | -45.59 |  | 4 |  |  |  |  |
| M14 | Movement rate | Normal |  | Identity |  | Day * Sex |  | Animal | 97.27 | 106.07 |  | -42.64 |  | 6 |  |  |  |  |
| compare(M13,M14) |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 5.99 |  | 0.0520 |  |

Table S8: Fixed-effect estimates

| Model | Outcome variable |  |  |  |  |  | Fixed Effect: Day |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Estimate | SE |  | DF | Rm2 |  | Rc2 | Test statistic (t) | 90% CI | p-value | Direction |
| M1 | Plasma Cort | -0.0957 | 0.0124 |  | 22 | 0.5806 |  | 0.8356 | -7.7330 | [-0.1214; -0.0700] | 1.03e-07*** | Decrease |
| M3 | Salivary Cort | -0.0871 | 0.0278 |  | 18 | 0.2846 |  | 0.5821 | -3.1363 | [-0.1454; -0.0287] | 0.0057** | Decrease |
| M5 | Urinary Cort | -0.1572 | 0.0279 |  | 70 | 0.2101 |  | 0.4244 | -5.6233 | [-0.2129; -0.1014] | 3.57e-07*** | Decrease |
| M7 | Fecal Cort | -0.0016 | 0.0225 |  | 70 | <0.0001 |  | <0.0001 | -0.0732 | [-0.0465; 0.0432] | 0.9418 | - |
| M9 | Food Consump. | 1.25 | 1.5080 |  | 54 | 0.0085 |  | 0.4027 | 0.8289 | [-1.7733; 4.2733] | 0.4108 | - |
| M11 | Fluid Consump. | 12.32 | 5.4854 |  | 54 | 0.0461 |  | 0.5606 | 2.2462 | [1.3239; 23.319] | 0.0288* | Increase |
| M13 | Movement rate | 0.2718 | 0.0693 |  | 30 | 0.2424 |  | 0.5977 | 3.9242 | [0.1304; 0.4133] | 0.0005*** | Increase |

Table S9: Pairwise Day Comparisons

| Outcome variable | Comparison | Fixed Effect: Day |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Estimate | SE | DF | Test statistic (z) | p-raw | p-adjusted | Direction |
| Plasma Cort | Transfer day vs Day 4 | -0.4656 | 0.0941 | 21 | -4.945 | 7.61e-07 | 2.28e-06*** | Decrease |
| Plasma Cort | Transfer day vs Day 8 | -0.7661 | 0.0941 | 21 | -8.137 | 4.44e-16 | 1.33e-15*** | Decrease |
| Plasma Cort | Day 4 vs Day 8 | -0.3005 | 0.0941 | 21 | -3.192 | 0.0014 | 0.0042** | Decrease |
| Salivary Cort | Transfer day vs Day 4 | -0.6985 | 0.1888 | 17 | -3.7002 | 0.0002 | 0.0006*** | Decrease |
| Salivary Cort | Transfer day vs Day 8 | -0.6740 | 0.1945 | 17 | -3.4654 | 0.0005 | 0.0015** | Decrease |
| Salivary Cort | Day 4 vs Day 8 | 0.0245 | 0.1984 | 17 | 0.1235 | 0.9017 | 1 | - |
| Urinary Cort | Transfer day vs Day 1 | -0.5029 | 0.2386 | 63 | -2.1080 | 0.0350 | 1 | - |
| Urinary Cort | Transfer day vs Day 2 | -0.9241 | 0.2386 | 63 | -3.8731 | 0.0001 | 0.0039** | Decrease |
| Urinary Cort | Transfer day vs Day 3 | -0.5833 | 0.2386 | 63 | -2.4447 | 0.0145 | 0.5219 | - |
| Urinary Cort | Transfer day vs Day 4 | -0.7428 | 0.2386 | 63 | -3.1133 | 0.0018 | 0.0666 | - |
| Urinary Cort | Transfer day vs Day 5 | -0.4494 | 0.2386 | 63 | -1.8835 | 0.0596 | 1 | - |
| Urinary Cort | Transfer day vs Day 6 | -1.4528 | 0.2386 | 63 | -6.0893 | 1.13e-09 | 4.08e-08*** | Decrease |
| Urinary Cort | Transfer day vs Day 7 | -1.5737 | 0.2386 | 63 | -6.5957 | 4.23e-11 | 1.52e-09*** | Decrease |
| Urinary Cort | Transfer day vs Day 8 | -1.3620 | 0.2386 | 63 | -5.7086 | 1.14e-08 | 4.10e-07*** | Decrease |
| Urinary Cort | Day 1 vs Day 2 | -0.4211 | 0.2386 | 63 | -1.7651 | 0.0775 | 1 | - |
| Urinary Cort | Day 1 vs Day 3 | -0.0803 | 0.2386 | 63 | -0.3368 | 0.7363 | 1 | - |
| Urinary Cort | Day 1 vs Day 4 | -0.2399 | 0.2386 | 63 | -1.0053 | 0.3147 | 1 | - |
| Urinary Cort | Day 1 vs Day 5 | 0.0535 | 0.2386 | 63 | -0.2244 | 0.8224 | 1 | - |
| Urinary Cort | Day 1 vs Day 6 | -0.9499 | 0.2386 | 63 | -3.9813 | 6.85e-05 | 0.0025** | Decrease |
| Urinary Cort | Day 1 vs Day 7 | -1.0707 | 0.2386 | 63 | -4.4878 | 7.20e-06 | 0.0003*** | Decrease |
| Urinary Cort | Day 1 vs Day 8 | -0.8591 | 0.2386 | 63 | -3.6006 | 0.0003 | 0.0114* | Decrease |
| Urinary Cort | Day 2 vs Day 3 | 0.3408 | 0.2386 | 63 | 1.4283 | 0.1532 | 1 | - |
| Urinary Cort | Day 2 vs Day 4 | 0.1813 | 0.2386 | 63 | 0.7598 | 0.4474 | 1 | - |
| Urinary Cort | Day 2 vs Day 5 | 0.4747 | 0.2386 | 63 | 1.9895 | 0.0466 | 1 | - |
| Urinary Cort | Day 2 vs Day 6 | -0.5288 | 0.2386 | 63 | -2.2162 | 0.0267 | 0.9603 | - |
| Urinary Cort | Day 2 vs Day 7 | -0.6496 | 0.2386 | 63 | -2.7227 | 0.0065 | 0.2331 | - |
| Urinary Cort | Day 2 vs Day 8 | -0.4379 | 0.2386 | 63 | -1.8355 | 0.0664 | 1 | - |
| Urinary Cort | Day 3 vs Day 4 | -0.1595 | 0.2386 | 63 | -0.6685 | 0.5038 | 1 | - |
| Urinary Cort | Day 3 vs Day 5 | 0.1339 | 0.2386 | 63 | 0.5612 | 0.5747 | 1 | - |
| Urinary Cort | Day 3 vs Day 6 | -0.8695 | 0.2386 | 63 | -3.6446 | 0.0003 | 0.0096** | Decrease |
| Urinary Cort | Day 3 vs Day 7 | -0.9904 | 0.2386 | 63 | -4.1510 | 3.31e-05 | 0.0012** | Decrease |
| Urinary Cort | Day 3 vs Day 8 | -0.7787 | 0.2386 | 63 | -3.2638 | 0.0011 | 0.0396* | Decrease |
| Urinary Cort | Day 4 vs Day 5 | 0.2934 | 0.2386 | 63 | 1.2297 | 0.2188 | 1 | - |
| Urinary Cort | Day 4 vs Day 6 | -0.7100 | 0.2386 | 63 | -2.9760 | 0.0029 | 0.1051 | - |
| Urinary Cort | Day 4 vs Day 7 | -0.8309 | 0.2386 | 63 | -3.4825 | 0.0005 | 0.0179* | Decrease |
| Urinary Cort | Day 4 vs Day 8 | -0.6192 | 0.2386 | 63 | -2.5953 | 0.0094 | 0.3402 | - |
| Urinary Cort | Day 5 vs Day 6 | -1.0034 | 0.2386 | 63 | -4.2058 | 2.60e-05 | 0.0009*** | Decrease |
| Urinary Cort | Day 5 vs Day 7 | -1.1243 | 0.2386 | 63 | -4.7122 | 2.45e-06 | 8.82e-05*** | Decrease |
| Urinary Cort | Day 5 vs Day 8 | -0.9126 | 0.2386 | 63 | -3.8250 | 0.0001 | 0.0047** | Decrease |
| Urinary Cort | Day 6 vs Day 7 | -0.1208 | 0.2386 | 63 | -0.5064 | 0.6126 | 1 | - |
| Urinary Cort | Day 6 vs Day 8 | 0.0908 | 0.2386 | 63 | 0.3807 | 0.7034 | 1 | - |
| Urinary Cort | Day 7 vs Day 8 | 0.2117 | 0.2386 | 63 | 0.8872 | 0.3750 | 1 | - |
| Fecal Cort | Transfer day vs Day 1 | 0.8910 | 0.1736 | 63 | 5.1333 | 2.85e-07 | 1.02e-05*** | Increase |
| Fecal Cort | Transfer day vs Day 2 | 0.3510 | 0.1736 | 63 | 2.0223 | 0.0431 | 1 | - |
| Fecal Cort | Transfer day vs Day 3 | 0.5352 | 0.1736 | 63 | 3.0833 | 0.0020 | 0.0737 | - |
| Fecal Cort | Transfer day vs Day 4 | 0.0368 | 0.1736 | 63 | 0.2121 | 0.8320 | 1 | - |
| Fecal Cort | Transfer day vs Day 5 | 0.6055 | 0.1736 | 63 | 3.4886 | 0.0005 | 0.0175* | Increase |
| Fecal Cort | Transfer day vs Day 6 | 0.1819 | 0.1736 | 63 | 1.0478 | 0.2947 | 1 | - |
| Fecal Cort | Transfer day vs Day 7 | 0.6590 | 0.1736 | 63 | 3.7964 | 0.0001 | 0.0053** | Increase |
| Fecal Cort | Transfer day vs Day 8 | 0.3347 | 0.1736 | 63 | 1.9281 | 0.0538 | 1 | - |
| Fecal Cort | Day 1 vs Day 2 | -0.5400 | 0.1736 | 63 | -3.1110 | 0.0019 | 0.0671 | - |
| Fecal Cort | Day 1 vs Day 3 | -0.3558 | 0.1736 | 63 | -2.0501 | 0.0404 | 1 | - |
| Fecal Cort | Day 1 vs Day 4 | -0.8542 | 0.1736 | 63 | -4.9212 | 8.60e-07 | 3.10e-05*** | Decrease |
| Fecal Cort | Day 1 vs Day 5 | -0.2855 | 0.1736 | 63 | -1.6447 | 0.1000 | 1 | - |
| Fecal Cort | Day 1 vs Day 6 | -0.7091 | 0.1736 | 63 | -4.0855 | 4.40e-05 | 0.0016** | Decrease |
| Fecal Cort | Day 1 vs Day 7 | -0.2321 | 0.1736 | 63 | -1.3369 | 0.1813 | 1 | - |
| Fecal Cort | Day 1 vs Day 8 | -0.5563 | 0.1736 | 63 | -3.2052 | 0.0013 | 0.0486* | Decrease |
| Fecal Cort | Day 2 vs Day 3 | 0.1842 | 0.1736 | 63 | 1.0610 | 0.2887 | 1 | - |
| Fecal Cort | Day 2 vs Day 4 | -0.3142 | 0.1736 | 63 | -1.8102 | 0.0703 | 1 | - |
| Fecal Cort | Day 2 vs Day 5 | 0.2545 | 0.1736 | 63 | 1.4663 | 0.1426 | 1 | - |
| Fecal Cort | Day 2 vs Day 6 | -0.1692 | 0.1736 | 63 | -0.9745 | 0.3298 | 1 | - |
| Fecal Cort | Day 2 vs Day 7 | 0.3079 | 0.1736 | 63 | 1.7741 | 0.0760 | 1 | - |
| Fecal Cort | Day 2 vs Day 8 | -0.0163 | 0.1736 | 63 | -0.0942 | 0.9250 | 1 | - |
| Fecal Cort | Day 3 vs Day 4 | -0.4984 | 0.1736 | 63 | -2.8712 | 0.0041 | 0.1472 | - |
| Fecal Cort | Day 3 vs Day 5 | 0.0704 | 0.1736 | 63 | 0.4054 | 0.6852 | 1 | - |
| Fecal Cort | Day 3 vs Day 6 | -0.3533 | 0.1736 | 63 | -2.0354 | 0.0418 | 1 | - |
| Fecal Cort | Day 3 vs Day 7 | 0.1238 | 0.1736 | 63 | 0.7131 | 0.4757 | 1 | - |
| Fecal Cort | Day 3 vs Day 8 | -0.2005 | 0.1736 | 63 | -1.1551 | 0.2480 | 1 | - |
| Fecal Cort | Day 4 vs Day 5 | 0.5687 | 0.1736 | 63 | 3.2766 | 0.0010 | 0.0378* | Increase |
| Fecal Cort | Day 4 vs Day 6 | 0.1451 | 0.1736 | 63 | 0.8357 | 0.4033 | 1 | - |
| Fecal Cort | Day 4 vs Day 7 | 0.6222 | 0.1736 | 63 | 3.5843 | 0.0003 | 0.0122* | Increase |
| Fecal Cort | Day 4 vs Day 8 | 0.2979 | 0.1736 | 63 | 1.7161 | 0.0861 | 1 | - |
| Fecal Cort | Day 5 vs Day 6 | -0.4237 | 0.1736 | 63 | -2.4408 | 0.0146 | 0.5275 | - |
| Fecal Cort | Day 5 vs Day 7 | 0.0534 | 0.1736 | 63 | 0.3078 | 0.7582 | 1 | - |
| Fecal Cort | Day 5 vs Day 8 | -0.2709 | 0.1736 | 63 | -1.5605 | 0.1186 | 1 | - |
| Fecal Cort | Day 6 vs Day 7 | 0.4771 | 0.1736 | 63 | 2.7486 | 0.0060 | 0.2154 | - |
| Fecal Cort | Day 6 vs Day 8 | 0.1528 | 0.1736 | 63 | 0.8803 | 0.3787 | 1 | - |
| Fecal Cort | Day 7 vs Day 8 | -0.3243 | 0.1736 | 63 | -1.8683 | 0.0617 | 1 | - |
| Food Consump. | Day 1 vs Day 2 | 27.5 | 10.129 | 49 | 2.7149 | 0.0066 | 0.1392 | - |
| Food Consump. | Day 1 vs Day 3 | 30.0 | 10.129 | 49 | 2.9617 | 0.0031 | 0.0642 | - |
| Food Consump. | Day 1 vs Day 4 | 20.0 | 10.129 | 49 | 1.9745 | 0.0483 | 1 | - |
| Food Consump. | Day 1 vs Day 5 | 20.0 | 10.129 | 49 | 1.9745 | 0.0483 | 1 | - |
| Food Consump. | Day 1 vs Day 6 | 27.5 | 10.129 | 49 | 2.7149 | 0.0066 | 0.1392 | - |
| Food Consump. | Day 1 vs Day 7 | 15.0 | 10.129 | 49 | 1.4808 | 0.1387 | 1 | - |
| Food Consump. | Day 2 vs Day 3 | 2.5 | 10.129 | 49 | 0.2468 | 0.8051 | 1 | - |
| Food Consump. | Day 2 vs Day 4 | -7.5 | 10.129 | 49 | -0.7404 | 0.4590 | 1 | - |
| Food Consump. | Day 2 vs Day 5 | -7.5 | 10.129 | 49 | -0.7404 | 0.4590 | 1 | - |
| Food Consump. | Day 2 vs Day 6 | 3.5e-15 | 10.129 | 49 | 3.5e-16 | 1 | 1 | - |
| Food Consump. | Day 2 vs Day 7 | -12.5 | 10.129 | 49 | -1.2340 | 0.2172 | 1 | - |
| Food Consump. | Day 3 vs Day 4 | -10.0 | 10.129 | 49 | -0.9872 | 0.3235 | 1 | - |
| Food Consump. | Day 3 vs Day 5 | -10.0 | 10.129 | 49 | -0.9872 | 0.3235 | 1 | - |
| Food Consump. | Day 3 vs Day 6 | -2.5 | 10.129 | 49 | -0.2468 | 0.8050 | 1 | - |
| Food Consump. | Day 3 vs Day 7 | -15.0 | 10.129 | 49 | -1.4808 | 0.1386 | 1 | - |
| Food Consump. | Day 4 vs Day 5 | 0.0 | 10.129 | 49 | 0.0000 | 1 | 1 | - |
| Food Consump. | Day 4 vs Day 6 | 7.5 | 10.129 | 49 | 0.7404 | 0.4590 | 1 | - |
| Food Consump. | Day 4 vs Day 7 | -5.0 | 10.129 | 49 | -0.4936 | 0.6216 | 1 | - |
| Food Consump. | Day 5 vs Day 6 | 7.5 | 10.129 | 49 | 0.7404 | 0.4590 | 1 | - |
| Food Consump. | Day 5 vs Day 7 | -5.0 | 10.129 | 49 | -0.4936 | 0.6216 | 1 | - |
| Food Consump. | Day 6 vs Day 7 | -12.5 | 10.129 | 49 | -1.2340 | 0.2172 | 1 | - |
| Fluid Consump. | Day 1 vs Day 2 | 83.125 | 35.231 | 49 | 2.3594 | 0.0183 | 0.3843 | - |
| Fluid Consump. | Day 1 vs Day 3 | 132.5 | 35.231 | 49 | 3.7609 | 0.0002 | 0.0035** | Increase |
| Fluid Consump. | Day 1 vs Day 4 | 84.375 | 35.231 | 49 | 2.3949 | 0.0166 | 0.3491 | - |
| Fluid Consump. | Day 1 vs Day 5 | 58.125 | 35.231 | 49 | 1.6498 | 0.0990 | 1 | - |
| Fluid Consump. | Day 1 vs Day 6 | 153.130 | 35.231 | 49 | 4.3463 | 1.38e-05 | 0.0002*** | Increase |
| Fluid Consump. | Day 1 vs Day 7 | 93.125 | 35.231 | 49 | 2.6433 | 0.0082 | 0.1724 | - |
| Fluid Consump. | Day 2 vs Day 3 | 49.375 | 35.231 | 49 | 1.4015 | 0.1611 | 1 | - |
| Fluid Consump. | Day 2 vs Day 4 | 1.25 | 35.231 | 49 | 0.0355 | 0.9717 | 1 | - |
| Fluid Consump. | Day 2 vs Day 5 | -25.0 | 35.231 | 49 | -0.7096 | 0.4779 | 1 | - |
| Fluid Consump. | Day 2 vs Day 6 | 70.0 | 35.231 | 49 | 1.9869 | 0.0469 | 0.9856 | - |
| Fluid Consump. | Day 2 vs Day 7 | 10.0 | 35.231 | 49 | 0.2838 | 0.7765 | 1 | - |
| Fluid Consump. | Day 3 vs Day 4 | -48.125 | 35.231 | 49 | -1.366 | 0.1719 | 1 | - |
| Fluid Consump. | Day 3 vs Day 5 | -74.375 | 35.231 | 49 | -2.1111 | 0.0348 | 0.7301 | - |
| Fluid Consump. | Day 3 vs Day 6 | 20.625 | 35.231 | 49 | 0.5854 | 0.5583 | 1 | - |
| Fluid Consump. | Day 3 vs Day 7 | -39.375 | 35.231 | 49 | -1.1176 | 0.2637 | 1 | - |
| Fluid Consump. | Day 4 vs Day 5 | -26.25 | 35.231 | 49 | -0.7451 | 0.4562 | 1 | - |
| Fluid Consump. | Day 4 vs Day 6 | 68.75 | 35.231 | 49 | 1.9514 | 0.0510 | 1 | - |
| Fluid Consump. | Day 4 vs Day 7 | 8.75 | 35.231 | 49 | 0.2484 | 0.8038 | 1 | - |
| Fluid Consump. | Day 5 vs Day 6 | 95.0 | 35.231 | 49 | 2.6965 | 0.0070 | 0.1471 | - |
| Fluid Consump. | Day 5 vs Day 7 | 35.0 | 35.231 | 49 | 0.9934 | 0.3205 | 1 | - |
| Fluid Consump. | Day 6 vs Day 7 | -60.0 | 35.231 | 49 | -1.7031 | 0.0886 | 1 | - |
| Movement rate | Day 1 vs Day 3 | 1.3617 | 0.4011 | 28 | 3.3945 | 0.0007 | 0.0041** | Increase |
| Movement rate | Day 1 vs Day 5 | 1.3728 | 0.4011 | 28 | 3.4221 | 0.0006 | 0.0037** | Increase |
| Movement rate | Day 1 vs Day 7 | 1.8084 | 0.4011 | 28 | 4.5081 | 6.54e-06 | 3.92e-05*** | Increase |
| Movement rate | Day 3 vs Day 5 | 0.0110 | 0.4011 | 28 | 0.0275 | 0.9780 | 1 | - |
| Movement rate | Day 3 vs Day 7 | 0.4467 | 0.4011 | 28 | 1.1136 | 0.2654 | 1 | - |
| Movement rate | Day 5 vs Day 7 | 0.4357 | 0.4011 | 28 | 1.0861 | 0.2774 | 1 | - |

Table S10: Correlation between hair cortisol and other biological matrices

| Outcome variable | Fixed Effect: Hair Cortisol |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Estimate | SE | DF | Test statistic (t) | p-value |
| Plasma Cort (D0) | 7.2148 | 6.4778 | 6 | 1.1138 | 0.3080 |
| Plasma Cort (D8) | 8.9544 | 3.2677 | 6 | 2.7402 | 0.0337* |
| Plasma Cort (D0-D8) | -1.7125 | 6.9062 | 6 | -0.2480 | 0.8124 |
| Salivary Cort (D0) | -0.3103 | 0.5340 | 5 | -0.5811 | 0.5864 |
| Salivary Cort (D8) | -0.1526 | 0.7938 | 4 | -0.1922 | 0.8569 |
| Salivary Cort (D0-D8) | -0.0757 | 0.5612 | 6 | -0.1349 | 0.8971 |
| Urinary Cort (D0) | -10.563 | 15.255 | 6 | -0.6924 | 0.5146 |
| Urinary Cort (D8) | 5.8266 | 1.742 | 6 | 3.3447 | 0.0155* |
| Urinary Cort (D0-D8) | -12.199 | 14.237 | 6 | -0.8569 | 0.4244 |
| Fecal Cort (D0) | -0.0697 | 0.0823 | 6 | -0.8472 | 0.4293 |
| Fecal Cort (D8) | 0.0232 | 0.0650 | 6 | 0.3568 | 0.7334 |
| Fecal Cort (D0-D8) | 0.2270 | 0.1496 | 6 | 1.5173 | 0.1800 |
| Food Consump. (D1) | -0.5297 | 1.8921 | 6 | -0.2799 | 0.7889 |
| Food Consump. (D7) | -0.5767 | 0.9330 | 6 | -0.6181 | 0.5592 |
| Food Consump. (D1-D7) | -0.1072 | 0.7845 | 6 | -0.1367 | 0.8958 |
| Fluid Consump. (D1) | 2.2896 | 1.1633 | 6 | 1.9682 | 0.0966 |
| Fluid Consump. (D7) | 12.446 | 4.5405 | 6 | 2.7412 | 0.0337* |
| Fluid Consump. (D1-D7) | 9.0922 | 4.8485 | 6 | 1.8753 | 0.1099 |
| Movement rate (D1) | -0.0046 | 0.0106 | 6 | -0.4369 | 0.6775 |
| Movement rate (D7) | -0.0089 | 0.0856 | 6 | -0.1041 | 0.9205 |
| Movement rate (D1-D7) | -0.0318 | 0.0653 | 6 | -0.4866 | 0.6438 |