Supplement 1: Description of the applied CXL protocols.

| parameter |  | S-CXL group | A-CXL group |
| --- | --- | --- | --- |
| Treatment target |  | Progressive keratoconus | Progressive keratoconus |
| Fluence (total) |  | 5.4 mJ/cm² | 5.4 mJ/cm² |
| Intensity |  | 3 mW/cm² | 9 mW/cm² |
| Treatment time |  | 30 min | 10 min |
| Light source |  | UV-X 1000 | UV-X 2000 |
| Irradiation mode |  | Continuous | Continuous |
| Epithelium status |  | Off (mechanical abrasio) | Off (mechanical abrasio) |
| Chromophore (centration) |  | Riboflavin (0.1 %) | Riboflavin (0.1 %) |
| Chromophore carrier |  | Hydroxypropyl Methylcellulose | Hydroxypropyl Methylcellulose |