## main
ID | Day | Treatment | Replicate | pH | Conductivity (mS.cm-1) | Dissolved oxigen (mg O2.L-1) | Temperature (Celsius) | Total Suspended Solids (mg DW.L-1) | Unicellular algal biomass (mg DW.L-1) | Filamentous algal biomass (mg DW.L-1) | Total nitrogen (mg.L-1) | N-NO3 (mg.L-1) | N-NO2 (mg.L-1) | N-NH4 (mg.L-1) | P-PO4 (mg.L-1) | BOD5 (mg O2.L-1) | Biofilm (mg DW per pond)
The following data belongs to the continuosly stirred tank reactors study conducted in the laboratory
H_001 | 0 | Primary Effluent | A |  |  |  |  | 22 |  |  | 82.73 | < DL | 0.09 | 65.31 | 8.53
H_002 | 0 | Primary Effluent | B |  |  |  |  | 52 |  |  | 84.22 | < DL | 0.14 | 65.1 | 8.55
H_003 | 0 | Primary Effluent | C |  |  |  |  | 50 |  |  | 82.69 | < DL | 0.15 | 64.01 | 8.33
H_004 | 0 | 1,6 d | A |  |  |  |  | 64 | 42 | 22 | 41.3 | 0.07 | 0.19 | 32.61 | 4.45
H_005 | 0 | 1,6 d | B |  |  |  |  | 84 | 60 | 24 | 42.52 | 0.05 | 0.2 | 31.82 | 5.71
H_006 | 0 | 1,6 d | C |  |  |  |  | 60 | 42 | 18 | 40.11 | 0.08 | 0.21 | 30.45 | 5.48
H_007 | 0 | 2,5 d | A |  |  |  |  | 92 | 56 | 36 | 41.07 | < DL | 0.22 | 31.16 | 5.9
H_008 | 0 | 2,5 d | B |  |  |  |  | 78 | 32 | 46 | 44.33 | < DL | 0.06 | 33.11 | 5.77
H_009 | 0 | 2,5 d | C |  |  |  |  | 68 | 42 | 26 | 38.78 | < DL | 4.28 | 29.89 | 6.17
H_010 | 0 | 5 d | A |  |  |  |  | 86 | 32 | 54 | 40.62 | < DL | 0.03 | 30.29 | 5.51
H_011 | 0 | 5 d | B |  |  |  |  | 72 | 42 | 30 | 41.44 | < DL | 0.01 | 31.64 | 5.56
H_012 | 0 | 5 d | C |  |  |  |  | 66 | 38 | 28 | 38.85 | < DL | 0.01 | 29.53 | 6.34
H_013 | 0 | 10 d | A |  |  |  |  | 80 | 36 | 44 | 41.33 | < DL | < DL | 31.95 | 6.3
H_014 | 0 | 10 d | B |  |  |  |  | 72 | 42 | 30 | 40.1 | < DL | 0.02 | 31.1 | 6
H_015 | 0 | 10 d | C |  |  |  |  | 66 | 38 | 28 | 37.43 | < DL | < DL | 28.24 | 5.64
H_016 | 1 | Primary Effluent | A |  |  |  |  | 32 |  |  | 26.88
H_017 | 1 | Primary Effluent | B |  |  |  |  | 50 |  |  | 26.74
H_018 | 1 | Primary Effluent | C |  |  |  |  | 44 |  |  | 27.33
H_019 | 1 | 1,6 d | A |  |  |  |  | 62 | 26 | 36 | 27.97
H_020 | 1 | 1,6 d | B |  |  |  |  | 96 | 36 | 60 | 29.53
H_021 | 1 | 1,6 d | C |  |  |  |  | 64 | 60 | 4 | 29.99
H_022 | 1 | 2,5 d | A |  |  |  |  | 110 | 38 | 72 | 14.64
H_023 | 1 | 2,5 d | B |  |  |  |  | 86 | 48 | 38 | 17.14
H_024 | 1 | 2,5 d | C |  |  |  |  | 84 | 44 | 40 | 16.42
H_025 | 2 | 1,6 d | A |  |  |  |  | 46 | 42 | 4 | 3.714 | < DL | 0.02 | 19.51 | 4.54
H_026 | 2 | 1,6 d | B |  |  |  |  | 68 | 58 | 10 | 3.687 | < DL | < DL | 19.51 | 5.65
H_027 | 2 | 1,6 d | C |  |  |  |  | 54 | 50 | 4 | 4.006 | < DL | < DL | 20.25 | 5.65
H_028 | 3 | 1,6 d | A |  |  |  |  | 30 | 40 | < DL | 82.12 | < DL | 0.03 | 20.44 | 6.07
H_029 | 3 | 1,6 d | B |  |  |  |  | 64 | 56 | 8 | 85.24 | < DL | < DL | 21.98 | 6.73
H_030 | 3 | 1,6 d | C |  |  |  |  | 50 | 36 | 14 | 26.41 | < DL | < DL | 21.4 | 6.2
H_031 | 3 | 2,5 d | A |  |  |  |  | 68 | 44 | 24 | 89.04 | < DL | 0.1 | 9.85 | 3.37
H_032 | 3 | 2,5 d | B |  |  |  |  | 82 | 56 | 26 | 28.36 | < DL | < DL | 11.91 | 3.75
H_033 | 3 | 2,5 d | C |  |  |  |  | 64 | 48 | 16 | 29.38 | 0.04 | 0.06 | 10.52 | 4.01
H_034 | 3 | 5 d | A |  |  |  |  | 102 | 72 | 30 | 46.34 | 0.09 | 0.16 | 1.32 | 2.54
H_035 | 3 | 5 d | B |  |  |  |  | 124 | 46 | 78 | 43.82 | < DL | 0.14 | 1.05 | 3.19
H_036 | 3 | 5 d | C |  |  |  |  | 102 | 18 | 84 | 44.89 | 0.07 | 0.14 | 1.44 | 3.69
H_037 | 4 | Primary Effluent | A |  |  |  |  | 34 |  |  | 48.18 | 0.05 | 0.08 | 63.25 | 8.05
H_038 | 4 | Primary Effluent | B |  |  |  |  | 28 |  |  | 39.12 | < DL | 0.26 | 63.97 | 7.58
H_039 | 4 | Primary Effluent | C |  |  |  |  | 20 |  |  | 47.16 | < DL | 0.2 | 60.8 | 4.96
H_040 | 4 | 1,6 d | A |  |  |  |  | 26 | 52 | < DL | 28.48 | < DL | 0.43 | 18.37 | 4.9
H_041 | 4 | 1,6 d | B |  |  |  |  | 52 | 46 | 6 | 30.69 | < DL | 0.27 | 18.97 | 4.14
H_042 | 4 | 1,6 d | C |  |  |  |  | 28 | 44 | < DL | 32.03 | < DL | 0.24 | 19.17 | 4.96
H_043 | 5 | 1,6 d | A |  |  |  |  | 42 | 40 | 2 | 13.42 | < DL | 0.52 | 30.4 | 5.83
H_044 | 5 | 1,6 d | B |  |  |  |  | 50 | 58 | < DL | 11.32 | < DL | 0.22 | 30.66 | 4.83
H_045 | 5 | 1,6 d | C |  |  |  |  | 48 | 62 | < DL | 13.32 | < DL | 0.19 | 31.81 | 4.59
H_046 | 5 | 2,5 d | A |  |  |  |  | 102 | 100 | 2 | 2.64 | < DL | 0.45 | 16.8 | 4.86
H_047 | 5 | 2,5 d | B |  |  |  |  | 118 | 105.8 | 12.2 | 2.641 | < DL | 0.22 | 13.94 | 4.55
H_048 | 5 | 2,5 d | C |  |  |  |  | 86 | 114 | < DL | 2.472 | < DL | 0.13 | 16.39 | 4.45
H_049 | 6 | 1,6 d | A |  |  |  |  | 8 | 34 | < DL | 2.556 | 0.12 | 0.54 | 19.42 | 5.49 | 7.9
H_050 | 6 | 1,6 d | B |  |  |  |  | 38 | 66 | < DL | 2.641 | < DL | 0.15 | 21.46 | 4.67 | 5.3
H_051 | 6 | 1,6 d | C |  |  |  |  | 20 | 48 | < DL | 2.544 | < DL | 0.18 | 22.44 | 5.15 | 7.9
H_052 | 6 | 2,5 d | A |  |  |  |  | 68 | 74 | < DL | 84.79 | 0.22 | 0.47 | 8.44 | 3.63
H_053 | 6 | 2,5 d | B |  |  |  |  | 94 | 120 | < DL | 88.75 | 0.22 | 0.01 | 7.1 | 4.46
H_054 | 6 | 2,5 d | C |  |  |  |  | 108 | 76 | 32 | 87.53 | 0.03 | 0.16 | 8.08 | 3.44
H_055 | 6 | 5 d | A |  |  |  |  | 156 | 144 | 12 | 9.553 | 0.22 | < DL | 0.31 | 2.12
H_056 | 6 | 5 d | B |  |  |  |  | 206 | 178 | 28 | 6.788 | 0.07 | 0.03 | 0.14 | 2.13
H_057 | 6 | 5 d | C |  |  |  |  | 176 | 150 | 26 | 6.788 | 0.15 | 0.04 | 0.1 | 1.81
H_058 | 6 | 10 d | A |  |  |  |  | 208 | 180 | 28 | 41.33 | 0.1 | 0.01 | 0.07 | 1.77
H_059 | 6 | 10 d | B |  |  |  |  | 214 | 176 | 38 | 40.1 | 0.15 | 0.01 | 0.13 | 1.73
H_060 | 6 | 10 d | C |  |  |  |  | 240 | 214 | 26 | 37.43 | 0.23 | 0.02 | 0.13 | 1.42
H_061 | 7 | Primary Effluent | A |  |  |  |  | 48 |  |  | 48.18 | 0.17 | 0.02 | 64.27 | 7.55
H_062 | 7 | Primary Effluent | B |  |  |  |  | 44 |  |  | 39.12 | 0.27 | 0.02 | 62.42 | 5.93
H_063 | 7 | Primary Effluent | C |  |  |  |  | 50 |  |  | 47.16 | 0.28 | 0.06 | 62.96 | 6.17
H_064 | 8 | 2,5 d | A |  |  |  |  | 88 | 110 | < DL | 9.831 | 1.11 | 1.33 | 6.62 | 3.13
H_065 | 8 | 2,5 d | B |  |  |  |  | 126 | 124 | 2 | 10.03 | 0.64 | 0.37 | 3.4 | 4.31
H_066 | 8 | 2,5 d | C |  |  |  |  | 94 | 118 | < DL | 9.725 | 0.69 | 0.51 | 4.78 | 4.24
H_067 | 9 | 2,5 d | A |  |  |  |  | 72 | 88 | < DL | 10.73 | 1.44 | 1.77 | 4.32 | 4.77 | 7
H_068 | 9 | 2,5 d | B |  |  |  |  | 128 | 130 | < DL | 7.486 | 0.01 | 0.68 | 3.33 | 4.56 | 6.2
H_069 | 9 | 2,5 d | C |  |  |  |  | 100 | 106 | < DL | 7.861 | < DL | 0.86 | 3.47 | 3.63 | 6.7
H_070 | 9 | 5 d | A |  |  |  |  | 198 | 180 | 18 | 2.636 | < DL | 0.21 | 0.21 | 2.36
H_071 | 9 | 5 d | B |  |  |  |  | 260 | 238 | 22 | 2.833 | < DL | 0.16 | 0.03 | 2.55
H_072 | 9 | 5 d | C |  |  |  |  | 224 | 222 | 2 | 2.553 | < DL | 0.07 | -0.01 | 2.17
H_073 | 10 | Primary Effluent | A |  |  |  |  | 16 |  |  | 83.01 | < DL | 0.15 | 63.73 | 8.1
H_074 | 10 | Primary Effluent | B |  |  |  |  | 30 |  |  | 85.56 | < DL | 0.13 | 66.4 | 8.3
H_075 | 10 | Primary Effluent | C |  |  |  |  | 40 |  |  | 87.68 | < DL | 0.1 | 64.62 | 6.6
H_076 | 11 | 10 d | A |  |  |  |  | 178 | 162 | 16 | 3.005 | < DL | 0.08 | 0.8 | 2.68
H_077 | 11 | 10 d | B |  |  |  |  | 260 | 242 | 18 | 2.667 | < DL | 0.15 | 0.22 | 2.21
H_078 | 11 | 10 d | C |  |  |  |  | 252 | 242 | 10 | 2.778 | < DL | 0.07 | 0.19 | 2.47
H_079 | 12 | 5 d | A |  |  |  |  | 178 | 176 | 2 | 2.711 | < DL | 0.07 | 0.12 | 1.71
H_080 | 12 | 5 d | B |  |  |  |  | 260 | 234 | 26 | 2.987 | < DL | 0.02 | 0.15 | 1.29
H_081 | 12 | 5 d | C |  |  |  |  | 250 | 212 | 38 | 2.737 | < DL | 0.08 | 0.21 | 1.95
H_082 | 13 | Primary Effluent | A |  |  |  |  | 22 |  |  | 85.01 | < DL | 0.1 | 66.9 | 8.31
H_083 | 13 | Primary Effluent | B |  |  |  |  | 22 |  |  | 83.33 | < DL | 0.05 | 64.17 | 8.72
H_084 | 13 | Primary Effluent | C |  |  |  |  | 22 |  |  | 86.57 | < DL | 0.07 | 65.39 | 7.44
H_085 | 14 | 5 d | A |  |  |  |  | 94 | 92 | 2 | 3.662 | < DL | 0.27 | 0.61 | 2.48
H_086 | 14 | 5 d | B |  |  |  |  | 230 | 202 | 28 | 2.698 | < DL | 0.11 | 0.34 | 1.34
H_087 | 14 | 5 d | C |  |  |  |  | 210 | 186 | 24 | 2.895 | < DL | 0.15 | 0.3 | 1.33
H_088 | 16 | Primary Effluent | A |  |  |  |  | 22 |  |  | 84.75 | < DL | 0.13 | 63.95 | 7.02
H_089 | 16 | Primary Effluent | B |  |  |  |  | 24 |  |  | 86.8 | < DL | 0.19 | 65.26 | 7.33
H_090 | 16 | Primary Effluent | C |  |  |  |  | 26 |  |  | 87.99 | < DL | 0.2 | 65.12 | 6.68
H_091 | 16 | 5 d | A |  |  |  |  | 84 | 80 | 4 | 5.075 | 0.96 | 1.92 | 2.22 | 3.94 | 4.5
H_092 | 16 | 5 d | B |  |  |  |  | 190 | 184 | 6 | 2.925 | 0.01 | 0.29 | 0.46 | 2.05 | 5.6
H_093 | 16 | 5 d | C |  |  |  |  | 172 | 152 | 20 | 2.559 | < DL | 0.25 | 0.34 | 1.97 | 5.9
H_094 | 16 | 10 d | A |  |  |  |  | 202 | 198 | 4 | 2.434 | < DL | 0.11 | 0.19 | 1.44
H_095 | 16 | 10 d | B |  |  |  |  | 162 | 150 | 12 | 2.648 | < DL | 0.1 | < DL | 1.07
H_096 | 16 | 10 d | C |  |  |  |  | 288 | 250 | 38 | 2.573 | < DL | 0.11 | 0.02 | 0.69
H_097 | 19 | Primary Effluent | A |  |  |  |  | 44 |  |  | 85.24 | < DL | 0.17 | 66.37 | 8.62
H_098 | 19 | Primary Effluent | B |  |  |  |  | 26 |  |  | 88.57 | < DL | 0.04 | 68.2 | 8.29
H_099 | 19 | Primary Effluent | C |  |  |  |  | 30 |  |  | 87.59 | < DL | 0.04 | 68.2 | 9.01
H_100 | 21 | 10 d | A |  |  |  |  | 232 | 214 | 18 | 2.62 | < DL | 0.01 | 0.06 | 1.28
H_101 | 21 | 10 d | B |  |  |  |  | 184 | 178 | 6 | 2.115 | < DL | 0.13 | 0.09 | 0.77
H_102 | 21 | 10 d | C |  |  |  |  | 168 | 144 | 24 | 2.344 | < DL | 0.02 | 0 | 0.39
H_103 | 22 | Primary Effluent | A |  |  |  |  | 18 |  |  | 86.35 | < DL | 0.01 | 62.64 | 6.07
H_104 | 22 | Primary Effluent | B |  |  |  |  | 18 |  |  | 89.69 | < DL | < DL | 61.69 | 5.62
H_105 | 22 | Primary Effluent | C |  |  |  |  | 26 |  |  | 85.17 | < DL | 0.01 | 67.2 | 8.2
H_106 | 25 | Primary Effluent | A |  |  |  |  | 12 |  |  | 88.36 | < DL | 0.03 | 64.94 | 6.52
H_107 | 25 | Primary Effluent | B |  |  |  |  | 14 |  |  | 88.92 | < DL | 0.1 | 66.02 | 7.06
H_108 | 25 | Primary Effluent | C |  |  |  |  | 18 |  |  | 90.01 | < DL | 0.07 | 64.02 | 6.52
H_109 | 26 | 10 d | A |  |  |  |  | 314 | 254 | 60 | 2.488 | < DL | 0.06 | 31.78 | 3.25
H_110 | 26 | 10 d | B |  |  |  |  | 230 | 212 | 18 | 2.125 | < DL | 0.06 | 1.84 | 0.69
H_111 | 26 | 10 d | C |  |  |  |  | 280 | 252 | 28 | 2.217 | < DL | 0.07 | 0.19 | 0.25
H_112 | 28 | Primary Effluent | A |  |  |  |  | 34 |  |  | 79.31 | < DL | 0.13 | 66.04 | 8.76
H_113 | 28 | Primary Effluent | B |  |  |  |  | 34 |  |  | 89.11 | < DL | 0.13 | 69.56 | 7.56
H_114 | 28 | Primary Effluent | C |  |  |  |  | 24 |  |  | 86.04 | < DL | 0.2 | 71.5 | 9.26
H_115 | 30 | Primary Effluent | A | [7 empty] | 79.31 | < DL | 0.13 | 66.04 | 8.76 | 56.5
H_116 | 30 | Primary Effluent | B | [7 empty] | 89.11 | < DL | 0.13 | 69.56 | 7.56 | 84.7
H_117 | 30 | Primary Effluent | C | [7 empty] | 86.04 | < DL | 0.2 | 71.5 | 9.26 | 42.4
H_118 | 31 | 10 d | A |  |  |  |  | 272 | 240 | 32 | 2.298 | 0.08 | 0.15 | 1.56 | 0.27 | 17.4
H_119 | 31 | 10 d | B |  |  |  |  | 292 | 238 | 54 | 2.132 | < DL | 0.16 | 0.51 | 0.19 | 5.3
H_120 | 31 | 10 d | C |  |  |  |  | 326 | 226 | 100 | 2.131 | 0.01 | 0.18 | 0.12 | 0.13 | 4.5
The following data belongs to the constant SRT and variable HRT study conducted in the laboratory
SH_001 | 0 | Primary Effluent | A |  |  |  |  | 29 |  |  | 83.23 | < DL | < DL | 70.05 | 8.33
SH_002 | 0 | Primary Effluent | B |  |  |  |  | 28 |  |  | 85.67 | < DL | < DL | 72.11 | 8.45
SH_003 | 0 | Primary Effluent | C |  |  |  |  | 25 |  |  | 87.38 | < DL | 0.03 | 71.12 | 8.71
SH_004 | 0 | 1,6 d | A |  |  |  |  | 90 | 17 | 73 | 26.56 | < DL | < DL | 19.86 | 6.1
SH_005 | 0 | 1,6 d | B |  |  |  |  | 87 | 26 | 61 | 24.92 | < DL | < DL | 17.91 | 5.97
SH_006 | 0 | 1,6 d | C |  |  |  |  | 89 | 16 | 73 | 25.23 | < DL | 0.03 | 18.27 | 5.9
SH_007 | 0 | 2 d | A |  |  |  |  | 80 | 17 | 63 | 27.13 | < DL | 0.08 | 20.4 | 5.77
SH_008 | 0 | 2 d | B |  |  |  |  | 79 | 19 | 60 | 25.34 | < DL | 0.18 | 18.19 | 6.39
SH_009 | 0 | 2 d | C |  |  |  |  | 90 | 14 | 76 | 24.67 | < DL | 0.2 | 18.06 | 6.54
SH_010 | 0 | 2,5 d | A |  |  |  |  | 78 | 17 | 61 | 26.92 | 0.09 | < DL | 19.58 | 6.1
SH_011 | 0 | 2,5 d | B |  |  |  |  | 84 | 17 | 67 | 27.47 | < DL | < DL | 20.15 | 6.25
SH_012 | 0 | 2,5 d | C |  |  |  |  | 92 | 16 | 76 | 22.21 | 0.01 | < DL | 20.27 | 6.25
SH_013 | 0 | 3,33 d | A |  |  |  |  | 106 | 20 | 86 | 24.91 | < DL | < DL | 17.92 | 5.85
SH_014 | 0 | 3,33 d | B |  |  |  |  | 82 | 20 | 62 | 26.4 | < DL | < DL | 19.42 | 6.71
SH_015 | 0 | 3,33 d | C |  |  |  |  | 89 | 26 | 63 | 22.85 | < DL | < DL | 16.68 | 6.03
SH_016 | 1 | Primary Effluent | A |  |  |  |  | 30 |  |  | 83.73 | < DL | < DL | 71.08 | 8.64
SH_017 | 1 | Primary Effluent | B |  |  |  |  | 21 |  |  | 84.28 | < DL | < DL | 72.52 | 8.6
SH_018 | 1 | Primary Effluent | C |  |  |  |  | 28 |  |  | 85.43 | < DL | < DL | 72.68 | 8.4
SH_019 | 1 | 1,6 d | A |  |  |  |  | 112 | 18 | 94 | 39.24 | < DL | < DL | 30.26 | 7.53
SH_020 | 1 | 1,6 d | B |  |  |  |  | 113 | 23 | 90 | 39.95 | < DL | < DL | 29.43 | 7.18
SH_021 | 1 | 1,6 d | C |  |  |  |  | 117 | 18 | 99 | 36.45 | < DL | < DL | 27.02 | 7.18
SH_022 | 1 | 2 d | A |  |  |  |  | 95 | 26 | 69 | 33.47 | < DL | 0.04 | 24.18 | 7.01
SH_023 | 1 | 2 d | B |  |  |  |  | 105 | 23 | 82 | 33.98 | < DL | < DL | 24.73 | 6.82
SH_024 | 1 | 2 d | C |  |  |  |  | 103 | 17 | 86 | 33.8 | < DL | < DL | 25 | 7.09
SH_025 | 1 | 2,5 d | A |  |  |  |  | 91 | 18 | 73 | 31.04 | 0.03 | < DL | 23.04 | 6.83
SH_026 | 1 | 2,5 d | B |  |  |  |  | 94 | 21 | 73 | 29.47 | < DL | 0.2 | 21.23 | 6.43
SH_027 | 1 | 2,5 d | C |  |  |  |  | 110 | 20 | 90 | 24.68 | < DL | 0.2 | 21.23 | 6.43
SH_028 | 1 | 3,33 d | A |  |  |  |  | 124 | 14 | 110 | 25.06 | 0.15 | < DL | 17.34 | 6.26
SH_029 | 1 | 3,33 d | B |  |  |  |  | 102 | 28 | 74 | 25.77 | 0.1 | < DL | 18.11 | 6.51
SH_030 | 1 | 3,33 d | C |  |  |  |  | 118 | 25 | 93 | 19.68 | 0.09 | 0.01 | 13.21 | 6.12
SH_031 | 4 | Primary Effluent | A |  |  |  |  | 26 |  |  | 87.21 | 0.02 | < DL | 71.48 | 8.68
SH_032 | 4 | Primary Effluent | B |  |  |  |  | 19 |  |  | 86.73 | < DL | 0.05 | 69.44 | 8.72
SH_033 | 4 | Primary Effluent | C |  |  |  |  | 25 |  |  | 78.3 | 0.06 | < DL | 62.6 | 8.68
SH_034 | 4 | 1,6 d | A |  |  |  |  | 104 | 9 | 95 | 31.5 | 0.09 | 0.05 | 22.92 | 6.86
SH_035 | 4 | 1,6 d | B |  |  |  |  | 133 | 8 | 125 | 27.23 | 0.1 | 0.03 | 19.61 | 7.03
SH_036 | 4 | 1,6 d | C |  |  |  |  | 120 | 4 | 116 | 24.04 | < DL | 5.07 | 16.92 | 6.45
SH_037 | 4 | 2 d | A |  |  |  |  | 97 | 9 | 88 | 27.59 | 0.05 | < DL | 19.81 | 6.84
SH_038 | 4 | 2 d | B |  |  |  |  | 105 | 10 | 95 | 24.25 | 0.09 | 0.03 | 17.49 | 6.98
SH_039 | 4 | 2 d | C |  |  |  |  | 116 | 8 | 108 | 22.4 | 0.07 | 0.06 | 16.31 | 6.88
SH_040 | 4 | 2,5 d | A |  |  |  |  | 85 | 12 | 73 | 21.36 | 0.17 | 0.05 | 14.79 | 6.62
SH_041 | 4 | 2,5 d | B |  |  |  |  | 112 | 11 | 101 | 21.76 | 0.08 | 0.03 | 15.91 | 6.62
SH_042 | 4 | 2,5 d | C |  |  |  |  | 129 | 16 | 113 | 13.51 | < DL | 0.03 | 9.08 | 6.02
SH_043 | 4 | 3,33 d | A |  |  |  |  | 131 | 18 | 113 | 11.84 | 0.11 | 0.03 | 7.56 | 6.14
SH_044 | 4 | 3,33 d | B |  |  |  |  | 113 | 12 | 101 | 12.62 | 0.06 | 0.08 | 8.31 | 6.61
SH_045 | 4 | 3,33 d | C |  |  |  |  | 133 | 18 | 115 | 7.567 | 0.08 | 0.04 | 4.26 | 5.62
SH_046 | 6 | Primary Effluent | A |  |  |  |  | 25 |  |  | 85.64 | < DL | 0.34 | 68.96 | 9.08
SH_047 | 6 | Primary Effluent | B |  |  |  |  | 29 |  |  | 87.5 | 0.16 | < DL | 69.86 | 9.18
SH_048 | 6 | Primary Effluent | C |  |  |  |  | 30 |  |  | 83.79 | 0.11 | < DL | 68.86 | 8.86
SH_049 | 6 | 1,6 d | A |  |  |  |  | 113 | 16 | 97 | 37.04 | 0.06 | 0.2 | 22.85 | 4.51
SH_050 | 6 | 1,6 d | B |  |  |  |  | 137 | 11 | 126 | 33.44 | < DL | 0.07 | 19.45 | 3.93
SH_051 | 6 | 1,6 d | C |  |  |  |  | 121 | 8 | 113 | 31.12 | 0.1 | 0.12 | 23.08 | 5.86
SH_052 | 6 | 2 d | A |  |  |  |  | 106 | 16 | 90 | 31.97 | 0.13 | 0.15 | 21.61 | 4.91
SH_053 | 6 | 2 d | B |  |  |  |  | 115 | 12 | 103 | 25.31 | 0.11 | 0.13 | 14.42 | 4.84
SH_054 | 6 | 2 d | C |  |  |  |  | 118 | 10 | 108 | 27.51 | 0.22 | 0.07 | 13.17 | 3.64
SH_055 | 6 | 2,5 d | A |  |  |  |  | 84 | 15 | 69 | 24.71 | 0.01 | 0.04 | 13.61 | 4.68
SH_056 | 6 | 2,5 d | B |  |  |  |  | 114 | 19 | 95 | 24.84 | < DL | < DL | 12.98 | 4.09
SH_057 | 6 | 2,5 d | C |  |  |  |  | 131 | 13 | 118 | 19.19 | < DL | 4.15 | 12.75 | 4.5
SH_058 | 6 | 3,33 d | A |  |  |  |  | 138 | 18 | 120 | 13.47 | 0.01 | < DL | 9.06 | 5.07
SH_059 | 6 | 3,33 d | B |  |  |  |  | 127 | 16 | 111 | 12.85 | < DL | < DL | 7.79 | 3.89
SH_060 | 6 | 3,33 d | C |  |  |  |  | 145 | 22 | 123 | 10.37 | < DL | < DL | 5.2 | 3.42
SH_061 | 8 | Primary Effluent | A |  |  |  |  | 24 |  |  | 88.34 | < DL | < DL | 64.58 | 6.72
SH_062 | 8 | Primary Effluent | B |  |  |  |  | 24 |  |  | 85.84 | < DL | < DL | 70.94 | 7.98
SH_063 | 8 | Primary Effluent | C |  |  |  |  | 20 |  |  | 88.63 | < DL | < DL | 67.04 | 6.7
SH_064 | 8 | 1,6 d | A |  |  |  |  | 113 | 10 | 103 | 30.16 | 0.23 | 0.58 | 20.36 | 4.45
SH_065 | 8 | 1,6 d | B |  |  |  |  | 131 | 10 | 121 | 33.76 | 0.11 | 0.19 | 18.86 | 4.06
SH_066 | 8 | 1,6 d | C |  |  |  |  | 125 | 11 | 114 | 31.39 | < DL | 4.45 | 15.71 | 3.83
SH_067 | 8 | 2 d | A |  |  |  |  | 100 | 9 | 91 | 31.86 | 0.47 | 0.02 | 14.89 | 3.72
SH_068 | 8 | 2 d | B |  |  |  |  | 129 | 12 | 117 | 28.08 | 0.32 | 0.03 | 15.94 | 5.29
SH_069 | 8 | 2 d | C |  |  |  |  | 120 | 13 | 107 | 23.21 | 0.19 | 0.12 | 14.81 | 4.98
SH_070 | 8 | 2,5 d | A |  |  |  |  | 87 | 9 | 78 | 24.99 | 0.35 | 0.37 | 15.83 | 4.8
SH_071 | 8 | 2,5 d | B |  |  |  |  | 116 | 11 | 105 | 22.95 | 0.28 | 0.05 | 13.55 | 4.13
SH_072 | 8 | 2,5 d | C |  |  |  |  | 125 | 11 | 114 | 17.49 | 0.18 | 0.05 | 9.26 | 3.31
SH_073 | 8 | 3,33 d | A |  |  |  |  | 134 | 11 | 123 | 12.67 | 0.25 | 0.07 | 7.31 | 3.65
SH_074 | 8 | 3,33 d | B |  |  |  |  | 129 | 11 | 118 | 13.82 | 0.17 | 0.15 | 7.67 | 4
SH_075 | 8 | 3,33 d | C |  |  |  |  | 152 | 12 | 140 | 9.578 | 0.11 | 0.14 | 5.4 | 3.56
SH_076 | 11 | Primary Effluent | A |  |  |  |  | 21 |  |  | 73.47 | 0.06 | 0.06 | 69.98 | 9.1
SH_077 | 11 | Primary Effluent | B |  |  |  |  | 24 |  |  | 87.23 | < DL | 0.13 | 66.18 | 7.14
SH_078 | 11 | Primary Effluent | C |  |  |  |  | 25 |  |  | 89.25 | 0.03 | 0.09 | 66.3 | 6.98
SH_079 | 11 | 1,6 d | A |  |  |  |  | 105 | 11 | 94 | 39.22 | 1.76 | 2.02 | 20.71 | 4.47
SH_080 | 11 | 1,6 d | B |  |  |  |  | 128 | 8 | 120 | 33.37 | 1.37 | 0.16 | 22.02 | 4.53
SH_081 | 11 | 1,6 d | C |  |  |  |  | 119 | 13 | 106 | 30.27 | 1.3 | 0.12 | 18.39 | 4.58
SH_082 | 11 | 2 d | A |  |  |  |  | 105 | 4 | 101 | 31.6 | 2.75 | 0.25 | 17.68 | 4.34
SH_083 | 11 | 2 d | B |  |  |  |  | 132 | 10 | 122 | 28.05 | 0.68 | 0.81 | 14.35 | 4.26
SH_084 | 11 | 2 d | C |  |  |  |  | 123 | 5 | 118 | 24.67 | < DL | 1.06 | 13.84 | 4.48
SH_085 | 11 | 2,5 d | A |  |  |  |  | 87 | 9 | 78 | 25.27 | < DL | 3.36 | 14.19 | 4.69
SH_086 | 11 | 2,5 d | B |  |  |  |  | 121 | 5 | 116 | 21.56 | 0.08 | 1.28 | 11.68 | 4.22
SH_087 | 11 | 2,5 d | C |  |  |  |  | 122 | 14 | 108 | 15.27 | 0.06 | 0.86 | 9.78 | 4.64
SH_088 | 11 | 3,33 d | A |  |  |  |  | 123 | 9 | 114 | 13.3 | < DL | 1.2 | 6.95 | 3.82
SH_089 | 11 | 3,33 d | B |  |  |  |  | 116 | 11 | 105 | 13.08 | < DL | 1.38 | 7.27 | 4.71
SH_090 | 11 | 3,33 d | C |  |  |  |  | 123 | 5 | 118 | 8.33 | < DL | 0.49 | 3.51 | 3.43
SH_091 | 13 | Primary Effluent | A |  |  |  |  | 14 |  |  | 95.24 | < DL | 0.07 | 57.42 | 4.18
SH_092 | 13 | Primary Effluent | B |  |  |  |  | 17 |  |  | 73.27 | < DL | 0.02 | 45.37 | 4.95
SH_093 | 13 | Primary Effluent | C |  |  |  |  | 13 |  |  | 98.98 | < DL | 0.03 | 47.49 | 4
SH_094 | 13 | 1,6 d | A |  |  |  |  | 108 | 7 | 101 | 33.2 | < DL | 11.31 | 17.8 | 6.45
SH_095 | 13 | 1,6 d | B |  |  |  |  | 138 | 12 | 126 | 29.29 | < DL | 4.3 | 18.58 | 5.66
SH_096 | 13 | 1,6 d | C |  |  |  |  | 131 | 7 | 124 | 27.53 | < DL | 3.81 | 17.45 | 6.51
SH_097 | 13 | 2 d | A |  |  |  |  | 112 | 9 | 103 | 30.41 | < DL | 8.71 | 15.98 | 6.27
SH_098 | 13 | 2 d | B |  |  |  |  | 137 | 8 | 129 | 25.48 | < DL | 7.67 | 15.18 | 6.15
SH_099 | 13 | 2 d | C |  |  |  |  | 127 | 8 | 119 | 20.66 | 0.26 | 2.79 | 12.33 | 6.77
SH_100 | 13 | 2,5 d | A |  |  |  |  | 103 | 4 | 99 | 24.07 | 1.09 | 6.14 | 11.04 | 6.97
SH_101 | 13 | 2,5 d | B |  |  |  |  | 120 | 2 | 118 | 19.32 | 0.35 | 2.84 | 11.63 | 6.6
SH_102 | 13 | 2,5 d | C |  |  |  |  | 123 | 8 | 115 | 13.87 | 0.24 | 1.95 | 8.12 | 6.9
SH_103 | 13 | 3,33 d | A |  |  |  |  | 113 | 4 | 109 | 11.65 | 0.36 | 2.35 | 6.03 | 5.61
SH_104 | 13 | 3,33 d | B |  |  |  |  | 110 | 8 | 102 | 10.26 | 0.32 | 2.12 | 4.99 | 5.07
SH_105 | 13 | 3,33 d | C |  |  |  |  | 126 | 5 | 121 | 6.826 | 0.17 | 1.23 | 3.13 | 4.62
SH_106 | 15 | Primary Effluent | A |  |  |  |  | 21 |  |  | 92.32 | < DL | 0.07 | 58.16 | 4.92 | 50.3
SH_107 | 15 | Primary Effluent | B |  |  |  |  | 28 |  |  | 91.83 | < DL | 0.08 | 49.8 | 5.48 | 53.1
SH_108 | 15 | Primary Effluent | C |  |  |  |  | 28 |  |  | 94.01 | < DL | 0.06 | 49.84 | 4.88 | 49.5
SH_109 | 15 | 1,6 d | A |  |  |  |  | 110 | 5 | 105 | 48.05 | < DL | 20.05 | 13.96 | 5.03 | 32
SH_110 | 15 | 1,6 d | B |  |  |  |  | 150 | 3 | 147 | 30.93 | < DL | 7.3 | 13.58 | 5.35 | 28.1
SH_111 | 15 | 1,6 d | C |  |  |  |  | 124 | 2 | 122 | 32.1 | < DL | 5.33 | 11.67 | 4.67 | 28.1
SH_112 | 15 | 2 d | A |  |  |  |  | 121 | 8 | 113 | 41.03 | < DL | 15.86 | 11.03 | 5.1 | 31.4
SH_113 | 15 | 2 d | B |  |  |  |  | 123 | 1 | 122 | 28.97 | < DL | 6.94 | 10.73 | 3.96 | 14.9
SH_114 | 15 | 2 d | C |  |  |  |  | 128 | 4 | 124 | 24.59 | < DL | 5.35 | 10.7 | 5.19 | 14.9
SH_115 | 15 | 2,5 d | A |  |  |  |  | 102 | 9 | 93 | 32.5 | < DL | 10.93 | 7.19 | 4.67 | 23
SH_116 | 15 | 2,5 d | B |  |  |  |  | 121 | 5 | 116 | 21 | < DL | 5.26 | 6.85 | 4.72 | 12.1
SH_117 | 15 | 2,5 d | C |  |  |  |  | 119 | 6 | 113 | 15.19 | < DL | 3.41 | 5.56 | 4.7 | 19.7
SH_118 | 15 | 3,33 d | A |  |  |  |  | 109 | 6 | 103 | 13.25 | < DL | 4.83 | 3.08 | 3.77 | 14.9
SH_119 | 15 | 3,33 d | B |  |  |  |  | 102 | 5 | 97 | 11.9 | < DL | 4.49 | 2.72 | 3.85 | 15.2
SH_120 | 15 | 3,33 d | C |  |  |  |  | 141 | 6 | 135 | 6.925 | < DL | 2.64 | 0.81 | 2.98 | 12.4
The following data belongs to the constant SRT and variable HRT conducted in the glasshouse
G1_001 | 0 | Primary Eflluent | A | 6.9 | 1442 | 0 | 6.61 | 21 |  |  | 74.28 | 0.48 | 1.02 | 57.48 | 7
G1_002 | 0 | Primary Eflluent | B | 6.92 | 1440 | 0 | 6.53 | 24 |  |  | 76.47 | 0.58 | 0.98 | 61.42 | 7.5
G1_003 | 0 | Primary Eflluent | C | 6.93 | 1440 | 0 | 6.44 | 22 |  |  | 76.99 | 0.38 | 1.1 | 60.88 | 6.96
G1_004 | 0 | 1,6 d | A | 8.9 | 1136 | 7 | 13.5 | 57 | 9 | 48 | 32.11 | 0.01 | 2.87 | 24.12 | 4.84
G1_005 | 0 | 1,6 d | B | 8.8 | 1137 | 7.2 | 12.9 | 60 | 11 | 49 | 29.87 | 0.23 | 3.1 | 21.12 | 4.85
G1_006 | 0 | 1,6 d | C | 9 | 1139 | 7.2 | 13 | 99 | 13 | 86 | 28.13 | < DL | 2.98 | 19.64 | 4.21
G1_007 | 0 | 2 d | A | 8.84 | 1122 | 7.5 | 13.2 | 72 | 15 | 57 | 26.71 | 0.02 | 2.96 | 18.9 | 4.86
G1_008 | 0 | 2 d | B | 8.62 | 1135 | 7.6 | 12.9 | 67 | 11 | 56 | 26.58 | 0.03 | 2.48 | 19.21 | 5
G1_009 | 0 | 2 d | C | 9.4 | 1137 | 7.1 | 13 | 89 | 11 | 78 | 26.58 | 0.32 | 2.51 | 19.24 | 4.54
G1_010 | 0 | 2,5 d | A | 8.85 | 1140 | 7.1 | 13.2 | 61 | 10 | 51 | 28.38 | 0.03 | 2.78 | 20.23 | 4.76
G1_011 | 0 | 2,5 d | B | 8.87 | 1130 | 7.2 | 12.9 | 77 | 14 | 63 | 30.03 | 0.04 | 3.05 | 21.14 | 4.74
G1_012 | 0 | 2,5 d | C | 9.57 | 1136 | 7.1 | 12.9 | 85 | 14 | 71 | 29.89 | < DL | 3.02 | 21.06 | 4.79
G1_013 | 0 | 3,33 d | A | 8.8 | 1112 | 7.2 | 12.9 | 60 | 10 | 50 | 28.3 | < DL | 2.95 | 20.91 | 4.75
G1_014 | 0 | 3,33 d | B | 8.96 | 1144 | 7.1 | 12.9 | 86 | 19 | 67 | 29.25 | < DL | 2.93 | 20.81 | 5.37
G1_015 | 0 | 3,33 d | C | 9.5 | 1140 | 7.3 | 13.1 | 85 | 14 | 71 | 29.74 | 0.02 | 3.07 | 21.27 | 5.22
G1_016 | 1 | Primary Eflluent | A | 6.9 | 1442 | 0 | 6.61 | 25 |  |  | 78.05 | 0.16 | 1.64 | 58.04 | 8.18
G1_017 | 1 | Primary Eflluent | B | 6.92 | 1440 | 0 | 6.53 | 35 |  |  | 79.19 | 0.32 | 1.34 | 61.78 | 7.5
G1_018 | 1 | Primary Eflluent | C | 6.93 | 1440 | 0 | 6.44 | 27 |  |  | 78.99 | < DL | 1.58 | 61.72 | 7.54
G1_019 | 1 | 1,6 d | A | 8.57 | 1047 | 7.4 | 13.72 | 39 | 8 | 31 | 40.64 | < DL | 3.48 | 29.6 | 6.46
G1_020 | 1 | 1,6 d | B | 8.53 | 1052 | 7.76 | 13.41 | 64 | 21 | 43 | 40.75 | < DL | 2.24 | 30.63 | 6.74
G1_021 | 1 | 1,6 d | C | 8.46 | 1047 | 7.72 | 13.47 | 91 | 18 | 73 | 38.86 | < DL | 2.9 | 28.54 | 6.27
G1_022 | 1 | 2 d | A | 8.54 | 1045 | 8.05 | 13.52 | 33 | 5 | 28 | 38.93 | < DL | 5.18 | 27.12 | 5.95
G1_023 | 1 | 2 d | B | 8.5 | 1054 | 8.12 | 13.4 | 64 | 11 | 53 | 36.89 | < DL | 2.78 | 27.23 | 5.69
G1_024 | 1 | 2 d | C | 8.4 | 1052 | 7.65 | 13.48 | 79 | 20 | 59 | 34.13 | < DL | 3.24 | 24.66 | 5.45
G1_025 | 1 | 2,5 d | A | 8.49 | 1054 | 7.57 | 13.57 | 22 | 10 | 12 | 35.55 | < DL | 5.4 | 24.05 | 6.69
G1_026 | 1 | 2,5 d | B | 8.45 | 1043 | 7.58 | 13.46 | 57 | 11 | 46 | 30.45 | < DL | 3.05 | 21.87 | 5.52
G1_027 | 1 | 2,5 d | C | 8.4 | 1056 | 7.75 | 13.46 | 85 | 10 | 75 | 30.37 | < DL | 3.55 | 21.85 | 5.46
G1_028 | 1 | 3,33 d | A | 8.5 | 1048 | 7.74 | 13.5 | 23 | 16 | 7 | 30.1 | < DL | 4.29 | 20.84 | 5.62
G1_029 | 1 | 3,33 d | B | 8.45 | 1067 | 7.6 | 13.44 | 74 | 16 | 58 | 26.01 | 0.28 | 3.58 | 18.08 | 5.06
G1_030 | 1 | 3,33 d | C | 8.33 | 1060 | 7.8 | 13.56 | 74 | 17 | 57 | 28.95 | < DL | 3.56 | 20.3 | 5.77
G1_031 | 4 | Primary Eflluent | A | 6.9 | 1442 | 0 | 6.61 | 18 |  |  | 86.12 | 0.04 | 1.86 | 68.66 | 9.1
G1_032 | 4 | Primary Eflluent | B | 6.92 | 1440 | 0 | 6.53 | 10 |  |  | 84.74 | 0.02 | 1.88 | 67.8 | 9.22
G1_033 | 4 | Primary Eflluent | C | 6.93 | 1440 | 0 | 6.44 | 10 |  |  | 87.14 | 0.08 | 1.84 | 68.22 | 8.84
G1_034 | 4 | 1,6 d | A | 7.96 | 994 | 7.7 | 13.95 | 46 | 19 | 27 | 34.58 | < DL | 7.92 | 20.88 | 6.51
G1_035 | 4 | 1,6 d | B | 8.04 | 1030 | 8.08 | 13.18 | 66 | 25 | 41 | 39.03 | < DL | 2.71 | 27.93 | 6.79
G1_036 | 4 | 1,6 d | C | 7.93 | 964 | 7.85 | 13.26 | 82 | 16 | 66 | 37.22 | < DL | 3.67 | 25.32 | 6.13
G1_037 | 4 | 2 d | A | 7.79 | 970 | 7.91 | 13.46 | 23 | 17 | 6 | 29.66 | < DL | 10.28 | 14.64 | 6.8
G1_038 | 4 | 2 d | B | 7.99 | 999 | 8.03 | 13.04 | 69 | 28 | 41 | 33.76 | < DL | 2.52 | 23.31 | 6.07
G1_039 | 4 | 2 d | C | 8.1 | 940 | 7.85 | 13.23 | 96 | 24 | 72 | 29.19 | < DL | 3.57 | 19.55 | 5.64
G1_040 | 4 | 2,5 d | A | 7.67 | 942 | 7.92 | 13.47 | 25 | 25 | 0 | 22.76 | < DL | 12.74 | 8.49 | 5.68
G1_041 | 4 | 2,5 d | B | 7.9 | 953 | 7.98 | 13.11 | 68 | 32 | 36 | 25.74 | < DL | 3.37 | 17.01 | 5.85
G1_042 | 4 | 2,5 d | C | 7.97 | 899 | 8.03 | 13.33 | 92 | 31 | 61 | 18.13 | < DL | 3.82 | 11.18 | 6.05
G1_043 | 4 | 3,33 d | A | 7.78 | 930 | 8.01 | 13.38 | 26 | 29 | -3 | 16.39 | < DL | 10.1 | 4.46 | 5.1
G1_044 | 4 | 3,33 d | B | 7.84 | 921 | 7.96 | 13.2 | 63 | 37 | 26 | 17.86 | < DL | 4.6 | 9.52 | 5.91
G1_045 | 4 | 3,33 d | C | 7.89 | 905 | 7.84 | 13.49 | 77 | 48 | 29 | 9.319 | < DL | 2.82 | 5.28 | 4.69
G1_046 | 6 | Primary Eflluent | A | 6.96 | 1198 | 0 | 5.9 | 17 |  |  | 76.34 | 0.24 | 1.3 | 59.52 | 8.12
G1_047 | 6 | Primary Eflluent | B | 7.1 | 1177 | 0 | 7.5 | 25 |  |  | 76.76 | < DL | 1.42 | 61.36 | 7.76
G1_048 | 6 | Primary Eflluent | C | 7.28 | 1183 | 0 | 8 | 26 |  |  | 83.7 | < DL | 1.28 | 66.68 | 8.56
G1_049 | 6 | 1,6 d | A | 8.01 | 902 | 7.89 | 18.64 | 47 | 14 | 33 | 29.89 | < DL | 13.17 | 12.43 | 7.45
G1_050 | 6 | 1,6 d | B | 8.41 | 956 | 8.62 | 7.89 | 37 | 21 | 16 | 28.31 | < DL | 3.6 | 18.86 | 6.98
G1_051 | 6 | 1,6 d | C | 8.33 | 813 | 8.36 | 18.24 | 61 | 18 | 43 | 27.42 | < DL | 4.33 | 17.5 | 7.07
G1_052 | 6 | 2 d | A | 7.92 | 938 | 7.99 | 18.05 | 25 | 16 | 9 | 29.62 | 0.03 | 16.73 | 8.95 | 7.96
G1_053 | 6 | 2 d | B | 8.38 | 940 | 8.63 | 17.81 | 50 | 32 | 18 | 23.34 | < DL | 4.07 | 14.87 | 7.64
G1_054 | 6 | 2 d | C | 8.29 | 890 | 8.26 | 18.3 | 79 | 31 | 48 | 18.75 | < DL | 4.53 | 10.61 | 7.37
G1_055 | 6 | 2,5 d | A | 7.92 | 944 | 7.84 | 18.23 | 33 | 23 | 10 | 25.36 | < DL | 17.68 | 5.06 | 8.17
G1_056 | 6 | 2,5 d | B | 8.35 | 939 | 8.64 | 17.79 | 49 | 34 | 15 | 20.28 | < DL | 4.31 | 11.91 | 7.6
G1_057 | 6 | 2,5 d | C | 8.29 | 848 | 8.35 | 18.32 | 80 | 50 | 30 | 10.87 | 0.11 | 4.03 | 5.2 | 6.33
G1_058 | 6 | 3,33 d | A | 8.29 | 927 | 8.45 | 18.09 | 33 | 32 | 1 | 15.4 | < DL | 12.92 | 0.91 | 6.01
G1_059 | 6 | 3,33 d | B | 8.34 | 887 | 8.38 | 18.1 | 65 | 54 | 11 | 10.55 | < DL | 4.41 | 4.38 | 5.94
G1_060 | 6 | 3,33 d | C | 8.14 | 878 | 7.99 | 18.99 | 86 | 69 | 17 | 4.815 | < DL | < DL | 0.71 | 5.39
G1_061 | 8 | Primary Eflluent | A | 6.96 | 1198 | 0 | 5.9 | 26 |  |  | 83.84 | 0.08 | 1.62 | 64.76 | 11
G1_062 | 8 | Primary Eflluent | B | 7.1 | 1177 | 0 | 7.5 | 19 |  |  | 81.97 | 0.06 | 1.46 | 79.26 | 12.44
G1_063 | 8 | Primary Eflluent | C | 7.28 | 1183 | 0 | 8 | 25 |  |  | 83.76 | < DL | 1.52 | 68.12 | 10.56
G1_064 | 8 | 1,6 d | A | 7.99 | 953 | 8.52 | 19.97 | 29 | 5 | 24 | 49.66 | 0.11 | 22.66 | 20.54 | 8.3
G1_065 | 8 | 1,6 d | B | 8.51 | 925 | 9.22 | 19.42 | 19 | 12 | 7 | 37.24 | < DL | 4.91 | 25.98 | 6.88
G1_066 | 8 | 1,6 d | C | 8.46 | 935 | 8.94 | 19.7 | 40 | 7 | 33 | 39.93 | < DL | 3.55 | 28.82 | 7.88
G1_067 | 8 | 2 d | A | 7.85 | 950 | 8.9 | 19.54 | 29 | 2 | 27 | 46.41 | 0.33 | 25.52 | 15.17 | 7.84
G1_068 | 8 | 2 d | B | 8.53 | 915 | 9.32 | 19.4 | 31 | 14 | 17 | 33.41 | < DL | 3.52 | 22.89 | 7.09
G1_069 | 8 | 2 d | C | 8.52 | 891 | 8.96 | 19.81 | 40 | 17 | 23 | 29.81 | < DL | 3.66 | 19.95 | 7.2
G1_070 | 8 | 2,5 d | A | 8.04 | 945 | 9.08 | 19.74 | 42 | 6 | 36 | 41.48 | 0.2 | 24.93 | 10.77 | 8.32
G1_071 | 8 | 2,5 d | B | 8.58 | 910 | 9.33 | 19.39 | 28 | 22 | 6 | 29.51 | 0.05 | 6.54 | 16.75 | 6.51
G1_072 | 8 | 2,5 d | C | 8.61 | 884 | 8.89 | 19.6 | 54 | 30 | 24 | 24.02 | < DL | 3.25 | 14.9 | 5.68
G1_073 | 8 | 3,33 d | A | 8.67 | 926 | 9.02 | 19.7 | 43 | 30 | 13 | 18.73 | < DL | 10.78 | 5.42 | 4.83
G1_074 | 8 | 3,33 d | B | 8.81 | 866 | 8.97 | 19.52 | 60 | 67 | 0 | 14.53 | < DL | 4.02 | 7.21 | 4.35
G1_075 | 8 | 3,33 d | C | 8.84 | 857 | 7.83 | 20.36 | 110 | 88 | 22 | 11.28 | 0.07 | 1.69 | 6.39 | 4.3
G1_076 | 11 | Primary Eflluent | A | 7.09 | 1201 | 0 | 14.52 | 20 |  |  | 83.73 | 0.06 | 1.48 | 69.08 | 9.1
G1_077 | 11 | Primary Eflluent | B | 7 | 1186 | 0 | 7.52 | 26 |  |  | 86.12 | 0.14 | 1.44 | 67.18 | 8.78
G1_078 | 11 | Primary Eflluent | C | 7.01 | 1196 | 0 | 7.5 | 29 |  |  | 87.26 | 0.14 | 1.42 | 66 | 8.76
G1_079 | 11 | 1,6 d | A | 6.89 | 939 | 8.93 | 14.7 | 21 | 12 | 9 | 50.71 | 0.51 | 29.19 | 12.85 | 7.71
G1_080 | 11 | 1,6 d | B | 7.93 | 976 | 10.27 | 13.83 | 25 | 18 | 7 | 49.13 | 0.08 | 11.28 | 28.27 | 7.24
G1_081 | 11 | 1,6 d | C | 7.92 | 965 | 9.78 | 14.11 | 28 | 16 | 12 | 45.57 | < DL | 7.67 | 29.22 | 7.57
G1_082 | 11 | 2 d | A | 6.92 | 950 | 9.53 | 14.18 | 18 | 6 | 12 | 54.91 | 0.86 | 32.15 | 13.93 | 7.89
G1_083 | 11 | 2 d | B | 7.92 | 946 | 10.28 | 13.82 | 27 | 14 | 13 | 42.47 | 0.18 | 11.59 | 23.91 | 7.38
G1_084 | 11 | 2 d | C | 7.87 | 946 | 10.28 | 14 | 34 | 22 | 12 | 40.66 | < DL | 8.47 | 24.65 | 7.71
G1_085 | 11 | 2,5 d | A | 6.6 | 984 | 9.75 | 14.2 | 18 | 4 | 14 | 53.03 | 7.78 | 24.71 | 11.46 | 8.73
G1_086 | 11 | 2,5 d | B | 7.77 | 910 | 10.42 | 13.83 | 50 | 31 | 19 | 37.53 | 0.8 | 16.43 | 15.79 | 7.58
G1_087 | 11 | 2,5 d | C | 7.92 | 922 | 10.47 | 13.84 | 58 | 38 | 20 | 33.14 | < DL | 8.73 | 18.52 | 6.71
G1_088 | 11 | 3,33 d | A | 7.44 | 939 | 10.16 | 14.19 | 36 | 24 | 12 | 37.52 | 0.22 | 24.22 | 8.74 | 7.45
G1_089 | 11 | 3,33 d | B | 7.97 | 891 | 10.3 | 13.94 | 62 | 60 | 2 | 22.34 | 0.3 | 7.95 | 10.5 | 5.78
G1_090 | 11 | 3,33 d | C | 8.07 | 872 | 10.12 | 14.41 | 100 | 76 | 24 | 14.26 | < DL | 2.18 | 8.98 | 5.18
G1_091 | 13 | Primary Eflluent | A | 7.61 | 1089 | 0 | 13.37 | 43 |  |  | 79.23 | 0.02 | 1.6 | 63.98 | 9.1
G1_092 | 13 | Primary Eflluent | B | 7.1 | 1205 | 0 | 7.5 | 45 |  |  | 85.36 | 0.02 | 1.58 | 68 | 8.82
G1_093 | 13 | Primary Eflluent | C | 7.09 | 1218 | 0 | 9.64 | 31 |  |  | 85.43 | < DL | 1.6 | 72 | 10.02
G1_094 | 13 | 1,6 d | A | 6.99 | 969 | 8.29 | 15.68 | 44 | 12 | 32 | 60.9 | 0.81 | 36.88 | 16.05 | 8.53
G1_095 | 13 | 1,6 d | B | 8.15 | 995 | 9.28 | 14.89 | 26 | 18 | 8 | 53.41 | 0.18 | 15.6 | 28.63 | 8.64
G1_096 | 13 | 1,6 d | C | 8.16 | 973 | 9.57 | 15.14 | 54 | 19 | 35 | 47.9 | < DL | 11.61 | 28.37 | 8.2
G1_097 | 13 | 2 d | A | 6.89 | 961 | 8.95 | 15.22 | 38 | 8 | 30 | 51.79 | 2.84 | 30.06 | 11.6 | 8.41
G1_098 | 13 | 2 d | B | 8.05 | 948 | 9.42 | 15.12 | 23 | 20 | 3 | 42.23 | 0.13 | 13.66 | 21.07 | 8.07
G1_099 | 13 | 2 d | C | 8.16 | 963 | 9.89 | 15.02 | 49 | 19 | 30 | 43.83 | 0.11 | 12.47 | 23.76 | 8.36
G1_100 | 13 | 2,5 d | A | 6.87 | 1000 | 8.93 | 15.25 | 37 | 7 | 30 | 55.62 | 5.39 | 29.57 | 12.83 | 9.19
G1_101 | 13 | 2,5 d | B | 7.87 | 922 | 9.85 | 14.9 | 59 | 35 | 24 | 41.98 | 0.58 | 21.33 | 14.99 | 8.21
G1_102 | 13 | 2,5 d | C | 8.21 | 938 | 10.12 | 14.83 | 82 | 51 | 31 | 35.44 | < DL | 11.35 | 18.61 | 8.05
G1_103 | 13 | 3,33 d | A | 7.63 | 968 | 9.48 | 15.14 | 62 | 28 | 34 | 42.95 | 0.26 | 26.15 | 11.57 | 8.23
G1_104 | 13 | 3,33 d | B | 8.16 | 882 | 9.96 | 14.99 | 85 | 85 | 0 | 24.52 | < DL | 11.78 | 9.49 | 7
G1_105 | 13 | 3,33 d | C | 8.42 | 876 | 10.24 | 15.42 | 142 | 123 | 19 | 13.98 | < DL | 2.91 | 8.37 | 6.39
G1_106 | 15 | Primary Eflluent | A | 7.61 | 1090 | 0 | 10.1 | 44 |  |  | 77.3 | < DL | 1.24 | 64.56 | 9.3 | 45.1
G1_107 | 15 | Primary Eflluent | B | 7.1 | 1207 | 0 | 7.8 | 42 |  |  | 81.1 | < DL | 1.2 | 69.26 | 9.28 | 47.9
G1_108 | 15 | Primary Eflluent | C | 7.09 | 1216 | 0 | 8.9 | 37 |  |  | 88.23 | < DL | 1.24 | 70.9 | 9.54 | 46
G1_109 | 15 | 1,6 d | A | 6.48 | 956 | 6.78 | 19.58 | 26 | 3 | 23 | 54.88 | 11.59 | 28.44 | 8.76 | 9.07 | 4.8 | 2980
G1_110 | 15 | 1,6 d | B | 7.55 | 910 | 6.95 | 18.89 | 19 | 3 | 16 | 42.86 | 2.09 | 23.75 | 13.92 | 8.4 | 11.5 | 1988
G1_111 | 15 | 1,6 d | C | 7.44 | 925 | 6.77 | 19.13 | 41 | 22 | 19 | 46.16 | 1.84 | 27.08 | 13.62 | 8.78 | 7.9 | 1908
G1_112 | 15 | 2 d | A | 6.46 | 968 | 7.15 | 18.98 | 46 | 7 | 39 | 34.89 | 5.26 | 19.53 | 5.76 | 7.16 | 8.7 | 3208
G1_113 | 15 | 2 d | B | 7.13 | 872 | 7.04 | 18.96 | 23 | 16 | 7 | 38.51 | 1.73 | 27.7 | 7.57 | 7.88 | 4.2 | 2064
G1_114 | 15 | 2 d | C | 7.36 | 894 | 7.04 | 19.35 | 49 | 19 | 30 | 37.84 | 1.68 | 26.06 | 7.93 | 8.36 | 9 | 1852
G1_115 | 15 | 2,5 d | A | 6.44 | 999 | 7.01 | 19.24 | 37 | 9 | 28 | 51.49 | 8.03 | 29.51 | 8.93 | 9.07 | 7.6 | 2880
G1_116 | 15 | 2,5 d | B | 6.5 | 884 | 7.5 | 18.89 | 55 | 27 | 28 | 28.05 | 4.76 | 19.27 | 1.63 | 7.56 | 5.9 | 1960
G1_117 | 15 | 2,5 d | C | 7.38 | 846 | 7.64 | 19.55 | 80 | 79 | 1 | 24.6 | 2.1 | 21.79 | 1.14 | 7.54 | 11.5 | 1812
G1_118 | 15 | 3,33 d | A | 6.5 | 956 | 7.39 | 19.19 | 53 | 27 | 26 | 39.44 | 7.06 | 25.89 | 1.88 | 9.33 | 7.3 | 2668
G1_119 | 15 | 3,33 d | B | 7.67 | 860 | 7.91 | 18.93 | 61 | 69 | 1 | 22.71 | 1.16 | 20.74 | 0.41 | 7.44 | 5.3 | 1880
G1_120 | 15 | 3,33 d | C | 8.29 | 851 | 7.72 | 20.3 | 131 | 130 | 1 | 5.112 | < DL | 4.31 | 0.32 | 3.91 | 5.3 | 1668
The following data belongs to the variable SRT and constant HRT conducted in the glasshouse
G2_001 | 0 | Primary Eflluent | A | 6.91 | 1450 | 0 | 19 | 28 |  |  | 91.64 | 2.72 | < DL | 46.68 | 5.68
G2_002 | 0 | Primary Eflluent | B | 6.88 | 1440 | 0 | 18.7 | 31 |  |  | 92.39 | 2.48 | < DL | 37.8 | 4.44
G2_003 | 0 | Primary Eflluent | C | 6.92 | 1350 | 0 | 18.89 | 28 |  |  | 92.32 | 2.4 | < DL | 40.16 | 4.04
G2_004 | 0 | 5 d | A | 8.54 | 1037 | 7.48 | 16.8 | 45 | 13 | 32 | 45.29 | 0.64 | < DL | 26.14 | 2.91
G2_005 | 0 | 5 d | B | 8.6 | 1017 | 8.7 | 16.75 | 49 | 11 | 38 | 32.59 | 0.59 | < DL | 14.7 | 1.58
G2_006 | 0 | 5 d | C | 7.57 | 912 | 7.5 | 18.56 | 45 | 10 | 35 | 34.91 | 0.51 | 0.08 | 18.43 | 2.3
G2_007 | 0 | 5 d | D | 7.6 | 956 | 7.2 | 20 | 42 | 22 | 20 | 46.17 | 0.6 | 0.03 | 23.94 | 2.94
G2_008 | 0 | 6,5 d | A | 8.65 | 1014 | 8.95 | 17.1 | 60 | 15 | 45 | 42.19 | 0.59 | 0.04 | 18.37 | 2.14
G2_009 | 0 | 6,5 d | B | 8.67 | 1019 | 9 | 16.6 | 46 | 16 | 30 | 30.96 | 0.62 | 0.06 | 17.06 | 2.41
G2_010 | 0 | 6,5 d | C | 8.65 | 1012 | 9 | 16.6 | 40 | 26 | 14 | 35.44 | 0.66 | 0.06 | 17.32 | 2.06
G2_011 | 0 | 6,5 d | D | 8.66 | 1000 | 8.6 | 17.36 | 48 | 22 | 26 | 44.21 | 0.58 | 0.08 | 17.68 | 2.02
G2_012 | 0 | 10 d | A | 8.6 | 1063 | 9.22 | 15.57 | 49 | 14 | 35 | 43.32 | 0.7 | 0.1 | 22.64 | 2.57
G2_013 | 0 | 10 d | B | 7.57 | 1044 | 9.21 | 15.41 | 47 | 22 | 25 | 46.09 | 0.68 | 0.13 | 24.15 | 3.12
G2_014 | 0 | 10 d | C | 7.6 | 1048 | 9.02 | 15.44 | 64 | 28 | 36 | 34.69 | 0.65 | 0.13 | 15.85 | 1.98
G2_015 | 0 | 10 d | D | 8.65 | 1057 | 10.88 | 15.48 | 67 | 14 | 53 | 31.56 | 0.66 | 0.14 | 17.2 | 2.26
G2_016 | 2 | 5 d | A | 7.62 | 935 | 7.76 | 18.66 | 80 | 31 | 49 | 37.09 | 2.56 | 0.6 | 19.96 | 4.8
G2_017 | 2 | 5 d | B | 7.52 | 921 | 7.7 | 18.39 | 94 | 24 | 70 | 35.08 | 2.84 | 0.64 | 20.68 | 4.84
G2_018 | 2 | 5 d | C | 7.57 | 912 | 7.5 | 18.56 | 81 | 35 | 46 | 34.64 | 2.92 | 0.72 | 14.08 | 3.52
G2_019 | 2 | 5 d | D | 7.6 | 956 | 7.2 | 20 | 101 | 37 | 64 | 41.78 | 0.61 | 0.2 | 15.77 | 2.82
G2_020 | 4 | Primary Eflluent | A | 6.91 | 1450 | 0 | 19 | 20 |  |  | 97.99 | 0.74 | 0.22 | 34.52 | 4.01
G2_021 | 4 | Primary Eflluent | B | 6.88 | 1440 | 0 | 18.7 | 12 |  |  | 98.59 | 0.86 | 0.11 | 34.12 | 2.34
G2_022 | 4 | Primary Eflluent | C | 6.92 | 1350 | 0 | 18.89 | 14 |  |  | 99.93 | 0.7 | 0.24 | 28.04 | 2.26
G2_023 | 4 | 5 d | A | 8.54 | 1037 | 7.48 | 16.8 | 100 | 44 | 56 | 33.64 | 0.76 | 0.26 | 19.33 | 5.5
G2_024 | 4 | 5 d | B | 8.6 | 1017 | 8.7 | 16.75 | 110 | 47 | 63 | 30.06 | 0.77 | 0.27 | 11.29 | 2.7
G2_025 | 4 | 5 d | C | 8.6 | 1025 | 8.9 | 16.8 | 124 | 48 | 76 | 32.59 | 0.74 | 0.3 | 12.26 | 3.25
G2_026 | 4 | 5 d | D | 8.6 | 1053 | 8.25 | 17.7 | 118 | 44 | 74 | 37.12 | 0.77 | 0.29 | 16.12 | 4.19
G2_027 | 4 | 6,5 d | A | 8.65 | 1014 | 8.95 | 17.1 | 114 | 47 | 67 | 32.42 | 0.76 | 0.31 | 15.24 | 3.92
G2_028 | 4 | 6,5 d | B | 8.67 | 1019 | 9 | 16.6 | 113 | 51 | 62 | 33 | 0.7 | 0.33 | 13.48 | 3.58
G2_029 | 4 | 6,5 d | C | 8.65 | 1012 | 9 | 16.6 | 130 | 53 | 77 | 31.09 | 0.77 | 0.34 | 10.39 | 2.36
G2_030 | 4 | 6,5 d | D | 8.66 | 1000 | 8.6 | 17.36 | 119 | 44 | 75 | 34.95 | 0.66 | 0.35 | 13.87 | 3.02
G2_031 | 8 | Primary Eflluent | A | 6.91 | 1450 | 0 | 19 | 29 |  |  | 92.22 | 2.2286 | 1.0286 | 34.8 | 4.5714
G2_032 | 8 | Primary Eflluent | B | 6.88 | 1440 | 0 | 18.7 | 22 |  |  | 95.86 | 2.2571 | 1.0857 | 41.8286 | 5.6571
G2_033 | 8 | Primary Eflluent | C | 6.92 | 1350 | 0 | 18.89 | 29 |  |  | 96.35 | 2.1429 | 1.0857 | 34.6857 | 4.6571
G2_034 | 8 | 5 d | A | 8.54 | 1057 | 8.9 | 15.42 | 185 | 87 | 98 | 32.19 | 0.76 | 0.4 | 9.76 | 3.32
G2_035 | 8 | 5 d | B | 8.6 | 1053 | 9.34 | 15.42 | 185 | 76 | 109 | 32.23 | 0.76 | 0.42 | 15.8 | 4.53
G2_036 | 8 | 5 d | C | 8.6 | 1052 | 8.92 | 15.48 | 183 | 75 | 108 | 31.76 | 0.55 | < DL | 16.97 | 4.58
G2_037 | 8 | 5 d | D | 8.6 | 1050 | 8.95 | 15.68 | 173 | 68 | 105 | 32.61 | 0.57 | < DL | 15.61 | 3.65
G2_038 | 8 | 6,5 d | A | 8.65 | 990 | 9.99 | 15.44 | 199 | 92 | 107 | 28.76 | 0.6 | < DL | 14.69 | 4.84
G2_039 | 8 | 6,5 d | B | 8.67 | 1045 | 9.32 | 15.43 | 199 | 85 | 114 | 32.25 | 0.52 | < DL | 11.81 | 3.13
G2_040 | 8 | 6,5 d | C | 8.65 | 1047 | 9.2 | 15.41 | 246 | 76 | 170 | 33.13 | 0.58 | 0.01 | 10.89 | 2.57
G2_041 | 8 | 6,5 d | D | 8.66 | 1031 | 8.89 | 15.59 | 259 | 86 | 173 | 30.07 | 0.57 | 0.02 | 16.49 | 5
G2_042 | 8 | 10 d | A | 8.6 | 1063 | 9.22 | 15.57 | 275 | 87 | 188 | 34.76 | 0.58 | 0.03 | 18.19 | 4.52
G2_043 | 8 | 10 d | B | 7.57 | 1044 | 9.21 | 15.41 | 275 | 74 | 201 | 29.6 | 0.62 | 0.05 | 12.65 | 3.4
G2_044 | 8 | 10 d | C | 7.6 | 1048 | 9.02 | 15.44 | 291 | 81 | 210 | 29.59 | 0.59 | 0.06 | 16.75 | 3.76
G2_045 | 8 | 10 d | D | 8.65 | 1057 | 10.88 | 15.48 | 299 | 81 | 218 | 29.38 | 0.64 | 0.06 | 18 | 4.58
G2_046 | 9 | 5 d | A | 8.54 | 946 | 12.42 | 17.02 | 185 | 62 | 123 | 20.15 | 0.71 | < DL | 11.82 | 4.82
G2_047 | 9 | 5 d | B | 8.6 | 940 | 12.32 | 16.72 | 176 | 54 | 122 | 21.83 | 0.55 | 0.09 | 13.19 | 5.88
G2_048 | 9 | 5 d | C | 8.6 | 9.37 | 11.93 | 16.67 | 163 | 59 | 104 | 23.04 | 0.62 | 0.11 | 13.1 | 5.62
G2_049 | 9 | 5 d | D | 8.6 | 9.37 | 11.41 | 16.49 | 145 | 60 | 85 | 22.99 | 0.63 | 0.11 | 13.69 | 5.46
G2_050 | 11 | Primary Eflluent | A | 7.15 | 1206 | 0 | 18.49 | 23 |  |  | 87.93 | 2.56 | 0.44 | 61.44 | 9.8
G2_051 | 11 | Primary Eflluent | B | 7.1 | 1196 | 0 | 13.67 | 32 |  |  | 88.98 | 2.64 | 0.52 | 65.72 | 10.08
G2_052 | 11 | Primary Eflluent | C | 7.15 | 1200 | 0 | 17 | 20 |  |  | 80.71 | 2.64 | 0.56 | 60.88 | 10.56
G2_053 | 11 | 5 d | A | 8.54 | 875 | 10.25 | 15.43 | 194 | 68 | 126 | 18.44 | 0.63 | 0.16 | 10.19 | 3.82
G2_054 | 11 | 5 d | B | 8.6 | 881 | 10.09 | 15.3 | 191 | 53 | 138 | 18.88 | 0.67 | 0.19 | 10.68 | 3.47
G2_055 | 11 | 5 d | C | 8.6 | 890 | 10.22 | 15.6 | 184 | 54 | 130 | 20.2 | 0.71 | 0.19 | 11.45 | 3.87
G2_056 | 11 | 5 d | D | 8.6 | 906 | 10.13 | 15.9 | 179 | 56 | 123 | 23.03 | 0.73 | 0.2 | 13.67 | 4.66
G2_057 | 11 | 6,5 d | A | 8.65 | 853 | 10.31 | 15.44 | 234 | 54 | 180 | 17.14 | 0.72 | 0.2 | 9.59 | 3.79
G2_058 | 11 | 6,5 d | B | 8.67 | 875 | 10.26 | 15.38 | 243 | 48 | 195 | 19.22 | 0.78 | 0.17 | 11.11 | 4.01
G2_059 | 11 | 6,5 d | C | 8.65 | 860 | 10.71 | 15.4 | 271 | 42 | 229 | 18.11 | 0.75 | 0.24 | 10.2 | 3.66
G2_060 | 11 | 6,5 d | D | 8.66 | 870 | 10.44 | 15.7 | 256 | 63 | 193 | 20.71 | 0.82 | 0.25 | 11.4 | 4.21
G2_061 | 11 | 10 d | A | 8.6 | 859 | 10.3 | 15.59 | 295 | 51 | 244 | 18.42 | 0.95 | 0.26 | 9.92 | 3.77
G2_062 | 11 | 10 d | B | 7.57 | 851 | 10.19 | 15.42 | 341 | 34 | 307 | 15.51 | 0.85 | 0.27 | 8.7 | 3.8
G2_063 | 11 | 10 d | C | 7.6 | 865 | 10.63 | 15.35 | 346 | 28 | 318 | 19.23 | 0.87 | 0.28 | 11.08 | 4.02
G2_064 | 11 | 10 d | D | 8.65 | 862 | 10.37 | 15.7 | 307 | 40 | 267 | 18.96 | 0.83 | 0.3 | 10.08 | 3.8
G2_065 | 14 | Primary Eflluent | A | 7.15 | 1206 | 0 | 18.49 | 26 |  |  | 88.18 | 3.48 | 1.2 | 63.44 | 10.76
G2_066 | 14 | Primary Eflluent | B | 7.1 | 1196 | 0 | 13.67 | 14 |  |  | 89.08 | 3.8 | 1.24 | 67.64 | 11.72
G2_067 | 14 | Primary Eflluent | C | 7.15 | 1200 | 0 | 17 | 17 |  |  | 89.48 | 4.16 | 1.32 | 68.48 | 12.24
G2_068 | 14 | 5 d | A | 7.75 | 805 | 8.46 | 13.67 | 214 | 62 | 152 | 14.38 | 0.9 | 0.36 | 7.59 | 4.16
G2_069 | 14 | 5 d | B | 7.91 | 825 | 8.55 | 13.38 | 206 | 54 | 152 | 16.75 | 0.89 | 0.37 | 9.52 | 4.55
G2_070 | 14 | 5 d | C | 8.02 | 819 | 8.37 | 13.55 | 226 | 51 | 175 | 15.91 | 0.89 | 0.38 | 8.96 | 4.02
G2_071 | 14 | 5 d | D | 8.09 | 836 | 8.51 | 13.73 | 181 | 63 | 118 | 16.3 | 0.62 | 0.05 | 8.54 | 3.75
G2_072 | 14 | 6,5 d | A | 7.7 | 793 | 8.25 | 13.83 | 283 | 52 | 231 | 13.6 | 0.54 | < DL | 6.93 | 4
G2_073 | 14 | 6,5 d | B | 7.85 | 803 | 8.58 | 13.55 | 284 | 54 | 230 | 14.01 | 0.6 | < DL | 7.22 | 3.86
G2_074 | 14 | 6,5 d | C | 8 | 784 | 8.65 | 13.45 | 315 | 43 | 272 | 11.72 | 0.46 | < DL | 5.39 | 3.62
G2_075 | 14 | 6,5 d | D | 8.05 | 795 | 8.4 | 13.7 | 302 | 46 | 256 | 13.94 | 0.59 | 0.02 | 7.21 | 3.97
G2_076 | 14 | 10 d | A | 7.63 | 784 | 8.26 | 13.96 | 357 | 53 | 304 | 12.04 | 0.59 | 0.05 | 6.23 | 3.89
G2_077 | 14 | 10 d | B | 7.81 | 792 | 8.44 | 13.73 | 418 | 41 | 377 | 11.73 | 0.57 | 0.06 | 5.68 | 3.13
G2_078 | 14 | 10 d | C | 7.98 | 808 | 8.61 | 13.35 | 398 | 37 | 361 | 15.73 | 0.5 | 0.06 | 7.23 | 4.32
G2_079 | 14 | 10 d | D | 8.06 | 778 | 8.4 | 13.8 | 400 | 40 | 360 | 11.33 | 0.53 | 0.09 | 5.74 | 3.49
G2_080 | 15 | 5 d | A | 8.09 | 779 | 9.05 | 15.19 | 264 | 102 | 162 | 7.818 | 0.56 | 0.1 | 3.16 | 4.35 | 9.5 | 1816
G2_081 | 15 | 5 d | B | 8.05 | 778 | 9.26 | 15.14 | 251 | 70 | 181 | 8.699 | 0.64 | 0.11 | 3.55 | 3.43 | 9.5 | 1580
G2_082 | 15 | 5 d | C | 8.14 | 776 | 9.15 | 14.89 | 294 | 82 | 212 | 7.95 | 0.56 | 0.11 | 3.16 | 3.31 | 5.1 | 1420
G2_083 | 15 | 5 d | D | 8.18 | 803 | 9.46 | 15.07 | 230 | 86 | 144 | 12.32 | 0.44 | 0.24 | 5.8 | 4.11 | 7 | 1380
G2_084 | 16 | 6,5 d | A | 7.95 | 847 | 8.42 | 14.96 | 367 | 91 | 276 | 8.408 | 0.56 | 0.14 | 3.29 | 3.06
G2_085 | 16 | 6,5 d | B | 7.97 | 880 | 8.57 | 14.82 | 359 | 88 | 271 | 11.09 | 0.62 | 0.17 | 5.07 | 3.15
G2_086 | 16 | 6,5 d | C | 8.09 | 880 | 8.99 | 14.73 | 459 | 74 | 385 | 11.64 | 0.63 | 0.16 | 5.09 | 2.65
G2_087 | 16 | 6,5 d | D | 8.14 | 875 | 8.99 | 14.86 | 404 | 80 | 324 | 11 | 0.65 | 0.18 | 4.89 | 2.85
G2_088 | 18 | Primary Eflluent | A | 6.91 | 1312 | 0 | 17.55 | 30 |  |  | 94.38 | 2.68 | 0.72 | 58.16 | 9.36
G2_089 | 18 | Primary Eflluent | B | 7 | 1300 | 0 | 17.6 | 26 |  |  | 93.61 | 2.76 | 0.8 | 66.08 | 10.76
G2_090 | 18 | Primary Eflluent | C | 6.95 | 1330 | 0 | 17 | 27 |  |  | 93.98 | 2.16 | 0.88 | 67.12 | 10.28
G2_091 | 18 | 6,5 d | A | 8.17 | 910 | 7.61 | 15.43 | 253 | 61 | 192 | 27.79 | 0.73 | 0.28 | 16.12 | 5.04
G2_092 | 18 | 6,5 d | B | 8.19 | 928 | 7.58 | 15.02 | 266 | 42 | 224 | 26.56 | 0.94 | 0.28 | 15.63 | 5.55
G2_093 | 18 | 6,5 d | C | 8.26 | 891 | 7.89 | 14.79 | 370 | 53 | 317 | 21.31 | 0.73 | 0.28 | 12.17 | 4.52
G2_094 | 18 | 6,5 d | D | 8.26 | 910 | 7.88 | 14.93 | 349 | 62 | 287 | 23.62 | 0.65 | 0.3 | 13.23 | 4.99
G2_095 | 18 | 10 d | A | 8.19 | 944 | 7.48 | 15.45 | 369 | 67 | 302 | 29.84 | 0.69 | 0.47 | 17.21 | 5.63
G2_096 | 18 | 10 d | B | 8.17 | 924 | 7.61 | 15.11 | 506 | 32 | 474 | 25.09 | 0.75 | 0.35 | 14.84 | 4.96
G2_097 | 18 | 10 d | C | 8.24 | 906 | 7.67 | 14.82 | 469 | 68 | 401 | 24.27 | 0.83 | 0.34 | 13.72 | 4.76
G2_098 | 18 | 10 d | D | 8.25 | 913 | 7.86 | 14.89 | 449 | 73 | 376 | 24.56 | 0.79 | 0.37 | 14 | 4.95
G2_099 | 20 | 6,5 d | A | 8.2 | 944 | 8.2 | 14.66 | 166 | 42 | 124 | 38.61 | 0.71 | 0.48 | 23.86 | 8.23 | 5.1 | 1488
G2_100 | 20 | 6,5 d | B | 8.22 | 937 | 8.19 | 14.73 | 181 | 29 | 152 | 36 | 0.81 | 0.47 | 22.76 | 8.67 | 5.9 | 1636
G2_101 | 20 | 6,5 d | C | 8.66 | 899 | 8.14 | 14.63 | 263 | 22 | 241 | 31.42 | 0.81 | 0.45 | 19.45 | 8.02 | 7.6 | 1432
G2_102 | 20 | 6,5 d | D | 8.28 | 910 | 8.23 | 14.74 | 246 | 30 | 216 | 32.89 | 0.82 | 0.49 | 20.54 | 8.15 | 4.8 | 1496
G2_103 | 21 | Primary Eflluent | A | 6.24 | 1278 | 0 | 5.6 | 24 |  |  | 90.94 | 3.2 | 1.56 | 67.28 | 12
G2_104 | 21 | Primary Eflluent | B | 6 | 1300 | 0 | 6 | 16 |  |  | 92.19 | 3.32 | 1.6 | 68.52 | 12
G2_105 | 21 | Primary Eflluent | C | 6.5 | 1290 | 0 | 6.2 | 19 |  |  | 91.76 | 3.32 | 1.64 | 68.88 | 11.8
G2_106 | 21 | 10 d | A | 8.5 | 785 | 11 | 16.68 | 231 | 15 | 216 | 43.06 | 0.12 | 0.68 | 26.74 | 9.37
G2_107 | 21 | 10 d | B | 8.7 | 800 | 11.08 | 16.49 | 352 | 18 | 334 | 39.19 | 0.37 | 0.22 | 24.8 | 8.83
G2_108 | 21 | 10 d | C | 8.85 | 805 | 11.5 | 16.7 | 304 | 15 | 289 | 39.31 | 0.26 | 0.19 | 24.87 | 9.66
G2_109 | 21 | 10 d | D | 8.85 | 797 | 11.49 | 16.37 | 306 | 10 | 296 | 37.22 | 0.29 | 0.27 | 24.01 | 8.41
G2_110 | 25 | Primary Eflluent | A | 6.24 | 1300 | 0 | 5.6 | 147 |  |  | 73.41 | 0.72 | 0.48 | 43.08 | 4.64
G2_111 | 25 | Primary Eflluent | B | 6.3 | 1270 | 0 | 6 | 132 |  |  | 74.35 | 1.48 | 0.36 | 45.16 | 4.24
G2_112 | 25 | Primary Eflluent | C | 6.31 | 1285 | 0 | 6.2 | 143 |  |  | 70.97 | 1.28 | 0.48 | 44.36 | 4.08
G2_113 | 25 | 10 d | A | 8.84 | 800 | 11.07 | 16.68 | 98 | 0 | 98 | 17.82 | 0.24 | 6.55 | 6.34 | 6.88
G2_114 | 25 | 10 d | B | 8.7 | 804 | 11.1 | 16.49 | 205 | 33 | 172 | 27.55 | 0.37 | 1.22 | 13.28 | 8.68
G2_115 | 25 | 10 d | C | 8.9 | 805 | 11.7 | 16.7 | 237 | 8 | 229 | 19.86 | 0.43 | 1.83 | 10.81 | 7.66
G2_116 | 25 | 10 d | D | 8.6 | 797 | 11.5 | 16.37 | 273 | 13 | 260 | 16.92 | 0.34 | 1.92 | 8.59 | 7.29
G2_117 | 30 | Primary Eflluent | A | 6.25 | 1275 | 0 | 5.6 | 29 |  |  | 90.93 | 2.08 | 0.64 | 42.4 | 7.88 | 131
G2_118 | 30 | Primary Eflluent | B | 6.3 | 1280 | 0 | 6 | 29 |  |  | 93.33 | 1.6 | 1.12 | 48.56 | 6.12 | 130
G2_119 | 30 | Primary Eflluent | C | 6.4 | 1285 | 0 | 6.2 | 32 |  |  | 91.85 | 1.56 | 1.16 | 47.64 | 5.64 | 132
G2_120 | 30 | 10 d | A | 8.9 | 790 | 11.07 | 16.68 | 109 | 11 | 98 | 28.61 | 0.24 | 23.32 | 3.35 | 3.8 | 2.2 | 2728
G2_121 | 30 | 10 d | B | 8.7 | 804 | 11.08 | 16.49 | 91 | 31 | 60 | 19.8 | 0.46 | 8.36 | 6.39 | 3.22 | 4.2 | 2552
G2_122 | 30 | 10 d | C | 8.8 | 802 | 11.7 | 16.7 | 224 | 4 | 220 | 23.86 | 0.23 | 13.49 | 6.19 | 3.32 | 6.2 | 2204
G2_123 | 30 | 10 d | D | 8.78 | 810 | 11.4 | 16.37 | 240 | 8 | 232 | 20.61 | 0.33 | 12.88 | 4.27 | 2.27 | 0.3 | 2664