
Supplementary legends: 

Supp Figure 1: Electropolished stents do not change white blood cell counts (a), red blood cell counts (b), hemoglobin concentration (c) and hematocrit levels (d) after 60 min of circulation at 150 ml/min with fresh human whole blood. Data are shown as mean ± SEM (n = 5) and were analyzed by repeated-measures ANOVA with Tukey`s multiple-comparison test. ns: not significant

Supp Figure 2: Scanning electron microscope images of electropolished and native Nitinol stents after 60 min of circulation at 150 ml/min with fresh human whole blood. Pictures form all five donors are shown.
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