Supplementary file 6

Fig. 11 Example of a patient that is being continuously monitored with the CPC12S system (red) and reference standard Karolinska Hospital (blue). From top to bottom, the panels show heart rate (HR), respiratory rate (RR), oxygen saturation (SpO2) and mean arterial pressure (MAP). The patient did not have continuous monitoring of temperature with the reference system and therefore this vital sign is not displayed. This example shows unfiltered data from both systems.