## Clumped Isotope Replicates
Replicate | Run date | δ13C VPDB (Final) | δ13C VPDB (Final) average | δ13C VPDB (Final) SD* | δ18O VPDB (Final) | δ18O VPDB (Final) average | δ18O VPDB (Final) SD* | δ18O VSMOW (Final) | δ18O VSMOW (Final) average | δ18O VSMOW (Final) SD | Δ47 CDES (Final) | Δ47 CDES (Final) average | Δ47 CDES (Final) SE* | Δ48 CDES (Final) | Δ48 CDES (Final) average | Δ48 CDES (Final) SE* | Temp [°C] | Temp [°C] average | +/- SE | Predicted Alpha (NOTE: mineral specific) | water δ18O VSMOW | water δ18O VSMOW average | water δ18O VSMOW SD
UF 95869 |  |  | -9.008 | 0.017321 |  | -1.114 | 0.078528 |  | 29.772 | 0.083417 |  | 0.5816 | 0.0085 |  | 0.297 | 0.012412 |  | 29.3569 | 2.4028 |  |  | 2.1431 | 1.2121
R1 | 2022-04-02 11:03 | -8.97 |  |  | -1.04 |  |  | 29.85 |  |  | 0.567 |  |  | 0.302 |  |  | 34.54 |  |  | 1.0265 | 3.2405
R2 | 2022-04-10 22:52 | -9.01 |  |  | -1.17 |  |  | 29.71 |  |  | 0.595 |  |  | 0.279 |  |  | 24.6119 |  |  | 1.0285 | 1.1461
R3 | 2022-04-11 04:52 | -8.98 |  |  | -1.01 |  |  | 29.88 |  |  | 0.571 |  |  | 0.243 |  |  | 33.0607 |  |  | 1.0268 | 2.9857
R4 | 2022-04-15 05:11 | -8.98 |  |  | -1 |  |  | 29.89 |  |  | 0.601 |  |  | 0.285 |  |  | 22.6067 |  |  | 1.029 | 0.91015
R5 | 2022-09-24 06:50 | -9.1 |  |  | -1.35 |  |  | 29.53 |  |  | 0.574 |  |  | 0.376 |  |  | 31.9651 |  |  | 1.027 | 2.4329
UF 87131 |  |  | -9.4775 | 0.26158 |  | 0.9 | 0.28577 |  | 31.8475 | 0.29067 |  | 0.57275 | 0.007587 |  | -0.31433 | 0.71906 |  | 32.5349 | 2.8099 |  |  | 4.7854 | 0.86055
R1 | 2022-09-23 21:54 | -9.6 |  |  | 1.07 |  |  | 32.02 |  |  | 0.573 |  |  | 0.46 |  |  | 32.329 |  |  | 1.027 | 4.9281
R2 | 2022-09-25 15:01 | -9.56 |  |  | 1.09 |  |  | 32.04 |  |  | 0.578 |  |  | 0.348 |  |  | 30.5225 |  |  | 1.0273 | 4.5948
R3 | 2022-10-09 07:22 | -9.09 |  |  | 0.48 |  |  | 31.42 |  |  | 0.552 |  |  | -1.751 |  |  | 40.2845 |  |  | 1.0254 | 5.8496
R4 | 2023-04-02 22:01 | -9.66 |  |  | 0.96 |  |  | 31.91 |  |  | 0.588 | [5 empty] | 27.0036 |  |  | 1.028 | 3.7693
FMNH P13725 |  |  | -3.645 | 0.036968 |  | -4.385 | 0.1852 |  | 26.3975 | 0.19363 |  | 0.5765 | 0.003304 |  | 0.05775 | 0.31472 |  | 31.0818 | 1.1789 |  |  | -0.79121 | 0.52528
R1 | 2022-03-31 06:04 | -3.62 |  |  | -4.15 |  |  | 26.64 |  |  | 0.572 |  |  | 0.288 |  |  | 32.6942 |  |  | 1.0269 | -0.24022
R2 | 2022-09-23 18:55 | -3.63 |  |  | -4.42 |  |  | 26.36 |  |  | 0.572 |  |  | 0.371 |  |  | 32.6942 |  |  | 1.0269 | -0.51289
R3 | 2022-09-25 22:27 | -3.7 |  |  | -4.37 |  |  | 26.42 |  |  | 0.586 |  |  | 0.453 |  |  | 27.6976 |  |  | 1.0279 | -1.4326
R4 | 2022-10-09 01:23 | -3.63 |  |  | -4.6 |  |  | 26.17 |  |  | 0.576 |  |  | -0.881 |  |  | 31.2412 |  |  | 1.0272 | -0.97907
UF 312730 |  |  | -4.2825 | 0.27464 |  | -1.645 | 1.6368 |  | 29.225 | 1.6841 |  | 0.6935 | 0.030693 |  | 0.51375 | 0.014818 |  | -3.0018 | 7.3602 |  |  | -5.6432 | 5.1878
R1 | 2022-03-31 03:03 | -4.3 |  |  | -0.82 |  |  | 30.08 |  |  | 0.699 |  |  | 0.47 |  |  | -5.3009 |  |  | 1.0355 | -5.2438
R2 | 2022-04-02 05:05 | -4.57 |  |  | -0.39 |  |  | 30.51 |  |  | 0.655 |  |  | 0.531 |  |  | 6.2134 |  |  | 1.0326 | -2.0636
R3 | 2022-10-03 21:58 | -4.35 |  |  | -4.03 |  |  | 26.77 |  |  | 0.778 |  |  | 0.533 |  |  | -22.8297 |  |  | 1.0404 | -13.1032
R4 | 2022-10-04 06:58 | -3.91 |  |  | -1.34 |  |  | 29.54 |  |  | 0.642 |  |  | 0.521 |  |  | 9.91 |  |  | 1.0318 | -2.1623
FMNH 14404 |  |  | -6.4933 | 0.050332 |  | -3.39 | 0.18735 |  | 27.4267 | 0.19296 |  | 0.60167 | 0.01386 |  | 0.30333 | 0.012719 |  | 22.5962 | 4.5225 |  |  | -1.5137 | 1.7877
R2 | 2022-09-24 00:53 | -6.54 |  |  | -3.33 |  |  | 27.49 |  |  | 0.581 |  |  | 0.302 |  |  | 29.4538 |  |  | 1.0275 | -0.043916
R3 | 2022-09-25 12:00 | -6.5 |  |  | -3.6 |  |  | 27.21 |  |  | 0.628 |  |  | 0.282 |  |  | 14.0598 |  |  | 1.0308 | -3.5039
R4 | 2022-09-26 01:26 | -6.44 |  |  | -3.24 |  |  | 27.58 |  |  | 0.596 |  |  | 0.326 |  |  | 24.2748 |  |  | 1.0286 | -0.99334

## REE
lab # | sample | material | genus | Ca | Sr | Y | Ba | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Pb | U
|  |  |  | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
MQL |  |  |  | 2843.3154 | 0.0075662 | 0.00105 | 0.033191 | 0.0021182 | 0.0030328 | 0.00072242 | 0.0063089 | 0.0025466 | 0.0010896 | 0.0025415 | 0.0001981 | 0.00063812 | 0.0002534 | 0.00038944 | 0.00016927 | 0.0025112 | 0.00049281 | 0.0047477 | 0.016731
DS451 | UF 95869 | dentine | Eremotherium | 218660.6316 | 395.7885 | 757.1899 | 60.8247 | 21.1855 | 34.7033 | 13.1756 | 100.0997 | 33.2398 | 8.7625 | 51.0275 | 9.0011 | 67.4509 | 17.3832 | 52.1883 | 7.4758 | 45.4548 | 6.9147 | 2.3305 | 59.5355
DS454 | CM 41277 | bone | Eremotherium | 71422.9336 | 233.5395 | 19.877 | 170.0156 | 15.6474 | 36.0203 | 4.8277 | 19.4501 | 4.254 | 0.8506 | 4.087 | 0.62107 | 3.4932 | 0.67835 | 2.0293 | 0.30838 | 2.0038 | 0.30818 | 7.2057 | 2.0164
DS457 | CM 41277 | dentine | Eremotherium | 105206.626 | 308.1722 | 16.6699 | 261.9261 | 13.9416 | 29.0355 | 3.7009 | 15.5722 | 3.7101 | 0.89178 | 3.6293 | 0.55968 | 3.1106 | 0.59211 | 1.6351 | 0.23964 | 1.4521 | 0.22011 | 6.1277 | 2.0522
DS459 | UF 312728 | bone | Eremotherium | 337523.0758 | 313.0985 | 80.3496 | 62.417 | 12.8398 | 34.4358 | 4.6248 | 20.7992 | 5.5057 | 1.2257 | 6.8398 | 1.249 | 8.8778 | 2.1663 | 7.4135 | 1.2451 | 8.0278 | 1.4137 | 12.2664 | 151.8719
DS460 | UF 312730 | dentine | Eremotherium | 369105.5563 | 269.1719 | 1.597 | 42.9816 | 0.27656 | 0.46864 | 0.070126 | 0.28842 | 0.064776 | 0.012229 | 0.084777 | 0.016715 | 0.12657 | 0.034039 | 0.11771 | 0.020194 | 0.14137 | 0.024977 | 0.55281 | 116.322
DS452 | Uncat | bone | Mammalia indet. | 113749.055 | 703.1534 | 38.8062 | 68.9503 | 18.09 | 36.1086 | 5.0779 | 22.1758 | 5.5247 | 1.2938 | 5.9829 | 0.96253 | 5.8457 | 1.2444 | 3.4967 | 0.48421 | 2.9084 | 0.43958 | 5.6164 | 51.7337
DS455 | UF 145778 | enamel | Mammuthus | 86495.6527 | 618.6988 | 20.2495 | 42.8194 | 4.8939 | 10.5591 | 1.5349 | 7.2098 | 1.7251 | 0.44008 | 2.0199 | 0.32871 | 2.1609 | 0.49803 | 1.5611 | 0.23776 | 1.5478 | 0.24278 | 0.96619 | 16.5166
DS450 | FMNH P15130 | dentine | Megatherium | 270270.672 | 1001.6791 | 1.4118 | 12374.5661 | 2.7033 | 4.6788 | 0.54205 | 2.005 | 0.45624 |  | 0.38288 | 0.041875 | 0.2194 | 0.042372 | 0.12904 | 0.016751 | 0.12253 | 0.017293 | 2.3036 | 277.3137
DS458 | FMNH P13653 | dentine | Megatherium | 187689.7665 | 686.3166 | 9.9226 | 607.3901 | 9.6021 | 21.2416 | 2.3403 | 9.0573 | 1.7663 | 0.33805 | 1.9063 | 0.27696 | 1.5751 | 0.32683 | 0.93856 | 0.13832 | 0.84902 | 0.12576 | 5.3682 | 195.1706
DS462 | FMNH P13653 | bone | Megatherium | 115571.5562 | 346.3199 | 2.4335 | 173.6612 | 1.6498 | 3.0258 | 0.35727 | 1.491 | 0.30756 | 0.049958 | 0.34885 | 0.04954 | 0.27769 | 0.062701 | 0.17358 | 0.025179 | 0.15558 | 0.025287 | 1.5125 | 85.751
DS463 | FMNH P13725 | dentine | Megatherium | 112750.1162 | 216.208 | 0.33384 | 220.7177 | 0.35959 | 0.41457 | 0.049232 | 0.19107 | 0.036494 |  | 0.040851 | 0.0055664 | 0.030335 | 0.0072712 | 0.020765 | 0.0030526 | 0.016194 | 0.0030228 | 6.565 | 58.3132
DS453 | UF 87131 | dentine | Nothrotheriops | 333552.8151 | 1974.9071 | 47.2902 | 151.884 | 9.7326 | 18.4666 | 2.5164 | 11.5509 | 3.0911 | 0.81873 | 4.1108 | 0.70317 | 4.8572 | 1.1288 | 3.6712 | 0.5786 | 3.77 | 0.61414 | 3.1684 | 131.4566
DS456 | Uncat | bone | Probocidian indet. | 304525.1305 | 642.9141 | 1596.6228 | 106.0024 | 157.8885 | 164.8676 | 45.0575 | 240.4161 | 67.3609 | 17.6814 | 110.3799 | 19.698 | 158.1184 | 39.5347 | 125.7055 | 18.7696 | 105.5228 | 17.4569 | 21.1153 | 164.7769
DS461 | FMNH P14511/14401 | bone | Promegatherium | 298300.5717 | 522.9075 | 7.3658 | 2794.9945 | 15.4168 | 22.7275 | 2.2345 | 8.4061 | 1.5176 |  | 1.5603 | 0.21258 | 1.1246 | 0.22281 | 0.62934 | 0.093728 | 0.5947 | 0.085434 | 69.2187 | 54.4747
DS464 | FMNH P14511/14401 | dentine | Promegatherium | 343785.253 | 452.8618 | 509.9929 | 198.6342 | 161.8862 | 251.8355 | 36.8186 | 161.0589 | 34.9196 | 8.4346 | 54.5188 | 9.2697 | 58.8361 | 13.5492 | 37.778 | 5.0598 | 27.1736 | 3.7898 | 63.1827 | 78.7647
| W-2 |  |  | 77639.8684 | 195.9673 | 21.2183 | 169.3041 | 10.4848 | 22.8698 | 2.911 | 12.6205 | 3.2605 | 1.1382 | 3.6132 | 0.62985 | 3.9381 | 0.80977 | 2.2851 | 0.33247 | 2.1784 | 0.31424 | 7.6326 | 0.55765
| W-2 |  |  | 78857.0926 | 204.2728 | 21.9375 | 172.5977 | 10.7575 | 24.0758 | 3.0348 | 12.966 | 3.2983 | 1.1666 | 3.7751 | 0.64723 | 4.1319 | 0.79457 | 2.3425 | 0.35084 | 2.2022 | 0.33521 | 7.8795 | 0.59585
| W-2 |  |  | 78055.7218 | 201.6333 | 21.7722 | 172.1209 | 10.6464 | 23.4168 | 2.9947 | 13.05 | 3.2748 | 1.1404 | 3.7194 | 0.64627 | 3.9559 | 0.82476 | 2.3073 | 0.34724 | 2.2059 | 0.32865 | 7.7871 | 0.55183
mean |  |  |  | 78184.2276 | 200.6245 | 21.6426 | 171.3409 | 10.6296 | 23.4541 | 2.9802 | 12.8789 | 3.2779 | 1.1484 | 3.7026 | 0.64112 | 4.0086 | 0.8097 | 2.3116 | 0.34352 | 2.1955 | 0.32603 | 7.7664 | 0.56844
1SD |  |  |  | 618.7035 | 4.2437 | 0.37669 | 1.7799 | 0.13712 | 0.60387 | 0.063171 | 0.22763 | 0.019104 | 0.015813 | 0.082267 | 0.0097677 | 0.10714 | 0.015096 | 0.028902 | 0.0097383 | 0.014976 | 0.010726 | 0.12476 | 0.023913
%RSD |  |  |  | 0.79134 | 2.1152 | 1.7405 | 1.0388 | 1.29 | 2.5747 | 2.1197 | 1.7675 | 0.58281 | 1.3769 | 2.2219 | 1.5235 | 2.6728 | 1.8644 | 1.2503 | 2.8349 | 0.6821 | 3.2898 | 1.6064 | 4.2067
known concentration |  |  |  | 77972.7626 | 195.4 | 21.82 | 172.8 | 10.63 | 23.21 | 3.018 | 13.09 | 3.3 | 1.091 | 3.713 | 0.627 | 3.806 | 0.7908 | 2.208 | 0.3315 | 2.054 | 0.309 | 7.83 | 0.5048
%difference |  |  |  | 0.2712 | 2.6737 | -0.8128 | -0.84438 | -0.0040475 | 1.0517 | -1.2523 | -1.613 | -0.66984 | 5.2629 | -0.28028 | 2.2514 | 5.3237 | 2.39 | 4.6935 | 3.6254 | 6.8895 | 5.5128 | -0.81213 | 12.6079
| BDH82025-926 A1 | REE solution |  |  |  | 15.3665 |  | 14.4674 | 14.4919 | 14.4563 | 14.021 | 14.0743 | 14.8883 | 13.5932 | 13.8684 | 13.9709 | 14.4692 | 13.7018 | 14.6515 | 14.6658 | 14.3768
| BDH82025-926 A1 | REE solution |  |  |  | 14.9978 |  | 14.4145 | 14.6191 | 14.4093 | 14.1655 | 14.3393 | 14.7045 | 13.8025 | 13.881 | 14.2327 | 14.2132 | 13.874 | 15.0514 | 14.2512 | 14.4492
| BDH82025-926 A1 | REE solution |  |  |  | 14.7763 |  | 14.0079 | 14.1523 | 13.8741 | 13.6917 | 13.8333 | 14.4291 | 13.3306 | 13.7941 | 13.7159 | 13.8768 | 13.3116 | 14.6212 | 14.0273 | 14.0617
mean | [5 empty] | 15.0469 |  | 14.2966 | 14.4211 | 14.2466 | 13.9594 | 14.0823 | 14.674 | 13.5754 | 13.8478 | 13.9732 | 14.1864 | 13.6291 | 14.7747 | 14.3148 | 14.2959
1SD | [5 empty] | 0.29813 |  | 0.2514 | 0.2413 | 0.32343 | 0.24281 | 0.25309 | 0.23111 | 0.23642 | 0.046961 | 0.25844 | 0.2971 | 0.28818 | 0.2401 | 0.32397 | 0.20599
%RSD | [5 empty] | 1.9813 |  | 1.7585 | 1.6732 | 2.2702 | 1.7394 | 1.7972 | 1.575 | 1.7415 | 0.33912 | 1.8495 | 2.0942 | 2.1144 | 1.6251 | 2.2632 | 1.4409
known concentration | [5 empty] | 14.2572 |  | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572 | 14.2572
%difference | [5 empty] | 5.5387 |  | 0.27627 | 1.1497 | -0.074609 | -2.0888 | -1.2269 | 2.9231 | -4.782 | -2.8714 | -1.9923 | -0.49661 | -4.4054 | 3.6297 | 0.40373 | 0.27139
| BDH82025-926 A2 | REE solution |  |  |  | 8.9444 |  | 8.4605 | 8.3871 | 8.2938 | 8.0763 | 8.3792 | 8.6772 | 7.9304 | 8.0708 | 8.2466 | 8.4534 | 8.2181 | 8.737 | 8.6394 | 8.4372
| BDH82025-926 A2 | REE solution |  |  |  | 8.7543 |  | 8.3812 | 8.6435 | 8.387 | 8.1662 | 8.2969 | 8.677 | 8.0591 | 8.2052 | 8.2421 | 8.3529 | 8.1841 | 8.628 | 8.6262 | 8.6235
| BDH82025-926 A2 | REE solution |  |  |  | 8.5457 |  | 8.1922 | 8.148 | 8.0088 | 7.88 | 7.8759 | 8.4249 | 7.5904 | 8.0178 | 7.9632 | 8.1755 | 7.6878 | 8.5175 | 8.1026 | 8.0488
mean | [5 empty] | 8.7481 |  | 8.3446 | 8.3929 | 8.2299 | 8.0408 | 8.184 | 8.593 | 7.8599 | 8.0979 | 8.1507 | 8.3273 | 8.03 | 8.6275 | 8.4561 | 8.3699
1SD | [5 empty] | 0.19941 |  | 0.13782 | 0.24779 | 0.19704 | 0.14635 | 0.26997 | 0.1456 | 0.24215 | 0.09661 | 0.16233 | 0.14073 | 0.29686 | 0.10974 | 0.30622 | 0.29322
%RSD | [5 empty] | 2.2795 |  | 1.6516 | 2.9524 | 2.3942 | 1.82 | 3.2988 | 1.6944 | 3.0808 | 1.193 | 1.9916 | 1.6899 | 3.6968 | 1.272 | 3.6213 | 3.5033
known concentration | [5 empty] | 8.1883 |  | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883 | 8.1883
%difference | [5 empty] | 6.8365 |  | 1.909 | 2.4979 | 0.50707 | -1.8012 | -0.053019 | 4.9425 | -4.0105 | -1.1039 | -0.4599 | 1.697 | -1.9338 | 5.3633 | 3.2697 | 2.217
DS471 | NOCS | fossil bone |  | 256164.5767 | 716.7631 | 437.8553 | 736.6319 | 352.5617 | 670.1491 | 72.4957 | 294.6185 | 65.1939 | 17.5005 | 81.8216 | 12.1656 | 73.4361 | 15.5461 | 40.2356 | 4.9829 | 26.7239 | 3.6534 | 21.5181 | 25.9229
DS472 | NOCS | fossil bone |  | 248352.8501 | 636.9894 | 443.3081 | 967.9856 | 360.3601 | 665.3307 | 73.6604 | 304.1483 | 62.4554 | 16.8803 | 80.3417 | 12.1698 | 72.3735 | 14.9652 | 39.6961 | 4.9784 | 26.5194 | 3.642 | 17.9604 | 24.4048
DS473 | NOCS | fossil bone |  | 241384.4974 | 646.4889 | 433.4178 | 1298.9765 | 328.1321 | 614.5759 | 67.0035 | 278.9363 | 56.4352 | 15.3649 | 73.0682 | 11.0809 | 66.897 | 14.1702 | 36.9892 | 4.6558 | 24.8009 | 3.4569 | 16.3861 | 22.4966
mean |  |  |  | 248633.9748 | 666.7471 | 438.1938 | 1001.198 | 347.018 | 650.0186 | 71.0532 | 292.5677 | 61.3615 | 16.5819 | 78.4105 | 11.8054 | 70.9022 | 14.8939 | 38.9736 | 4.8724 | 26.0147 | 3.5841 | 18.6215 | 24.2748
1SD |  |  |  | 7394.0489 | 43.5747 | 4.9538 | 282.6396 | 16.814 | 30.7887 | 3.5552 | 12.7305 | 4.4807 | 1.0986 | 4.6853 | 0.62747 | 3.509 | 0.69072 | 1.7396 | 0.18755 | 1.0562 | 0.11031 | 2.6291 | 1.7168
%RSD |  |  |  | 2.9739 | 6.5354 | 1.1305 | 28.2301 | 4.8453 | 4.7366 | 5.0036 | 4.3513 | 7.3021 | 6.6255 | 5.9754 | 5.3151 | 4.9491 | 4.6376 | 4.4635 | 3.8493 | 4.0599 | 3.0777 | 14.1186 | 7.0725
known concentration |  |  |  | 254400 | 1492 | 504 | 6958 | 336 | 634 | 70 | 283 | 61 | 16.2 | 81 | 11.7 | 74 | 15.9 | 41 | 5.2 | 29.2 | 3.9 | 30.6 | 25.2
%difference |  |  |  | -2.2665 | -55.3119 | -13.0568 | -85.6108 | 3.2792 | 2.5266 | 1.5046 | 3.3808 | 0.59267 | 2.3572 | -3.1969 | 0.90115 | -4.1862 | -6.328 | -4.9423 | -6.3006 | -10.9085 | -8.0997 | -39.1454 | -3.6714
DS467 | NIST 1400 | bone ash |  | 374721.9463 | 246.4697 | 0.28709 | 225.5678 | 0.41235 | 0.8215 | 0.082594 | 0.29956 | 0.057642 |  | 0.054376 | 0.0078877 | 0.043122 | 0.0085274 | 0.021877 | 0.0032166 | 0.018755 | 0.0030322 | 9.6986 | 0.056115
DS466 | NIST 1400 | bone ash |  | 396623.7843 | 261.0186 | 0.39678 | 240.9034 | 0.41985 | 0.85377 | 0.086626 | 0.3224 | 0.060967 |  | 0.068328 | 0.010072 | 0.058661 | 0.011643 | 0.032177 | 0.00499 | 0.027257 | 0.0041876 | 8.4169 | 0.08459
DS465 | NIST 1400 | bone ash |  | 386688.6013 | 243.4759 | 0.29699 | 235.359 | 0.38399 | 0.76882 | 0.074299 | 0.28103 | 0.059711 |  | 0.054339 | 0.0087366 | 0.049258 | 0.0095287 | 0.025049 | 0.0039912 | 0.022282 | 0.0033812 | 8.3486 | 0.078665
mean |  |  |  | 386011.444 | 250.3214 | 0.32695 | 233.9434 | 0.4054 | 0.8147 | 0.081173 | 0.301 | 0.05944 |  | 0.059015 | 0.0088987 | 0.050347 | 0.0098997 | 0.026367 | 0.0040659 | 0.022765 | 0.0035337 | 8.8214 | 0.073123
1SD |  |  |  | 10966.6099 | 9.3842 | 0.060676 | 7.7651 | 0.018913 | 0.042881 | 0.0062849 | 0.020722 | 0.0016789 |  | 0.0080658 | 0.0011011 | 0.0078262 | 0.0015905 | 0.0052749 | 0.00088906 | 0.0042713 | 0.00059258 | 0.76051 | 0.015025
%RSD |  |  |  | 2.841 | 3.7488 | 18.5579 | 3.3192 | 4.6653 | 5.2635 | 7.7427 | 6.8846 | 2.8245 |  | 13.6674 | 12.3732 | 15.5446 | 16.0657 | 20.0056 | 21.8661 | 18.763 | 16.7695 | 8.6212 | 20.5476
DS468 | NIST1486 | bone meal |  | 274775.9855 | 256.7374 | 0.039472 | 279.7743 | 0.018512 | 0.028185 | 0.0035686 | 0.014897 | 0.0051214 |  | 0.0064989 | 0.00077965 | 0.0046458 | 0.00077263 | 0.0019293 | 0.00040413 | 0.0022756 | 0.00026232 | 1.185 | 0.019689
DS469 | NIST1486 | bone meal |  | 272296.1299 | 265.643 | 0.046081 | 277.3996 | 0.021401 | 0.035458 | 0.0034 | 0.016861 | 0.0056373 |  | 0.006834 | 0.0008179 | 0.0049199 | 0.0011074 | 0.0028249 | 0.00042356 | 0.0022341 | 0.00036472 | 1.2015 | 0.023404
DS470 | NIST1486 | bone meal |  | 258881.194 | 251.9145 | 0.039061 | 267.2245 | 0.018693 | 0.036831 | 0.0034103 | 0.015762 | 0.0055471 |  | 0.0061556 | 0.00086556 | 0.0051243 | 0.00085497 | 0.002647 | 0.00026414 | 0.0022355 | 0.00030053 | 1.1441 | 0.013755
mean |  |  |  | 268651.1031 | 258.0983 | 0.041538 | 274.7995 | 0.019536 | 0.033491 | 0.0034596 | 0.01584 | 0.0054353 |  | 0.0064962 | 0.00082104 | 0.0048967 | 0.00091166 | 0.0024671 | 0.00036394 | 0.0022484 | 0.00030919 | 1.1769 | 0.018949
1SD |  |  |  | 8551.3604 | 6.9647 | 0.0039399 | 6.6667 | 0.0016181 | 0.0046462 | 9.4496e-05 | 0.00098425 | 0.00027552 |  | 0.00033919 | 4.3039e-05 | 0.00024009 | 0.00017443 | 0.00047415 | 8.6977e-05 | 2.357e-05 | 5.1744e-05 | 0.029566 | 0.0048669
%RSD |  |  |  | 3.1831 | 2.6985 | 9.4852 | 2.426 | 8.2828 | 13.873 | 2.7314 | 6.2138 | 5.069 |  | 5.2214 | 5.2421 | 4.9032 | 19.1333 | 19.2192 | 23.8985 | 1.0483 | 16.7354 | 2.5123 | 25.6837
PAAS | [7 empty] | 38 | 80 | 8.9 | 32 | 5.6 | 1.1 | 4.7 | 0.77 | 4.4 | 1 | 2.9 | 0.4 | 2.8 | 0.43
Nance W.B., Taylor S.R. (1976) Rare earth element patterns and crustal evolution-I. Australian post-Archean sedimentary rocks. GCA, 40, 1539.
lab # | sample | material | genus |  |  |  |  | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu
[8 empty] | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS | PAAS
DS451 | UF 95869 | dentine | Eremotherium |  |  |  |  | 0.55751 | 0.43379 | 1.4804 | 3.1281 | 5.9357 | 7.9659 | 10.8569 | 11.6897 | 15.3297 | 17.3832 | 17.996 | 18.6896 | 16.2339 | 16.0807
DS459 | UF 312728 | bone | Eremotherium |  |  |  |  | 0.33789 | 0.43045 | 0.51964 | 0.64997 | 0.98316 | 1.1143 | 1.4553 | 1.6221 | 2.0177 | 2.1663 | 2.5564 | 3.1127 | 2.8671 | 3.2876
DS460 | UF 312730 | dentine | Eremotherium |  |  |  |  | 0.0072779 | 0.0058579 | 0.0078793 | 0.0090132 | 0.011567 | 0.011117 | 0.018038 | 0.021708 | 0.028766 | 0.034039 | 0.04059 | 0.050485 | 0.050489 | 0.058085
DS452 | Uncat | bone | Mammalia indet. |  |  |  |  | 0.47605 | 0.45136 | 0.57055 | 0.69299 | 0.98656 | 1.1762 | 1.2729 | 1.25 | 1.3286 | 1.2444 | 1.2058 | 1.2105 | 1.0387 | 1.0223
DS455 | UF 145778 | enamel | Mammuthus |  |  |  |  | 0.12879 | 0.13199 | 0.17246 | 0.22531 | 0.30806 | 0.40007 | 0.42977 | 0.4269 | 0.49112 | 0.49803 | 0.53831 | 0.59441 | 0.55277 | 0.5646
DS450 | FMNH P15130 | dentine | Megatherium |  |  |  |  | 0.071139 | 0.058485 | 0.060904 | 0.062656 | 0.081471 |  | 0.081463 | 0.054383 | 0.049864 | 0.042372 | 0.044496 | 0.041877 | 0.043761 | 0.040216
DS458 | FMNH P13653 | dentine | Megatherium |  |  |  |  | 0.25269 | 0.26552 | 0.26296 | 0.28304 | 0.3154 | 0.30732 | 0.4056 | 0.35969 | 0.35798 | 0.32683 | 0.32364 | 0.34579 | 0.30322 | 0.29246
DS462 | FMNH P13653 | bone | Megatherium |  |  |  |  | 0.043416 | 0.037823 | 0.040143 | 0.046593 | 0.054921 | 0.045416 | 0.074223 | 0.064337 | 0.063112 | 0.062701 | 0.059856 | 0.062947 | 0.055565 | 0.058808
DS463 | FMNH P13725 | dentine | Megatherium |  |  |  |  | 0.009463 | 0.0051821 | 0.0055317 | 0.005971 | 0.0065168 |  | 0.0086918 | 0.007229 | 0.0068943 | 0.0072712 | 0.0071602 | 0.0076316 | 0.0057836 | 0.0070298
DS453 | UF 87131 | dentine | Nothrotheriops |  |  |  |  | 0.25612 | 0.23083 | 0.28274 | 0.36097 | 0.55198 | 0.7443 | 0.87464 | 0.91321 | 1.1039 | 1.1288 | 1.2659 | 1.4465 | 1.3464 | 1.4282
DS456 | Uncat | bone | Probocidian indet. |  |  |  |  | 4.155 | 2.0608 | 5.0626 | 7.513 | 12.0287 | 16.074 | 23.4851 | 25.5818 | 35.936 | 39.5347 | 43.3467 | 46.9241 | 37.6867 | 40.5975
DS461 | FMNH P14511/14401 | bone | Promegatherium |  |  |  |  | 0.40571 | 0.28409 | 0.25107 | 0.26269 | 0.27101 |  | 0.33197 | 0.27608 | 0.25558 | 0.22281 | 0.21701 | 0.23432 | 0.21239 | 0.19868
DS464 | FMNH P14511/14401 | dentine | Promegatherium |  |  |  |  | 4.2602 | 3.1479 | 4.1369 | 5.0331 | 6.2356 | 7.6678 | 11.5997 | 12.0385 | 13.3718 | 13.5492 | 13.0269 | 12.6496 | 9.7049 | 8.8135
[8 empty] | 0.25612 | 0.26552 | 0.26296 | 0.28304 | 0.3154 | 0.92928 | 0.42977 | 0.4269 | 0.49112 | 0.49803 | 0.53831 | 0.59441 | 0.55277 | 0.5646

## Metadata for solution ICP-MS an
Laboratory and Sample Preparation
Laboratory name | Boise State University Isotope Geology Laboratory
Sample type/mineral | Solution
Sample preparation | Sample powders were dissolved in 0.1 mL 29M HF + 0.3 mL 16M HNO3, dried and redissolved in 0.5 mL 16 M HNO3 3X, diluted gravimetrically in 2% HNO3 for analysis
Solution Autosampler
Make, Model and type | ESI SC 4DX FAST
uptake method | FAST 2.0 mL
Stabilization time | 30 s
Wash | dual rinse 4% HNO3 + trace HF (4 s each)
ICP-MS Instrument
Make, Model and type | ThermoElectron, iCAP-RQ, single quadrupole mass spectrometer
Sample introduction | PFA micromist nebulizer; peltier cooled quartz, cyclonic spray chamber; 2.5 mm quartz injector and quartz torch; Ni cones, high matrix (3.5 mm) skimmer insert
RF power | 1550 W
Nebulizer gas flow | ~1.00 L/min Ar
Detection system | Simultaneous combination of pulse and analog counting using real-time cross calibration
Masses measured and dwell times per peak (ms) | 7Li, 9Be, 11B, 23Na, 24Mg, 27Al, 31P, 39K, 44Ca, 45Sc, 48Ti, 51V, 52Cr, 55Mn, 57Fe, 59Co, 60Ni, 63Cu, 66Zn, 71Ga, 85Rb, 88Sr, 89Y, 90Zr, 93Nb, 95Mo, 111Cd, 115In, 118Sn, 121Sb, 133Cs, 137Ba, 139La, 140Ce, 141Pr, 146Nd, 147Sm, 153Eu, 157Gd, 159Tb, 163Dy, 165Ho, 166Er, 169Tm, 172Yb, 175Lu, 178Hf, 181Ta, 182W, 185Re, 205Tl, 208Pb, 209Bi, 232Th, 238U (10)
Number of sweeps per analysis | 25
Total analysis time | 13.75 s
Analyses per reported sample mean | 5
Data Processing
Blank | 2% HNO3 used for the dilutions of unknowns
Calibration strategy | Linear regression calibration from gravimetrically prepared whole rock powders BHVO-2, BCR-2, BIR-1, AGV-2 (Jochum, K. P., Weis, U., Schwager, B., Stoll, B., Wilson, S. A., Haug, G. H., ... & Enzweiler, J. (2016). Reference values following ISO guidelines for frequently requested rock reference materials. Geostandards and Geoanalytical Research, 40(3), 333-350)
Internal standard | In
Data processing packages | ThermoElectron Qtegra TRA software
Drift correction | Calibration updated from periodic measurements of BHVO-2
Interference correction | 137Ba+16O on 153Eu (153Eu = 153Eu -0.0015*137Ba)
Quality control & validation standards | Gravimetrically prepared dissolutions of whole rock powder W2 (Jochum, K. P., Weis, U., Schwager, B., Stoll, B., Wilson, S. A., Haug, G. H., ... & Enzweiler, J. (2016). Reference values following ISO guidelines for frequently requested rock reference materials. Geostandards and Geoanalytical Research, 40(3), 333-350.), and NIST1400 bone ash, NIST1486 bone meal and NOCS fossil bone material (Chavagnac, V., Milton, J. A., Green, D. R. H., Breuer, J., Bruguier, O., Jacob, D. E., ... & Yuan, H. (2007). Towards the development of a fossil bone geochemical standard: An inter-laboratory study. Analytica Chimica Acta, 599(2), 177-190). Multiple dilutions of a mixed 100 ppm REE standard solution (BDH82025-926) diluted to similar concentrations as the unknowns
Method quantification limit (MQL) | Defined as 3X the standard deviation of the blank analysis associated to the calibration, which is converted into a concentration value using the slope of the calibration function for each analyte, then converted to a concentration by the average dilution factor for the experiment