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Figure 14 Plot of dose rate results at point A with their expanded uncertainties (in black),  (plain red line),  (dashed red lines),  (dotted blue lines)
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Figure 15 Plot of dose rate results at point B with their expanded uncertainties (in black),  (plain red line),  (dashed red lines),  (dotted blue lines)
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Figure 16 Plot of dose rate results at point C with their expanded uncertainties (in black),  (plain red line),  (dashed red lines),  (dotted blue lines)
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Figure 17 Value of performance statistics at point A for dose rate measurements
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Figure 18 Value of performance statistics at point B for dose rate measurements
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Figure 19 Value of performance statistics at point C for dose rate measurements

Total gamma
Table 11 Performance statistics values for depth Ba-133 measurement
	Team
	1
	2
	3
	4
	5&6
	7

	
	50.49
	57.00
	55.000
	45.80
	56.900
	50.300000

	
	0.39
	0.57
	0.030
	0.96
	0.050
	0.000010

	
	-4.0
	8.4
	4.6
	-13
	8.2
	-4.3

	
	-0.41
	0.87
	0.48
	-1.3
	0.85
	-0.45

	
	-0.37
	0.78
	0.43
	-1.2
	0.76
	-0.40

	(%)
	-14
	29
	16
	-45
	28
	-15
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Figure 20 Plot of depth Ba-133 results with their expanded uncertainties (in black),  (plain red line),  (dashed red lines),  (dotted blue lines)
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Figure 21 Value of performance statistics for depth Ba-133 measurement
Table 12 Performance statistics values for depth Eu-152 measurement
	Team
	1
	2
	3
	4
	5&6
	7

	
	36.86
	45.0
	38.00
	39.70
	37.00
	34.5

	
	0.44
	0.9
	0.07
	0.95
	0.20
	0.1

	
	-3.6
	18
	-0.66
	3.8
	-3.3
	-9.8

	
	-0.40
	2.0
	-0.073
	0.42
	-0.36
	-1.1

	
	-0.36
	1.340
	-0.065
	0.37
	-0.32
	-0.96

	(%)
	-13
	65
	-2.4
	14
	-12
	-36
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Figure 22 Plot of depth Eu-152 results with their expanded uncertainties (in black),  (plain red line),  (dashed red lines),  (dotted blue lines)
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Figure 23 Value of performance statistics for depth Eu-152 measurement

Table 13 Performance statistics values for SUM (Ba-133&Eu-152) measurement
	Team
	1
	2
	3
	4
	5&6
	7

	
	52.33
	59.00
	57.00
	65.00
	58.00
	51.80

	
	0.59
	0.10
	0.08
	0.10
	0.10
	0.10

	
	-8.5
	3.17
	-0.33
	14
	1.4
	-9.4

	
	-0.89
	0.33
	-0.034
	1.4
	0.15
	-0.98

	
	-0.79
	0.29
	-0.030
	1.3
	0.13
	-0.87

	(%)
	-29
	11
	-1.1
	47
	4.9
	-33
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Figure 24 Plot of  SUM (Ba-133&Eu-152) results with their expanded uncertainties (in black),  (plain red line),  (dashed red lines),  (dotted blue lines)
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Figure 25 Value of performance statistics for SUM (Ba-133&Eu-152) measurement
Table 14 Performance statistics values for Eu-152/Eu-154 measurement
	Team
	1
	2
	3
	4
	5&6
	7

	
	1.83
	13.0
	18.00
	30.0
	17.20
	15.62

	
	0.53
	1.3
	0.20
	8.0
	0.89
	0.12

	
	-89
	-18
	13
	88
	7.9
	-2.0

	
	-1.4
	-0.29
	0.20
	1.4
	0.12
	-0.031

	
	-1.2
	-0.26
	0.18
	1.2
	0.11
	-0.028

	(%)
	-46
	-9.5
	6.7
	46
	4.1
	-1.0
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Figure 26 Plot of  Eu-152/Eu-154 results with their expanded uncertainties (in black),  (plain red line),  (dashed red lines),  (dotted blue lines)
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Figure 27 Value of performance statistics for Eu-152/Eu-154 measurement

Table 15 Performance statistics values for Cs-137 measurement
	Team
	1
	2
	3
	4
	5&6
	7

	
	8830
	7385
	3950.0
	3680
	3437.0
	20400

	
	2217
	2215
	5.0
	3257
	1.3
	32

	
	29.50
	8.3
	-42
	-46
	-50
	199

	
	0.44
	0.12
	-0.63
	-0.69
	-0.74
	3.0

	
	0.39
	0.11
	-0.56
	-0.62
	-0.66
	2.7

	(%)
	15
	4.2
	-21
	-23
	-25
	100
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Figure 28 Plot of  Cs-137 results with their expanded uncertainties (in black),  (plain red line),  (dashed red lines),  (dotted blue lines)
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Figure 29 Value of performance statistics for Cs-137 measurement





image7.png
65

B 3
(wo) g |-vg ydep

40

586

teams




image8.png
depth BA-133 (cm) - z and z prime scores

Value
o

-2

teams

5o~

Ili




image9.png
50

e
(wo)

g
261-n3 tdap

ES

586

teams.




image10.png
depth Eu-152 (cm) - z and z prime scores

o
32 [
L -——

teams





image11.png
(wo) (zg4-n3 8 gl -eg) NS wadep

45

586

teams.




image12.png
depth SUM(Ba-133 & Eu-152) (cm) - z and z prime scores

3
o [

3 586 2
teams




image13.png
50

40

bG1-N3/Z51-N3

10

586

teams.




image14.png
Eu-152/Eu-154 - z and z prime scores

Value

teams

II-;

B~




image15.png
Ba/m?)

Cs-13

20000

15000

10000

5000

! 2 3 4 e 7
teams




image16.png
Cs-137 (Bg/m?) - z and z prime scores

3
2 . .

586
teams

llg

B~




image1.png
06

S
e

Dose rate point A (LSv/h)

o
N

team 5

team &

team 2

team 4

team 7

team 3

team 1




image2.png
150

N
5

Dose rate point B (uSv/h)
2
3

075

0.50

team 2

team 5

team 6

team 4
teams

team 7

team 1

team 3




image3.png
40

w
o

Dose rate point C (uSv/h)
w
s

™
o

20

team 6

team 7

team 4

team 5
teams

team 2

team 1

team 3




image4.png
Dose rate point A (uSv/h) - z, z prime and zeta scores

Value
o

team 4 team7

team5 team 6 team 2
teams

team 3

team 1




image5.png
Value

-2

Dose rate point B (uSv/h) - z, z prime and zeta scores

.

team 2

team5

team 6

team 4. team7 team 1 team3
teams




image6.png
Dose rate point C (uSv/h) - z, z prime and zeta scores

| ol

—_—__—

Value
o

team 6 team7 team 4 team5 team 2 team 1 team 3

teams




