Supplementary Information

Table 1  Activity concentrations of the different 241Am solutions. The manufacturer (Eckert & Ziegler Nuclitec GmbH) of the stock solution states an uncertainty of the activity of 15%. The uncertainty of the activity from the diluted solutions and the pH-value was calculated using Gaussian error propagation.

| Solution | Dilutant | Activity concentration |  | pH |
| --- | --- | --- | --- | --- |
|  |  | per 20 µl (kBq) | per 100 µl (MBq) |  |
| Stock | x | 40(6)E1 | 2.0(3) | 0 |
| Main dilution | MilliQ-water | 3.7(6) |  | 2.04(1) |
| Molarity solution | HNO3 | 1.1(2) |  | 0 |
| Radioluminescence solutions |  |  |  |  |
| A = Stock | x |  | 2.0(3) | 0 |
| B | MilliQ-water |  | 1.3(2) | 0.174(3) |
| C | MilliQ-water |  | 1.0(2) | 0.306(1) |
| D | MilliQ-water |  | 0.49(7) | 0.614(4) |
| E | MilliQ-water |  | 0.20(3) | 0.995(5) |
| F | MilliQ-water |  | 0.11(2) | 1.26(2) |
| G | MilliQ-water |  | 0.06(1) | 1.54(1) |

Table 2 Count rates from radioluminescence- and PIPS-measurements. The uncertainties of the netto count rates are in the 1-σ-range. After background substraction their uncertainties were calculated using Gaussian error propagation. The manufacturer (Eckert & Ziegler Nuclitec GmbH) of the stock solution states an uncertainty of the activity of 15%. The uncertainty of the activity from the diluted solutions and for each sample was calculated using Gaussian error propagation.

| Sample | Activity (MBq) | Count rate (s-1) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Radioluminscence |  | PIPS |
|  |  | UVA | UVC |  |
| E9 | 0.47(7) | 2.80(8)E2 | x | x |
| E6 | 0.52(8) | 2.96(9)E2 | 1.5(0)E1 | x |
| E7 | 1.0(2) | 5.2(2)E2 | 2.5(1)E1 | x |
| E5 | 2.0(3) | 1.15(4)E3 | 4.6(1)E1 | x |
| E10 | 2.1(3) | 1.08(3)E3 | 4.1(1)E1 | x |
| E11 | 4.1(6) | 2.10(6)E3 | 8.4(3)E1 | x |
| E8 | 8.2(12) | 4.3(1)E3 | 1.7(1)E2 | x |
| E12 | 12(2) | 6.6(2)E3 | 2.5(1)E2 | x |
| E3 | 20(3) | 11.9(4)E3 | 4.7(1)E2 | x |
|  |  |  |  | x |
| N7 | 0.52(8) | 1.80(5)E2 | 5(0) | x |
| N8 | 0.52(8) | 1.28(4)E2 | 3(0) | x |
| N6 | 1.0(2) | 3.5(1)E2 | 1.2(0)E1 | x |
| N4 | 2.1(3) | 4.7(1)E2 | 1.8(1)E1 | x |
| N5 | 2.1(3) | 5.4(2)E2 | 2.1(1)E1 | x |
| N2 | 4.2(6) | 1.31(4)E3 | 4.9(1)E1 | x |
| N1 | 8.4(13) | 1.86(5)E3 | 6.3(2)E1 | x |
| 108 | 0.16(2) | 1.34(4)E2 | 5(0) | 5(1) |
| 209 | 0.48(7) | 2.22(7)E2 | x | 5(1) |
| 104 | 0.52(8) | 2.28(7)E2 | x | 5(1) |
| 203 | 0.52(8) | 2.25(7)E2 | x | 8(1) |
| 205 | 0.52(8) | 2.97(9)E2 | x | 1.1(2)E1 |
| 204 | 0.52(8) | 3.06(9)E2 | x | 1.7(3)E1 |
| 208 | 0.52(8) | 3.09(9)E2 | 1.2(0)E1 | 1.9(4)E1 |
| 112 | 0.52(8) | 2.97(9)E2 | x | 1.3(4)E1 |
| 306 | 0.52(8) | 1.98(6)E2 | x | 8(2)E1 |
| 302 | 1.0(2) | 6.2(2)E2 | 2.6(1)E1 | 3.5(6)E1 |
| 303 | 1.8(3) | 1.10(3)E3 | 3.8(1)E1 | 4.8(9)E1 |
| 207 | 1.9(3) | 5.6(2)E2 | 2.3(1)E1 | 5(2)E1 |
| 109 | 4.4(7) | 1.42(4)E3 | 6.5(2)E1 | 9(3)E1 |
| 107 | 8.7(13) | 9.0(3)E2 | 4.0(1)E1 | 1.9(6)E1 |
| 107_2 | 8.7(13) | x | x | 1.6(5)E1 |
| 301 | 9.1(14) | 6.3(2)E2 | 2.7(1)E1 | 5(1)E1 |
| 301_2 | 9.1(14) | x | x | 4(1)E1 |
| 103 | 12(2) | 4.7(1)E2 | 4.4(1)E1 | 1.2(4)E1 |
| 103_2 | 12(2) | x | x | 1.3(4)E1 |
| 105 | 18(3) | 4.8(2)E2 | 1.7(1)E1 | 2.4(8)E1 |

Table 3 Results of the radioluminescence measurements. The activity of the sample could be calculated using a 210Po standard. As a metric for the agreement between the measured activity (column 2) and deduced activity (columns 3 and 5), the activity ratio Ractivity= Anominal×Acalculated-1 ×100% has been introduced. The uncertainties of the activities and ratios were calculated using Gaussian error propagation.

| Sample | Activity nominal (MBq) | Calculated activity UVA (MBq) | Ractivity UVA (%) | Calculated activity UVC (MBq) | Ractivity UVC (%) |
| --- | --- | --- | --- | --- | --- |
| Leaves |  |  |  |  |  |
| E9 | 0.47(7) | 0.4(1) | 89.5(2) | <LoD* |  |
| E6 | 0.52(8) | 0.5(1) | 85.7(2) | 0.6(1) | 122.9(2) |
| E7 | 1.0(2) | 0.8(1) | 75.7(3) | 1.1(1) | 102.9(2) |
| E5 | 2.0(3) | 1.7(2) | 85.6(2) | 2.0(3) | 98.2(2) |
| E10 | 2.1(3) | 1.6(2) | 77.9(2) | 1.8(2) | 85.8(2) |
| E11 | 4.1(6) | 3.2(4) | 77.8(2) | 3.6(5) | 89.2(2) |
| E8 | 8.2(12) | 6.5(8) | 79.2(2) | 7.2(9) | 87.9(2) |
| E12 | 12(2) | 10(1) | 81.1(2) | 11(1) | 89.0(2) |
| E3 | 20(3) | 18(2) | 88.3(2) | 20(3) | 99.5(2) |
| Mean |  |  | 82.3(2) |  | 96.9(2) |
| Needles |  |  |  |  |  |
| N7 | 0.52(8) | 0.3(0) | 52.2(4) | 0.2(0) | 42.4(5) |
| N8 | 0.52(8) | 0.2(0) | 36.9(5) | 0.1(0) | 22.8(11) |
| N6 | 1.0(2) | 0.5(1) | 50.3(4) | 0.5(1) | 49.8(5) |
| N4 | 2.1(3) | 0.7(1) | 34.1(5) | 0.8(1) | 36.8(5) |
| N5 | 2.1(3) | 0.8(1) | 39.0(5) | 0.9(1) | 43.9(4) |
| N2 | 4.2(6) | 2.0(2) | 46.8(4) | 2.1(3) | 49.9(4) |
| N1 | 8.4(13) | 2.8(3) | 33.6(6) | 2.7(3) | 32.6(6) |
| Mean |  |  | 41.8(5) |  | 39.7(6) |
| Concrete |  |  |  |  |  |
| 108 | 0.16(2) | 0.2(0) | 118.7(1) | 0.2(0) | 122.5(1) |
| 209 | 0.48(7) | 0.3(0) | 67.5(2) | Not measured |  |
| 104 | 0.52(8) | 0.3(0) | 64.4(3) | Not measured |  |
| 203 | 0.52(8) | 0.3(0) | 63.3(3) | Not measured |  |
| 205 | 0.52(8) | 0.4(0) | 83.7(2) | Not measured |  |
| 204 | 0.52(8) | 0.4(0) | 85.9(2) | Not measured |  |
| 208 | 0.52(8) | 0.5(0) | 86.9(2) | 0.5(1) | 94.7(2) |
| 112 | 0.52(8) | 0.4(0) | 83.4(2) | Not measured |  |
| 306 | 0.52(8) | 0.3(0) | 55.6(3) | Not measured |  |
| 302 | 1.0(2) | 0.9(1) | 88.2(2) | 1.1(1) | 108.4(2) |
| 303 | 1.8(3) | 1.6(1) | 88.1(2) | 1.6(1) | 87.6(2) |
| 207 | 1.9(3) | 0.8(1) | 43.4(4) | 1.0(1) | 51.6(3) |
| 109 | 4.4(7) | 2.1(1) | 46.6(4) | 2.7(2) | 61.5(3) |
| 107 | 8.7(13) | 1.3(1) | 15.0(11) | 1.7(1) | 19.0(9) |
| 301 | 9.1(14) | 0.9(1) | 10.2(17) | 1.1(1) | 12.5(14) |
| 103 | 12(2) | 0.7(1) | 5.7(32) | 1.8(1) | 15.3(12) |
| 105 | 18(3) | 0.7(1) | 3.8(46) | 0.7(1) | 3.9(48) |
| Mean |  |  | 59.4(8) |  | 57.7(10) |

*The UVC signal of sample E9 was below the limit of detection (LoD).

Table 4 Sample Activities. The uncertainty of the activity of each sample was calculated using Gaussian error propagation.

|  | Main dilution | 3.7(6) kBq per 20µl |
| --- | --- | --- |
| Sample | Number of droplets × Volume | Activity (kBq) |
| E1 | 1×20µl | 3.7(6) |
| E2 | 1×20µl | 3.3(5) |
| N1 | 1×20µl | 3.8(6) |
| N2 | 1×20µl | 3.7(6) |
| E9 | 25×100µl | 4.7(7)E2 |
|  | Stock solution | 2.0(3) MBq per 100µl |
| Ivy | Number of droplets × Volume | Activity (MBq) |
| E3 | 10×100µl | 20(3) |
| E5 | 1×100µl | 2.0(3) |
| E6 | 1×25µl | 0.52(8) |
| E7 | 2×25µl | 1.0(2) |
| E8 | 4×100µl | 8.2(12) |
| E10 | 4×25µl | 2.1(3) |
| E11 | 2×100µl | 4.1(6) |
| E12 | 6×100µl | 12(2) |
|  | Stock solution | 2.0(3) MBq per 100µl |
| Pine needles | Number of droplets × Volume | Activity (MBq) |
| N1 | 16×25µl | 8.4(13) |
| N2 | 8×25µl | 4.2(6) |
| N4 | 4×25µl | 2.1(3) |
| N5 | 4×25µl | 2.1(3) |
| N6 | 2×25µl | 1.0(2) |
| N7 | 1×25µl | 0.52(8) |
| N8 | 1×25µl | 0.52(8) |
|  | Main dilution | 3.7(6) kBq per 20µl |
| Concrete | Number of droplets × Volume | Activity (kBq) |
| Roughness |  |  |
| 108 | 1×20µl | 3.7(6) |
| 104 | 1×20µl | 3.7(6) |
| 110 | 1×20µl | 3.6(6) |
|  | Molarity solution | 1.1(2) kBq per 20µl |
| Molarity |  |  |
| 309 | 2×20µl | 2.2(4) |
| Radioluminescence | 9×100µl |  |
|  | Radioluminescence solutions A-G |  |
| 103 | B | 12(2) |
| 104 | G | 0.52(8) |
| 105 | A | 18(3) |
| 107 | C | 8.7(13) |
| 108 | Main dilution | 0.16(2) |
| 109 | D | 4.4(7) |
| 112 | G | 0.52(8) |
| 203 | G | 0.52(8) |
| 204 | G | 0.52(8) |
| 205 | G | 0.52(8) |
| 207 | E | 1.9(3) |
| 208 | G | 0.52(8) |
| 209 | G | 0.48(7) |
| 301 | C | 9.1(14) |
| 302 | F | 1.0(2) |
| 303 | E | 1.8(3) |
| 306 | G | 0.52(8) |