Supplemental Table S1: Titration of Positive TAb/Negative NAb Samples in the anti-AAVrh.10 Total Antibody Assay

|  |  | S1 |  | S2 |  | S3 |  | S4 |  | S5 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dilution in Normal Human Serum | Dilution at MRD 10 | S/N | CV (%) | S/N | CV (%) | S/N | CV (%) | S/N | CV (%) | S/N | CV (%) |
| Neat | 10 | 1.163 | 7.7 | 2.083 | 3.1 | 1.047 | 2.4 | 1.015 | 3.9 | 1.191 | 2.5 |
| 2 | 20 | 0.983 | 9.6 | 1.487 | 3.4 | 0.969 | 3.6 | 1.012 | 0.5 | 1.033 | 5.3 |
| 4 | 40 | 0.959 | 4.2 | 1.163 | 0.9 | 0.952 | 1.0 | 1.004 | 2.5 | 0.994 | 1.0 |
| 8 | 80 | 0.916 | 3.3 | 1.078 | 1.8 | 0.955 | 0.5 | 0.962 | 6.7 | 1.022 | 2.9 |
| 16 | 160 | 0.902 | 0.0 | 1.015 | 2.0 | 0.934 | 0.5 | 1.015 | 2.9 | 0.983 | 2.5 |
| 32 | 320 | 0.923 | 1.1 | 1.026 | 0.5 | 0.899 | 2.8 | 0.969 | 1.5 | 1.026 | 0.5 |
| 64 | 640 | 0.962 | 0.5 | 1.001 | 3.0 | 0.973 | 3.1 | 1.110 | 12.1 | 1.001 | 0.0 |
| 128 | 1280 | 0.962 | 3.6 | 1.012 | 3.4 | 1.004 | 0.5 | 1.015 | 4.9 | 1.036 | 2.9 |
| Bold Shaded indicates ≥ TCP (1.40) |  |  |  |  |  |  |  |  |  |  |  |

Five normal serum samples (denoted S1-S5) that screened positive in the anti-AAVrh.10 TAb assay and negative in the NAb assay were tittered in the TAb assay. Each sample was diluted in normal human serum pool (NC) in a two-fold dilution series, then an MRD of 1:10 was applied to each sample. The mean normalized signal and %CV for each sample dilution is displayed in the table.