Limonene oxide isomerization – a broad study of acid catalyst effects

Anna Rejzková, Eliška Vyskočilová

Department of Organic Technology, University of Chemistry and Technology Prague, Technická 5, Praha 6, Czech Republic

anna.rejzkova@vscht.cz, eliska.vyskocilova@vscht.cz

Fig. S1. Chromatogram of reaction mixture using tungstophosphoric acid after 1 h

Fig. S2. Chromatogram of reaction mixture using Amberlyst-15 dry after 1 h

Fig. S3. MS spectra of cis-limonene oxide

Fig. S4. MS spectra of trans-limonene oxide

Fig. S5. MS spectra of p-cymene

Fig. S6. MS spectra of aldehyd

Fig. S7. MS spectra of cis-dihydrocarvone

Fig. S8. MS spectra of trans-dihydrocarvone

Fig. S9. MS spectra of endo-carveol

Fig. S10. MS spectra of exo-carveol

Fig. S11. MS spectra of carvone

Fig. S12. MS spectra of carvenone

Fig. S13. MS spectra of limonene diol

Tab. S1. Temperature program of GC-FID

| Temperature of injector | 250 °C |
| --- | --- |
| Initial temperature | 80 °C |
| Hold of initial temperature | 5 min |
| First temperature ramp | 7 °C/min |
| End temperature of first ramp | 150 °C |
| Second temperature ramp | 20 °C/min |
| End temperature | 250 °C |
| Hold of end temperature | 5 min |
| Temperature of detector | 250 °C |

Tab. S2: Parameters of column for GC-FID

| Column | HP-5 |
| --- | --- |
| Length | 30 m |
| Inner diameter | 0.35 mm |
| Thin of layer | 0.25 µm |
| Carrying gas | hydrogen |
| Pressure | 51 kPa |
| Flow in column | 4 ml/min |

Tab. S3: Temperature program of GC-MS (GC part)

| Initial temperature | 80 °C |
| --- | --- |
| Hold of initial temperature | 5 min |
| Temperature ramp | 10 °C/min |
| End temperature | 250 °C |
| Hold of end temperature | 5 min |

Tab. S4: Temperature program of GC-MS (MS part)

| MS detector | quadrupol |
| --- | --- |
| Interface temperature | 250 °C |
| Temperature of ion source | 220 °C |
| End temperature | 250 °C |
| Voltage (sensitivity) | 0.9 kV |

Tab. S5: Parameters of column for GC-MS

| Column | DBH-5 |
| --- | --- |
| Length | 35 m |
| Inner diameter | 0.2 mm |
| Thin of layer | 0.35 µm |
| Carrying gas | helium |
| Pressure | 198.2 kPa |
| Flow in column | 1.11 ml/min |