Table 1 The parameters used to perform the Multiple Reaction Monitoring quantification of ABA and IAA

| Monitored ions | retention time [min] | collision energy [eV] | primary ion (quantifier) | secondary ions (qualifier) |
| --- | --- | --- | --- | --- |
| ABA | 2.59 | 4 4 | 265.2 | 229.1 247.1 |
| IAA | 2.17 | 9 53 | 176.1 | 130.3 77.2 |
| D-IAA | 2.13 | 14 50 | 181.1 | 134.7 81.4 |
| D-ABA | 2.56 | 10 18 | 271.2 | 167.1 139.1 |

ABA abscisic acid, D-ABA deuterated ABA used as internal standard, D-IAA deuterated IAA used as internal standard, IAA indole-3-acetic acid