Anthropogenic and natural impacts on surface water quality: The consequences and challenges at the nexus of waste management facilities, industrial zones, and protected areas

Anna Podlaseka,*, Eugeniusz Kodaa, Adriana Kwasa, Magdalena Daria Vaverkováa,b,

Aleksandra Jakimiuka

aDepartment of Revitalization and Architecture, Institute of Civil Engineering, Warsaw University of Life Sciences – SGGW, Nowoursynowska 159, 02 776, Warsaw, Poland;

anna_podlasek@sggw.edu.pl, eugeniusz_koda@sggw.edu.pl, ada.kwas@onet.pl, magdalena_vaverkova@sggw.edu.pl,

aleksandra_jakimiuk@sggw.edu.pl

bDepartment of Applied and Landscape Ecology, Faculty of AgriSciences, Mendel University in Brno, Zemědělská 1, 613 00, Brno, Czech Republic; magdalena.vaverkova@mendelu.cz

*Corresponding author: Anna Podlasek, anna_podlasek@sggw.edu.pl

Supplementary materials

Table S1. Hydrogeological conditions in the landfill area.

| Characteristics | Description |
| --- | --- |
| Study area | The study area is within a denuded glacial upland region, identified explicitly as the Warsaw-Blonie erosional terrace. This region is part of the central area of the Warsaw Basin, which is characterized as a syncline within Mesozoic rock formations. The syncline is filled with Tertiary deposits overlain by Quaternary sediments. |
| Geological Structure | The surface of the Pliocene and its thickness exhibit significant variations due to glacial-tectonic processes. The depth of the Pliocene bedrock ranges from several to several dozen meters, and it is occasionally exposed at the surface (northwestern part). |
| First aquifer | The first aquifer is found at a depth of 0.3 to 1.5 m b.s.l. and was primarily susceptible to leachate seepage from the unsealed landfill between 1961 and 2000. Following the installation of a vertical barrier around the landfill in November 2000, the infiltration of contaminants into this aquifer was stopped. The first aquifer is associated with sandy soils (comprising sands of varying granulometry, and gravel) overlying glacial till and filling non-draining depressions and small stream valleys. The depth to the water table in piezometers varies within the range of 0.3 to 2.0 meters b.s.l. The status and fluctuations of the first aquifer level are almost entirely dependent on weather conditions, seasons, and local drainage conditions. |
| Second aquifer | The second, non-continuous Quaternary aquifer is situated at a depth of over 20 m b.s.l. and is completely isolated from the surface by layers of glacial till. The second aquifer, occurring locally in Quaternary deposits at a depth of 20 to 25 m b.s.l., is primarily confined to fossilized depressions within the tectonically disturbed Pliocene clays. These depressions function as groundwater reservoirs with a very limited hydraulic connection to the near-surface waters of the first aquifer level |
| Quaternary deposits | Within the Quaternary deposits covering most of the area, there are predominantly water-laid sand and gravel formations, locally of lacustrine origin (Pleistocene). These deposits are occasionally overlain by sands of varying granulometry or mud and peat (Holocene). These deposits rest on glacial till from the maximum stage of the Middle Polish glaciation (Pleistocene). |
| Watershed and watercourses | The landfill is situated in the watershed of the Łasica River, a right-bank tributary of the Bzura River. Surface waters from this region flow through a network of small streams and drainage ditches, reaching the Lipkowska Woda stream, which is a tributary of the Zaborowski Canal (an artificial watercourse). The Zaborowski Canal was constructed along the local depressions in the terrain, leading to the Łasica River. Both the Zaborowski Canal and Łasica River pass through the protected area of the Kampinos National Park and its buffer zone. Waters from the vicinity of the landfill and composting facility currently do not have direct outlets into these watercourses. However, during periods of thaw or heavy rainfall when the surrounding drainage ditches were filled with water, direct discharge of leachate may have periodically occurred in the past. Along the eastern edge of the monitored area, there is a ditch that directs water directly into the Lipkowska Woda stream. In the past, a small stream used to flow through the landfill area (from southeast to northwest), but its course was disrupted by the landfill, railway line, and the embankment on Estrady Street. To the west of Estrady Street, partially faded traces of this stream are still visible. Along Estrady Street, there is a drainage ditch that collects water and directs it to Lipkowska Woda. In 2007, this ditch underwent maintenance and deepening. |
| Vertical barrier | The flow of groundwater in the first aquifer is currently controlled by the installation of a vertical barrier around the landfill. This barrier prevents the mixing of waters flowing in from the southeast and prevents the discharge of heavily contaminated leachate in a northwest direction. The hydrogeological conditions in the study area are influenced by the hydrographic system, geological structure, lithology of the substrate, and the vertical barrier that has been constructed. |
| Permeability coefficient | The permeability of the sediments in the near-surface zone of the monitored area varies from highly permeable to impermeable. The filtration coefficients for the first aquifer level are as follows: medium sands (k ≈ 1.7 10-4 m/s), fine sands (k ≈ 6.4 10-5 m/s), sandy clays (k ≈ 9.4 10-6 m/s and k ≈ 1.1 10-7 m/s) and clays (k ≈ 1 10-10 m/s). |
| Groundwater flow | The groundwater flow in the southern part generally follows a northwest direction, associated with a stream valley's historical course. However, beyond the landfill, in the area of the composting facility, the flow direction changes to the north. |
| Hydraulic gradient and flow velocity | Based on the observations conducted as part of the water monitoring program from 1998 to 2009, it has been observed that slight hydraulic gradients, particularly in areas with finer-grained sediments in the southern and eastern parts of the monitored area, result in slow groundwater flow rates in those regions. On the other hand, groundwater flow rates are slightly higher on the western and northern sides, where the hydraulic gradient is about 8‰, and the flow velocity is approximately 1.4 10-6 m/s (Koda, 2011). However, this is still a relatively low value, which can be subject to variations depending on the flow direction, lithology of the aquifer layer, and hydro-meteorological factors. |

Table S2. Limit values of pollution indicators in water, own study.

| No. | Indicator | Unit | Value for different quality classes of surface water (Journal of Laws 2021, item 1475) |  | Surface water quality criteria for different uses (Kausar et al., 2019) | Limit values for surface water (Sargaonkar and Deshpande, 2003) | Guidelines for drinking water quality (WHO, 2008) | Maximum allowable concentrations of selected water quality variables (Chapman, 2021) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | I | II |  |  |  |  |
| 1 | Dissolved oxygen | mg O2/L | ≥ 7.5 | ≥ 6.8 | 6a 5b 4c,d 3e | - | - |  |
| 2 | Biochemical oxygen demand (BOD5) | mg O2/L | ≤ 3.0 | ≤ 4.5 | 2a 3b,c | 1.5f 3.0g 6.0h 12.0i 24.0j | - | 3.0-6.0x |
| 3 | Chemical oxygen demand (CODCr) | mg O2/L | ≤ 25.0 | ≤ 30.0 | - | - | - |  |
| 4 | Total organic carbon (TOC) | mg C/L | ≤ 10.0 | ≤ 11.8 | - | - | - |  |
| 5 | Electrical conductivity | μS/cm | ≤ 549 | ≤ 620 | 1000d 2500e | - | - |  |
| 6 | Sulphates | mg SO4/L | ≤ 42.0 | ≤ 57.0 | 400a,c 1000e | 150f 250g 400h 1000i >1000j | >400k 400l >250m |  |
| 7 | Chlorides | mg Cl/L | ≤ 26.0 | ≤ 33.7 | 250a 600c,e | 150f 250g 600h 800i >800j | 250 |  |
| 8 | pH | - | 7.0-7.9 | 7.0-7.9 | 6.5-8.5a,b,c,d 6.0-8.5e | 6.5-7.5f 6.0-6.5 and 7.5-8.0g 5.0-6.0 and 8.0-9.0h 4.5-5.5 and 9.0-9.5i <4.5 and >9.5j | 6.5-9.5n | 6.0-9.0 x |
| 9 | Ammonium nitrogen | mg N-NH4/L | ≤ 0.250 | ≤ 0.738 | - | - | >35.0o >1.5p | 0.04-1.0 x |
| 10 | Kjeldahl nitrogen | mg N/L | ≤ 1.0 | ≤ 1.6 | - | - |  |  |
| 11 | Nitrate | mg N-NO3/L | ≤ 2.2 | ≤ 3.4 | 20a 50c | 20f 45g 50h 100i 200j | 50 |  |
| 12 | Nitrite | mg N-NO2/L | ≤ 0.01 | ≤ 0.03 | - | - | 3r 0.2s | 0.01-0.03x |
| 13 | Total nitrogen | mg N/L | ≤ 3.2 | ≤ 4.9 | - | - | - | - |
| 14 | Orthophosphates | mg P-PO4/L | ≤ 0.065 | ≤ 0.101 | - | - | - | - |
| 15 | Total phosphorus | mg P/L | ≤ 0.20 | ≤ 0.30 | - | - | - | - |
| 16 | Total chromium | mg Cr/L | ≤ 0.05 |  | - | - | 0.05 |  |
| 17 | Chromium (VI) | mg Cr6+/L | ≤ 0.02 |  | - | - | - | - |
| 18 | Zinc | mg Zn/L | ≤ 1.0 |  | - | - | >3.0t | 0.03-2.0 x |
| 19 | Copper | mg Cu/L | ≤ 0.05 |  | - | - | 2.0 >2.5u | 0.005-0.112x |
| 20 | Lead | mg Pb/L | - |  | 0.1a,c | - | 0.01 | - |
| 21 | Cadmium | mg Cd/L | - |  |  | - | 0.003 | - |
| 22 | Mercury | mg Hg/L | - |  | - | - | 0.006v 0.001w | - |
| 23 | PAH | mg/L | - |  | - | - | 0.0007 | - |

Notes: a - Drinking water source without conventional treatment but after disinfection; b - Outdoor bathing (organised); c - Drinking water source with conventional treatment followed by disinfection; d - Propagation of wildlife, fisheries; e - Irrigation, industrial cooling, controlled waste disposal; f – excellent water quality; g – acceptable water quality; h – slightly polluted water quality; i – polluted water quality; j – heavily polluted water quality; k – markedly impair the potability of water; l – guideline based on taste consideration; m – may cause a noticeable taste and contribute to the corrosion of distribution systems; n – optimum value; o – can cause taste problem; p – can cause odour problem; r – short-term exposure; s – long-term exposure; t – may not be acceptable to consumers; u – undesirable bitter taste of water; v – for inorganic mercury; w – for total mercury, x -  limit values for fisheries and aquatic life.

Figure S1. Temporal changes and box and whiskers plots of surface water quality parameters: Cr (a), Hg (b), PAHs (c).

Table S3. The summary of WQI and CI values in surface water monitoring points C, D, F.

| Parameter | pH | EC | Cl- | NH4+ | SO42- | BOD5 | Zn | Cd | Pb | Cu | Cr | Hg | PAH |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Point C |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ci | 7.72 | 937.61 | 90.98 | 0.91 | 104.55 | 4.38 | 0.05 | 0.0005 | 0.0058 | 0.0041 | 0.0101 | 0.0002 | 3.28E-05 |
| Wai | 4 | 5 | 4 | 4 | 4 | 4 | 2 | 2 | 5 | 2 | 5 | 5 | 5 |
| Wr | 0.078 | 0.098 | 0.078 | 0.078 | 0.078 | 0.078 | 0.039 | 0.039 | 0.098 | 0.039 | 0.098 | 0.098 | 0.098 |
| Si | 6,5-8,5 | 1000 | 250 | 0.5 | 250 | 3 | 1 | 0.003 | 0.01 | 2 | 0.05 | 0.001 | 0.0007 |
| Qi | 143.67 | 93.76 | 36.39 | 182.71 | 41.82 | 146.10 | 4.84 | 15.27 | 57.74 | 0.20 | 20.26 | 18.06 | 4.69 |
| SIi | 11.27 | 9.19 | 2.85 | 14.33 | 3.28 | 11.46 | 0.19 | 0.60 | 5.66 | 0.01 | 1.99 | 1.77 | 0.46 |
| ∑Wai | 51 |  |  |  |  |  |  |  |  |  |  |  |  |
| WQI | 63.06 |  |  |  |  |  |  |  |  |  |  |  |  |
| PI | 1.03 | 0.94 | 0.36 | 1.83 | 0.42 | 1.46 | 0.05 | 0.15 | 0.58 | 0.00 | 0.20 | 0.18 | 0.05 |
| n | 13 |  |  |  |  |  |  |  |  |  |  |  |  |
| CPI | 0.56 |  |  |  |  |  |  |  |  |  |  |  |  |
| Point D |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ci | 7.75 | 969.09 | 117.00 | 2.58 | 100.05 | 6.69 | 0.05 | 0.0005 | 0.0058 | 0.0042 | 0.0101 | 0.0002 | 3.31E-05 |
| Wai | 4 | 5 | 4 | 4 | 4 | 4 | 2 | 2 | 5 | 2 | 5 | 5 | 5 |
| Wr | 0.078 | 0.098 | 0.078 | 0.078 | 0.078 | 0.078 | 0.039 | 0.039 | 0.098 | 0.039 | 0.098 | 0.098 | 0.098 |
| Si | 6.5-8.5 | 1000 | 250 | 0.5 | 250 | 3 | 1 | 0.003 | 0.01 | 2 | 0.05 | 0.001 | 0.0007 |
| Qi | 149.29 | 96.91 | 46.80 | 516.88 | 40.02 | 223.04 | 4.99 | 15.10 | 58.13 | 0.21 | 20.25 | 19.06 | 4.72 |
| SIi | 11.71 | 9.50 | 3.67 | 40.54 | 3.14 | 17.49 | 0.20 | 0.59 | 5.70 | 0.01 | 1.99 | 1.87 | 0.46 |
| ∑Wai | 51 |  |  |  |  |  |  |  |  |  |  |  |  |
| WQI | 96.86 |  |  |  |  |  |  |  |  |  |  |  |  |
| PI | 1.03 | 0.97 | 0.47 | 5.17 | 0.40 | 2.23 | 0.05 | 0.15 | 0.58 | 0.00 | 0.20 | 0.19 | 0.05 |
| n | 13 |  |  |  |  |  |  |  |  |  |  |  |  |
| CPI | 0.88 |  |  |  |  |  |  |  |  |  |  |  |  |
| Point F |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Ci | 7.69 | 975.60 | 120.74 | 1.79 | 101.36 | 7.03 | 0.05 | 0.0004 | 0.0056 | 0.0130 | 0.0101 | 0.0002 | 3.23E-05 |
| Wai | 4 | 5 | 4 | 4 | 4 | 4 | 2 | 2 | 5 | 2 | 5 | 5 | 5 |
| Wr | 0.078 | 0.098 | 0.078 | 0.078 | 0.078 | 0.078 | 0.039 | 0.039 | 0.098 | 0.039 | 0.098 | 0.098 | 0.098 |
| Si | 6.5-8.5 | 1000 | 250 | 0.5 | 250 | 3 | 1 | 0.003 | 0.01 | 2 | 0.05 | 0.001 | 0.0007 |
| Qi | 137.06 | 97.56 | 48.30 | 358.57 | 40.54 | 234.24 | 4.75 | 14.57 | 56.29 | 0.65 | 20.23 | 18.00 | 4.62 |
| SIi | 10.75 | 9.56 | 3.79 | 28.12 | 3.18 | 18.37 | 0.19 | 0.57 | 5.52 | 0.03 | 1.98 | 1.76 | 0.45 |
| ∑Wai | 51 |  |  |  |  |  |  |  |  |  |  |  |  |
| WQI | 84.28 |  |  |  |  |  |  |  |  |  |  |  |  |
| PI | 1.02 | 0.98 | 0.48 | 3.59 | 0.41 | 2.34 | 0.05 | 0.15 | 0.56 | 0.01 | 0.20 | 0.18 | 0.05 |
| n | 13 |  |  |  |  |  |  |  |  |  |  |  |  |
| CPI | 0.77 |  |  |  |  |  |  |  |  |  |  |  |  |

Table S4. Correlation matrix between surface water quality parameters at monitoring point C (background).

| Parameter | Temp. | Precip. | Flow | pH | EC | Cl- | NH4+ | SO42- | BOD5 | CODCr | TOC | Zn | Cd | Pb | Cu | Cr | Hg | PAH |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Temp. | 1.00 | 0.31 | -0.14 | 0.37 | 0.08 | 0.05 | 0.18 | -0.34 | 0.35 | 0.49 | 0.24 | 0.12 | 0.20 | 0.20 | -0.03 | 0.03 | 0.11 | 0.01 |
| Prec. | 0.31 | 1.00 | -0.12 | -0.38 | -0.28 | -0.19 | -0.17 | -0.46 | 0.32 | -0.01 | 0.04 | 0.01 | -0.07 | -0.06 | -0.06 | 0.28 | 0.06 | -0.14 |
| Flow | -0.14 | -0.12 | 1.00 | -0.27 | -0.06 | 0.13 | -0.11 | 0.09 | -0.11 | -0.07 | -0.06 | 0.18 | 0.04 | 0.05 | 0.07 | 0.07 | -0.03 | 0.00 |
| pH | 0.37 | -0.38 | -0.27 | 1.00 | 0.44 | 0.29 | 0.38 | 0.17 | 0.05 | 0.52 | 0.32 | 0.13 | -0.10 | -0.08 | -0.15 | -0.31 | -0.00 | 0.27 |
| EC | 0.08 | -0.28 | -0.06 | 0.44 | 1.00 | 0.91 | 0.74 | 0.27 | 0.07 | 0.61 | 0.37 | 0.09 | 0.09 | 0.09 | 0.05 | -0.04 | 0.36 | -0.08 |
| Cl- | 0.05 | -0.19 | 0.13 | 0.29 | 0.91 | 1.00 | 0.75 | 0.28 | 0.04 | 0.58 | 0.21 | 0.21 | 0.06 | 0.07 | 0.07 | 0.07 | 0.40 | -0.24 |
| NH4+ | 0.18 | -0.17 | -0.11 | 0.38 | 0.74 | 0.75 | 1.00 | -0.08 | 0.11 | 0.80 | 0.36 | 0.06 | -0.11 | -0.11 | -0.11 | 0.14 | 0.61 | -0.44 |
| SO42- | -0.34 | -0.46 | 0.09 | 0.17 | 0.27 | 0.28 | -0.08 | 1.00 | -0.49 | -0.36 | -0.14 | 0.11 | 0.02 | 0.03 | 0.03 | -0.25 | -0.07 | 0.25 |
| BOD5 | 0.35 | 0.32 | -0.11 | 0.05 | 0.07 | 0.04 | 0.11 | -0.49 | 1.00 | 0.41 | -0.04 | 0.12 | 0.08 | 0.08 | 0.19 | 0.66 | 0.47 | -0.11 |
| CODCr | 0.49 | -0.01 | -0.07 | 0.52 | 0.61 | 0.58 | 0.80 | -0.36 | 0.41 | 1.00 | 0.55 | 0.14 | 0.08 | 0.09 | 0.02 | 0.14 | 0.48 | -0.26 |
| TOC | 0.24 | 0.03 | -0.06 | 0.32 | 0.37 | 0.21 | 0.36 | -0.14 | -0.04 | 0.55 | 1.00 | 0.04 | 0.13 | 0.14 | 0.06 | -0.26 | 0.09 | 0.09 |
| Zn | 0.12 | 0.01 | 0.18 | 0.13 | 0.09 | 0.21 | 0.06 | 0.11 | 0.11 | 0.14 | 0.04 | 1.00 | 0.09 | 0.13 | 0.21 | 0.27 | 0.07 | 0.12 |
| Cd | 0.20 | -0.07 | 0.04 | -0.09 | 0.09 | 0.06 | -0.11 | 0.02 | 0.08 | 0.08 | 0.13 | 0.09 | 1.00 | 1.00 | 0.64 | -0.07 | 0.30 | 0.01 |
| Pb | 0.20 | -0.06 | 0.04 | -0.08 | 0.09 | 0.07 | -0.11 | 0.03 | 0.08 | 0.09 | 0.14 | 0.13 | 1.00 | 1.00 | 0.64 | -0.07 | 0.30 | 0.02 |
| Cu | -0.03 | -0.06 | 0.08 | -0.15 | 0.06 | 0.07 | -0.11 | 0.03 | 0.19 | 0.02 | 0.06 | 0.20 | 0.64 | 0.64 | 1.00 | 0.10 | 0.21 | 0.08 |
| Cr | 0.03 | 0.27 | 0.07 | -0.31 | -0.04 | 0.07 | 0.14 | -0.25 | 0.66 | 0.14 | -0.26 | 0.27 | -0.07 | -0.07 | 0.10 | 1.00 | 0.54 | -0.40 |
| Hg | 0.11 | 0.06 | -0.03 | -0.00 | 0.36 | 0.41 | 0.61 | -0.07 | 0.47 | 0.48 | 0.09 | 0.07 | 0.30 | 0.30 | 0.21 | 0.54 | 1.00 | -0.53 |
| PAH | 0.01 | -0.14 | 0.00 | 0.27 | -0.08 | -0.24 | -0.44 | 0.25 | -0.11 | -0.26 | 0.09 | 0.12 | 0.01 | 0.02 | 0.08 | -0.40 | -0.53 | 1.00 |

Notes: Bolded values of correlation coefficient (r) are significant at the level of p < 0.05; negligible correlation for r = 0.00-0.09; weak correlation for r = 0.10-0.39; moderate correlation for r = 0.40-0.69; strong correlation for r = 0.70-0.89; very strong correlation for r = 0.90-1.00 (Schober et al., 2018).

Table S5. Correlation matrix between surface water quality parameters at monitoring point D (discharge from the composting facility).

| Parameter | Temp. | Precip. | Flow | pH | EC | Cl- | NH4+ | SO42- | BOD5 | CODCr | TOC | Zn | Cd | Pb | Cu | Cr | Hg | PAH |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Temp. | 1.00 | 0.30 | -0.14 | 0.34 | 0.34 | 0.35 | 0.33 | -0.34 | 0.40 | 0.50 | 0.38 | -0.05 | 0.19 | 0.20 | 0.11 | 0.01 | 0.17 | -0.02 |
| Prec. | 0.30 | 1.00 | 0.12 | -0.23 | -0.15 | -0.12 | -0.02 | -0.21 | 0.29 | 0.28 | 0.41 | 0.04 | -0.07 | -0.04 | 0.17 | 0.28 | -0.06 | -0.14 |
| Flow | -0.14 | 0.12 | 1.00 | -0.34 | -0.25 | -0.24 | -0.27 | 0.29 | -0.19 | -0.19 | -0.22 | 0.02 | 0.19 | 0.18 | 0.25 | 0.05 | -0.02 | 0.06 |
| pH | 0.34 | -0.23 | -0.34 | 1.00 | 0.65 | 0.62 | 0.49 | -0.00 | 0.11 | 0.26 | 0.13 | 0.13 | -0.21 | -0.21 | -0.26 | -0.45 | -0.04 | 0.11 |
| EC | 0.34 | -0.15 | -0.25 | 0.66 | 1.00 | 0.99 | 0.93 | 0.08 | 0.58 | 0.60 | 0.40 | 0.06 | -0.08 | -0.08 | -0.14 | -0.07 | 0.37 | -0.12 |
| Cl- | 0.35 | -0.12 | -0.24 | 0.62 | 0.99 | 1.00 | 0.94 | 0.08 | 0.61 | 0.61 | 0.41 | 0.10 | -0..09 | -0.09 | -0.12 | -0.03 | 0.35 | -0.11 |
| NH4+ | 0.33 | -0.02 | -0.27 | 0.49 | 0.93 | 0.95 | 1.00 | 0.10 | 0.74 | 0.67 | 0.48 | 0.05 | -0.10 | -0.09 | -0.10 | 0.06 | 0.34 | -0.16 |
| SO42- | -0.34 | -0.21 | 0.29 | -0.00 | 0.08 | 0.08 | 0.10 | 1.00 | 0.08 | 0.02 | -0.13 | 0.13 | -0.16 | -0.16 | -0.07 | 0.13 | 0.35 | 0.03 |
| BOD5 | 0.40 | 0.29 | -0.19 | 0.11 | 0.58 | 0.61 | 0.74 | 0.08 | 1.00 | 0.90 | 0.81 | 0.20 | -0.03 | 0.01 | 0.22 | 0.46 | 0.45 | -0.19 |
| CODCr | 0.50 | 0.28 | -0.19 | 0.26 | 0.60 | 0.61 | 0.67 | 0.02 | 0.90 | 1.00 | 0.91 | 0.19 | 0.07 | 0.12 | 0.19 | 0.37 | 0.51 | -0.21 |
| TOC | 0.38 | 0.41 | -0.22 | 0.13 | 0.40 | 0.41 | 0.48 | -0.13 | 0.81 | 0.91 | 1.00 | 0.16 | 0.01 | 0.06 | 0.15 | 0.40 | 0.37 | -0.18 |
| Zn | -0.05 | 0.04 | 0.02 | 0.13 | 0.06 | 0.10 | 0.05 | 0.13 | 0.20 | 0.19 | 0.16 | 1.00 | -0.08 | -0.04 | 0.11 | 0.32 | 0.00 | 0.26 |
| Cd | 0.19 | -0.07 | 0.19 | -0.21 | -0.08 | -0.10 | -0.10 | -0.16 | -0.03 | 0.07 | 0.01 | -0.08 | 1.00 | 1.00 | 0.58 | -0.07 | 0.27 | 0.01 |
| Pb | 0.20 | -0.04 | 0.18 | -0.21 | -0.08 | -0.09 | -0.09 | -0.16 | 0.01 | 0.12 | 0.06 | -0.04 | 1.00 | 1.00 | 0.60 | -0.04 | 0.29 | 0.01 |
| Cu | 0.11 | 0.17 | 0.25 | -0.26 | -0.14 | -0.12 | -0.09 | -0.07 | 0.22 | 0.19 | 0.15 | 0.11 | 0.58 | 0.60 | 1.00 | 0.32 | 0.30 | -0.18 |
| Cr | 0.01 | 0.28 | 0.05 | -0.45 | -0.07 | -0.03 | 0.07 | 0.13 | 0.46 | 0.37 | 0.40 | 0.32 | -0.07 | -0.04 | 0.32 | 1.00 | 0.50 | -0.23 |
| Hg | 0.17 | 0.06 | -0.02 | -0.04 | 0.37 | 0.35 | 0.34 | 0.35 | 0.45 | 0.51 | 0.37 | 0.00 | 0.27 | 0.29 | 0.30 | 0.50 | 1.00 | -0.49 |
| PAH | -0.02 | -0.14 | 0.06 | 0.11 | -0.12 | -0.11 | -0.16 | 0.03 | -0.19 | -0.21 | -0.18 | 0.26 | 0.01 | 0.01 | -0.18 | -0.23 | -0.49 | 1.00 |

Notes: Bolded values of correlation coefficient (r) are significant at the level of p < 0.05; negligible correlation for r = 0.00-0.09; weak correlation for r = 0.10-0.39; moderate correlation for r = 0.40-0.69; strong correlation for r = 0.70-0.89; very strong correlation for r = 0.90-1.00 (Schober et al., 2018).

Table S6. Correlation matrix between surface water quality parameters at monitoring point F (outflow towards the Kampinos National Park).

| Parameter | Temp. | Precip. | Flow | pH | EC | Cl- | NH4+ | SO42- | BOD5 | CODCr | TOC | Zn | Cd | Pb | Cu | Cr | Hg | PAH |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Temp. | 1.00 | 0.25 | -0.36 | 0.51 | 0.37 | 0.35 | 0.37 | -0.39 | 0.45 | 0.53 | 0.31 | 0.03 | 0.20 | 0.20 | -0.16 | -0.10 | 0.13 | 0.02 |
| Prec. | 0.25 | 1.00 | -0.03 | -0.08 | -0.11 | -0.08 | -0.13 | -0.18 | -0.10 | -0.13 | 0.00 | 0.00 | -0.05 | -0.05 | -0.05 | -0.01 | -0.11 | -0.03 |
| Flow | -0.36 | -0.03 | 1.00 | -0.44 | -0.28 | -0.26 | -0.24 | 0.06 | -0.28 | -0.26 | -0.16 | 0.01 | 0.03 | 0.03 | 0.47 | 0.09 | -0.09 | -0.03 |
| pH | 0.51 | -0.08 | -0.44 | 1.00 | 0.69 | 0.65 | 0.61 | -0.07 | 0.30 | 0.63 | 0.39 | 0.11 | -0.18 | -0.17 | -0.16 | -0.41 | 0.11 | 0.11 |
| EC | 0.37 | -0.11 | -0.28 | 0.69 | 1.00 | 0.99 | 0.80 | 0.04 | 0.47 | 0.87 | 0.80 | 0.12 | -0.11 | -0.10 | -0.14 | -0.04 | 0.40 | -0.11 |
| Cl- | 0.35 | -0.08 | -0.26 | 0.65 | 0.99 | 1.00 | 0.79 | 0.04 | 0.44 | 0.86 | 0.82 | 0.18 | -0.12 | -0.11 | -0.14 | -0.03 | 0.34 | -0.08 |
| NH4+ | 0.37 | -0.13 | -0.24 | 0.61 | 0.80 | 0.79 | 1.00 | -0.09 | 0.47 | 0.59 | 0.40 | 0.17 | -0.14 | -0.13 | -0.01 | 0.09 | 0.21 | -0.00 |
| SO42- | -0.39 | -0.18 | 0.06 | -0.07 | 0.04 | 0.04 | -0.09 | 1.00 | -0.04 | 0.06 | 0.08 | 0.29 | -0.26 | -0.25 | 0.06 | 0.27 | 0.41 | -0.03 |
| BOD5 | 0.45 | -0.10 | -0.28 | 0.30 | 0.47 | 0.45 | 0.47 | -0.04 | 1.00 | 0.61 | 0.47 | 0.11 | 0.00 | 0.01 | 0.19 | 0.05 | 0.12 | 0.14 |
| CODCr | 0.53 | -0.13 | -0.26 | 0.63 | 0.87 | 0.86 | 0.59 | 0.06 | 0.61 | 1.00 | 0.87 | 0.13 | 0.07 | 0.07 | -0.03 | -0.06 | 0.45 | -0.19 |
| TOC | 0.31 | 0.00 | -0.16 | 0.39 | 0.80 | 0.82 | 0.40 | 0.08 | 0.47 | 0.87 | 1.00 | 0.04 | -0.01 | -0.01 | -0.07 | -0.09 | 0.32 | -0.21 |
| Zn | 0.03 | 0.00 | 0.01 | 0.10 | 0.12 | 0.18 | 0.17 | 0.29 | 0.12 | 0.13 | 0.04 | 1.00 | -0.35 | -0.32 | 0.07 | 0.45 | -0.02 | 0.19 |
| Cd | 0.20 | -0.05 | 0.03 | -0.18 | -0.11 | -0.12 | -0.14 | -0.26 | 0.00 | 0.07 | -0.01 | -0.35 | 1.00 | 1.00 | 0.04 | -0.06 | 0.30 | 0.00 |
| Pb | 0.20 | -0.05 | 0.03 | -0.17 | -0.10 | -0.11 | -0.13 | -0.25 | 0.01 | 0.07 | -0.01 | -0.31 | 1.00 | 1.00 | 0.05 | -0.05 | 0.30 | 0.01 |
| Cu | -0.16 | -0.05 | 0.47 | -0.16 | -0.14 | -0.14 | -0.13 | 0.06 | 0.19 | -0.03 | -0.07 | 0.07 | 0.04 | 0.05 | 1.00 | -0.10 | -0.25 | 0.22 |
| Cr | -0.10 | -0.01 | 0.09 | -0.40 | -0.04 | -0.03 | -0.01 | 0.27 | 0.05 | -0.06 | -0.10 | 0.45 | -0.06 | -0.05 | -0.10 | 1.00 | 0.44 | -0.13 |
| Hg | 0.13 | -0.11 | -0.09 | 0.11 | 0.40 | 0.34 | 0.09 | 0.41 | 0.12 | 0.45 | 0.32 | -0.02 | 0.30 | 0.30 | -0.25 | 0.44 | 1.00 | -0.46 |
| PAH | 0.02 | -0.03 | -0.03 | 0.10 | -0.11 | -0.08 | 0.21 | -0.03 | 0.14 | -0.19 | -0.21 | 0.19 | 0.00 | 0.01 | 0.22 | -0.13 | -0.46 | 1.00 |

Notes: Bolded values of correlation coefficient (r) are significant at the level of p-0.00 < 0.05; negligible correlation for r = 0.00-0.09; weak correlation for r = 0.10-0.39; moderate correlation for r = 0.40-0.69; strong correlation for r = 0.70-0.89; very strong correlation for r = 0.90-1.00 (Schober et al., 2018).

References

Chapman, D. V. (2021). Water quality assessments: a guide to the use of biota, sediments and water in environmental monitoring. CRC Press.

Kausar, F., Qadir, A., Ahmad, S. R., & Baqar, M. (2019). Evaluation of surface water quality on spatiotemporal gradient using multivariate statistical techniques: a case study of River Chenab, Pakistan. Polish Journal of Environmental Studies, 28(4), 2645-2657.

Regulation of the Minister of Infrastructure of 25 June 2021 on the classification of ecological status, ecological potential and chemical status and the method of classifying the status of surface water bodies, as well as environmental quality standards for priority substances (Journal of Laws 2021, item 1475). Available online: https://isap.sejm.gov.pl/isap.nsf/DocDetails.xsp?id=WDU20210001475 (Accessed on 26 January 2024).

Sargaonkar, A., & Deshpande, V. (2003). Development of an overall index of pollution for surface water based on a general classification scheme in Indian context. Environmental Monitoring and Assessment, 89, 43-67.

Schober, P., Boer, C., & Schwarte, L. A. (2018). Correlation coefficients: appropriate use and interpretation. Anesthesia & Analgesia, 126(5), 1763-1768, https://doi.org/10.1213/ANE.0000000000002864.

World Health Organization (WHO). (2008). Guidelines for drinking-water quality: second addendum. Vol. 1, Recommendations. Geneva. ISBN 978 92 4 154760 4.