Supplemental Table S5. Instrumental conditions used for µ-XRF analysis of barley root sections grown under control and high salt (150 mM NaCl) conditions.

| Acquisition parameters |  |  |
| --- | --- | --- |
| Pixel time [ms/pixel] | 20 |  |
| Stage speed [mm/s] | 250 |  |
| Tube parameter |  |  |
| High voltage [kV] | 50 |  |
| Anode current [μA] | 200 |  |
| Filter | Empty |  |
| Optic | Lens |  |
| Chamber [mbar] | 20 |  |
| Anode | Rh |  |
| Detector parameter |  |  |
| Selected detectors | 1,2 |  |
| Max. pulse throughput [cps] | 130000 |  |