Supplemental Figure 1.

Supplemental Figure 1. Influence of the injection temperature on a water and alcohol mixture. On the y-axis the peak area is displayed, and on the x-axis the assessed alcohols are displayed. An increase of the peak area is demonstrated for 1-heptanol, octanol, nonanol and 1-decanol, in which the largest effect was seen on the alcohol with the highest boiling point. The response of 1-decanol increased with a factor 7 by increasing the injection temperature from 40°C to 90°C. Samples were analyzed by means of GC-MS.