Supplementary Information

___________________________________________________________

EMBL-MCF 2.0: LC-MS/MS library for high-confidence targeted and untargeted metabolomics using low-adsorption HILIC 
chromatography

Svitlana Dekina, Theodore Alexandrov, Bernhard Drotleff

Metabolomics Core Facility, European Molecular Biological Laboratory, Heidelberg 69117, Germany

Structural and Computational Biology Unit, European Molecular Biology Laboratory (EMBL), Heidelberg, Germany

Molecular Medicine Partnership Unit, EMBL and Heidelberg University, Heidelberg, Germany

Bio Studio, BioInnovation Institute, Copenhagen, Denmark

Contents

Figure S1. BEH Z-HILIC chromatograms of 25 amino acids. 1-MH: 1-Methylhistidine, 3-MH: 3-Methylhistidine

Table S5. Repeatability of retention times for an Amino Acid Standard mix (Sigma) used as system suitability check (n = 7), max RT variation of  4 s

| Analyte | CV [%] |
| --- | --- |
| Cystine | 0.23 |
| Lys | 0.24 |
| Arg | 0.27 |
| His | 0.34 |
| Asp | 0.28 |
| Glu | 0.21 |
| Ser | 0.27 |
| Asn | 0.30 |
| Gln | 0.24 |
| Gly | 0.22 |
| Thr | 0.32 |
| Ala | 0.28 |
| Tyr | 0.34 |
| Pro | 0.37 |
| Val | 0.46 |
| Met | 0.42 |
| Trp | 0.46 |
| Leu | 0.61 |
| Ile | 0.75 |
| Phe | 0.71 |

The CV values are based on results acquired for seven individual preparations of mobile phase. Inter-batch variation between columns was not investigated.

Table S6. Isomeric compounds covered in the library

| Compound Name | Chemical Formula | Polarity | RT |
| --- | --- | --- | --- |
| 2-Deoxyguanosine | C10H13N5O4 | - | 4.67 |
| Adenosine |  |  | 2.35 |
| Adenosine monophosphate | C10H14N5O7P | - | 11.20 |
| Deoxyguanosine monophosphate |  |  | 12.42 |
| Adenosine triphosphate | C10H16N5O13P3 | - | 14.23 |
| Deoxyguanosine triphosphate |  |  | 15.73 |
| Dihydroxyacetone | C3H6O3 | - | 2.49 |
| Glyceraldehyde |  |  | 6.31 |
| Hydroxypropionic acid |  |  | 7.51 |
| Lactic Acid |  |  | 5.86 |
| Alanine | C3H7NO2 | - | 8.82 |
| Beta-Alanine |  |  | 9.66 |
| Sarcosine |  |  | 8.22 |
| Dihydroxyacetone_phosphate | C3H7O6P | - | 12.07 |
| Glyceraldehyde 3-phosphate |  |  | 12.68 |
| Fumaric acid | C4H4O4 | - | 12.95 |
| Maleic acid |  |  | 2.62 |
| 2-Ketobutyric acid | C4H6O3 | - | 2.83 |
| Acetoacetic acid |  |  | 5.01 |
| Methylmalonic acid | C4H6O4 | - | 7.88 |
| Succinic acid |  |  | 11.80 |
| Butyric acid | C4H8O2 | - | 2.80 |
| Isobutyric acid |  |  | 2.48 |
| Homoserine | C4H9NO3 | - | 9.33 |
| Threonine |  |  | 8.95 |
| 5-Aminovaleric acid | C5H11NO2 | - | 10.28 |
| Valine |  |  | 6.71 |
| Citraconic acid | C5H6O4 | - | 2.69 |
| Itaconic acid |  |  | 10.76 |
| Aminolevulinic acid | C5H9NO3 | - | 10.37 |
| Hydroxyproline |  |  | 8.70 |
| N-Acetylalanine |  |  | 6.05 |
| Isoleucine | C6H13NO2 | - - | 5.49 |
| Leucine |  |  | 5.04 |
| Fructose-1,6-diphosphate | C6H14O12P2 | - | 16.53 |
| Glucose 1,6-diphosphate |  |  | 16.21 |
| cis-Aconitic acid | C6H6O6 | - | 12.89 |
| trans-Aconitic acid |  |  | 14.95 |
| N-Acetylgalactosamine | C8H15NO6 | - | 5.28 |
| N-acetylmannosamine |  |  | 5.70 |
| p-Coumaric acid | C9H8O3 | - | 4.42 |
| Phenylpyruvic acid |  |  | 1.70 |
| Cotinine | C10H12N2O | + | 1.05 |
| Serotonin |  |  | 5.29 |
| Adenosine | C10H13N5O4 | + | 2.44 |
| Deoxyguanosine |  |  | 4.70 |
| Adenosine monophosphate | C10H14N5O7P | + | 10.60 |
| Deoxyguanosine monophosphate dGMP |  |  | 12.51 |
| 2-Aminobutanoic acid | C4H9NO2 | + | 7.74 |
| N,N-Dimethylglycine |  |  | 6.60 |
| Homoserine | C4H9NO3 | + | 9.39 |
| Threonine |  |  | 9.01 |
| 5-Aminovaleric acid | C5H11NO2 | + | 6.14 |
| Betaine |  |  | 5.78 |
| Valine |  |  | 6.62 |
| Aminolevulinic acid | C5H9NO3 | + | 7.66 |
| Hydroxyproline |  |  | 8.72 |
| N-Acetylalanine |  |  | 2.34 |
| Glutamic acid | C5H9NO4 | + | 10.50 |
| O-Acetylserine |  |  | 6.79 |
| Isoleucine | C6H13NO2 | + | 5.37 |
| Leucine |  |  | 4.91 |

Figure S2. BEH Z-HILIC chromatograms of NAD, NADH, NADP and NADPH in ESI-.

Table S7. Favorable mode for plasma metabolites detected in both modes for high resolution data (based on precursor ions)

| Metabolite name | Ratio Pos/Neg Area | Ratio Pos/Neg Height | Precision CV [%] |  | Favorable mode |
| --- | --- | --- | --- | --- | --- |
|  |  |  | pos | neg |  |
| 2-Deoxycytidine | 0.79 | 0.66 | 4.57 | 4.55 | neg |
| Adenosine | 10.33 | 9.28 | 1.82 | 9.92 | pos |
| Adenosine monophosphate | 0.89 | 0.67 | 9.72 | 5.21 | neg |
| Alanine | 3.76 | 2.61 | 5.50 | 5.07 | pos |
| Anserine | 3.97 | 4.53 | 5.16 | 5.06 | pos |
| Arginine | 5.61 | 12.55 | 2.07 | 3.71 | pos |
| Asparagine | 0.87 | 1.49 | 5.15 | 4.64 | pos |
| Aspartic acid | 0.23 | 0.35 | 0.71 | 2.67 | neg |
| Bilirubin | 0.05 | 0.04 | 10.57 | 15.10 | neg |
| Carnitine | 497.21 | 511.79 | 12.18 | 2.85 | pos |
| Citrulline | 1.49 | 1.95 | 2.75 | 6.24 | pos |
| Cytidine | 0.62 | 0.45 | 2.10 | 3.51 | neg |
| Deoxyinosine | 4.66 | 6.00 | 2.68 | 1.46 | pos |
| Glutamic acid | 0.62 | 0.60 | 6.61 | 7.47 | neg |
| Glutamine | 1.15 | 1.30 | 2.53 | 1.23 | pos |
| Glutathione (GSH) | 0.58 | 0.70 | 1.24 | 2.57 | neg |
| Glutathione (GSSG) | 1.59 | 1.59 | 17.01 | 14.59 | pos |
| Glycerol 3-Phosphate | 0.04 | 0.03 | 11.13 | 10.55 | neg |
| Glycine | 0.39 | 0.3 | 10.22 | 4.44 | neg |
| Guanosine | 0.68 | 0.67 | 5.20 | 4.63 | neg |
| Histidine | 0.14 | 0.20 | 5.10 | 7.73 | pos |
| Hydroxyproline | 312.72 | 349.07 | 4.65 | 12.75 | pos |
| Hypoxanthine | 1.35 | 1.3 | 9.06 | 18.50 | neg |
| Inosine | 0.21 | 0.24 | 1.12 | 4.30 | neg |
| Inosinic acid | 0.71 | 0.56 | 4.81 | 2.73 | neg |
| Isoleucine | 3.55 | 4.16 | 11.52 | 12.41 | pos |
| Kynurenic acid | 0.55 | 0.49 | 3.92 | 1.90 | neg |
| Leucine | 3.36 | 3.28 | 5.79 | 4.18 | pos |
| Lysine | 4.61 | 7.78 | 2.71 | 2.33 | pos |
| Methionine | 2.49 | 3.13 | 2.10 | 4.99 | pos |
| N-Acetylglutamine | 0.29 | 0.33 | 3.29 | 3.34 | neg |
| N-Acetylphenylalanine | 0.05 | 0.09 | 2.12 | 7.19 | neg |
| Ornithine | 250.35 | 235.15 | 6.63 | 1.23 | pos |
| Pantothenic acid | 0.91 | 2.38 | 1.79 | 21.52 | pos |
| Phenylalanine | 0.01 | 0.01 | 2.84 | 3.85 | neg |
| Phosphocreatine | 2.95 | 0.66 | 6.29 | 2.00 | neg |
| Phosphoethanolamine | 0.82 | 0.48 | 14.25 | 4.11 | neg |
| Pipecolic acid | 12.87 | 12.16 | 12.21 | 7.05 | pos |
| Proline | 22.19 | 29.38 | 4.52 | 4.16 | pos |
| Pyroglutamic acid | 0.05 | 0.08 | 2.81 | 4.62 | neg |
| S-Sulfocysteine | 0.41 | 0.60 | 4.84 | 5.70 | neg |
| Serine | 0.19 | 0.25 | 4.06 | 2.96 | neg |
| Taurine | 0.97 | 0.94 | 3.55 | 4.59 | pos |
| Taurocholic acid | 0.02 | 0.01 | 1.83 | 2.69 | neg |
| Threonine | 0.83 | 1.49 | 4.79 | 1.12 | pos |
| Thymidine | 0.07 | 0.08 | 4.40 | 1.90 | neg |
| Tryptophan | 1.25 | 1.63 | 10.38 | 3.07 | pos |
| Uric Acid | 0.01 | 0.01 | 1.26 | 2.58 | neg |
| Valine | 2.12 | 2.25 | 6.09 | 2.92 | pos |
| Xanthine | 0.01 | 0.01 | 2.63 | 3.21 | neg |

- Parameters for MS-DIAL ver. 4.9.221218

#Project

MS1 Data type			Profile

MS2 Data type			Profile

Ion mode				Negative

Target					Metabolomics

Mode					ddMSMS

#Data collection parameters

Retention time begin			0.5 min

Retention time end    			18 min

Mass range begin [m/z]        		60

Mass range end [m/z] 			900

MS2 mass range begin [m/z]		40

MS2 mass range end [m/z]		950

#Centroid parameters

MS1 tolerance [m/z] 			0.01

MS2 tolerance [m/z] 			0.02

#Isotope recognition

Maximum charged number    		±2

#Peak detection parameters

Smoothing method    			LinearWeightedMovingAverage

Smoothing level          		3

Minimum peak width 			10

Minimum peak height			30000

#Peak spotting parameters

Mass slice width          		0.05

#Deconvolution parameters

Sigma window value			0.5

MS2Dec amplitude cut off 		0

Exclude after precursor		TRUE

Keep isotope until       		0.5

Keep original precursor isotopes	FALSE

#MSP file and MS/MS identification setting

Retention time tolerance       		1 min

Mass tolerance (MS1) [m/z]		0.005

Mass tolerance (MS2)  [m/z] 		0.02

Identification score cut off      	80

Using retention time for scoring 	TRUE

Using retention time for filtering     	TRUE

#Alignment parameters setting

Retention time tolerance        		0.1 min

MS1 tolerance [m/z]			0.005

Retention time factor			0.5

MS1 factor				0.5

Peak count filter			0

N% detected in at least one group	50

Remove feature based on peak height fold-change

TRUE

Sample max / blank average   	5

Sample average / blank average 	5

Ratio experimental samples : QCs	5:1

- Dwell volume and extracolumn volume of the Thermo Vanquish Horizon UHPLC system connected to an Orbitrap Exploris 240

Gradient delay volume:

- Binary Pump H - Dwell volume: 35 μL

- Split Sampler HT - Dwell volume: 110 μL (including 25 μL loop)

- Fluidic connections: Viper MP35N, 0.100 m x 150 mm - Dwell volume: 4.71 μL

Extracolumn volume:

- Fluidic connections: Viper MP35N, 0.100 m x 250 mm - Dwell volume: 7.85 μL

- HESI needle: 3.14 μL