Supplementary information 1

Untargeted Metabolomic Profiling of Serum and Urine in Renal Cell Carcinoma: A Non-Invasive Approach for Biomarker Discovery

Anna Ossolińskaa, Aneta Płaza-Altamerb, Krzysztof Ossolińskia, Tadeusz Ossolińskia, Tomasz Rumanb, Joanna Niziołb*

aDepartment of Urology, John Paul II Hospital, Grunwaldzka 4 St., 36-100 Kolbuszowa, Poland

bRzeszów University of Technology, Faculty of Chemistry, 6 Powstańców Warszawy Ave., 35-959 Rzeszów, Poland, e-mail: jniziol@prz.edu.pl

*Corresponding author: Joanna Nizioł, e-mail: jniziol@prz.edu.pl, tel: (+48 17) 865-1550

Table of contents

S1. LC-MS data acquisition and preprocessing2

S2. Data processing3

S3. Data quality assessment4

Table S1. A data of the clinical characteristics of patients with kidney cancer6

Figure S1. Metabolomic analysis of serum samples from KC and NC groups in the validation set7

Figure S2. Metabolomic analysis of urine samples from KC and NC groups in the validation set8

Table S2. Cross-validation and permutation test results for OPLS-DA models distinguishing cancer from control in serum and urine samples9

Figure S3. Principal component analysis (PCA) score plots based on the full datasets for urine (A) and serum (B), including pooled quality control (QC) samples9

Figure S4. Assessment of LC-MS system stability in positive ion mode for serum samples. The plot illustrates variation in selected feature intensities across pooled QC injections10

Figure S5. Assessment of LC-MS system stability in negative ion mode for serum samples. The plot illustrates variation in selected feature intensities across pooled QC injections10

Figure S6. Assessment of LC-MS system stability in positive ion mode for urine samples. The plot illustrates variation in selected feature intensities across pooled QC injections.11

Table S3. Pathway analysis of differential metabolites annotated in serum extracts from kidney cancer patients and control group12

Table S4. Pathway analysis of differential metabolites annotated in urine extracts from kidney cancer patients and control group13

S1. LC-MS data acquisition and preprocessing

Instrumental configuration consisted of a Bruker Elute UHPLC system operated by Hystar 3.3 software and a ultra-high-resolution mass spectrometer Bruker Impact II (60000+ resolution version; Bruker Daltonik GmbH) ESI QTOF-MS equipped with Data Analysis 4.2 (Bruker Daltonik GmbH), and Metaboscape (2022b). A Waters UPLC column ACQUITY BEH (C18 silica, 1.7 μm particles, 50 x 2.1 mm) with compatible column guard was used for all analyses. To ensure compatibility with retention time prediction and compound annotation using the Bruker HMDB-based spectral library, the chromatographic separation was performed using the reversed-phase UHPLC method recommended by Bruker Daltonics recalculated for 50 x 2.1 mm column. Two mobile phases were: A = water with 0.1% formic acid, B = acetonitrile with 0.1% formic acid (v/v). Samples in autosampler were thermostated at 4°C temperature. Volume of 5 μL of extract was loaded on the column at a flow rate of 200 μLmin-1, using 4% B. B percentage was changed with time as follows: 0 min – 1%, 0.56 min - 1% B, 4.72 min - 99%, 5.56 min - 99%, 5.6 min – 1%, 9.45 min – 1%. Solvent flow was 450 μLmin-1. Column was thermostated at 40°C temperature. Internal calibration on 10 mM sodium formate (in water: isopropanol 1:1 v/v) ions was performed automatically in Metaboscape with the use of syringe pump using a high precision calibration mode. All measurements were made in technical triplicates. To monitor background contamination and instrument readiness, solvent blanks were injected at the beginning of each analytical batch. Although no formal system suitability test with external standards was performed, blank injections confirmed baseline stability, absence of carryover, and system suitability for sample analysis. Measurements in positive autoMSMS mode were carried out using the following parameters: m/z 50–1200; capillary voltage: 4.5 kV; nebulizer: 2.7 bar; dry gas: 12 L min-1; drying gas temperature: 220oC; hexapole voltage: 50 Vpp; funnel 1: 200 Vpp; funnel 2: 200 Vpp; pre-pulse storage time: 5 μs; transfer time: 60 μs. Collision-Induced Dissociation (CID) was used with following settings: absolute threshold (per 100 sum): 200 cts; absolute threshold 88 cts; active exclusion 3 spectra; release after 0.3 min, isolation mass: for m/z = 100, width was 3, for 500 width was 4, for 1000 was 6 and for 1300 was 8); collision energy value was 30 eV. MS frequency was 20 Hz and for MS/MS - from 5 to 30. The untargeted annotations were performed in Metaboscape (ver. 2022b) with a criterion of mass deviation (Δm/z) under 2 ppm and mSigma value under 20 as the maximum acceptable deviation of the mass of the compound and the isotopic pattern respectively. For annotation and molecular formula generation, exact mass of parent ions was matched with < 3 ppm error and mSigma value < 50 in most cases. All the molecular formulas were obtained using the Smart Formula tool and the C, H, N, O, P, S, Cl, Br, I and F elements. MSMS spectra was automatically matched against MSMS libraries: Bruker HMDB 2.0 (this database contains retention times that were used as additional annotation factor), MassBank of North America (MoNA) library  and NIST ver. 2020 MSMS library. Although authentic chemical standards were not used, we achieved high-confidence compound annotations (MSI Level 2) based on multiple orthogonal criteria, including accurate mass (Δm/z < 2 ppm), isotopic pattern quality (mSigma < 20), MS/MS spectral similarity with publicly available libraries (e.g., NIST, MoNA), and retention time matching from the Bruker HMDB 2.0 database containing >800 reference metabolites. Each annotated feature included detailed matching parameters as shown in Supplementary Tables, with many compounds supported by all four criteria. The QC samples were treated identically to study samples and injected every ten samples throughout the analytical sequence to monitor system stability and analytical reproducibility. QC data were used to assess signal variation using relative standard deviation (RSD) and overall consistency via principal component analysis (PCA).

S2. Data processing

Raw LC-MS data files were first mass-recalibrated and aligned in MetaboScape® v.2022b (Bruker Daltonics). Feature extraction was performed using the T-ReX® 3D algorithm, followed by isotopic grouping and adduct annotation. To reduce noise and retain biologically relevant features, the dataset was filtered to include only those signals (defined by m/z and retention time) that were present in at least 10 individual patient samples, which is also recommended in published guidelines for untargeted metabolomics (Broadhurst et al. 2018). This prevalence-based filtering helps eliminate sporadically detected or non-reproducible features while preserving potentially informative low-intensity metabolites. No additional filters based on variance or intensity were applied in order to avoid unintended removal of rare but biologically meaningful features. Missing values were handled using the algorithm’s internal gap-filling function, which recovers low-intensity peaks during alignment and deconvolution. As a result, the final feature matrix contained no missing or zero values before statistical analysis. To control for potential contamination, solvent blanks were injected at the beginning of each batch and inspected for background-related features, which were not found to interfere with sample-derived signals. Pooled quality control (QC) samples were prepared separately for urine and serum matrices by combining equal volumes of sample extracts from cancer and control groups, respectively. These QC samples were injected every ten study samples and treated identically to all other samples. Although no dedicated system suitability test with external standards was performed, initial blank injections and inspection of selected metabolite intensities confirmed analytical readiness. Data quality was evaluated using multiple complementary strategies. Principal component analysis (PCA) including all QC injections was used to assess analytical reproducibility and signal drift over time. Additionally, intensity profiles of selected metabolites—including those not present in the biological study pool (e.g., plastic-related or exogenous compounds)—were monitored to evaluate system stability. The relative standard deviation (RSD) was calculated across all QC injections for each identified metabolite, serving as a metric of signal repeatability. Although certified reference materials (CRMs) were not available for RCC-specific biofluids, the adopted quality control procedures (pooled QCs, blanks, randomized injection order) follow current best practice recommendations for untargeted metabolomics studies (Beger et al. 2019; Broadhurst et al. 2018; Dudzik et al. 2018).

S3. Data quality assessment

To ensure analytical reliability, data quality was evaluated using pooled QC samples for urine and serum, analyzed in combined positive and negative ionization modes. PCA incorporating pooled QC samples was performed separately for urine and serum datasets, combining positive and negative ionization modes. Tight clustering of QC injections (Supplementary Information, Figure S1) confirmed analytical reproducibility and minimal instrument drift across the analytical runs. In addition, RSD of signal intensities was calculated for all annotated compounds across QC injections. In the urine dataset, performance was generally robust: In the control QC group, 44.9% of metabolites exhibited RSD < 15%, and 73.4% had RSD < 30% (median RSD: 15.7%), indicating very good repeatability and minimal variability. In the cancer QC group, 37.2% of metabolites had RSD < 15% and 60.3% had RSD < 30% (median RSD: 20.6%), reflecting similarly high technical quality. For serum samples, variability was more pronounced and showed matrix-dependent differences: In the positive ion mode, the cancer QC group showed 41.0% of metabolites with RSD < 15% and 61.5% with RSD < 30% (median RSD: 19.6%), while the control QC group had only 21.0% and 46.6%, respectively (median RSD: 32.8%). In the negative ion mode, the cancer QC group had 42.2% of metabolites with RSD < 15% and 65.5% with RSD < 30% (median RSD: 17.5%). The control QC group showed higher variability, with 18.8% of metabolites under 15% RSD and 46.2% under 30% RSD (median RSD: 33.4%). These results indicate good technical reproducibility for urine samples and moderate  reproducibility for serum, particularly in cancer QC pools. The higher variability observed in control serum QC may reflect lower signal intensities or matrix-related effects, as discussed previously in the metabolomics literature (Beger et al. 2019; Broadhurst et al. 2018; Dudzik et al. 2018).

In addition to PCA clustering and global RSD evaluation, LC-MS system stability was monitored by tracking the intensities of selected representative compounds across all pooled QC injections. These included both endogenous metabolites and features not present in the analyzed study pool, such as probable background ions and common laboratory contaminants (e.g., phosphocholines, plastic-related compounds, and excipients). As shown in Supplementary Information Figures S4–S6, the signal intensities of selected compounds remained stable across the run in both cancer and control QC samples, regardless of matrix (serum or urine) or ionization mode. The consistency of these signals further supports the absence of technical drift, injection carryover, or progressive ion suppression. Several features matched to known plastic-derived contaminants and phospholipids also showed consistent abundance, suggesting stable ionization efficiency and minimal impact from batch-to-batch variability. Importantly, the tracked features were not part of the biological pool used for statistical comparisons, minimizing the risk of signal bleed or biased signal reinforcement.

Table S1. Clinical characteristics of kidney cancer patients and control subjects included in the serum and urine cohorts

| Characteristics | Serum |  |  |  | Urine |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Training set (n = 179) |  | Validation set (n= 77) |  | Training set (n = 179) |  | Validation set (n= 77) |  |
|  | Kidney cancer patients | Non-cancer controls | Kidney cancer patients | Non-cancer controls | Kidney cancer patients | Non-cancer controls | Kidney cancer patients | Non-cancer controls |
| No. of subjects | 39 | 140 | 17 | 60 | 41 | 138 | 18 | 59 |
| Age (mean/SD) | 74/9 | 64/12 | 75/11 | 64/11 | 74/9 | 55/15 | 72/13 | 64/15 |
| Sex |  |  |  |  |  |  |  |  |
| Male | 23 | 78 | 10 | 32 | 24 | 83 | 11 | 36 |
| Female | 16 | 62 | 7 | 28 | 17 | 55 | 7 | 23 |
| Classification |  |  |  |  |  |  |  |  |
| Benign | 5 | - | 3 | - | 5 | - | 3 | - |
| Malignant | 34 | - | 14 | - | 36 | - | 15 | - |
| Subtype |  |  |  |  |  |  |  |  |
| AML | 2 | - | 1 | - | 2 | - | 1 | - |
| ccRCC | 28 | - | 10 | - | 29 | - | 13 | - |
| CDC | 1 | - | 0 | - | 0 | - | 1 | - |
| chRCC | 1 | - | 1 | - | 1 | - | 0 | - |
| OCT | 3 | - | 2 | - | 3 | - | 2 | - |
| pRCC | 2 | - | 3 | - | 4 | - | 1 | - |
| tcRCC | 1 | - | 0 | - | 1 | - | 0 | - |
| UC | 1 | - | 0 | - | 1 | - | 0 | - |
| Gradea |  |  |  |  |  |  |  |  |
| G1 | 4 | - | 2 | - | 5 | - | 2 | - |
| G2 | 13 | - | 5 | - | 14 | - | 5 | - |
| G3 | 11 | - | 5 | - | 12 | - | 6 | - |
| G4 | 2 | - | 2 | - | 2 | - | 2 | - |
| NA | 9 | - | 3 | - | 8 | - | 3 | - |
| Stage |  |  |  |  |  |  |  |  |
| pT1 | 26 | - | 12 | - | 29 | - | 12 | - |
| pT2 | 3 | - | 1 | - | 2 | - | 2 | - |
| pT3 | 10 | - | 4 | - | 10 | - | 4 | - |

a Tumors were classified according to World Health Organization (WHO)/ International Society of Urological Pathology (ISUP) classification criteria; AML – angiomyolipoma; ccRCC - clear cell RCC; CDC - collecting duct carcinoma chRCC - chromophobe renal cell carcinoma; F – female; N0 - no nodal involvement; OCT - oncocytoma urothelial; pRCC - papillary RCC; T1a - tumor confined to kidney, <4 cm; T1b - tumor confined to kidney, >4 cm but <7 cm; T2a - tumor confined to kidney, >7 cm but not >10 cm; T2b - tumor confined to kidney, >10 cm; T3a: Tumor grossly extends into the renal vein or its segmental branches, or tumor invades perirenal and/or renal sinus fat but not beyond the Gerota fascia; T4: involves ipsilateral adrenal gland or invades beyond Gerota's fascia; tcRC - tubulocystic renal cell carcinoma; UC - urothelial

Figure S1. Metabolomic analysis of serum samples from KC and NC groups in the validation set. (A) PCA and (B) OPLS-DA score plots distinguishing tumor (violet) and control (orange) serum samples. (C) Receiver Operating Characteristic (ROC) curves illustrating the diagnostic performance.

Figure S2. Metabolomic analysis of urine samples from KC and NC groups in the validation set. (A) PCA and (B) OPLS-DA score plots distinguishing tumor (violet) and control (orange) urine samples. (C) Receiver Operating Characteristic (ROC) curves illustrating the diagnostic performance.

Table S2. Cross-validation and permutation test results for OPLS-DA models distinguishing cancer from control in serum and urine samples.

| Model | Set | Component | R2(X) | R2(Y) | Q2(Y) | Permutation (2000 iterations) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | R2(Y) | Q2(Y) |
| Cancer vs. Control Serum | Training | P1 (Predictive) | 0.090 | 0.829 | 0.805 | 0.989 | 0.960 |
|  |  | O1 (Orthogonal in X) | 0.061 | 0.121 | 0.028 |  |  |
|  | Validation | P1 (Predictive) | 0.105 | 0.864 | 0.810 | 0.989 | 0.919 |
|  |  | O1 (Orthogonal in X) | 0.076 | 0.094 | 0.079 |  |  |
| Cancer vs. Control Urine | Training | P1 (Predictive) | 0.106 | 0.831 | 0.808 | 0.990 | 0.949 |
|  |  | O1 (Orthogonal in X) | 0.090 | 0.083 | 0.067 |  |  |
|  | Validation | P1 (Predictive) | 0.161 | 0.811 | 0.788 | 0.980 | 0.923 |
|  |  | O1 (Orthogonal in X) | 0.114 | 0.115 | 0.097 |  |  |

Figure S3 Principal component analysis (PCA) score plots based on the full datasets for urine (A) and serum (B), including pooled quality control (QC) samples.

Figure S4.  Assessment of LC-MS system stability in positive ion mode for serum samples. The plot illustrates variation in selected feature intensities across pooled QC injections.

Figure S5.  Assessment of LC-MS system stability in negative ion mode for serum samples. The plot illustrates variation in selected feature intensities across pooled QC injections.

Figure S6.  Assessment of LC-MS system stability in positive ion mode for urine samples. The plot illustrates variation in selected feature intensities across pooled QC injections.

Table S3. Pathway analysis of differential metabolites annotated in serum extracts from kidney cancer patients and control group listed and ranked by statistical significance.

| KEGG and/or SMPDB pathway | Hitsa | Totalb | P-valuec | -log(p) | Holm pd | FDRe | Impactf |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Linoleic acid metabolism | 3 | 5 | 0.0001 | 4.1433 | 0.0058 | 0.0058 | 1.0000 |
| Valine, leucine and isoleucine biosynthesis | 3 | 8 | 0.0004 | 3.4131 | 0.0305 | 0.0155 | 0.0000 |
| Glycerophospholipid metabolism | 4 | 36 | 0.0050 | 2.2971 | 0.3936 | 0.1009 | 0.2171 |
| Biosynthesis of unsaturated fatty acids | 4 | 36 | 0.0050 | 2.2971 | 0.3936 | 0.1009 | 0.0000 |
| Propanoate metabolism | 3 | 22 | 0.0088 | 2.0571 | 0.6663 | 0.1403 | 0.0410 |
| Alanine, aspartate and glutamate metabolism | 3 | 28 | 0.0172 | 1.7648 | 1.0000 | 0.2291 | 0.1138 |
| alpha-Linolenic acid metabolism | 2 | 13 | 0.0266 | 1.5751 | 1.0000 | 0.2674 | 0.3333 |
| Glycine, serine and threonine metabolism | 3 | 33 | 0.0267 | 1.5728 | 1.0000 | 0.2674 | 0.0515 |
| Ketone Body Metabolism | 2 | 12 | 0.0310 | 1.5093 | 1.0000 | 1.0000 | 0.0000 |
| Butanoate metabolism | 2 | 15 | 0.0349 | 1.4569 | 1.0000 | 0.3104 | 0.0000 |
| Alpha Linolenic Acid and Linoleic Acid Metabolism | 2 | 16 | 0.0531 | 1.2748 | 1.0000 | 1.0000 | 0.1556 |
| Citrate cycle (TCA cycle) | 2 | 20 | 0.0594 | 1.2263 | 1.0000 | 0.4751 | 0.1231 |
| Pyruvate metabolism | 2 | 23 | 0.0762 | 1.1181 | 1.0000 | 0.5542 | 0.0566 |
| Glycine and Serine Metabolism | 3 | 50 | 0.1114 | 0.9531 | 1.0000 | 1.0000 | 0.0673 |
| Nitrogen metabolism | 1 | 6 | 0.1149 | 0.9398 | 1.0000 | 0.7643 | 0.0000 |
| Valine, Leucine and Isoleucine Degradation | 3 | 51 | 0.1166 | 0.9335 | 1.0000 | 1.0000 | 0.0092 |
| Phospholipid Biosynthesis | 2 | 25 | 0.1167 | 0.9329 | 1.0000 | 1.0000 | 0.0997 |
| Citric Acid Cycle | 2 | 26 | 0.1246 | 0.9044 | 1.0000 | 1.0000 | 0.2136 |
| Porphyrin metabolism | 2 | 31 | 0.1269 | 0.8964 | 1.0000 | 0.7643 | 0.1273 |
| Glyoxylate and dicarboxylate metabolism | 2 | 32 | 0.1338 | 0.8737 | 1.0000 | 0.7643 | 0.0800 |
| Pyruvaldehyde Degradation | 1 | 7 | 0.1555 | 0.8082 | 1.0000 | 1.0000 | 0.0000 |
| Homocysteine Degradation | 1 | 7 | 0.1555 | 0.8082 | 1.0000 | 1.0000 | 0.0000 |
| Pyrimidine metabolism | 2 | 39 | 0.1836 | 0.7363 | 1.0000 | 0.9545 | 0.0399 |
| Porphyrin Metabolism | 2 | 36 | 0.2097 | 0.6783 | 1.0000 | 1.0000 | 0.0897 |
| Primary bile acid biosynthesis | 2 | 46 | 0.2357 | 0.6277 | 1.0000 | 1.0000 | 0.0000 |
| Methionine Metabolism | 2 | 39 | 0.2366 | 0.6261 | 1.0000 | 1.0000 | 0.0391 |
| Arginine biosynthesis | 1 | 14 | 0.2483 | 0.6050 | 1.0000 | 1.0000 | 0.0000 |
| D-Amino acid metabolism | 1 | 15 | 0.2636 | 0.5791 | 1.0000 | 1.0000 | 0.0000 |
| Threonine and 2-Oxobutanoate Degradation | 1 | 13 | 0.2701 | 0.5685 | 1.0000 | 1.0000 | 0.1429 |
| Ethanol Degradation | 1 | 15 | 0.3049 | 0.5159 | 1.0000 | 1.0000 | 0.2500 |
| Mitochondrial Electron Transport Chain | 1 | 15 | 0.3049 | 0.5159 | 1.0000 | 1.0000 | 0.0000 |
| Pentose and glucuronate interconversions | 1 | 19 | 0.3216 | 0.4927 | 1.0000 | 1.0000 | 0.0000 |
| Butyrate Metabolism | 1 | 16 | 0.3217 | 0.4926 | 1.0000 | 1.0000 | 0.0000 |
| Carnitine Synthesis | 1 | 16 | 0.3217 | 0.4926 | 1.0000 | 1.0000 | 0.0000 |
| Warburg Effect | 2 | 49 | 0.3268 | 0.4857 | 1.0000 | 1.0000 | 0.0523 |
| Pantothenate and CoA biosynthesis | 1 | 20 | 0.3354 | 0.4744 | 1.0000 | 1.0000 | 0.0068 |
| Betaine Metabolism | 1 | 18 | 0.3541 | 0.4509 | 1.0000 | 1.0000 | 0.1371 |
| Transfer of Acetyl Groups into Mitochondria | 1 | 18 | 0.3541 | 0.4509 | 1.0000 | 1.0000 | 0.0653 |
| Phytanic Acid Peroxisomal Oxidation | 1 | 19 | 0.3697 | 0.4321 | 1.0000 | 1.0000 | 0.0000 |
| Pentose phosphate pathway | 1 | 23 | 0.3752 | 0.4258 | 1.0000 | 1.0000 | 0.0442 |
| Glycolysis or Gluconeogenesis | 1 | 26 | 0.4127 | 0.3844 | 1.0000 | 1.0000 | 0.0148 |
| One carbon pool by folate | 1 | 26 | 0.4127 | 0.3844 | 1.0000 | 1.0000 | 0.0819 |
| Oxidation of Branched Chain Fatty Acids | 1 | 22 | 0.4145 | 0.3825 | 1.0000 | 1.0000 | 0.0000 |
| Bile Acid Biosynthesis | 2 | 59 | 0.4150 | 0.3820 | 1.0000 | 1.0000 | 0.0198 |
| Purine metabolism | 2 | 70 | 0.4150 | 0.3819 | 1.0000 | 1.0000 | 0.0000 |
| Beta-Alanine Metabolism | 1 | 26 | 0.4695 | 0.3284 | 1.0000 | 1.0000 | 0.0000 |
| Glycosylphosphatidylinositol (GPI)-anchor biosynthesis | 1 | 32 | 0.4812 | 0.3177 | 1.0000 | 1.0000 | 0.0367 |
| Pentose Phosphate Pathway | 1 | 27 | 0.4824 | 0.3166 | 1.0000 | 1.0000 | 0.0000 |
| Cysteine and methionine metabolism | 1 | 33 | 0.4919 | 0.3082 | 1.0000 | 1.0000 | 0.0598 |
| Selenoamino Acid Metabolism | 1 | 28 | 0.4951 | 0.3053 | 1.0000 | 1.0000 | 0.0000 |
| Fatty Acid Biosynthesis | 1 | 33 | 0.5540 | 0.2565 | 1.0000 | 1.0000 | 0.0249 |
| Tryptophan metabolism | 1 | 41 | 0.5697 | 0.2444 | 1.0000 | 1.0000 | 0.1431 |
| Arachidonic acid metabolism | 1 | 44 | 0.5958 | 0.2249 | 1.0000 | 1.0000 | 0.0000 |
| Glutamate Metabolism | 1 | 45 | 0.6698 | 0.1741 | 1.0000 | 1.0000 | 0.0000 |
| Arginine and Proline Metabolism | 1 | 48 | 0.6938 | 0.1587 | 1.0000 | 1.0000 | 0.0000 |
| Steroid hormone biosynthesis | 1 | 87 | 0.8374 | 0.0771 | 1.0000 | 1.0000 | 0.0000 |

aThe total number of metabolites in in the pathway;  bHits represent the number of detected metabolites from the MS data that match this pathway; cRaw P-value assessing whether the annotated metabolites are significantly associated with the pathway; dHolm-adjusted P-value correcting for multiple comparisons; eThe False Discovery Rate (FDR)-adjusted P-value; fPathway impact value calculated based on pathway topology analysis, indicating the functional significance of the pathway KEGG: Kyoto Encyclopedia of Genes and Genomes; SMPDB: The Small Molecule Pathway Database

Table S4. Pathway analysis of differential metabolites annotated in urine extracts from kidney cancer patients and control group listed and ranked by statistical significance.

| KEGG and/or SMPDB pathway | Hitsa | Totalb | P-valuec | -log(p) | Holm pd | FDRe | Impactf |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Linoleic acid metabolism | 2 | 5 | 0.0029 | 2.5394 | 0.2311 | 0.1226 | 1.0000 |
| Glycerophospholipid metabolism | 4 | 36 | 0.0031 | 2.5136 | 0.2421 | 0.1226 | 0.1377 |
| Tyrosine metabolism | 4 | 42 | 0.0054 | 2.2665 | 0.4223 | 0.1444 | 0.1436 |
| Sphingolipid metabolism | 3 | 32 | 0.0172 | 1.7648 | 1.0000 | 0.3437 | 0.1403 |
| Histidine metabolism | 2 | 16 | 0.0308 | 1.5122 | 1.0000 | 0.4920 | 0.0492 |
| Riboflavin metabolism | 1 | 4 | 0.0686 | 1.1638 | 1.0000 | 0.9144 | 0.5000 |
| Glutathione metabolism | 2 | 28 | 0.0851 | 1.0699 | 1.0000 | 0.9730 | 0.2631 |
| Phospholipid Biosynthesis | 2 | 25 | 0.1086 | 0.9642 | 1.0000 | 1.0000 | 0.0376 |
| Phenylalanine metabolism | 1 | 8 | 0.1326 | 0.8774 | 1.0000 | 1.0000 | 0.0000 |
| Pyruvaldehyde Degradation | 1 | 7 | 0.1495 | 0.8254 | 1.0000 | 1.0000 | 0.0000 |
| Tryptophan metabolism | 2 | 41 | 0.1609 | 0.7935 | 1.0000 | 1.0000 | 0.0529 |
| Caffeine metabolism | 1 | 10 | 0.1630 | 0.7878 | 1.0000 | 1.0000 | 0.6923 |
| Glycerol Phosphate Shuttle | 1 | 8 | 0.1690 | 0.7721 | 1.0000 | 1.0000 | 0.0000 |
| Phenylacetate Metabolism | 1 | 8 | 0.1690 | 0.7721 | 1.0000 | 1.0000 | 0.0000 |
| alpha-Linolenic acid metabolism | 1 | 13 | 0.2067 | 0.6847 | 1.0000 | 1.0000 | 0.0000 |
| Methionine Metabolism | 2 | 39 | 0.2220 | 0.6537 | 1.0000 | 1.0000 | 0.0387 |
| Butanoate metabolism | 1 | 15 | 0.2346 | 0.6297 | 1.0000 | 1.0000 | 0.0000 |
| Ketone Body Metabolism | 1 | 12 | 0.2429 | 0.6146 | 1.0000 | 1.0000 | 0.0000 |
| Steroidogenesis | 2 | 42 | 0.2478 | 0.6059 | 1.0000 | 1.0000 | 0.0075 |
| Phosphatidylethanolamine Biosynthesis | 1 | 13 | 0.2604 | 0.5844 | 1.0000 | 1.0000 | 0.0000 |
| Catecholamine Biosynthesis | 1 | 14 | 0.2774 | 0.5568 | 1.0000 | 1.0000 | 0.3333 |
| Spermidine and Spermine Biosynthesis | 1 | 14 | 0.2774 | 0.5568 | 1.0000 | 1.0000 | 0.0000 |
| Fructose and mannose metabolism | 1 | 20 | 0.3003 | 0.5225 | 1.0000 | 1.0000 | 0.0000 |
| beta-Alanine metabolism | 1 | 21 | 0.3127 | 0.5048 | 1.0000 | 1.0000 | 0.0000 |
| Betaine Metabolism | 1 | 18 | 0.3421 | 0.4659 | 1.0000 | 1.0000 | 0.0000 |
| Glycerolipid Metabolism | 1 | 23 | 0.4151 | 0.3819 | 1.0000 | 1.0000 | 0.0000 |
| Phenylalanine and Tyrosine Metabolism | 1 | 25 | 0.4421 | 0.3545 | 1.0000 | 1.0000 | 0.1947 |
| Glycine, serine and threonine metabolism | 1 | 33 | 0.4466 | 0.3501 | 1.0000 | 1.0000 | 0.0000 |
| Cysteine and methionine metabolism | 1 | 33 | 0.4466 | 0.3501 | 1.0000 | 1.0000 | 0.0209 |
| Steroid hormone biosynthesis | 2 | 87 | 0.4586 | 0.3386 | 1.0000 | 1.0000 | 0.0373 |
| Biosynthesis of unsaturated fatty acids | 1 | 36 | 0.4759 | 0.3225 | 1.0000 | 1.0000 | 0.0000 |
| Fructose and Mannose Degradation | 1 | 28 | 0.4803 | 0.3185 | 1.0000 | 1.0000 | 0.0000 |
| Fatty acid degradation | 1 | 39 | 0.5037 | 0.2979 | 1.0000 | 1.0000 | 0.0000 |
| Amino sugar and nucleotide sugar metabolism | 1 | 42 | 0.5301 | 0.2757 | 1.0000 | 1.0000 | 0.0000 |
| Arachidonic acid metabolism | 1 | 44 | 0.5469 | 0.2621 | 1.0000 | 1.0000 | 0.0000 |
| Pyruvate Metabolism | 1 | 37 | 0.5806 | 0.2361 | 1.0000 | 1.0000 | 0.0000 |
| Fatty Acid Metabolism | 1 | 40 | 0.6097 | 0.2149 | 1.0000 | 1.0000 | 0.0000 |
| Glutamate Metabolism | 1 | 45 | 0.6540 | 0.1844 | 1.0000 | 1.0000 | 0.0000 |
| Purine metabolism | 1 | 70 | 0.7192 | 0.1432 | 1.0000 | 1.0000 | 0.0162 |
| Pyrimidine Metabolism | 1 | 54 | 0.7218 | 0.1416 | 1.0000 | 1.0000 | 0.0000 |
| Sphingolipid metabolism | 3 | 32 | 0.0172 | 1.7648 | 1.0000 | 0.3437 | 0.1403 |

aThe total number of metabolites in in the pathway;  bHits represent the number of detected metabolites from the MS data that match this pathway; cPathway impact value calculated based on pathway topology analysis, indicating the functional significance of the pathway; dRaw P-value assessing whether the annotated metabolites are significantly associated with the pathway; eThe False Discovery Rate (FDR)-adjusted P-value; fExpected number of hits in the pathway under a random distribution of metabolites; KEGG: Kyoto Encyclopedia of Genes and Genomes; SMPDB: The Small Molecule Pathway Database