Supplementary information

__________________________________________________________

Cross-species urinary metabolomics identifies 2-hydroxyisovalerate as a candidate biomarker for mtDNA-based disorders

Marianne Ventera*, Karin Terburgha*, Jeremie Z. Lindequea, Emi Ogasawarab, Mirian C.H. Janssenc,d, Jan A.M. Smeitinkc, Kazuto Nakadae and Roan Louwa

aMitochondria Research Laboratory, Biomedical and Molecular Metabolism Research (BioMMet), Faculty of Natural and Agricultural Sciences, North-West University, Potchefstroom, South Africa,

bDepartment of Biological Sciences, Graduate School of Science, Osaka University, Toyonaka, Osaka 560-0043, Japan,

cDepartment of Pediatrics, Radboud Center for Mitochondrial Medicine, Radboud University Medical Center, Nijmegen, Netherlands,

dDepartment of Internal Medicine, Radboud Center for Mitochondrial Medicine, Radboud University Medical Center, Nijmegen, Netherlands,

eFaculty of Life and Environmental Sciences, University of Tsukuba, Tsukuba, Japan,

* co-first authors

Corresponding author: Roan Louw. Email Roan.Louw@nwu.ac.za

Table S1 | Gas chromatography oven temperature program

| Parameter | Target temperature (°C) | Rate (°C/min) | Hold time (min) |
| --- | --- | --- | --- |
| Initial temperature: | 70 |  | 1 |
| 1st temperature ramp | 120 | 7 | - |
| 2nd temperature ramp | 230 | 10 | - |
| 3rd temperature ramp | 300 | 13 | 1 |
| Return to initial | 70 |  | - |

Table S2 | Liquid chromatography gradient elution program

| Mouse urine |  |  |  |  | Human urine |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Time (min) | % A | % B | Hold time (min) | Flow rate (ml/min) | Time (min) | %A | % B | Hold time (min) | Flow rate (ml/min) |
| Initial | 95 | 5 | 1 | 0.25 | Initial | 95 | 5 | 1 | 0.2 |
| 7 | 82 | 18 |  | 0.25 | 5 | 82 | 18 | 3 | 0.2 |
| 16 | 0 | 100 | 5 | 0.25 | 15 | 0 | 100 | 5 | 0.3 |
| 24 | 95 | 5 | 24 | 0.25 | 23 | 95 | 5 |  | 0.2 |
| Post run | 95 | 5 | 10 | 0.25 | Post run | 95 | 5 | 10 | 0.2 |

A= water (0.1% formic acid), B= acetonitrile (0.1% formic acid).

Table S3 | MRM conditions for compounds measured via LC–MS/MS in Mito-mice urine

| Compound | Precursor ion (m/z) | Product ion (m/z) | F (V) | CE (V) |
| --- | --- | --- | --- | --- |
| Amino acids and derivatives |  |  |  |  |
| 1-Methyl-L-Histidine | 226.4 | 124.2 | 120 | 15 |
| 3-Alanine | 146.2 | 72.1 | 90 | 10 |
| 3-Hydroxykynurenine | 281.2 | 152.1 | 108 | 12 |
| 3-Aminoisobutyric acid | 160.1 | 30.1 | 100 | 15 |
| 3-Methyl-L-Histidine | 226.4 | 96.2 | 130 | 25 |
| 4-Aminobutyric acid | 160.1 | 87.1 | 79 | 8 |
| 4-Hydroxy-L-proline | 188.1 | 68.1 | 120 | 35 |
| 5-Hydroxy-L-lysine | 219.4 | 82.2 | 100 | 20 |
| Creatine | 188.1 | 90.1 | 104 | 16 |
| Kynurenine | 265.4 | 136 | 120 | 10 |
| L-2-Aminoadipic acid | 274.2 | 98.1 | 113 | 24 |
| L-Alanine / L-Sarcosine | 146.1 | 44.2 | 80 | 15 |
| L-Arginine | 231.2 | 70.1 | 103 | 40 |
| L-Arginine-d4 | 235.2 | 74.2 | 108 | 32 |
| L-Asparagine | 189.1 | 144.1 | 89 | 8 |
| L-Asparagine-13C4,15N2 | 195.2 | 148.1 | 89 | 8 |
| L-Aspartic acid | 246.2 | 144.1 | 98 | 12 |
| L-Citrulline | 232.2 | 70.1 | 89 | 32 |
| L-Citrulline-d4 | 236.2 | 74.1 | 108 | 28 |
| L-Cystathionine | 335.2 | 190.1 | 127 | 16 |
| L-Cystine | 353.0 | 130.0 | 118 | 16 |
| L-Glutamic acid | 260.2 | 84.1 | 89 | 24 |
| L-Glutamine-13C5,15N2 | 210.2 | 89.1 | 89 | 20 |
| L-Glycine | 132.1 | 76.1 | 65 | 4 |
| L-Histidine | 212.1 | 110.1 | 89 | 16 |
| L-Isoleucine / L-Leucine | 188.2 | 86.2 | 89 | 8 |
| L-Isoleucine-d10 | 198.2 | 96.2 | 108 | 12 |
| L-Isothreonine | 176.1 | 74.1 | 94 | 12 |
| L-Lysine / L-Glutamine | 203.1 | 84.1 | 89 | 20 |
| L-Lysine-d4 | 207.2 | 88.2 | 118 | 16 |
| L-Methionine | 206.1 | 104.1 | 94 | 8 |
| L-Ornithine | 189.2 | 70.2 | 74 | 20 |
| L-Phenylalanine | 222.2 | 120.1 | 108 | 16 |
| L-Phenylalanine-(ring-d5) | 227.2 | 125.1 | 108 | 16 |
| L-Pipecolic acid | 186.1 | 84.1 | 108 | 16 |
| L-Proline | 172.1 | 70.2 | 94 | 20 |
| L-Pyroglutamic acid | 186.1 | 84.1 | 108 | 16 |
| L-Serine | 162.1 | 60.1 | 94 | 12 |
| L-Threonine | 176.1 | 158.1 | 94 | 5 |
| L-Tryptophan | 261.2 | 244.1 | 94 | 8 |
| L-Tyrosine | 238.2 | 136.1 | 94 | 12 |
| L-Valine | 174.2 | 72.2 | 89 | 12 |
| L-Valine-d8 | 182.2 | 80.2 | 103 | 12 |
| N, N, N-Trimethylglycine | 174.2 | 58.2 | 130 | 45 |
| N, N-Dimethylglycine | 160.3 | 58.2 | 90 | 20 |
| N, N-Dimethyl-L-phenylalanine | 250.1 | 148.1 | 103 | 20 |
| N-Acetylaspartic acid | 288.2 | 144.1 | 98 | 16 |
| N-Acetylglutamic acid | 302.2 | 186.1 | 113 | 12 |
| Taurine | 126.0 | 107.9 | 93 | 10 |
| Acylcarnitines |  |  |  |  |
| Acetyl-L-carnitine (C2) | 260.2 | 85.1 | 122 | 24 |
| Acetyl-L-carnitine-d3 | 263.2 | 85.1 | 127 | 20 |
| Butyryl-L-carnitine (C4) | 288.2 | 85.1 | 110 | 20 |
| L-Carnitine (C0) | 218.2 | 103.0 | 132 | 16 |
| L-Carnitine-(methyl-d3) | 221.2 | 103.1 | 127 | 16 |
| Decanoyl-L-carnitine (C10) | 372.3 | 85.1 | 125 | 28 |
| Dodecanoyl-L-carnitine (C12) | 400.3 | 85.1 | 155 | 28 |
| Dodecanoyl-L-carnitine-d3 | 403.4 | 85.1 | 160 | 32 |
| Hexadecanoyl-L-carnitine (C16) | 456.4 | 85.1 | 160 | 36 |
| Hexanoyl-L-carnitine (C6) | 316.2 | 85.1 | 137 | 24 |
| Isovaleryl-L-carnitine (C5) | 302.2 | 85.1 | 105 | 24 |
| Octadecanoyl-L-carnitine (C18) | 484.0 | 85.1 | 155 | 36 |
| Octadecanoyl-L-carnitine-d3 | 487.5 | 85.1 | 160 | 36 |
| Octanoyl-L-carnitine (C8) | 344.3 | 85.1 | 115 | 28 |
| Octanoyl-L-carnitine-d3 | 347.3 | 85.1 | 136 | 24 |
| Propionyl-L-carnitine (C3) | 274.2 | 85.1 | 127 | 20 |
| Tetradecanoyl-L-carnitine (C14) | 428.4 | 85.1 | 150 | 28 |

Table S4 | Targeted data extraction for compounds measured via GC–TOF–MS in Mito-mice urine

| Metabolite | Ion | RT | ID level |
| --- | --- | --- | --- |
| 2,3-Dihydroxybutanoate | 117 | 655.35 | 3 |
| 2-Hydroxyglutarate | 129 | 828.5 | 1 |
| 2-Hydroxyisovalerate | 145 | 452.1 | 1 |
| 2-Ketoadipate | 55 | 877.3 | 3 |
| 2-Ketoisocaproate | 200/216 | 489 | 3 |
| 2-Ketoisovalerate | 89 | 452.2 | 1 |
| 3-Hydroxy-3-methylglutarate | 109 | 850.5 | 3 |
| 3-Hydroxybutyrate | 191/233 | 442.25 | 1 |
| 3-Phenylbutyrate (IS) | 118 | 704.25 | 1 |
| 4-Nitrophenyl-alfa-galacturonide | 73 | 1289.3/1400.3 | 3 |
| cis-Aconitate | 229 | 945 | 1 |
| Alanine | 116 | 380.25/406.15 | 1 |
| Arabinofuranose | 217 | 1253.65/1294.35 | 2 |
| Fumarate | 245 | 634.2 | 1 |
| Galactose | 205 | 1094.7 | 2 |
| Gluconate | 103/147 | 1139.55 | 2 |
| Gulonate | 81 | 1066.65 |  |
| Hexanoylglycine | 158/230 | 848.65 | 1 |
| Hydroxylamine | 133 | 401.85 | 3 |
| Lactate | 117/191 | 333 | 1 |
| Malate | 55 | 764.35 | 1 |
| Oxalate | 147 | 395.3 | 1 |
| Phosphoglycerol | 299 | 964.95 | 3 |
| Proline | 142 | 588.55 | 1 |
| Pyruvate | 207/174 | 305.7 | 1 |
| Rhamnose | 117 | 955.65 | 2 |
| Ribitol | 103 | 1058.35 | 2 |
| Succinate | 247 | 597.6 | 1 |
| Threonate | 292 | 831.7 | 3 |
| Tropic acid (IS) | 118 | 829.85 | 1 |
| Uracil | 241 | 619.05 | 1 |
| Urate | 441/456 | 1159.3 | 1 |

Identification (ID) levels were assigned according to the classification system of Schymanski et al. (2014), i.e., level 1 = confirmed structures (reference standard); level 2 = probable structure (library spectrum match); level 3 = putative candidate (structure, substituent, class). Abbreviation: IS, internal standard.

Table S5 | Spearman’s rho for urinary metabolites and metabolite ratios significantly correlated with mtDNA mutation load in Mito-mice

| Spearman | Uncorrected |  |  | Corrected for sex and age |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Spearman's ρ | p-value | FDR | Spearman's ρ | p-value | FDR |
| 2-Hydroxyisovalerate | 0.786 | 9.66E-07 | 2.10E-05 | 0.713 | 9.74E-06 | 2.04E-04 |
| Pyruvate | 0.708 | 1.08E-05 | 1.13E-04 | 0.588 | 6.32E-04 | 2.79E-03 |
| 2-Ketoisocaproate | -0.657 | 6.73E-05 | 4.71E-04 | -0.555 | 1.47E-03 | 5.40E-03 |
| Fumarate | 0.650 | 8.45E-05 | 5.04E-04 | 0.538 | 2.17E-03 | 6.52E-03 |
| cis-Aconitate | -0.644 | 1.02E-04 | 5.04E-04 | -0.601 | 4.42E-04 | 2.65E-03 |
| Lactate | 0.638 | 1.23E-04 | 5.15E-04 | 0.592 | 5.68E-04 | 2.79E-03 |
| Alanine | 0.623 | 1.91E-04 | 7.30E-04 | 0.586 | 6.65E-04 | 2.79E-03 |
| Threonate | -0.620 | 2.08E-04 | 7.30E-04 | -0.528 | 2.74E-03 | 7.41E-03 |
| Malate | 0.603 | 3.37E-04 | 1.01E-03 | 0.484 | 6.77E-03 | 1.50E-02 |
| Cystine | 0.566 | 8.91E-04 | 2.49E-03 | 0.610 | 3.48E-04 | 2.43E-03 |
| Succinate | -0.510 | 3.21E-03 | 8.44E-03 | -0.517 | 3.47E-03 | 8.58E-03 |
| 3-Hydroxybutyrate | 0.505 | 3.61E-03 | 8.91E-03 | 0.626 | 2.18E-04 | 1.83E-03 |
| 2-Ketoisovalerate | -0.457 | 9.08E-03 | 2.03E-02 | -0.363 | 4.84E-02 | 7.26E-02 |
| Rhamnose | -0.444 | 1.17E-02 | 2.45E-02 | -0.388 | 3.42E-02 | 5.87E-02 |
| Phosphoglycerol | -0.437 | 1.30E-02 | 2.60E-02 | -0.442 | 1.44E-02 | 2.75E-02 |
| Ribitol | -0.428 | 1.52E-02 | 2.90E-02 | -0.372 | 4.30E-02 | 6.68E-02 |
| 2,3-Dihydroxybutanoate | -0.421 | 1.71E-02 | 3.12E-02 | -0.379 | 3.89E-02 | 6.28E-02 |
| Arabinofuranose | 0.403 | 2.29E-02 | 4.00E-02 | 0.512 | 3.86E-03 | 9.02E-03 |
| Butyrylcarnitine | -0.316 | 7.85E-02 | 1.14E-01 | -0.526 | 2.82E-03 | 7.41E-03 |
| Hexanoylglycine | -0.275 | 1.28E-01 | 1.58E-01 | -0.553 | 1.54E-03 | 5.40E-03 |
| Hexanoylcarnitine | -0.375 | 3.54E-02 | 5.72E-02 | -0.395 | 3.06E-02 | 5.59E-02 |
| 2-Hydroxyglutarate | -0.331 | 6.44E-02 | 1.00E-01 | -0.278 | 1.36E-01 | 1.98E-01 |
| 2-Ketoadipate | -0.318 | 7.67E-02 | 1.14E-01 | -0.256 | 1.72E-01 | 2.32E-01 |
| 3-Hydroxy-3-methylglutarate | -0.307 | 8.79E-02 | 1.23E-01 | -0.253 | 1.76E-01 | 2.32E-01 |
| Metabolite ratios |  |  |  |  |  |  |
| 2-HIVA/2-KIVA | 0.784 | 9.98E-07 | 2.10E-05 | 0.744 | 2.50E-06 | 1.05E-04 |
| Fumarate/Succinate | 0.725 | 5.61E-06 | 7.85E-05 | 0.640 | 1.39E-04 | 1.83E-03 |
| 2KIVA/Valine | -0.701 | 1.42E-05 | 1.19E-04 | -0.628 | 2.05E-04 | 1.83E-03 |
| Malate/Fumarate | -0.642 | 1.08E-04 | 5.04E-04 | -0.546 | 1.81E-03 | 5.84E-03 |
| Malate/Aspartate | 0.606 | 3.11E-04 | 1.00E-03 | 0.464 | 9.85E-03 | 2.07E-02 |
| Lactate/Pyruvate | 0.457 | 9.20E-03 | 2.03E-02 | 0.386 | 3.50E-02 | 5.87E-02 |

Limma results

| No adjustment | logFC | AveExpr | t | P.Value | adj.P.Val | B |  | Adjust for sex and age | logFC | FC | AveExpr | t | Cohens d | P.Value | adj.P.Val | B |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2-Hydroxy-isovaleric acid | 0.70 | -1.55E-16 | 4.27 | 5.73E-05 | 1.72E-03 | 1.59 |  | 2-Hydroxy-isovaleric acid | 0.73 | 1.66 | -1.55E-16 | 4.58 | 1.26 | 1.91E-05 | 5.73E-04 | 2.59 |
| 3-Hydroxy(iso)butyric acid | 0.63 | -1.48E-16 | 3.86 | 2.42E-04 | 3.62E-03 | 0.25 |  | 3-Hydroxy(iso)butyric acid | 0.62 | 1.54 | -1.48E-16 | 3.74 | 1.03 | 3.63E-04 | 4.10E-03 | -0.17 |
| 2-HIVA/2-KIVA | 0.77 | -1.21E-17 | 3.63 | 5.26E-04 | 5.26E-03 | -0.47 |  | 2-HIVA/2-KIVA | 0.80 | 1.74 | -1.21E-17 | 3.71 | 1.02 | 4.10E-04 | 4.10E-03 | -0.28 |
| 3-Hydroxybutyric acid | 0.67 | 7.64E-17 | 3.41 | 1.07E-03 | 8.03E-03 | -1.12 |  | 3-Hydroxybutyric acid | 0.69 | 1.61 | 7.64E-17 | 3.40 | 0.93 | 1.11E-03 | 6.80E-03 | -1.20 |
| Pyruvate | 0.50 | -5.69E-17 | 3.33 | 1.34E-03 | 8.05E-03 | -1.33 |  | Pyruvate | 0.51 | 1.43 | -5.69E-17 | 3.39 | 0.93 | 1.13E-03 | 6.80E-03 | -1.22 |
| Fumarate | 0.45 | 3.84E-16 | 2.91 | 4.79E-03 | 2.11E-02 | -2.48 |  | Lactate | 0.58 | 1.50 | -1.39E-16 | 3.08 | 0.85 | 2.96E-03 | 1.48E-02 | -2.10 |
| Lactate | 0.54 | -1.39E-16 | 2.90 | 4.92E-03 | 2.11E-02 | -2.51 |  | Fumarate | 0.47 | 1.38 | 3.84E-16 | 2.97 | 0.82 | 4.00E-03 | 1.72E-02 | -2.37 |
| Oxalate | 0.42 | -3.62E-17 | 2.77 | 7.05E-03 | 2.64E-02 | -2.83 |  | Proline | 0.65 | 1.56 | 2.92E-18 | 2.89 | 0.79 | 5.14E-03 | 1.93E-02 | -2.60 |
| Proline | 0.60 | 2.92E-18 | 2.62 | 1.06E-02 | 3.53E-02 | -3.19 |  | Oxalate | 0.43 | 1.35 | -3.62E-17 | 2.81 | 0.77 | 6.33E-03 | 2.11E-02 | -2.79 |
| Alanine | 0.41 | 4.29E-17 | 2.49 | 1.51E-02 | 4.53E-02 | -3.50 |  | Malate | 0.45 | 1.37 | -1.02E-16 | 2.54 | 0.70 | 1.33E-02 | 3.70E-02 | -3.45 |
| Malate | 0.40 | -1.02E-16 | 2.24 | 2.84E-02 | 7.74E-02 | -4.04 |  | Alanine | 0.42 | 1.34 | 4.29E-17 | 2.53 | 0.69 | 1.36E-02 | 3.70E-02 | -3.47 |
| Uric acid 4TMS | 0.31 | -1.70E-17 | 2.06 | 4.31E-02 | 1.01E-01 | -4.40 |  | 2,3-Dihydroxybutanoic acid | 0.39 | 1.31 | 9.47E-17 | 2.02 | 0.55 | 4.74E-02 | 1.13E-01 | -4.54 |
| Fumarate/Succinate | 0.31 | 4.85E-17 | 2.04 | 4.48E-02 | 1.01E-01 | -4.43 |  | Uric acid 4TMS | 0.29 | 1.23 | -1.70E-17 | 2.00 | 0.55 | 4.90E-02 | 1.13E-01 | -4.57 |
| 2,3-Dihydroxybutanoic acid | 0.38 | 9.47E-17 | 2.02 | 4.70E-02 | 1.01E-01 | -4.47 |  | Fumarate/Succinate | 0.29 | 1.22 | 4.85E-17 | 1.88 | 0.52 | 6.38E-02 | 1.37E-01 | -4.79 |
| Sarcosine | -0.23 | -1.51E-17 | -1.88 | 6.43E-02 | 1.29E-01 | -4.73 |  | Sarcosine | -0.23 | 0.85 | -1.51E-17 | -1.79 | -0.49 | 7.74E-02 | 1.50E-01 | -4.95 |
| Ribitol | 0.36 | 2.24E-17 | 1.73 | 8.80E-02 | 1.65E-01 | -4.99 |  | Ribitol | 0.38 | 1.30 | 2.24E-17 | 1.78 | 0.49 | 7.98E-02 | 1.50E-01 | -4.97 |
| Phosphoglycerol | 0.31 | 2.75E-16 | 1.62 | 1.10E-01 | 1.94E-01 | -5.16 |  | 3-Hydroxyisovaleric acid | 0.26 | 1.20 | 5.45E-18 | 1.60 | 0.44 | 1.14E-01 | 2.01E-01 | -5.26 |
| 3-Hydroxyisovaleric acid | 0.25 | 5.45E-18 | 1.58 | 1.18E-01 | 1.96E-01 | -5.22 |  | 2-Keto-isovaleric acid | -0.29 | 0.82 | -2.83E-16 | -1.43 | -0.39 | 1.57E-01 | 2.62E-01 | -5.51 |
| 2-Keto-isovaleric acid | -0.27 | -2.83E-16 | -1.37 | 1.76E-01 | 2.78E-01 | -5.52 |  | Phosphoglycerol | 0.24 | 1.18 | 2.75E-16 | 1.27 | 0.35 | 2.08E-01 | 3.29E-01 | -5.71 |
| Aconitic acid | 0.17 | 1.18E-16 | 1.09 | 2.78E-01 | 4.17E-01 | -5.85 |  | Aconitic acid | 0.17 | 1.13 | 1.18E-16 | 1.10 | 0.30 | 2.73E-01 | 4.10E-01 | -5.91 |
| Succinate | 0.15 | 4.60E-17 | 0.81 | 4.18E-01 | 5.81E-01 | -6.11 |  | Succinate | 0.18 | 1.13 | 4.60E-17 | 0.98 | 0.27 | 3.30E-01 | 4.71E-01 | -6.03 |
| Lac/Pyr | 0.16 | 3.09E-17 | 0.80 | 4.26E-01 | 5.81E-01 | -6.12 |  | Lac/Pyr | 0.19 | 1.14 | 3.09E-17 | 0.93 | 0.26 | 3.54E-01 | 4.82E-01 | -6.08 |
| 2-Keto-adipic acid | -0.11 | -1.82E-16 | -0.73 | 4.65E-01 | 6.06E-01 | -6.17 |  | 2-Keto-adipic acid | -0.13 | 0.91 | -1.82E-16 | -0.86 | -0.24 | 3.92E-01 | 5.12E-01 | -6.14 |
| Threonic acid | 0.08 | 5.40E-17 | 0.51 | 6.15E-01 | 7.68E-01 | -6.31 |  | Rhamnose | -0.07 | 0.95 | 1.73E-16 | -0.47 | -0.13 | 6.43E-01 | 7.65E-01 | -6.40 |
| Uracil | 0.05 | 1.55E-16 | 0.35 | 7.30E-01 | 8.48E-01 | -6.37 |  | Threonic acid | 0.07 | 1.05 | 5.40E-17 | 0.45 | 0.12 | 6.54E-01 | 7.65E-01 | -6.40 |
| Gulonic acid | 0.06 | -1.47E-16 | 0.34 | 7.35E-01 | 8.48E-01 | -6.38 |  | 3-Hydroxy-3-methylglutaric acid | -0.06 | 0.96 | -1.17E-16 | -0.44 | -0.12 | 6.63E-01 | 7.65E-01 | -6.41 |
| 3-Hydroxy-3-methylglutaric acid | -0.04 | -1.17E-16 | -0.30 | 7.67E-01 | 8.52E-01 | -6.39 |  | Malate/Fumarate | 0.06 | 1.04 | -9.21E-18 | 0.33 | 0.09 | 7.45E-01 | 8.05E-01 | -6.45 |
| 2-Hydroxyglutaric acid | 0.03 | 1.40E-16 | 0.23 | 8.16E-01 | 8.74E-01 | -6.41 |  | Uracil | 0.05 | 1.03 | 1.55E-16 | 0.32 | 0.09 | 7.51E-01 | 8.05E-01 | -6.45 |
| Rhamnose | -0.03 | 1.73E-16 | -0.19 | 8.51E-01 | 8.81E-01 | -6.41 |  | Gulonic acid | 0.04 | 1.03 | -1.47E-16 | 0.23 | 0.06 | 8.21E-01 | 8.49E-01 | -6.48 |
| Malate/Fumarate | 0.02 | -9.21E-18 | 0.09 | 9.28E-01 | 9.28E-01 | -6.43 |  | 2-Hydroxyglutaric acid | 0.01 | 1.01 | 1.40E-16 | 0.08 | 0.02 | 9.34E-01 | 9.34E-01 | -6.50 |

Fig. S1 | Other significant correlations between mutation load and metabolite levels in Mito-mice. Scatter plots depict relative intensities (y-axis) of urinary metabolites in individual mito-mice (n = 32) with varying levels of mtDNA mutation loads (x-axis). Pearson’s r values are displayed on graphs.

Fig. S2 | Metabolite ratios that correlate with mutation load in Mito-mice. Scatter plots depict relative intensities (y-axis) of urinary metabolite ratios in individual mito-mice (n = 32) with varying levels of mtDNA mutation loads (x-axis). Pearson’s r values are displayed on graphs. Abbreviations: 2-HIVA, 2-hydroxyisovalerate; 2-KIVA, 2 -ketoisovalerate.