[bookmark: _GoBack]Table S2. Matrix effects, linear range, correlation coefficients, recoveries, RSDs and expanded uncertainties (U) of 216 pesticides QuEChERS method without clean-up step analysis by GC-µECD-NPD and GC-MS/MS.

	No. of active substance 

	ID of pesticides
	Range (mg kg-1)
	R2
	ME (%)
	U (%)
	Recovery (%)
 LOQ
	RSD  (%)
	Recovery (%)
10 LOQ
	RSD  (%)
	Recovery (%)
100 LOQ
	RSD  (%)
	Range (mg kg-1)
	R2
	ME (%)
	U (%)
	Recovery (%)
 LOQ
	RSD  (%)
	Recovery (%)
10 LOQ
	RSD  (%)
	Recovery (%)
100 LOQ
	RSD  (%)

	
	
	GC µECD-NPD
	GC-MS/MS

	1. 
	134
	0.03-3.0
	0.999
	18
	21
	62
	18
	65
	15
	60
	12
	0.005-0.5
	0.998
	3
	21
	79
	1
	80
	1
	78
	6

	2. 
	50
	0.01-1.0
	0.999
	9
	17
	65
	1
	67
	1
	66
	1
	0.005-0.5
	0.999
	15
	24
	78
	4
	75
	4
	70
	2

	3. 
	48
	0.01-1.0
	0.999
	-3
	18
	62
	3
	65
	1
	60
	1
	0.005-0.5
	0.999
	-14
	23
	84
	3
	83
	3
	89
	3

	4. 
	141
	0.01-1.0
	0.999
	-2
	21
	92
	3
	87
	2
	95
	4
	0.005-0.5
	0.999
	12
	24
	77
	4
	70
	4
	70
	9

	5. 
	177
	0.02-2.0
	0.999
	-8
	21
	61
	3
	68
	1
	71
	3
	0.005-0.5
	0.999
	-12
	15
	92
	7
	79
	7
	82
	3

	6. 
	133
	0.01-1.0
	0.999
	-20
	17
	60
	1
	61
	1
	62
	1
	0.01-1.0
	0.999
	-4
	23
	82
	3
	84
	3
	78
	2

	7. 
	147
	0.05-5.0
	0.999
	13
	25
	62
	10
	60
	14
	59
	15
	0.005-0.5
	0.994
	5
	27
	81
	7
	95
	7
	90
	5

	8. 
	120
	0.01-1.0
	0.999
	47
	25
	105
	7
	110
	7
	100
	9
	0.005-0.5
	0.999
	48
	28
	107
	8
	120
	8
	120
	1

	9. 
	108
	0.01-1.0
	0.999
	-4
	20
	80
	17
	78
	3
	90
	3
	0.005-0.5
	0.999
	-8
	18
	102
	9
	115
	9
	118
	5

	10. 
	44
	0.02-2.0
	0.998
	-3
	16
	82
	5
	73
	3
	82
	6
	0.005-0.5
	0.999
	-6
	21
	70
	1
	70
	1
	69
	6

	11. 
	196
	0.01-1.0
	0.999
	18
	18
	67
	2
	63
	1
	70
	2
	0.005-0.5
	0.997
	1
	27
	80
	12
	103
	12
	97
	3

	12. 
	88
	0.01-1.0
	0.999
	12
	22
	90
	12
	85
	8
	65
	13
	0.005-0.5
	0.997
	11
	27
	70
	12
	75
	12
	93
	7

	13. 
	179
	0.01-1.0
	0.999
	31
	30
	115
	14
	95
	13
	110
	14
	0.005-0.5
	0.997
	24
	24
	93
	9
	75
	9
	88
	4

	14. 
	173
	0.01-1.0
	0.999
	24
	21
	75
	4
	80
	4
	85
	2
	0.005-0.5
	0.999
	28
	28
	73
	13
	91
	5
	99
	6

	15. 
	62
	0.01-1.0
	0.999
	0
	16
	58
	2
	62
	3
	60
	1
	0.005-0.5
	0.999
	37
	25
	72
	15
	96
	6
	100
	1

	16. 
	72
	0.01-1.0
	0.999
	-18
	18
	95
	3
	88
	4
	96
	4
	0.005-0.5
	0.999
	6
	21
	70
	6
	72
	15
	81
	3

	17. 
	33
	0.01-1.0
	0.999
	-2
	19
	72
	3
	84
	3
	86
	2
	0.005-0.5
	0.999
	-7
	19
	98
	4
	103
	4
	105
	0

	18. 
	53
	0.01-1.0
	0.998
	38
	24
	106
	6
	96
	9
	105
	8
	0.005-0.5
	0.997
	5
	24
	80
	9
	96
	4
	80
	9

	19. 
	158
	0.02-2.0
	0.999
	53
	17
	104
	16
	100
	4
	106
	4
	0.01-1.0
	0.995
	10
	20
	81
	5
	86
	4
	90
	2

	20. 
	213
	0.01-1.0
	0.999
	20
	17
	75
	1
	76
	1
	73
	1
	0.005-0.5
	0.995
	3
	21
	72
	6
	83
	6
	73
	2

	21. 
	23
	0.01-1.0
	0.999
	-7
	23
	98
	3
	93
	6
	110
	5
	0.005-0.5
	0.999
	-16
	10
	88
	1
	87
	2
	89
	8

	22. 
	162
	0.01-1.0
	0.999
	-17
	16
	64
	11
	67
	1
	69
	1
	0.005-0.5
	0.999
	-7
	21
	76
	6
	65
	3
	68
	1

	23. 
	103
	0.005-0.5
	0.995
	-4
	19
	82
	6
	89
	6
	95
	4
	0.005-0.5
	0.999
	-4
	19
	71
	4
	71
	5
	78
	4

	24. 
	109
	0.005-0.5
	0.999
	3
	20
	70
	9
	71
	10
	79
	10
	0.005-0.5
	0.999
	3
	18
	72
	3
	77
	4
	76
	5

	25. 
	46
	0.03-3.0
	0.998
	-19
	19
	86
	4
	94
	4
	86
	4
	0.01-1.0
	0.999
	-11
	17
	74
	2
	70
	4
	70
	4

	26. 
	51
	0.005-0.5
	0.988
	82
	17
	93
	2
	87
	3
	90
	3
	0.005-0.5
	0.994
	3
	25
	88
	10
	85
	6
	104
	2

	27. 
	58
	0.01-0.5
	0.999
	9
	20
	97
	5
	92
	2
	98
	6
	0.005-0.5
	0.997
	7
	19
	109
	4
	116
	4
	116
	5

	28. 
	191
	0.01-1.0
	0.999
	-12
	19
	95
	2
	89
	3
	98
	1
	0.005-0.5
	0.999
	1
	16
	100
	1
	101
	1
	101
	4

	29. 
	27
	0.02-2.0
	0.999
	84
	29
	73
	9
	70
	15
	76
	4
	0.005-0.5
	0.999
	1
	19
	84
	6
	79
	6
	73
	5

	30. 
	6
	0.01-0.5
	0.999
	-4
	19
	92
	4
	90
	1
	98
	2
	0.005-1.0
	0.999
	-1
	18
	79
	3
	81
	1
	76
	4

	31. 
	36
	0.03-3.0
	0.999
	-5
	19
	102
	4
	93
	3
	92
	5
	0.005-0.5
	0.999
	21
	22
	101
	7
	88
	2
	90
	4

	32. 
	104
	0.005-0.5
	0.999
	-11
	19
	90
	11
	94
	12
	106
	10
	0.005-0.5
	0.999
	-7
	24
	95
	9
	78
	1
	82
	4

	33. 
	176
	0.01-1.0
	0.999
	45
	17
	102
	1
	95
	11
	103
	3
	0.005-0.5
	0.999
	6
	21
	94
	6
	83
	2
	85
	2

	34. 
	105
	0.005-0.5
	0.991
	-9
	16
	92
	10
	90
	11
	102
	9
	0.005-0.5
	0.999
	-12
	18
	90
	5
	98
	3
	89
	1

	35. 
	198
	0.01-1.0
	0.999
	-15
	17
	90
	1
	90
	1
	103
	9
	0.005-0.5
	0.999
	1
	23
	90
	6
	90
	8
	80
	2

	36. 
	180
	0.02-2.0
	0.999
	23
	20
	106
	3
	96
	4
	105
	5
	0.005-0.5
	0.999
	16
	18
	119
	6
	108
	3
	115
	5

	37. 
	185
	0.01-1.0
	0.997
	-6
	19
	90
	7
	84
	7
	95
	5
	0.005-0.5
	0.999
	9
	17
	98
	7
	88
	2
	85
	4

	38. 
	47
	0.01-1.0
	0.999
	-7
	17
	89
	2
	85
	1
	89
	2
	0.005-0.5
	0.999
	4
	18
	97
	6
	85
	3
	90
	2

	39. 
	154
	0.01-1.0
	0.999
	41
	27
	103
	12
	94
	10
	103
	9
	0.005-0.5
	0.995
	0
	27
	118
	5
	119
	2
	110
	2

	40. 
	32
	0.01-1.0
	0.999
	55
	18
	74
	9
	64
	4
	68
	6
	0.005-0.5
	0.999
	1
	20
	68
	6
	78
	5
	69
	3

	41. 
	197
	0.01-1.0
	0.999
	9
	20
	98
	12
	86
	12
	98
	3
	0.005-0.5
	0.999
	14
	16
	94
	7
	80
	1
	85
	1

	42. 
	100
	0.01-1.0
	0.999
	21
	17
	86
	8
	91
	8
	82
	7
	0.005-0.5
	0.997
	2
	20
	80
	6
	80
	5
	90
	6

	43. 
	137
	 0.05-5.0
	0.999
	14
	23
	79
	14
	73
	6
	72
	1
	0.005-0.5
	0.999
	23
	15
	75
	6
	71
	6
	82
	4

	44. 
	166
	0.01-1.0
	0.999
	-10
	22
	88
	3
	85
	2
	96
	2
	0.005-0.5
	0.999
	7
	25
	102
	7
	96
	13
	88
	3

	45. 
	41
	0.01-1.0
	0.999
	7
	21
	102
	12
	98
	1
	99
	2
	0.005-0.5
	0.999
	12
	14
	88
	2
	89
	2
	86
	2

	46. 
	57
	0.02-2.0
	0.999
	15
	17
	90
	6
	84
	4
	106
	9
	0.01-1.0
	0.999
	15
	15
	85
	4
	78
	3
	80
	6

	47. 
	140
	0.01-1.0
	0.999
	14
	22
	105
	12
	85
	3
	95
	4
	0.005-0.5
	0.999
	4
	13
	95
	7
	93
	1
	82
	3

	48. 
	2
	0.02-2.0
	0.999
	11
	21
	96
	2
	95
	1
	104
	1
	0.005-0.5
	0.999
	3
	15
	86
	4
	91
	3
	84
	2

	49. 
	102
	0.02-2.0
	0.999
	84
	23
	75
	16
	66
	5
	68
	9
	0.005-0.5
	0.998
	12
	28
	95
	14
	109
	8
	82
	4

	50. 
	156
	0.01-1.0
	0.999
	18
	22
	90
	13
	88
	2
	93
	1
	0.005-0.5
	0.998
	14
	22
	76
	13
	84
	10
	102
	3

	51. 
	35
	0.005-0.5
	0.999
	7
	22
	89
	3
	85
	2
	89
	2
	0.005-0.5
	0.999
	2
	13
	90
	2
	88
	1
	86
	3

	52. 
	215
	0.01-1.0
	0.999
	21
	20
	86
	11
	84
	1
	83
	2
	0.005-0.5
	0.999
	2
	15
	84
	6
	95
	3
	85
	1

	53. 
	106
	0.005-0.5
	0.999
	-6
	20
	98
	1
	91
	10
	80
	8
	0.005-0.5
	0.999
	-4
	22
	94
	8
	89
	10
	79
	1

	54. 
	206
	0.01-1.0
	0.999
	8
	21
	87
	2
	86
	1
	90
	1
	0.005-0.5
	0.999
	12
	14
	73
	10
	90
	2
	90
	2

	55. 
	26
	0.05-2.5
	0.998
	-1
	19
	63
	10
	67
	9
	70
	6
	0.005-0.5
	0.995
	-6
	15
	68
	6
	79
	4
	77
	8

	56. 
	125
	0.01-1.0
	0.999
	-7
	23
	90
	15
	88
	13
	116
	16
	0.005-0.5
	0.995
	1
	27
	119
	9
	102
	5
	114
	2

	57. 
	79
	0.01-1.0
	0.999
	-4
	21
	66
	2
	61
	2
	67
	2
	0.005-0.5
	0.999
	5
	14
	78
	4
	70
	2
	74
	2

	58. 
	129
	0.01-1.0
	0.999
	-8
	20
	94
	11
	88
	3
	94
	2
	0.01-1.0
	0.999
	-2
	15
	80
	5
	90
	3
	88
	1

	59. 
	153
	0.01-1.0
	0.999
	14
	21
	89
	4
	89
	1
	89
	0
	0.005-0.5
	0.995
	3
	24
	80
	5
	88
	12
	90
	2

	60. 
	172
	0.01-1.0
	0.999
	-7
	23
	90
	3
	88
	5
	94
	1
	0.005-0.5
	0.999
	3
	15
	90
	6
	84
	3
	78
	4

	61. 
	199
	0.01-1.0
	0.999
	-12
	20
	86
	13
	85
	1
	91
	1
	0.005-0.5
	0.999
	-18
	13
	101
	9
	115
	1
	118
	1

	62. 
	81
	0.01-1.0
	0.999
	-6
	22
	91
	3
	87
	1
	94
	3
	0.005-0.5
	0.999
	2
	16
	80
	6
	90
	4
	80
	3

	63. 
	188
	0.01-1.0
	0.999
	7
	17
	85
	9
	80
	10
	85
	2
	0.01-1.0
	0.998
	30
	14
	90
	7
	101
	2
	88
	6

	64. 
	168
	0.01-1.0
	0.999
	-8
	21
	89
	1
	88
	1
	91
	1
	0.005-0.5
	0.999
	1
	13
	93
	4
	85
	1
	90
	2

	65. 
	16
	0.01-1.0
	0.999
	55
	20
	83
	4
	94
	6
	91
	6
	0.005-1.0
	0.998
	59
	14
	80
	8
	86
	2
	71
	1

	66. 
	49
	0.01-1.0
	0.999
	-30
	21
	69
	3
	65
	2
	67
	2
	0.005-0.5
	0.998
	-21
	14
	60
	5
	68
	2
	68
	2

	67. 
	4
	0.005-0.5
	0.999
	2
	18
	83
	14
	90
	6
	92
	14
	0.005-1.0
	0.999
	1
	14
	80
	6
	83
	2
	92
	7

	68. 
	126
	0.01-1.0
	0.999
	-1
	23
	93
	5
	86
	3
	96
	3
	0.005-0.5
	0.998
	11
	15
	108
	2
	110
	3
	106
	4

	69. 
	138
	0.01-1.0
	0.999
	4
	22
	97
	4
	88
	3
	106
	5
	0.005-0.5
	0.999
	15
	13
	81
	6
	90
	1
	80
	3

	70. 
	86
	0.01-1.0
	0.999
	-7
	23
	90
	13
	78
	2
	90
	3
	0.005-0.5
	0.999
	-7
	13
	80
	10
	83
	1
	99
	4

	71. 
	52
	0.005-0.5
	0.999
	45
	22
	98
	6
	91
	4
	108
	2
	0.005-0.5
	0.999
	56
	15
	80
	5
	85
	3
	90
	3

	72. 
	34
	0.005-0.5
	0.999
	5
	22
	89
	2
	87
	2
	90
	1
	0.005-0.5
	0.999
	8
	15
	80
	3
	86
	3
	86
	3

	73. 
	85
	0.02-2.0
	0.998
	-10
	23
	98
	6
	94
	2
	102
	3
	0.01-1.0
	0.999
	-16
	15
	103
	6
	110
	3
	97
	4

	74. 
	155
	0.01-1.0
	0.999
	14
	20
	98
	1
	89
	1
	90
	1
	0.005-0.5
	0.999
	3
	17
	70
	8
	76
	5
	86
	1

	75. 
	37
	0.01-1.0
	0.999
	21
	22
	92
	3
	101
	4
	108
	4
	0.005-0.5
	0.998
	1
	14
	79
	10
	86
	2
	99
	3

	76. 
	280
	0.01-1.0
	0.999
	-6
	21
	89
	11
	87
	4
	87
	1
	0.005-0.5
	0.999
	-4
	14
	90
	7
	85
	2
	98
	2

	77. 
	117
	0.01-1.0
	0.999
	-27
	16
	101
	6
	95
	6
	108
	5
	0.005-0.5
	0.997
	17
	21
	86
	10
	84
	12
	102
	5

	78. 
	91
	0.01-1.0
	0.999
	94
	17
	98
	3
	93
	4
	91
	1
	0.005-0.5
	0.999
	23
	13
	80
	7
	90
	1
	76
	6

	79. 
	201
	0.01-1.0
	0.999
	14
	16
	96
	11
	89
	1
	91
	1
	0.005-0.5
	0.999
	1
	13
	80
	4
	75
	1
	82
	5

	80. 
	94
	0.01-1.0
	0.999
	6
	21
	104
	4
	98
	2
	99
	3
	0.005-0.5
	0.998
	3
	10
	80
	12
	82
	1
	102
	2

	81. 
	18
	0.01-1.0
	0.999
	10
	20
	92
	4
	84
	1
	88
	2
	0.005-0.5
	0.999
	2
	14
	94
	5
	86
	2
	86
	1

	82. 
	205
	0.02-2.0
	0.999
	-9
	27
	116
	11
	114
	16
	106
	15
	0.005-0.5
	0.999
	-8
	13
	72
	6
	73
	1
	82
	6

	83. 
	101
	0.01-1.0
	0.999
	83
	19
	110
	10
	108
	9
	90
	6
	0.01-1.0
	0.998
	1
	20
	92
	8
	86
	8
	102
	8

	84. 
	43
	0.01-1.0
	0.995
	-19
	17
	94
	5
	84
	6
	90
	7
	0.005-0.5
	0.999
	14
	13
	90
	6
	89
	1
	80
	6

	85. 
	167
	0.01-1.0
	0.999
	-9
	22
	91
	9
	89
	2
	90
	1
	0.005-0.5
	0.999
	1
	12
	90
	4
	86
	0
	82
	3

	86. 
	118
	0.01-1.0
	0.999
	-15
	21
	98
	1
	102
	2
	88
	2
	0.005-0.5
	0.999
	16
	12
	101
	13
	80
	0
	76
	2

	87. 
	131
	0.01-1.0
	0.999
	11
	23
	110
	4
	104
	4
	98
	5
	0.005-0.5
	0.999
	17
	13
	80
	4
	86
	1
	88
	4

	88. 
	107
	0.005-0.5
	0.999
	1
	16
	90
	15
	106
	15
	85
	9
	0.005-0.5
	0.999
	0
	15
	102
	12
	86
	3
	80
	5

	89. 
	159
	0.01-1.0
	0.999
	15
	22
	97
	4
	95
	6
	98
	3
	0.005-0.5
	0.999
	1
	19
	86
	10
	104
	7
	104
	3

	90. 
	204
	0.03-3.0
	0.998
	96
	20
	61
	4
	72
	4
	67
	3
	0.005-0.5
	0.995
	65
	15
	69
	1
	69
	3
	68
	1

	91. 
	157
	0.01-1.0
	0.999
	-14
	16
	84
	12
	90
	2
	92
	2
	0.005-0.5
	0.999
	-12
	15
	92
	5
	82
	3
	90
	5

	92. 
	25
	0.01-0.5
	0.997
	4
	22
	60
	1
	68
	4
	62
	5
	0.005-0.5
	0.995
	0
	17
	79
	5
	78
	5
	70
	1

	93. 
	207
	0.01-1.0
	0.999
	-4
	21
	60
	10
	69
	8
	74
	7
	0.005-0.5
	0.998
	-5
	13
	65
	3
	71
	1
	69
	10

	94. 
	30
	0.01-1.0
	0.999
	0
	22
	103
	4
	94
	2
	102
	3
	0.005-0.5
	0.999
	7
	15
	109
	6
	116
	3
	105
	3

	95. 
	99
	0.01-1.0
	0.997
	7
	24
	63
	10
	68
	1
	70
	3
	0.005-0.5
	0.995
	0
	14
	68
	1
	69
	2
	68
	13

	96. 
	119
	0.01-1.0
	0.999
	-6
	16
	100
	6
	93
	6
	95
	4
	0.005-0.5
	0.999
	11
	20
	83
	7
	91
	8
	78
	5

	97. 
	187
	0.01-1.0
	0.999
	-14
	22
	99
	6
	96
	3
	90
	2
	0.005-0.5
	0.999
	10
	14
	98
	9
	80
	2
	85
	3

	98. 
	209
	0.02-2.0
	0.999
	-10
	20
	82
	2
	89
	4
	96
	5
	0.01-1.0
	0.999
	14
	14
	86
	7
	73
	2
	75
	1

	99. 
	161
	0.01-1.0
	0.999
	13
	20
	89
	10
	86
	2
	92
	2
	0.005-0.5
	0.999
	3
	14
	83
	7
	84
	2
	96
	1

	100. 
	127
	0.01-1.0
	0.999
	-4
	21
	91
	4
	93
	2
	98
	2
	0.005-0.5
	0.999
	19
	15
	88
	7
	82
	3
	96
	2

	101. 
	87
	0.005-0.5
	0.998
	-32
	20
	90
	2
	95
	2
	98
	1
	0.005-0.5
	0.995
	-25
	19
	96
	4
	89
	7
	88
	1

	102. 
	170
	0.01-1.0
	0.999
	18
	22
	84
	12
	90
	3
	85
	3
	0.005-0.5
	0.999
	31
	14
	86
	11
	72
	2
	94
	3

	103. 
	111
	0.05-5.0
	0.999
	-2
	21
	90
	4
	98
	3
	88
	3
	0.01-1.0
	0.997
	-3
	17
	77
	5
	86
	5
	82
	10

	104. 
	135
	0.01-1.0
	0.999
	-1
	22
	96
	6
	91
	3
	97
	3
	0.005-0.5
	0.999
	18
	13
	80
	1
	81
	1
	81
	3

	105. 
	212
	0.01-1.0
	0.999
	30
	22
	88
	15
	88
	4
	98
	3
	0.005-0.5
	0.999
	3
	16
	113
	2
	117
	4
	116
	3

	106. 
	17
	0.01-1.0
	0.998
	14
	16
	107
	3
	91
	6
	105
	4
	0.005-1.0
	0.999
	1
	13
	87
	9
	79
	1
	70
	5

	107. 
	152
	0.02-2.0
	0.999
	-12
	20
	93
	11
	84
	2
	91
	2
	0.005-0.5
	0.999
	-7
	17
	86
	8
	96
	5
	80
	1

	108. 
	63
	0.005-0.5
	0.999
	1
	23
	97
	3
	93
	3
	110
	2
	0.005-0.5
	0.999
	0
	15
	103
	11
	86
	3
	82
	4

	109. 
	200
	0.01-1.0
	0.999
	7
	21
	108
	10
	90
	6
	100
	6
	0.005-0.5
	0.998
	2
	14
	86
	5
	84
	2
	94
	10

	110. 
	128
	0.01-1.0
	0.999
	-15
	16
	105
	5
	94
	6
	106
	3
	0.005-0.5
	0.998
	-19
	12
	71
	6
	77
	0
	82
	5

	111. 
	98
	0.01-1.0
	0.999
	-8
	20
	92
	15
	90
	1
	93
	1
	0.01-1.0
	0.999
	-18
	16
	86
	5
	86
	4
	95
	1

	112. 
	143
	0.02-2.0
	0.998
	-5
	20
	96
	2
	87
	5
	93
	6
	0.005-0.5
	0.999
	15
	14
	102
	2
	105
	2
	106
	1

	113. 
	110
	0.01-1.0
	0.999
	-19
	16
	100
	4
	93
	4
	106
	7
	0.005-0.5
	0.997
	-11
	13
	84
	4
	91
	1
	92
	5

	114. 
	165
	0.01-1.0
	0.999
	16
	21
	98
	7
	103
	3
	92
	2
	0.01-1.0
	0.999
	38
	16
	104
	12
	90
	4
	80
	2

	115. 
	97
	0.02-2.0
	0.999
	-13
	20
	93
	12
	94
	1
	93
	1
	0.005-0.5
	0.999
	-10
	16
	96
	3
	90
	4
	90
	1

	116. 
	112
	0.01-1.0
	0.998
	82
	20
	80
	8
	79
	4
	73
	2
	0.005-0.5
	0.999
	74
	14
	88
	2
	84
	2
	86
	1

	117. 
	54
	0.005-0.5
	0.999
	2
	21
	103
	9
	96
	14
	85
	8
	0.005-0.5
	0.999
	0
	19
	84
	1
	86
	7
	85
	2

	118. 
	121
	0.01-1.0
	0.999
	11
	24
	101
	13
	90
	2
	103
	3
	0.005-0.5
	0.999
	7
	17
	88
	3
	94
	5
	94
	13

	119. 
	171
	0.01-1.0
	0.999
	-16
	16
	99
	3
	98
	5
	102
	3
	0.01-1.0
	0.999
	-3
	24
	78
	11
	100
	2
	90
	5

	120. 
	150
	0.005-0.5
	0.998
	7
	22
	96
	14
	91
	15
	86
	8
	0.005-0.5
	0.999
	64
	17
	75
	5
	65
	5
	70
	3

	121. 
	90
	0.01-1.0
	0.995
	-16
	17
	95
	7
	84
	4
	90
	9
	0.005-0.5
	0.997
	-15
	19
	79
	6
	89
	7
	80
	6

	122. 
	142
	0.01-1.0
	0.999
	-13
	22
	91
	4
	86
	3
	94
	4
	0.005-0.5
	0.999
	19
	17
	81
	1
	79
	5
	80
	3

	123. 
	181
	0.02-2.0
	0.999
	-38
	23
	91
	13
	88
	2
	95
	3
	0.005-0.5
	0.999
	-15
	17
	84
	5
	80
	5
	89
	4

	124. 
	116
	0.03-3.0
	0.999
	-12
	16
	114
	4
	98
	4
	103
	6
	0.005-0.5
	0.995
	-15
	27
	72
	15
	97
	15
	98
	5

	125. 
	7
	0.01-1.0
	0.999
	1
	22
	94
	5
	92
	4
	90
	2
	0.005-1.0
	0.999
	47
	20
	88
	5
	86
	8
	96
	3

	126. 
	22
	0.01-1.0
	0.999
	-7
	20
	87
	11
	87
	3
	95
	3
	0.005-0.5
	0.999
	-9
	18
	90
	4
	82
	6
	84
	1

	127. 
	130
	0.01-1.0
	0.996
	11
	20
	104
	5
	96
	6
	100
	6
	0.005-0.5
	0.990
	16
	23
	80
	6
	90
	1
	92
	9

	128. 
	96
	0.01-1.0
	0.999
	-9
	20
	92
	10
	94
	12
	84
	1
	0.005-0.5
	0.997
	-1
	17
	105
	5
	111
	5
	114
	1

	129. 
	148
	0.01-1.0
	0.999
	9
	17
	103
	7
	84
	2
	102
	4
	0.005-0.5
	0.998
	1
	24
	94
	4
	85
	2
	90
	6

	130. 
	66
	0.005-0.5
	0.999
	-5
	22
	93
	9
	106
	10
	90
	7
	0.005-0.5
	0.999
	1
	22
	74
	3
	75
	1
	80
	3

	131. 
	21
	0.01-1.0
	0.999
	-14
	20
	94
	3
	88
	3
	95
	1
	0.005-0.5
	0.999
	-3
	19
	76
	3
	74
	7
	80
	1

	132. 
	144
	0.01-1.0
	0.999
	8
	20
	94
	0
	94
	2
	110
	3
	0.01-1.0
	0.998
	4
	20
	79
	9
	79
	8
	94
	1

	133. 
	122
	0.01-1.0
	0.999
	-12
	21
	97
	6
	93
	4
	96
	2
	0.005-0.5
	0.999
	10
	28
	96
	5
	86
	8
	94
	2

	134. 
	42
	0.01-1.0
	0.999
	67
	20
	92
	2
	86
	1
	85
	3
	0.005-0.5
	0.999
	26
	20
	88
	2
	90
	8
	91
	1

	135. 
	64
	0.005-0.5
	0.999
	12
	18
	95
	1
	106
	1
	100
	3
	0.005-0.5
	0.999
	0
	21
	92
	1
	90
	9
	90
	3

	136. 
	38
	0.01-1.0
	0.999
	15
	28
	91
	8
	90
	10
	106
	10
	0.01-1.0
	0.998
	6
	15
	87
	1
	84
	3
	85
	13

	137. 
	89
	0.02-2.0
	0.999
	6
	30
	104
	14
	96
	10
	102
	12
	0.005-0.5
	0.999
	3
	24
	86
	4
	89
	2
	94
	14

	138. 
	61
	0.01-1.0
	0.999
	-14
	17
	91
	1
	84
	2
	90
	5
	0.005-0.5
	0.996
	-6
	25
	80
	10
	100
	3
	86
	2

	139. 
	70
	0.01-1.0
	0.999
	-13
	26
	97
	7
	94
	5
	112
	12
	0.005-0.5
	0.999
	-15
	25
	80
	9
	89
	5
	70
	11

	140. 
	149
	0.005-0.5
	0.999
	21
	19
	95
	10
	97
	3
	96
	5
	0.005-0.5
	0.998
	48
	24
	84
	5
	84
	8
	76
	4

	141. 
	145
	0.005-0.5
	0.995
	-20
	22
	96
	15
	97
	3
	96
	7
	0.005-0.5
	0.999
	-20
	18
	80
	5
	71
	2
	78
	7

	142. 
	146
	0.01-1.0
	0.999
	-9
	19
	98
	12
	92
	3
	98
	3
	0.005-0.5
	0.999
	9
	24
	86
	0
	86
	8
	86
	4

	143. 
	71
	0.01-1.0
	0.999
	16
	17
	91
	11
	87
	2
	96
	1
	0.005-0.5
	0.996
	28
	24
	89
	6
	90
	8
	80
	2

	144. 
	210
	0.01-1.0
	0.999
	-5
	16
	98
	3
	91
	1
	94
	4
	0.005-0.5
	0.995
	4
	20
	87
	4
	94
	4
	90
	1

	145. 
	11
	0.03-1.5
	0.998
	-12
	28
	98
	9
	112
	14
	110
	18
	0.005-1.0
	0.999
	-12
	18
	92
	6
	80
	2
	86
	13

	146. 
	65
	0.01-1.0
	0.999
	13
	21
	106
	16
	96
	4
	108
	5
	0.005-0.5
	0.999
	15
	20
	92
	3
	90
	4
	86
	6

	147. 
	189
	0.01-1.0
	0.999
	-29
	25
	93
	8
	90
	5
	82
	7
	0.005-0.5
	0.999
	18
	20
	90
	2
	88
	4
	87
	10

	148. 
	124
	0.02-2.0
	0.999
	-10
	22
	96
	6
	89
	4
	92
	5
	0.005-0.5
	0.998
	-9
	19
	89
	8
	73
	3
	83
	7

	149. 
	80
	0.01-1.0
	0.995
	68
	25
	106
	14
	91
	10
	100
	7
	0.01-1.0
	0.995
	23
	22
	88
	5
	82
	6
	91
	10

	150. 
	178
	0.01-1.0
	0.999
	-12
	20
	88
	4
	89
	2
	88
	1
	0.005-0.5
	0.999
	2
	17
	84
	4
	86
	1
	79
	4

	151. 
	151
	0.005-0.5
	0.999
	-10
	18
	96
	2
	90
	8
	104
	11
	0.005-0.5
	0.997
	-19
	18
	83
	5
	87
	2
	92
	9

	152. 
	31
	0.01-1.0
	0.997
	34
	18
	96
	1
	90
	2
	94
	2
	0.005-0.5
	0.998
	5
	20
	77
	8
	85
	4
	93
	2

	153. 
	211
	0.01-1.0
	0.999
	-6
	20
	86
	15
	81
	25
	100
	17
	0.005-0.5
	0.999
	-10
	17
	90
	4
	89
	1
	97
	11

	154. 
	92
	0.01-1.0
	0.999
	26
	17
	91
	2
	85
	3
	98
	10
	0.005-0.5
	0.999
	7
	16
	80
	4
	81
	0
	88
	1

	155. 
	194
	0.02-2.0
	0.999
	-9
	18
	90
	12
	94
	13
	84
	3
	0.005-0.5
	0.999
	-2
	17
	91
	1
	92
	1
	90
	2

	156. 
	24
	0.03-3.0
	0.998
	-25
	21
	72
	10
	75
	1
	83
	7
	0.005-0.5
	0.999
	0
	22
	78
	5
	71
	6
	80
	5

	157. 
	175
	0.05-5.0
	0.999
	32
	20
	104
	10
	96
	1
	96
	5
	0.01-1.0
	0.999
	-25
	22
	88
	3
	89
	6
	93
	4

	158. 
	56
	0.01-0.5
	0.999
	9
	19
	104
	3
	88
	3
	103
	3
	0.005-0.5
	0.999
	11
	27
	95
	5
	88
	1
	85
	3

	159. 
	68
	0.01-1.0
	0.999
	-25
	18
	98
	11
	98
	4
	101
	2
	0.005-0.5
	0.998
	-16
	27
	76
	3
	72
	1
	78
	2

	160. 
	216
	0.01-1.0
	1.000
	-12
	16
	86
	11
	78
	7
	84
	10
	0.005-0.5
	0.998
	-9
	27
	80
	4
	88
	11
	84
	7

	161. 
	115
	0.02-2.0
	0.995
	-39
	21
	80
	10
	78
	12
	72
	13
	0.005-0.5
	0.998
	-25
	28
	99
	12
	83
	2
	75
	12

	162. 
	20
	0.01-1.0
	0.999
	-13
	19
	92
	3
	84
	3
	95
	2
	0.005-0.5
	0.997
	-18
	27
	90
	5
	82
	1
	81
	3

	163. 
	164
	0.01-1.0
	0.999
	-15
	16
	104
	6
	94
	6
	102
	6
	0.005-0.5
	0.998
	-14
	26
	90
	5
	80
	1
	89
	7

	164. 
	1
	0.01-1.0
	0.999
	-39
	20
	97
	3
	96
	6
	102
	5
	0.01-1.0
	0.998
	-1
	22
	86
	4
	88
	6
	93
	4

	165. 
	203
	0.01-1.0
	0.999
	5
	20
	104
	5
	97
	12
	108
	7
	0.005-0.5
	0.998
	9
	23
	83
	6
	95
	7
	89
	4

	166. 
	19
	0.01-1.0
	0.999
	12
	20
	104
	14
	94
	4
	108
	4
	0.005-0.5
	0.998
	35
	18
	92
	3
	93
	2
	88
	4

	167. 
	67
	0.01-1.0
	0.999
	-2
	19
	90
	4
	93
	4
	84
	5
	0.005-0.5
	0.999
	12
	28
	80
	10
	89
	2
	100
	3

	168. 
	28
	0.01-1.0
	0.999
	-14
	18
	60
	1
	66
	2
	68
	2
	0.01-1.0
	0.999
	-3
	17
	70
	3
	73
	1
	76
	2

	169. 
	83
	0.02-2.0
	0.999
	-10
	22
	103
	12
	96
	5
	106
	5
	0.005-0.5
	0.999
	-1
	23
	75
	7
	89
	7
	82
	6

	170. 
	60
	0.01-1.0
	0.999
	80
	16
	106
	6
	95
	3
	89
	4
	0.005-0.5
	0.999
	57
	25
	76
	5
	80
	9
	85
	7

	171. 
	29
	0.02-2.0
	0.999
	-40
	26
	87
	4
	89
	2
	82
	1
	0.01-1.0
	0.999
	-10
	20
	89
	2
	86
	4
	90
	17

	172. 
	13
	0.01-1.0
	0.999
	13
	17
	95
	3
	93
	1
	99
	2
	0.005-1.0
	0.999
	9
	17
	76
	5
	80
	1
	70
	1

	173. 
	136
	0.01-1.0
	0.999
	-21
	16
	94
	12
	89
	17
	100
	8
	0.005-0.5
	0.997
	-18
	22
	79
	3
	80
	6
	84
	7

	174. 
	12
	0.02-1.0
	0.997
	-35
	18
	86
	2
	96
	2
	82
	10
	0.005-1.0
	0.997
	-25
	17
	76
	1
	71
	1
	80
	9

	175. 
	84
	0.01-1.0
	0.999
	-7
	16
	91
	5
	86
	3
	93
	3
	0.005-0.5
	0.997
	-5
	26
	85
	4
	92
	10
	91
	2

	176. 
	73
	0.02-2.0
	0.999
	-13
	16
	88
	13
	85
	2
	94
	1
	0.005-0.5
	0.999
	-3
	21
	96
	5
	87
	5
	97
	2

	177. 
	132
	0.01-1.0
	0.998
	-5
	18
	89
	6
	86
	4
	96
	7
	0.005-0.5
	0.998
	2
	17
	90
	1
	88
	1
	89
	4

	178. 
	75
	0.02-2.0
	0.999
	-27
	18
	93
	4
	88
	5
	84
	7
	0.005-0.5
	0.999
	18
	20
	93
	9
	87
	4
	76
	4

	179. 
	195
	0.02-2.0
	0.999
	-8
	16
	94
	2
	108
	2
	100
	3
	0.005-0.5
	0.999
	-4
	21
	85
	8
	70
	5
	77
	2

	180. 
	77
	0.01-1.0
	0.999
	-20
	20
	99
	14
	92
	5
	96
	6
	0.005-0.5
	0.999
	-9
	21
	80
	2
	84
	5
	80
	6

	181. 
	202
	0.01-1.0
	0.999
	11
	17
	110
	1
	94
	2
	94
	2
	0.005-0.5
	0.999
	6
	19
	92
	3
	86
	3
	87
	3

	182. 
	214
	0.01-1.0
	0.999
	63
	17
	92
	4
	93
	5
	90
	4
	0.005-0.5
	0.996
	1
	18
	90
	2
	94
	2
	91
	1

	183. 
	9
	0.01-0.5
	0.999
	19
	22
	102
	9
	94
	9
	102
	6
	0.005-1.0
	0.997
	1
	22
	88
	6
	86
	6
	98
	8

	184. 
	95
	0.01-1.0
	0.999
	4
	25
	90
	13
	99
	2
	105
	9
	0.005-0.5
	0.997
	5
	19
	85
	4
	78
	3
	86
	11

	185. 
	163
	0.01-1.0
	0.999
	-45
	18
	98
	5
	90
	3
	102
	5
	0.005-0.5
	0.995
	22
	17
	99
	8
	92
	1
	84
	4

	186. 
	186
	0.01-1.0
	0.999
	-10
	18
	98
	2
	93
	4
	106
	4
	0.005-0.5
	0.999
	17
	20
	94
	4
	88
	4
	86
	4

	187. 
	123
	0.01-1.0
	0.999
	26
	16
	100
	12
	95
	4
	105
	5
	0.005-0.5
	0.998
	4
	25
	103
	8
	118
	9
	109
	2

	188. 
	5
	0.01-1.0
	0.999
	71
	21
	69
	15
	63
	11
	64
	12
	0.005-1.0
	0.999
	1
	19
	79
	4
	71
	3
	75
	7

	189. 
	3
	0.02-2.0
	0.999
	24
	23
	106
	12
	93
	9
	95
	7
	0.005-1.0
	0.999
	0
	22
	89
	5
	85
	6
	80
	9

	190. 
	76
	0.01-1.0
	0.999
	-4
	16
	94
	3
	90
	3
	95
	3
	0.005-0.5
	0.999
	10
	19
	76
	6
	78
	3
	88
	2

	191. 
	8
	0.01-0.5
	0.999
	0
	18
	90
	13
	98
	3
	91
	2
	0.005-1.0
	0.999
	16
	25
	83
	7
	86
	9
	96
	4

	192. 
	183
	0.01-1.0
	0.999
	-13
	17
	108
	1
	91
	3
	95
	2
	0.01-1.0
	0.996
	19
	17
	99
	10
	82
	1
	81
	1

	193. 
	139
	0.01-1.0
	0.999
	10
	20
	105
	14
	96
	3
	108
	4
	0.005-0.5
	0.999
	0
	17
	111
	1
	109
	1
	109
	6

	194. 
	82
	0.02-2.0
	0.999
	6
	17
	80
	11
	85
	23
	93
	4
	0.005-0.5
	0.997
	1
	17
	92
	3
	92
	1
	86
	3

	195. 
	14
	0.02-2.0
	0.999
	-12
	17
	94
	1
	91
	1
	82
	10
	0.005-1.0
	0.999
	-19
	26
	86
	5
	95
	10
	89
	1

	196. 
	192
	0.01-1.0
	0.999
	18
	18
	92
	15
	90
	4
	98
	5
	0.005-0.5
	0.999
	1
	26
	94
	4
	87
	10
	87
	4

	197. 
	160
	0.04-4.0
	0.999
	71
	25
	70
	7
	88
	14
	78
	15
	0.01-1.0
	0.999
	3
	17
	82
	4
	90
	1
	86
	11

	198. 
	184
	0.02-2.0
	0.995
	32
	18
	95
	1
	96
	2
	90
	3
	0.005-0.5
	0.998
	49
	17
	89
	7
	76
	1
	86
	4

	199. 
	93
	0.01-1.0
	0.999
	-13
	17
	92
	2
	90
	1
	94
	1
	0.005-0.5
	0.999
	-10
	18
	81
	3
	80
	2
	76
	1

	200. 
	169
	0.01-1.0
	0.999
	-9
	19
	94
	7
	90
	5
	98
	4
	0.005-0.5
	0.999
	-1
	21
	88
	2
	92
	5
	90
	5

	201. 
	78
	0.01-1.0
	0.999
	-14
	16
	86
	12
	92
	11
	86
	2
	0.005-0.5
	0.999
	-18
	18
	82
	4
	82
	2
	89
	2

	202. 
	39
	0.01-1.0
	0.999
	12
	21
	102
	10
	91
	7
	96
	7
	0.01-1.0
	0.999
	5
	24
	89
	8
	76
	4
	91
	7

	203. 
	40
	0.03-3.0
	0.999
	5
	17
	101
	5
	102
	3
	94
	3
	0.005-0.5
	0.999
	1
	26
	85
	4
	78
	6
	86
	3

	204. 
	15
	0.02-1.0
	0.999
	10
	16
	97
	11
	93
	1
	94
	2
	0.005-1.0
	0.999
	17
	25
	96
	5
	85
	9
	89
	2

	205. 
	190
	0.02-2.0
	0.999
	-9
	16
	91
	11
	89
	4
	96
	1
	0.005-0.5
	0.998
	3
	27
	101
	10
	84
	11
	85
	2

	206. 
	69
	0.02-2.0
	0.999
	53
	19
	101
	5
	95
	3
	108
	5
	0.01-1.0
	0.999
	0
	20
	75
	3
	70
	4
	75
	5

	207. 
	182
	0.03-3.0
	0.999
	-28
	23
	111
	17
	98
	8
	98
	9
	0.005-0.5
	0.996
	-19
	24
	83
	2
	86
	8
	84
	9

	208. 
	193
	0.01-1.0
	0.999
	29
	18
	105
	9
	115
	7
	109
	14
	0.01-1.0
	0.999
	1
	22
	70
	4
	76
	6
	77
	4

	209. 
	55
	0.01-1.0
	0.999
	-1
	18
	91
	12
	90
	1
	92
	1
	0.005-0.5
	0.995
	-10
	27
	91
	5
	89
	11
	81
	4

	210. 
	45
	0.02-2.0
	0.999
	20
	18
	96
	7
	87
	3
	88
	3
	0.005-0.5
	0.999
	1
	27
	120
	4
	116
	2
	112
	4

	211. 
	114
	0.02-2.0
	0.999
	7
	20
	105
	17
	93
	5
	93
	7
	0.005-0.5
	0.999
	0
	18
	91
	4
	84
	2
	88
	6

	212. 
	10
	0.02-2.0
	0.999
	-9
	18
	96
	4
	89
	2
	98
	5
	0.005-1.0
	0.995
	-1
	25
	102
	3
	108
	9
	108
	4

	213. 
	74
	0.02-2.0
	0.999
	17
	19
	108
	4
	96
	3
	100
	5
	0.005-0.5
	0.999
	1
	24
	88
	4
	90
	4
	83
	5

	214. 
	59
	0.03-3.0
	0.999
	-10
	16
	98
	4
	94
	4
	98
	4
	0.005-0.5
	0.998
	-16
	20
	97
	8
	84
	4
	84
	2

	215. 
	113
	0.01-1.0
	0.999
	-3
	16
	96
	8
	93
	4
	90
	2
	0.005-0.5
	0.999
	-2
	27
	80
	3
	84
	7
	85
	2

	216. 
	174
	0.03-3.0
	0.999
	-2
	20
	96
	18
	99
	3
	104
	2
	0.005-0.5
	0.999
	-2
	21
	112
	3
	118
	5
	113
	6




