Supplementary material

Table 1, SM: Details of MRM transitions, cone voltage, and collision energy used for quantification and qualification of PFOS isomers

| PFOS isomers / co-eluted isomers | parent | Daughters | Cone (V) | Collision (V) |
| --- | --- | --- | --- | --- |
|  | (m/z) | (m/z) | (V) | (eV) |
| L-PFOS | 498.97 | 98.96⁎ 169.03 | 20 | 38 34 |
| 1m-PFOS | 498.97 | 98.96⁎ 169.03 | 20 | 38 34 |
| 6/2m-PFOS | 498.97 | 98.96 169.03⁎ | 20 | 38 34 |
| 3/4/5m-PFOS | 498.97 | 98.96 79.96⁎ | 20 | 38 44 |

⁎: quantified product ion

Table 2, SM: Determination of PFOS concentrations in freshly opened solvent ; pipettes  and in all steps of the preparation and extraction protocol ; e.g. transfer of MeOH with 3 different plastic or glass pipettes, transfer of MeOH with same glass pipette, sonication bath and centrifuge. (n=2, concentration in pg/mL, mean ± SD)

|  |  | PFOS concentration (pg/mL) |
| --- | --- | --- |
| Solvent | MeOH (HPLC grade) | 0.12 (± 0.2) |
|  | MeOH (LC MS grade) | 3.24 (± 0.85) |
| Pipettes | Plastic pipette tips | 0.69 (± 0.15) |
|  | Glass pipette | 0.45 (± 0.15) |
| Entire preparation | Step: Transfer plastic pipettes | 5.26 (± 1.28) |
|  | Step: Transfer glass pipette | 2.75 (± 1.46) |
|  | Step: Transfer of MeOH with same glass pipette | 10.12 (± 4.01) |
|  | Step: Sonication | 0.16 (± 0.01) |
|  | Step: Centrifugation | 0.21 (± 0.06) |

Figure 1, SM. Molecular structure of sodium taurocholate (left) and PFOS (right). Hydrophobic chains and polar functional groups are marked in both compounds in blue and red, respectively.