(S 4)

Appendix 1: Residual Concentration (RC, mg/l) and Removal Efficiency (RE %) of Oil & Grease of AS-Treated Effluents

| Oct. 20 | Oil RC (mg/l) |  | RE % | Nov. 20 | Oil RC (mg/l) |  | RE % | Dec. 20 | Oil RC (mg/l) |  | RE % | Jan. 21 | Oil RC (mg/l) |  | RE % | Feb. 21 | Oil RC (mg/l) |  | RE % | Mar. 21 | Oil RC (mg/l) |  | RE % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |
| 1 | 330 | 125 | 60 | 1 | 400 | 151 | 62.3 | 1 | 530 | 330 | 40 | 2 | 229 | 162 | 30 | 1 | 460 | 240 | 50 | 1 | 250 | 312 | -20 |
| 2 | 450 | 134 | 70 | 2 | 500 | 152 | 69.6 | 2 | 191 | 241 | -30 | 3 | 460 | 140 | 70 | 2 | 380 | 100 | 70 | 2 | 300 | 243 | 20 |
| 3 | 390 | 140 | 60 | 3 | 430 | 153 | 64.4 | 3 | 284 | 84 | 70 | 4 | 480 | 214 | 60 | 3 | 260 | 95 | 60 | 3 | 340 | 210 | 40 |
| 6 | 365 | 147 | 60 | 4 | 370 | 154 | 58.4 | 4 | 280 | 80 | 70 | 5 | 430 | 240 | 40 | 4 | 510 | 86 | 80 | 4 | 320 | 170 | 50 |
| 7 | 413 | 142 | 70 | 7 | 309 | 157 | 49.2 | 5 | 590 | 390 | 30 | 6 | 315 | 216 | 30 | 5 | 260 | 134 | 50 | 5 | 251 | 181 | 30 |
| 8 | 410 | 139 | 70 | 8 | 350 | 158 | 54.9 | 6 | 130 | 145 | -10 | 7 | 310 | 200 | 40 | 6 | 150 | 127 | 20 | 6 | 420 | 173 | 60 |
| 9 | 200 | 124 | 40 | 9 | 370 | 159 | 57.0 | 9 | 440 | 240 | 50 | 10 | 316 | 219 | 30 | 7 | 110 | 77 | 30 | 7 | 320 | 161 | 50 |
| 10 | 300 | 132 | 60 | 10 | 230 | 160 | 30.4 | 10 | 487 | 287 | 40 | 11 | 330 | 177 | 50 | 8 | 310 | 64 | 80 | 8 | 347 | 120 | 70 |
| 11 | 360 | 108 | 70 | 11 | 310 | 161 | 48.1 | 11 | 455 | 255 | 40 | 12 | 310 | 189 | 40 | 9 | 280 | 124 | 60 | 9 | 396 | 143 | 60 |
| 13 | 390 | 188 | 50 | 12 | 520 | 162 | 68.8 | 12 | 440 | 240 | 50 | 13 | 265 | 180 | 30 | 10 | 580 | 171 | 70 | 10 | 380 | 140 | 60 |
| 14 | 430 | 172 | 60 | 15 | 380 | 165 | 56.6 | 13 | 480 | 280 | 40 | 14 | 340 | 165 | 50 | 11 | 325 | 140 | 60 | 11 | 386 | 145 | 60 |
| 15 | 410 | 177 | 60 | 16 | 280 | 166 | 40.7 | 14 | 410 | 210 | 50 | 15 | 320 | 151 | 50 | 12 | 318 | 200 | 40 | 12 | 310 | 132 | 60 |
| 16 | 390 | 169 | 60 | 17 | 310 | 167 | 46.1 | 17 | 270 | 70.0 | 70 | 18 | 480 | 160 | 70 | 13 | 210 | 185 | 10 | 13 | 295 | 120 | 60 |
| 17 | 380 | 158 | 60 | 18 | 320 | 168 | 47.5 | 18 | 294 | 94 | 70 | 19 | 150 | 246 | -60 | 14 | 230 | 137 | 40 | 14 | 410 | 110 | 70 |
| 18 | 330 | 150 | 50 | 19 | 330 | 169 | 48.8 | 19 | 260 | 160 | 40 | 20 | 320 | 230 | 30 | 15 | 560 | 100 | 80 | 15 | 178 | 231 | -30 |
| 19 | 290 | 125 | 60 | 20 | 600 | 170 | 71.7 | 20 | 480 | 280 | 40 | 21 | 330 | 209 | 40 | 16 | 480 | 263 | 50 | 16 | 380 | 200 | 50 |
| 22 | 293 | 113 | 60 | 23 | 242 | 173 | 28.5 | 21 | 320 | 120 | 60 | 22 | 300 | 200 | 30 | 17 | 580 | 200 | 70 | 17 | 500 | 184 | 60 |
| 23 | 320 | 142 | 60 | 24 | 230 | 174 | 24.3 | 22 | 140 | 60 | 60 | 23 | 330 | 210 | 40 | 18 | 580 | 230 | 60 | 18 | 180 | 243 | -40 |
| 24 | 300 | 120 | 60 | 25 | 340 | 175 | 48.5 | 25 | 371 | 171 | 50 | 26 | 400 | 241 | 40 | 19 | 630 | 271 | 60 | 19 | 480 | 222 | 50 |
| 25 | 250 | 74 | 70 | 26 | 318 | 176 | 44.7 | 26 | 315 | 115 | 60 | 28 | 280 | 230 | 20 | 20 | 526 | 265 | 50 | 20 | 280 | 189 | 30 |
| 26 | 301 | 136 | 50 | 27 | 340 | 177 | 47.9 | 29 | 290 | 135 | 50 | 29 | 190 | 210 | -10 | 21 | 250 | 274 | -10 | 21 | 640 | 179 | 70 |
| 27 | 295 | 144 | 50 | 28 | 310 | 178 | 42.6 | 30 | 226 | 122 | 50 | 30 | 170 | 200 | -20 | 22 | 1000 | 142 | 90 | 22 | 400 | 249 | 40 |
|  |  |  |  |  |  |  |  |  |  |  |  | 31 | 480 | 192 | 60 | 23 | 1200 | 790 | 30 | 23 | 276 | 230 | 20 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 24 | 480 | 600 | -30 | 24 | 490 | 196 | 60 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 25 | 640 | 700 | -10 | 25 | 360 | 184 | 50 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 26 | 465 | 640 | -40 | 26 | 380 | 165 | 60 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 27 | 1197 | 580 | 50 | 27 | 200 | 167 | 20 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 28 | 276 | 400 | -40 | 28 | 420 | 142 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 29 | 370 | 140 | 60 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 30 | 380 | 288 | 20 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 31 | 370 | 273 | 30 |
| Avg. | 345.32 | 139.05 | 59.55 | Avg. | 354 | 164.8 | 50.5 | Avg. | 349.2 | 186.8 | 45 | Avg. | 332.1 | 200.9 | 33.2 | Avg. | 510.3 | 297.9 | 36.4 | Avg. | 366.6 | 187.7 | 42.3 |
| Max. | 450 | 188 | 70 | Max. | 600 | 178 | 71.7 | Max. | 590 | 390 | 70 | Max. | 480 | 246.0 | 70.0 | Max. | 1200 | 790.0 | 90 | Max. | 640.0 | 288.0 | 70 |
| Min. | 200 | 74.0 | 40 | Min. | 230 | 151 | 24.3 | Min. | 130 | 60.0 | -30 | Min. | 150 | 140.0 | -60.0 | Min. | 110.0 | 64.0 | -40 | Min. | 178.0 | 110.0 | -40 |
| SD | 62.01 | 24.63 | 7.67 | SD | 90.08 | 8.43 | 12.5 | SD | 124.2 | 91.1 | 23.7 | SD | 91.94 | 28.78 | 29.29 | SD | 290.5 | 213.9 | 38.74 | SD | 106.6 | 48.8357 | 29.2 |

(S 5)

Appendix 2: Residual Concentration (RC, mg/l) and Removal Efficiency (RE %) of COD of AS-Treated Effluents

| Oct. 20 | Oil RC (mg/l) |  | RE % | Nov. 20 | Oil RC (mg/l) |  | RE % | Dec. 20 | Oil RC (mg/l) |  | RE % | Jan. 21 | Oil RC (mg/l) |  | RE % | Feb. 21 | Oil RC (mg/l) |  | RE % | Mar. 21 | Oil RC (mg/l) |  | RE % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |
| 1 | 3000 | 1500 | 50.0 | 1 | 1720 | 988 | 42.56 | 1 | 2385 | 1155 | 50 | 2 | 1422 | 810 | 40 | 1 | 1150 | 840 | 30 | 1 | 1250 | 1092 | 10 |
| 2 | 3200 | 1420 | 55.63 | 2 | 1820 | 989 | 45.66 | 2 | 859.5 | 1100 | -30 | 3 | 1980 | 970 | 50 | 2 | 950 | 350 | 60 | 2 | 1500 | 851 | 40 |
| 3 | 4000 | 1600 | 60.0 | 3 | 1750 | 990 | 43.43 | 3 | 1278 | 294 | 80 | 4 | 2000 | 1070 | 50 | 3 | 650 | 332.5 | 50 | 3 | 1700 | 735 | 60 |
| 6 | 2548 | 1274 | 50.0 | 4 | 1690 | 991 | 41.36 | 4 | 1260 | 280 | 80 | 5 | 1950 | 1200 | 40 | 4 | 1275 | 620 | 50 | 4 | 1600 | 595 | 60 |
| 7 | 3601 | 1455 | 59.59 | 7 | 1629 | 994 | 38.98 | 5 | 2655 | 1365 | 50 | 6 | 1835 | 1080 | 40 | 5 | 1150 | 469 | 60 | 5 | 1255 | 634 | 50 |
| 8 | 3520 | 1411 | 59.91 | 8 | 1670 | 995 | 40.42 | 6 | 585 | 507.5 | 10 | 7 | 1830 | 1000 | 50 | 6 | 900 | 444.5 | 50 | 6 | 2100 | 606 | 70 |
| 9 | 3300 | 1400 | 57.58 | 9 | 1690 | 996 | 41.07 | 9 | 1980 | 840 | 60 | 10 | 1836 | 1095 | 40 | 7 | 850 | 269.5 | 70 | 7 | 1600 | 564 | 60 |
| 10 | 3095 | 1366 | 55.86 | 10 | 1550 | 997 | 35.68 | 10 | 2191.5 | 1004.5 | 50 | 11 | 1850 | 885 | 50 | 8 | 775 | 224 | 70 | 8 | 1735 | 420 | 80 |
| 11 | 2041 | 1302 | 36.21 | 11 | 1630 | 998 | 38.77 | 11 | 2047.5 | 892.5 | 60 | 12 | 1830 | 945 | 50 | 9 | 700 | 432 | 40 | 9 | 1980 | 501 | 70 |
| 13 | 1850 | 1000 | 45.95 | 12 | 1840 | 999 | 45.71 | 12 | 1980 | 840 | 60 | 13 | 1785 | 900 | 50 | 10 | 1450 | 248.5 | 80 | 10 | 1900 | 490 | 70 |
| 14 | 3910 | 1458 | 62.71 | 15 | 1700 | 1002 | 41.06 | 13 | 2160 | 980 | 50 | 14 | 1860 | 1200 | 40 | 11 | 1812.5 | 1000 | 40 | 11 | 1930 | 508 | 70 |
| 15 | 3745 | 1508 | 59.73 | 16 | 1600 | 1003 | 37.31 | 14 | 1845 | 735 | 60 | 15 | 1840 | 1342 | 30 | 12 | 1795 | 950 | 50 | 12 | 1550 | 462 | 70 |
| 16 | 3020 | 1400 | 53.64 | 17 | 1630 | 1004 | 38.4 | 17 | 1215 | 645 | 50 | 18 | 2000 | 1235 | 40 | 13 | 525 | 647.5 | -20 | 13 | 1475 | 420 | 70 |
| 17 | 2840 | 1224 | 56.9 | 18 | 1640 | 1005 | 38.72 | 18 | 1323 | 860 | 30 | 19 | 1670 | 1420 | 10 | 14 | 575 | 479.5 | 20 | 14 | 2050 | 385 | 80 |
| 18 | 2399 | 1049 | 56.27 | 19 | 1650 | 1006 | 39.03 | 19 | 1170 | 560 | 50 | 20 | 1840 | 1175 | 40 | 15 | 1400 | 350 | 80 | 15 | 890 | 809 | 10 |
| 19 | 1966 | 1204 | 38.76 | 20 | 1920 | 1007 | 47.55 | 20 | 2160 | 980 | 50 | 21 | 1850 | 1045 | 40 | 16 | 1200 | 570.5 | 50 | 16 | 1900 | 700 | 60 |
| 22 | 3200 | 1850 | 42.19 | 23 | 1562 | 1010 | 35.34 | 21 | 1440 | 850 | 40 | 22 | 1820 | 1000 | 50 | 17 | 1450 | 710 | 50 | 17 | 2500 | 644 | 70 |
| 23 | 3400 | 2400 | 29.41 | 24 | 1550 | 1011 | 34.77 | 22 | 960 | 710 | 30 | 23 | 1850 | 1050 | 40 | 18 | 1450 | 700 | 50 | 18 | 900 | 851 | 10 |
| 24 | 3000 | 2000 | 33.33 | 25 | 1660 | 1012 | 39.04 | 25 | 1669.5 | 598.5 | 60 | 26 | 1920 | 1205 | 40 | 19 | 1575 | 750 | 50 | 19 | 2400 | 777 | 70 |
| 25 | 2500 | 1400 | 44.0 | 26 | 1638 | 1013 | 38.16 | 26 | 1417.5 | 902 | 40 | 28 | 1620 | 1430 | 10 | 20 | 1315 | 574 | 60 | 20 | 900 | 662 | 30 |
| 26 | 2680 | 1630 | 39.18 | 27 | 1660 | 1014 | 38.92 | 29 | 1305 | 472.5 | 60 | 29 | 1463 | 1369 | 10 | 21 | 625 | 780 | -20 | 21 | 3200 | 627 | 80 |
| 27 | 2488 | 1520 | 38.91 | 28 | 1630 | 1015 | 37.73 | 30 | 1017 | 427 | 60 | 30 | 1425 | 1244 | 10 | 22 | 2500 | 497 | 80 | 22 | 2000 | 872 | 60 |
|  |  |  |  |  |  |  |  |  |  |  |  | 31 | 2600 | 1340 | 50 | 23 | 3000 | 2100 | 30 | 23 | 1380 | 805 | 40 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 24 | 1200 | 1822 | -50 | 24 | 2450 | 686 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 25 | 2160 | 1654 | 20 | 25 | 1800 | 644 | 60 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 26 | 1162.5 | 1511 | -30 | 26 | 1900 | 578 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 27 | 2992.5 | 1400 | 50 | 27 | 1000 | 585 | 40 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 28 | 1620 | 1900 | -20 | 28 | 2100 | 497 | 80 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 29 | 1850 | 490 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 30 | 1900 | 1008 | 50 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 31 | 1850 | 956 | 50 |
| Avg. | 296832 | 1471409 | 49.35 | Avg. | 1674 | 1001.8 | 40.0 | Avg. | 1586.5 | 772.7 | 47.7 | Avg. | 1847.9 | 1145.5 | 37.7 | Avg. | 1460.6 | 889.5 | 34.1 | Avg. | 1810.2 | 657.1 | 58.2 |
| Max. | 4000 | 2400 | 62.71 | Max. | 1920 | 1015 | 47.55 | Max. | 2655 | 1365 | 80 | Max. | 2600 | 1430 | 50 | Max. | 3000 | 2100 | 80 | Max. | 3200 | 1008 | 80 |
| Min. | 1850 | 1000 | 29.41 | Min. | 1550 | 988 | 34.77 | Min. | 585 | 280 | -30 | Min. | 1425 | 885 | 10 | Min. | 525 | 224 | -50 | Min. | 890 | 385 | 10 |
| SD | 597.307 | 298.9934 | 9.847 | SD | 90.078 | 8.42578 | 3.285 | SD | 537.6447 | 273.5802 | 22.75 | SD | 219.7 | 162.9 | 14.122 | SD | 693.804 | 565.09 | 37.86848 | SD | 560.731 | 170.961 | 20.14 |

(S 6)

Appendix 3: Residual Concentration (RC, mg/l) and Removal Efficiency (RE %) of BOD of AS-Treated Effluents

| Oct. 20 | Oil RC (mg/l) |  | RE % | Nov. 20 | Oil RC (mg/l) |  | RE % | Dec. 20 | Oil RC (mg/l) |  | RE % | Jan. 21 | Oil RC (mg/l) |  | RE % | Feb. 21 | Oil RC (mg/l) |  | RE % | Mar. 21 | Oil RC (mg/l) |  | RE % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |
| 1 | 1900 | 900 | 52.632 | 1 | 830 | 544 | 34.46 | 1 | 1590 | 770 | 50 | 2 | 1067 | 648 | 40 | 1 | 863 | 630 | 30 | 1 | 938 | 710 | 20 |
| 2 | 2050 | 840 | 59.024 | 2 | 930 | 545 | 41.4 | 2 | 570 | 730 | -30 | 3 | 1485 | 776 | 50 | 2 | 713 | 263 | 60 | 2 | 1125 | 553 | 50 |
| 3 | 2300 | 1200 | 47.826 | 3 | 860 | 546 | 36.51 | 3 | 850 | 200 | 80 | 4 | 1500 | 556 | 60 | 3 | 488 | 249 | 50 | 3 | 1275 | 478 | 60 |
| 6 | 1500 | 845 | 43.667 | 4 | 800 | 547 | 31.63 | 4 | 840 | 190 | 80 | 5 | 1463 | 760 | 50 | 4 | 956 | 465 | 50 | 4 | 1200 | 387 | 70 |
| 7 | 1965 | 960 | 51.145 | 7 | 739 | 550 | 25.58 | 5 | 1770 | 910 | 50 | 6 | 1376 | 864 | 40 | 5 | 863 | 352 | 60 | 5 | 941 | 412 | 60 |
| 8 | 1900 | 1004 | 47.158 | 8 | 780 | 551 | 29.36 | 6 | 390 | 340 | 10 | 7 | 1373 | 800 | 40 | 6 | 675 | 333 | 50 | 6 | 1575 | 394 | 70 |
| 9 | 1811 | 880 | 51.408 | 9 | 800 | 552 | 31.0 | 9 | 1320 | 560 | 60 | 10 | 1377 | 876 | 40 | 7 | 638 | 202 | 70 | 7 | 1200 | 367 | 70 |
| 10 | 1500 | 741 | 50.6 | 10 | 660 | 553 | 16.21 | 10 | 1460 | 670 | 50 | 11 | 1388 | 708 | 50 | 8 | 581 | 168 | 70 | 8 | 1301 | 273 | 80 |
| 11 | 1000 | 569 | 43.1 | 11 | 740 | 554 | 25.14 | 11 | 1370 | 600 | 60 | 12 | 1373 | 556 | 60 | 9 | 525 | 324 | 40 | 9 | 1485 | 326 | 80 |
| 13 | 1200 | 600 | 50 | 12 | 950 | 555 | 41.58 | 12 | 1320 | 560 | 60 | 13 | 1339 | 720 | 50 | 10 | 1088 | 186 | 80 | 10 | 1425 | 319 | 80 |
| 14 | 1863 | 850 | 54.375 | 15 | 810 | 558 | 31.11 | 13 | 1440 | 650 | 50 | 14 | 1395 | 712 | 50 | 11 | 1359 | 750 | 40 | 11 | 1448 | 330 | 80 |
| 15 | 1750 | 830 | 52.571 | 16 | 710 | 559 | 21.27 | 14 | 1230 | 490 | 60 | 15 | 1380 | 852 | 40 | 12 | 1346 | 713 | 50 | 12 | 1163 | 300 | 70 |
| 16 | 1850 | 762 | 58.811 | 17 | 740 | 560 | 24.32 | 17 | 810 | 430 | 50 | 18 | 1500 | 710 | 50 | 13 | 394 | 486 | -20 | 13 | 1106 | 273 | 80 |
| 17 | 1500 | 800 | 46.667 | 18 | 750 | 561 | 25.2 | 18 | 880 | 570 | 40 | 19 | 1253 | 650 | 50 | 14 | 431 | 360 | 20 | 14 | 1538 | 250 | 80 |
| 18 | 1620 | 821 | 49.321 | 19 | 760 | 562 | 26.05 | 19 | 780 | 370 | 50 | 20 | 1380 | 642 | 50 | 15 | 1050 | 263 | 70 | 15 | 668 | 526 | 20 |
| 19 | 1340 | 924 | 31.045 | 20 | 1030 | 563 | 45.34 | 20 | 1440 | 650 | 50 | 21 | 1388 | 836 | 40 | 16 | 900 | 428 | 50 | 16 | 1425 | 455 | 70 |
| 22 | 1833 | 1388 | 24.277 | 23 | 672 | 566 | 15.77 | 21 | 960 | 570 | 40 | 22 | 1365 | 800 | 40 | 17 | 1088 | 533 | 50 | 17 | 1875 | 419 | 80 |
| 23 | 1700 | 1000 | 41.176 | 24 | 660 | 567 | 14.09 | 22 | 640 | 470 | 30 | 23 | 1388 | 840 | 40 | 18 | 1088 | 525 | 50 | 18 | 675 | 553 | 20 |
| 24 | 1400 | 963 | 31.214 | 25 | 770 | 568 | 26.23 | 25 | 1110 | 400 | 60 | 26 | 1440 | 964 | 30 | 19 | 1181 | 563 | 50 | 19 | 1800 | 505 | 70 |
| 25 | 1100 | 845 | 23.182 | 26 | 748 | 569 | 23.93 | 26 | 950 | 470 | 50 | 28 | 1215 | 1000 | 20 | 20 | 986 | 431 | 60 | 20 | 675 | 430 | 40 |
| 26 | 1365 | 755 | 44.689 | 27 | 770 | 570 | 25.97 | 29 | 870 | 320 | 60 | 29 | 1097 | 850 | 20 | 21 | 469 | 585 | -20 | 21 | 2400 | 408 | 80 |
| 27 | 1500 | 796 | 46.933 | 28 | 740 | 571 | 22.84 | 30 | 680 | 280 | 60 | 30 | 1069 | 720 | 30 | 22 | 1875 | 373 | 80 | 22 | 1500 | 567 | 60 |
|  |  |  |  |  |  |  |  |  |  |  |  | 31 | 1950 | 652 | 70 | 23 | 2250 | 1575 | 30 | 23 | 1035 | 523 | 50 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 24 | 900 | 1367 | -50 | 24 | 1838 | 446 | 80 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 25 | 1620 | 1241 | 20 | 25 | 1350 | 419 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 26 | 872 | 1133 | -30 | 26 | 1425 | 376 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 27 | 2244 | 1050 | 50 | 27 | 750 | 380 | 50 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 28 | 1215 | 1425 | -20 | 28 | 1575 | 323 | 80 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 29 | 1388 | 319 | 80 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 30 | 1425 | 655 | 50 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 31 | 1388 | 621 | 60 |
| Avg. | 1634 | 876 | 45.592 | Avg. | 784 | 557.8 | 28.0 | Avg. | 1057.7 | 509.1 | 48.6 | Avg. | 1386.1 | 765.6 | 44.1 | Avg. | 1095.5 | 667.3 | 33.6 | Avg. | 1357.8 | 427.1 | 64.5 |
| Max. | 2300 | 1388 | 59.024 | Max. | 1030 | 571 | 45.34 | Max. | 1770 | 910 | 80 | Max. | 1950 | 1000 | 70 | Max. | 2250 | 1575 | 80 | Max. | 2400 | 655 | 80 |
| Min. | 1000 | 569 | 23.282 | Min. | 660 | 544 | 14.09 | Min. | 390 | 190 | -30 | Min. | 1069 | 556 | 20 | Min. | 394 | 168 | -50 | Min. | 668 | 250 | 20 |
| SD | 317.42 | 172.44 | 9.7 | SD | 90.08799 | 8.426 | 8.06 | SD | 358.7709 | 180.804 | 22.421 | SD | 164.7323 | 114.1397 | 11.93128 | SD | 520.33 | 423.767 | 37.36131 | SD | 420.551 | 111.064 | 18.52 |

(S 7)

Appendix 4: Residual Concentration (RC, mg/l) and Removal Efficiency (RE %) of TSS of AS-Treated Effluents

| Oct. 20 | Oil RC (mg/l) |  | RE % | Nov. 20 | Oil RC (mg/l) |  | RE % | Dec. 20 | Oil RC (mg/l) |  | RE % | Jan. 21 | Oil RC (mg/l) |  | RE % | Feb. 21 | Oil RC (mg/l) |  | RE % | Mar. 21 | Oil RC (mg/l) |  | RE % |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |  | Infl. | Effl. |  |
| 1 | 250 | 74 | 70.4 | 1 | 300 | 137 | 54.333 | 1 | 390 | 150 | 60 | 2 | 179 | 67 | 60 | 1 | 210 | 110 | 50 | 1 | 238 | 196 | 20 |
| 2 | 200 | 61 | 69.5 | 2 | 400 | 237 | 40.75 | 2 | 230 | 110 | 50 | 3 | 310 | 45 | 90 | 2 | 200 | 94 | 50 | 2 | 285 | 131 | 50 |
| 3 | 192 | 71 | 63.021 | 3 | 330 | 167 | 49.394 | 3 | 269 | 100 | 60 | 4 | 330 | 119 | 60 | 3 | 171 | 74 | 60 | 3 | 323 | 100 | 70 |
| 6 | 180 | 74 | 58.889 | 4 | 270 | 107 | 60.37 | 4 | 267 | 130 | 50 | 5 | 280 | 145 | 50 | 4 | 145 | 79 | 50 | 4 | 304 | 162 | 50 |
| 7 | 235 | 79 | 66.383 | 7 | 209 | 46 | 77.99 | 5 | 290 | 190 | 30 | 6 | 165 | 52 | 70 | 5 | 132 | 62 | 50 | 5 | 238 | 120 | 50 |
| 8 | 244 | 86 | 64.754 | 8 | 250 | 87 | 65.2 | 6 | 344 | 180 | 50 | 7 | 160 | 50 | 70 | 6 | 145 | 59 | 60 | 6 | 399 | 125 | 70 |
| 9 | 201 | 82 | 59.204 | 9 | 270 | 107 | 60.37 | 9 | 120 | 60 | 50 | 10 | 166 | 64 | 60 | 7 | 218 | 111 | 50 | 7 | 304 | 122 | 60 |
| 10 | 164 | 74 | 54.878 | 10 | 130 | 33 | 74.615 | 10 | 260 | 50 | 80 | 11 | 180 | 82 | 50 | 8 | 152 | 74 | 50 | 8 | 330 | 114 | 70 |
| 11 | 179 | 66 | 63.128 | 11 | 210 | 47 | 77.619 | 11 | 170 | 58 | 70 | 12 | 160 | 94 | 40 | 9 | 158 | 88 | 40 | 9 | 376 | 136 | 60 |
| 13 | 155 | 68 | 56.129 | 12 | 420 | 257 | 38.81 | 12 | 120 | 60 | 50 | 13 | 115 | 42 | 60 | 10 | 234 | 96 | 60 | 10 | 361 | 133 | 60 |
| 14 | 137 | 59 | 56.934 | 15 | 280 | 117 | 58.214 | 13 | 240 | 30 | 90 | 14 | 190 | 70 | 60 | 11 | 430 | 90 | 80 | 11 | 367 | 138 | 60 |
| 15 | 193 | 52 | 73.057 | 16 | 180 | 17 | 90.556 | 14 | 240 | 81 | 70 | 15 | 170 | 56 | 70 | 12 | 393 | 175 | 60 | 12 | 295 | 125 | 60 |
| 16 | 213 | 67 | 68.545 | 17 | 210 | 47 | 77.619 | 17 | 360 | 90 | 80 | 18 | 330 | 65 | 80 | 13 | 166 | 142 | 10 | 13 | 280 | 114 | 60 |
| 17 | 200 | 65 | 67.5 | 18 | 220 | 57 | 74.091 | 18 | 320 | 50 | 80 | 19 | 150 | 51 | 70 | 14 | 211 | 100 | 50 | 14 | 390 | 105 | 70 |
| 18 | 180 | 71 | 60.556 | 19 | 230 | 67 | 70.87 | 19 | 250 | 74 | 70 | 20 | 170 | 62 | 60 | 15 | 162 | 102 | 40 | 15 | 169 | 219 | -30 |
| 19 | 184 | 80 | 56.522 | 20 | 500 | 337 | 32.6 | 20 | 240 | 30 | 90 | 21 | 180 | 45 | 80 | 16 | 108 | 84 | 20 | 16 | 361 | 190 | 50 |
| 22 | 217 | 74 | 65.899 | 23 | 142 | 34 | 76.056 | 21 | 210 | 63 | 70 | 22 | 150 | 74 | 50 | 17 | 213 | 88 | 60 | 17 | 475 | 175 | 60 |
| 23 | 182 | 78 | 57.143 | 24 | 130 | 60 | 53.846 | 22 | 200 | 100 | 50 | 23 | 180 | 65 | 60 | 18 | 205 | 82 | 60 | 18 | 171 | 231 | -40 |
| 24 | 234 | 79 | 66.239 | 25 | 240 | 77 | 67.917 | 25 | 180 | 140 | 20 | 26 | 250 | 74 | 70 | 19 | 243 | 79 | 70 | 19 | 456 | 211 | 50 |
| 25 | 249 | 75 | 69.88 | 26 | 218 | 55 | 74.771 | 26 | 250 | 95 | 60 | 28 | 130 | 95 | 30 | 20 | 111 | 64 | 40 | 20 | 266 | 180 | 30 |
| 26 | 241 | 74 | 69.295 | 27 | 240 | 77 | 67.917 | 29 | 362 | 100 | 70 | 29 | 220 | 115 | 50 | 21 | 265 | 50 | 80 | 21 | 608 | 170 | 70 |
| 27 | 255 | 88 | 65.49 | 28 | 210 | 47 | 77.619 | 30 | 351 | 163 | 50 | 30 | 200 | 115 | 40 | 22 | 153 | 74 | 50 | 22 | 380 | 117 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  | 31 | 330 | 197 | 40 | 23 | 225 | 88 | 60 | 23 | 262 | 119 | 50 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 24 | 204 | 80 | 60 | 24 | 466 | 126 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 25 | 292 | 57 | 80 | 25 | 342 | 124 | 60 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 26 | 213 | 155 | 30 | 26 | 361 | 120 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 27 | 230 | 157 | 30 | 27 | 190 | 123 | 40 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 28 | 210 | 162 | 20 | 28 | 399 | 125 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 29 | 352 | 134 | 60 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 30 | 361 | 124 | 70 |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 31 | 352 | 128 | 60 |
| Avg. | 203.864 | 72.5909 | 63.788 | Avg. | 254 | 100.8 | 64.6 | Avg. | 257.4 | 95.6 | 61.4 | Avg. | 205.3 | 80.8 | 59.5 | Avg. | 218 | 99.9 | 50 | Avg. | 348.4 | 146.9 | 50.9 |
| Max. | 255 | 88 | 73.057 | Max. | 500 | 337 | 90.556 | Max. | 390 | 190 | 90 | Max. | 330 | 197 | 90 | Max. | 430 | 175 | 80 | Max. | 608 | 231 | 70 |
| Min. | 137 | 52 | 54.878 | Min. | 130 | 17 | 32.6 | Min. | 120 | 30 | 20 | Min. | 115 | 42 | 30 | Min. | 108 | 50 | 10 | Min. | 169 | 105 | -40 |
| SD | 32.5287 | 8.49951 | 5.3325 | SD | 90.07799 | 79.97 | 14.515 | SD | 73.6155 | 45.44982 | 17.39787 | SD | 66.50166 | 37.23016 | 14.60924 | SD | 75.80657 | 34.77056 | 19.30615 | SD | 101.286 | 36.7439 | 29.06 |

(Supplementary Table)

S 8: Residual Concentration (RC, mg/l) and Removal Efficiency (RE%) of the Tested Contaminants

in the Domestic Wastewater After Treatment Using Unmodified AS Reactor

| Time (Days) | Temp. (ºC) | pH | DO | TSS |  | TDS |  | BOD |  | COD |  | OG |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (mg/l) | RC | RE | RC | RE | RC | RE | RC | RE | RC | RE |
| Raw Influent | 20.5±0.42 | 7.2±0.57 | 3.5±0.72 | 280±0.09 |  | 3000±0.34 |  | 1600±0.66 |  | 2900±0.37 |  | 215±0.43 |  |
| 1 | 20.8±0.57 | 7.2±0.61 | 4.61±0.72 | 175±0.37 | 37.5±0.37* | 2974±0.895 | 0.87±0.895* | 1425±0.34 | 10.94±0.34* | 2400±0.69 | 17.24±0.69* | 204±0.28 | 5.12±0.28* |
| 2 | 21.5±0.89 | 7.1±0.87 | 5.56±0.64 | 161±0.12 | 42.5±0.12 | 2951±0.04 | 1.63±0.04 | 1300±1.38 | 18.75±1.38 | 2100±0.79 | 27.58±0.79 | 200±0.15 | 7.5±0.15 |
| 4 | 19.7±0.37 | 7.2±0.43 | 5.66±0.92 | 143±0.77 | 48.9±0.77 | 2932±0.03 | 2.27±0.03 | 1100±1.12 | 31.25±1.12 | 1890±0.09 | 34.83±0.09 | 195±0.01 | 9.3±0.01 |
| 5 | 20.8±0.61 | 7.1±0.57 | 5.42±0.89 | 142±0.63 | 49.3±0.63 | 2899±0.75 | 3.37±0.75 | 900±0.75 | 43.75±0.75 | 1720±0.86 | 40.69±0.86 | 181±0.61 | 15.81±0.61 |
| 6 | 21.3±0.34 | 7.1±0.66 | 4.37±0.37 | 132±0.43 | 52.9±0.43 | 2887±0.34 | 3.77±0.34 | 842±0.66 | 47.38±0.66 | 1600±0.37 | 44.83±0.37 | 167±0.43 | 22.33±0.43 |
| 7 | 21.5±0.28 | 7.3±0.13 | 4.45±0.26 | 125±0.32 | 55.4±0.32 | 2871±0.38 | 4.3±0.38 | 712±0.34 | 55.5±0.34 | 1400±0.38 | 51.72±0.38 | 154±0.57 | 32.56±0.57 |
| 9 | 19.9±0.57 | 7.6±0.63 | 4.62±0.66 | 122±0.54 | 56.4±0.54 | 2853±0.52 | 4.9±0.52 | 650±0.98 | 59.38±0.98 | 1200±0.63 | 58.62±0.63 | 110±0.84 | 48.83±0.84 |
| 11 | 19.9±0.37 | 7.2±0.43 | 5.81±0.92 | 114±0.77 | 59.3±0.77 | 2824±0.03 | 5.87±0.03 | 610±0.12 | 61.88±0.12 | 1140±0.09 | 60.69±0.09 | 104±0.01 | 51.63±0.01 |
| 12 | 20.1±0.61 | 7.1±0.93 | 4.73±0.71 | 109±0.95 | 61.1±0.95** | 2812±0.41 | 6.27±0.41** | 575±0.99 | 64.10±0.99** | 1100±0.86 | 62.1±0.86** | 92±0.29 | 57.21±0.29** |

* The Lowest and ** The highest RE%

(Supplementary Table)

S 9: Residual Concentration (RC, mg/L) and Removal Efficiency (RE%) of the Tested Contaminants

in the Industrial Wastewater After Treatment Using Unmodified AS Reactor

| Time (Days) | Temp. (ºC) | pH | DO | TSS |  | TDS |  | BOD |  | COD |  | OG |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (mg/l) | RC | RE | RC | RE | RC | RE | RC | RE | RC | RE |
| Raw Influent | 20.8±0.63 | 7.21±0.32 | 4.8±0.26 | 300±0.38 |  | 3100±0.34 |  | 1200±0.38 |  | 2342±0.57 |  | 380±0.61 |  |
| 1 | 20.7±0.43 | 7.11±0.01 | 4.8±0.32 | 250±0.65 | 16.7±0.65* | 3075±0.75 | 0.81±0.75* | 1120±0.36 | 6.67±0.36* | 2210±0.89 | 5.64±0.89* | 340±0.87 | 10.53±0.87* |
| 2 | 20.9±0.32 | 7.13±0.72 | 4.91±0.32 | 231±0.09 | 23±0.09 | 2710±0.34 | 12.6±0.34** | 1015±0.66 | 15.42±0.66 | 2040±0.37 | 12.89±0.37 | 321±0.43 | 15.53±0.43 |
| 3 | 21.7±0.75 | 7.12±0.01 | 4.52±0.75 | 211±0.81 | 29.7±0.81 | 2810±0.46 | 9.35±0.46 | 920±0.49 | 23.33±0.49 | 1760±0.61 | 24.85±0.61 | 300±0.57 | 21.05±0.57 |
| 4 | 21.7±0.66 | 7.11±0.99 | 4.4±0.61 | 198±0.35 | 34±0.35 | 2834±0.35 | 8.58±0.35 | 870±0.07 | 27.5±0.07 | 1650±3.17 | 29.55±3.17 | 240±0.36 | 36.84±0.36 |
| 6 | 20.0±0.61 | 7.13±0.71 | 4.41±0.87 | 182±0.95 | 39.3±0.95 | 2847±0.41 | 8.16±0.41 | 820±0.99 | 31.67±0.99 | 1530±0.86 | 34.67±0.86 | 220±0.29 | 42.11±0.29 |
| 7 | 20.0±0.12 | 7.21±0.69 | 4.41±0.43 | 170±0.64 | 43.3±0.64 | 2893±0.73 | 6.68±0.73 | 740±0.46 | 38.33±0.46 | 1560±0.57 | 33.39±0.57 | 189±0.63 | 50.26±0.63 |
| 8 | 20.3±0.42 | 7.22±0.72 | 5.05±0.57 | 160±0.09 | 46.7±0.09 | 2811±0.34 | 9.32±0.34 | 700±0.66 | 41.67±0.66 | 1411±0.37 | 39.75±0.37 | 176±0.43 | 53.68±0.43 |
| 13 | 20.4±0.57 | 7.24±0.99 | 5.6±0.66 | 134±0.35 | 55.3±0.35** | 2877±0.35 | 7.19±0.35 | 600±0.07 | 50±0.07** | 1400±0.17 | 40.22±0.17** | 164±0.36 | 56.84±0.36** |

* The Lowest and ** The highest RE%

(Supplementary Table)

S 10: Residual Concentration (RC, mg/L) and Removal Efficiency (RE%) of the Tested Contaminants

in the Industrial Oily Wastewater After Treatment Using AS Reactor Modified with Fe3O4/Si NPs Composite

| Time (Days) | Temp. (ºC) | pH | DO (mg/l) | TSS |  | TDS |  | BOD |  | COD |  | OG |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | RC | RE | RC | RE | RC | RE | RC | RE | RC | RE |
| Raw Influent | 25.1±0.61 | 6.98±0.42 | 4.1 ±0.44 | 300±0.57 |  | 2500±0.89 |  | 1700±0.37 |  | 2900±0.41 |  | 480±0.34 |  |
| 1 | 24.0±0.93 | 7.1±0.57 | 4.26±0.34 | 250±0.66 | 16.67±0.66 | 2410±0.87 | 3.6±0.87 | 1340±0.43 | 21.18±0.43 | 2400±0.57 | 17.24±0.57 | 361±0.03 | 24.79±0.03 |
| 2 | 26.1±0.71 | 7.1±0.72 | 3.75±0.38 | 200±0.99 | 33.33±0.99 | 2465±0.44 | 1.4±0.44 | 1120±0.92 | 34.12±0.92 | 2150±0.89 | 25.86±0.89 | 285±0.12 | 40.63±0.12 |
| 4 | 24.5±0.95 | 7.11±0.09 | 3.83±0.12 | 185±0.35 | 38.33±0.35 | 2477±0.12 | 0.92±0.12 | 844±0.77 | 50.35±0.77 | 1743±0.43 | 39.9±0.43 | 204±0.43 | 57.5±0.43 |
| 5 | 25.6±0.41 | 7.14±0.34 | 3.45±0.75 | 162±0.35 | 46.0±0.35 | 2420±0.28 | 3.2±0.28 | 624±0.49 | 63.29±0.49 | 1380±0.72 | 52.41±0.72 | 142±0.52 | 70.42±0.52 |
| 6 | 25.1±0.99 | 7.13±0.66 | 4.31±0.44 | 124±0.07 | 58.67±0.07 | 2463±0.41 | 1.48±0.41 | 420±0.44 | 75.29±0.44 | 1150±0.09 | 60.34±0.09 | 103±0.98 | 78.54±0.98 |
| 7 | 25.6±0.86 | 7.12±0.37 | 4.47±0.34 | 101±0.17 | 66.33±0.17 | 2425±0.99 | 3.0±0.99 | 300±0.73 | 82.35±0.73 | 950±0.34 | 67.24±0.34 | 67±0.43 | 86.04±0.43 |
| 8 | 25.5±0.29 | 7.0±0.43 | 4.96±0.98 | 65±0.36 | 78.33±0.36 | 2466±0.32 | 1.36±0.32 | 210±0.44 | 87.65±0.44 | 430±0.44 | 85.17±0.44 | 34±0.84 | 92.92±0.84 |

* The Lowest and ** The highest RE%